## Slide 1
An-Najah National University
Engineering Faculty
Civil Engineering Department
Design of Mechanically Stabilized Earth Retaining Walls
Graduation Project
Prepared by:
Omar Hindia (11924081) Yazan Ghanim (11925105)
Qassim dababseh (11927489) Mohamad jabareen (11925003)
Submitted to: Dr. Isam Jardaneh

## Slide 2: Introduction :
There are different methods to retain soil cuts or support vertical sides of soil embankments. Traditional methods are simply different types of typical retaining walls, such as, gravity retaining walls, semi-gravity retaining walls, cantilever retaining walls, counterfort retaining walls, etc. However, new modern trends are now available for these projects and the most common one is soil reinforcement. It is simply based on reinforcing the soil by horizontal strong intrusion made by steel or geosynthetic materials. This system is first suggested by Vidal in the 60’s of the last century. The system specialized for supporting soil vertical cuts is called Mechanically Stabilized Earth Retaining Wall and mainly composed of facing elements, reinforcing bars and backfill soils.

## Slide 3: Objectives :
The aim of this project is to design mechanically stabilized earth retaining walls for different heights and compare this design with traditional retaining walls, such as, cantilever retaining walls which the most common types in our region. Finally, comparisons will be made between the two types of retaining walls from economical and time of construction point of views.

## Slide 4: Main component of (MSERW) : 1) facing elements 2) reinforcing bars 3) backfill soils

## Slide 5: Main component of cantilever retaining wall : 1) slab 2) stem

## Slide 6: Chapter Five Design Of Mechanically Stabilized Earth Retaining Walls (MSERW)

## Slide 7
Introduction
Mechanically stabilized retaining wall (MSREW) is a new geotechnical technology that uses
galvanized steel bars that extend within soil layers.

## Slide 8
The general design procedure of (MSERW) can be divided into two parts:
Satisfying internal stability requirements
The internal stability checks involve determining tie breaking and tie pullout in the reinforcing elements.
Checking the external stability of the wall.
As for the external Stability checks, they include checks for overturning, sliding and bearing capacity failure.

## Slide 9: calculation
width of strip (w) = 75 mm
fy = 240000 KN/m2
Assume that the soil - tie friction angle (ϕ՛µ= 20°)
(The factor of safety against tie breaking) Required FS(B) = 3
(The factor of safety against tie pullout) Required FS(p) = 3
Assume the corrosion of galvanize steel to be 0.025mm/year and the life span of the structure to be 50 years.
Properties of granular backfill material:
ϕ՛ = 30°
γ = 18 kN/m2
C = 0 KN/m2
Properties of foundation soil:
Qall = 220KN/m2

## Slide 10: Design (MSERW) at H=8м
(Vertical length between strips) Sv = 0.5 m (Horizontal length between strips) SH = 1 m
active pressure:
Calculate the max tie force:
Calculate the thickness of tie (t) required to resist the breakout.
So, a tie thickness of 6 mm will be enough.
Calculate the length of the tie (L):
+
= +

## Slide 11
Check for Overturning:
=
=
=218.44 * 2.667= 582.5 KN/m^2
Pa = =
Pa = =
Pa = 191.8 + 26.64 = 218.44 KN
Check for sliding:
FS (sliding) =
FS (sliding) =
Check for ultimate Bearing Capacity:
Po ≤ Qall
Po = (γ * Z) + q = (18 * 8) + 10 = 154 KN/m^2
154 ≤ 220 OK

## Slide 12: Design (MSERW) at H=10м
(Vertical length between strips) Sv = 0.6 m (Horizontal length between strips) SH = 1 m
active pressure:
Calculate the max tie force:
Calculate the thickness of tie (t) required to resist the breakout.
So, a tie thickness of 8 mm will be enough.
Calculate the length of the tie (L):
+
= +

## Slide 13
Check for Overturning:
=
=
=333 *3.33= 1108.89 KN/m^2
Pa = =
Pa = =
Pa = 299.7 + 33.3 = 333 KN
Check for sliding:
FS (sliding) =
FS (sliding) =
Check for ultimate Bearing Capacity:
Po ≤ Qall
Po = (γ * Z) + q = (18 * 10) + 10 = 190 KN/m^2
190 ≤ 220 OK

## Slide 14: Design (MSERW) at H=14м
(Vertical length between strips) Sv = 0.5 m (Horizontal length between strips) SH = 1 m
active pressure:
Calculate the max tie force:
Calculate the thickness of tie (t) required to resist the breakout.
So, a tie thickness of 9 mm will be enough.
Calculate the length of the tie (L):
+
= +

## Slide 15
Check for Overturning:
=
=
=634.032 *4.667= 2954.589 KN/m^2
Pa = =
Pa = =
Pa = 587.4 + 46.62 = 634.032KN
Check for sliding:
FS (sliding) =
FS (sliding) =
Check for ultimate Bearing Capacity:
Po ≤ Qall
Po = (γ * Z) + q = (18 * 14) + 10 = 262 KN/m^2
262 ≥ 220 Not OK
In this case, we must improve the soil until it becomes Qall ≥ Po
Take L=20m
Check for Overturning:
Check for sliding:
FS (sliding) =

## Slide 16: Design (MSERW) at H=18м
(Vertical length between strips) Sv = 0.5 m (Horizontal length between strips) SH = 1 m
active pressure:
Calculate the max tie force:
Calculate the thickness of tie (t) required to resist the breakout.
So, a tie thickness of 11 mm will be enough.
Calculate the length of the tie (L):
+
= +
Take L=25m

## Slide 17
Check for Overturning:
=
=
=
Pa = =
Pa = =
Check for sliding:
FS (sliding) =
FS (sliding) =
Check for ultimate Bearing Capacity:
Po ≤ Qall
Po = (γ * Z) + q = (18 * 14) + 10 = 334 KN/m^2
334 ≥ 220 Not OK
In this case, we must improve the soil until it becomes Qall ≥ Po

## Slide 18: Chapter Six Design Of Traditional Retaining Walls (Cantilever wall )

## Slide 19
Introduction
Cantilever walls are built using reinforced concrete, with an L-shaped, or inverted T-shaped, foundation. This kind of retaining wall consists of a stem and a base slab (or footing) which sits under the backfill.

## Slide 20
We designed a cantilever wall using the Prokon program with different lengths and dimensions so that they are within the necessary conditions for the wall to remain standing.

## Slide 21
Through this program we will design two main factors through which we will calculate the cost :
Wall dimensions
Steel distribution
At four different heights: H=8m H=10m H=14m H=18m

## Slide 22: At Wall height = 8 m
Top stem = 0.4m
Bottom stem = 0.8m
Length of stem = 7.2m
Steel : Φ 25 @ 200cm
Length of slab =4.8m
Thickness of slab = 0.8m

## Slide 23: Wall height = 10 m
Steel : Φ 32 @ 250cm
Top stem = 0.5m
Bottom stem = 1.0m
Length of stem = 9.0m
Length of slab =6.0m
Thickness of slab = 1.0m

## Slide 24: Wall height = 14 m
Steel : Φ 40 @ 250 cm
Length of slab = 7.5m
Thickness of slab = 1.5m
Top stem = 0.5m
Bottom stem = 1.5m
Length of stem = 12.5m

## Slide 25: Wall height = 18 m
Steel : Φ 40 @ 150cm
Top stem = 0.5m
Bottom stem = 2.5m
Length of stem = 15.5m
Length of slab = 12m
Thickness of slab = 2.5m

## Slide 26: Chapter Seven Conclusions And Recommendation

## Slide 27: Introduction
This final approach of this project aims to conduct a partial comparison between the Designs of Mechanically Stabilized Earth Retaining Walls (MSERW) and Conventional Retaining Walls.
Such a comparison will discuss the differences in terms of quantities and cost.
These calculated quantities will refer to the actual examples demonstrated in the previous chapters.

## Slide 28: Calculation of quantities and cost of (MSERW) and Cantilever walls Quantities and cost at H=8m Calculation of quantities and cost for (MSERW):
H = 8m SV = 0.5m SH = 1m L = 13m T = 6mm W = 75mm
Steel:
Number of steel rods rods / one meter length
Volume of rods
Wight
Cost of 1 tons of steel galvanized NIS
Cost of steel NIS/One meter length

## Slide 29
Facing elements:
Volume of facing elements /One meter length
Cost of for facing elementsNIS/one meter length
Costs of facing elements NIS/One meter length
Backfill Material:
Volume of backfill /one meter length
Cost of of backfill NIS
Cost of back fill material NIS/one meter length
The total cost for (MSERW) at 8m :
NIS/One meter length

## Slide 30: Calculation of quantities and cost for Cantilever Returning Walls:
Volume /one
meter length
Cost of at hight NIS /one meter length
The total cost for cantilever returning wall at 8m :
NIS/one meter length

## Slide 31: Quantities and cost at H=10m Calculation of quantities and cost for (MSERW):
H = 10m SV = 0.6m SH = 1m L = 16m T = 8mm W = 75mm
Steel:
Number of steel rods rods / one meter length
Volume of rods
Wight
Cost of 1 tons of steel galvanized NIS
Cost of steel NIS/One meter length

## Slide 32
Facing elements:
Volume of facing elements /One meter length
Cost of for facing elementsNIS/one meter length
Costs of facing elements NIS/One meter length
Backfill Material:
Volume of backfill /one meter length
Cost of of backfill NIS
Cost of back fill material NIS/one meter length
The total cost for (MSERW) at 10m :
NIS/One meter length

## Slide 33: Calculation of quantities and cost for Cantilever Returning Walls:
Volume /one
meter length
Cost of at hight NIS /one meter length
The total cost for cantilever returning wall at 10m :
NIS/one meter length

## Slide 34: Quantities and cost at H=14m Calculation of quantities and cost for (MSERW):
H = 14m SV = 0.5m SH = 1m L = 20m T = 9mm W = 75mm
Steel:
Number of steel rods rods / one meter length
Volume of rods
Wight
Cost of 1 tons of steel galvanized NIS
Cost of steel NIS/One meter length

## Slide 35
Facing elements:
Volume of facing elements /One meter length
Cost of for facing elementsNIS/one meter length
Costs of facing elements NIS/One meter length
Backfill Material:
Volume of backfill /one meter length
Cost of of backfill NIS
Cost of back fill material NIS/one meter length
The total cost for (MSERW) at 14m :
NIS/One meter length

## Slide 36: Calculation of quantities and cost for Cantilever Returning Walls:
Volume/one
meter length
Cost of at hight NIS /one meter length
The total cost for cantilever returning wall at 14m :
NIS/one meter length

## Slide 37: Quantities and cost at H=18m Calculation of quantities and cost for (MSERW):
H = 18m SV = 0.5m SH = 1m L = 25m T = 11mm W = 75mm
Steel:
Number of steel rods rods / one meter length
Volume of rods
Wight
Cost of 1 tons of steel galvanized NIS
Cost of steel NIS/One meter length

## Slide 38
Facing elements:
Volume of facing elements /One meter length
Cost of for facing elementsNIS/one meter length
Costs of facing elements NIS/One meter length
Backfill Material:
Volume of backfill /one meter length
Cost of of backfill NIS
Cost of back fill material NIS/one meter length
The total cost for (MSERW) at 18m :
NIS/One meter length

## Slide 39: Calculation of quantities and cost for Cantilever Returning Walls:
Volume/one
meter length
Cost of at hight NIS /one meter length
The total cost for cantilever returning wall at 18m :
NIS/one meter length

## Slide 40
Height of wall (m) | Total cost of (MSERW) (NIS/One meter length) | Total cost of Cantilever Wall (NIS/One meter length) | Discrubtion
H=8m | 12139 | 8160 | the cantilever retaining wall is less expensive than (MSERW).
H=10m | 18424 | 15300 | the cantilever retaining wall is less expensive than (MSERW). But the difference becomes less at this height, meaning that the height of 10 m can be considered the turning point.
H=14m | 34830 | 38000 | the cantilever retaining wall is more expensive than (MSERW).
H=18m | 59100 | 106500 | the cantilever retaining wall is more expensive than (MSERW). We also notice that as the height increases, the difference between the two walls increases.

## Slide 41: Thank you