## Slide 1: Passive Villa
An-Najah National university
Faculty of engineering
Building engineering departmenet
Graduation project ||
Prepared By :
Dana Saeed
Kamal Salhab
Mohammad Saeeri
Supervisor :
Eng. Haitham Sawalha

## Slide 2: Outline
Introduction.
Site analysis.
Architectural design.
Structural design.
Environmental design.
Mechanical design.
Electrical design.
Safety and fire system.
Quantity survey

## Slide 3: Introduction
Project definition
Objective.
Passive villa
Palestinian requirements
Integrated design
Comfortable
Affordable
Energy efficient

## Slide 4: Site Analysis
Al-Ameria, Nablus- Palestine
Total area of 1070 m2

## Slide 5: Site Analysis

## Slide 6: Architectural Design

## Slide 7: Architectural Design
The total area of a passive villa equal 810 m2 divided into three floors plus roof, the distributions and area of spaces in each floor are shown in the following table.
Floor | Space | Area (m2) | Floor | Space | Area (m2)
Ground floor | Entrance | 20.2 | First floor | Master bed room | 40
 | Guest room | 22.3 |  | Two bed rooms | 60
 | Guest room (bed) | 28 |  | Living area | 48
 | Living room | 30.4 |  | Study room | 12.5
 | Sitting area | 16.5 |  | Services | 20
 | Dirty kitchen | 8 |  | Terraces | 90
 | Kitchen | 23.2 | Second floor | Living area | 41
 | Storage | 4.2 |  | Laundry room | 12.5
 | Dinning | 31.85 |  | Services | 45
 | Services | 20 |  | Terraces | 150
 | Terraces | 25 | Roof | Maintenance area | 50

## Slide 8: Architectural Design
Site plan

## Slide 9: Architectural Design
Master plan

## Slide 10: Architectural Design
Ground floor

## Slide 11: Architectural Design
First floor

## Slide 12: Architectural Design
Second floor

## Slide 13: Architectural Design
Roof floor

## Slide 14: Architectural Design
North and East elevations

## Slide 15: Architectural Design
South and West elevations

## Slide 16
3DView

## Slide 17
N.W View

## Slide 18
N.E View

## Slide 19
S.W View

## Slide 20
S.E View

## Slide 21: Structural Design

## Slide 22: Structural Design
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations

## Slide 23: Structural Design
Design data:
Concrete strength for slabs and beams, f’c=24 mpa.
Concrete strength for columns and shear walls ,f’c=28 mpa.
Steel yield strength fy=420 mpa.
Bearing capacity for soil = 350 kN/m2

## Slide 24: Structural Design
Loads:
Load Type | Ribbed slab | Solid slab
Live | 2.5 (kN/m2) | 12 (kN/m2)
S.I.D | 4 (kN/m2) | 5 (kN/m2)

## Slide 25: Structural Design
Lateral loads:
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.24
The velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.
The structural design type is intermediate, R=5.5

## Slide 26: Slabs
Solid and ribbed slab with 32 cm thickness.

## Slide 27: Beams

## Slide 28: Columns and footings

## Slide 29: Modeling

## Slide 30: Verification of model
Compatibility check
Equilibrium check
Internal force check
Deflection check
Drift check
Period check
Model participating mass ratio check

## Slide 31: Slab Reinforcement

## Slide 32: Beam Reinforcement

## Slide 33: G.F Beam Reinforcement

## Slide 34: Columns Reinforcement

## Slide 35: Columns Reinforcement

## Slide 36: Footing Reinforcement

## Slide 37: Water tanks Reinforcement

## Slide 38: Environmental Design

## Slide 39: Environmental Design
Palestinian requirements for green building
Number | The outer structural elements | Maximum U-Value w/m2.k
1 | Outer wall | 0.5 w/m2.k
2 | Outer Slab | 0.39 w/m2.k
3 | Ground slab | 0.46 w/m2.k
4 | Windows | 2.1 w/m2.k
5 | Doors | 6 w/m2.k

## Slide 40: Environmental Design
Palestinian requirements for green building
 | Maximum U-Value w/m2.k | Shading coefficient | Transmitting coefficient
The ratio of glass to wall less than 40% | 2.1 w/m2.k | 0.4 max | 25% min
The ratio of glass to wall between (40-60) % | 1.9 w/m2.k | 0.32 max | 10% min
The ratio of glass to wall greater than 60% | 1.9 w/m2.k | 0.25 max | 10% min

## Slide 41: Techniques
Heating
Cooling

## Slide 42: Modeling

## Slide 43: Shading
21th Jan
21th Jun

## Slide 44: Environmental Design
Materials
Palestinian Requirements |  | Passive Villa | 
Element | Value | Value | Fit/Not
External walls | 0.5 w/m2.k | 0.457 | Fit
External roof | 0.39 w/m2.k | 0.367 | Fit
Ground slab | 0.46 w/m2.k | 0.397 | Fit
Glass | 2.1 w/m2.k | 1.752 | Fit
Shading coefficient | 0.4 max | 0.4 | Fit
transmitting | 25% min | 42 | Fit

## Slide 45: Environmental Design
Chart: Total energy per month (kWh)
| January | Februray | March | April | May | June | July | August | September | October | November | December
Cooling (kWh) | 0 | 0 | -341.4 | -1109.2 | -1717.621 | -1717.6 | -2309.55 | -1673.04 | -1441.15
Heating (kWh) | 3015.5 | 2824.46 | 1527.47 | 154.67 | 444.74 | 1041.86 | 1864.06

## Slide 46: Thermal Analysis
Lighting kWh (kwh/m2) | Equipment kWh (kwh/m2) | Cooling kWh (kwh/m2) | Total (kwh/m2)
1536.86 (4.1) | 567.67 (1.52) | 8591.96 (22.95) | 10696.5 (28.57)
Summer
Lighting kWh (kwh/m2) | Equipment kWh (kwh/m2) | Heating kWh (kwh/m2) | Total (kwh/m2)
2149.91 (5.74) | 586.95 (1.57) | 8136.12 (21.73) | 10873 (29.04)
Winter

## Slide 47: Thermal Analysis
Story | Zone | Heating Capacity (kW) | Cooling Capacity (kW)
Ground floor | Living | 1.3 | 0.83
 | Bed (guest) | 1.2 | 0.98
 | Dining | 1.3 | 0.75
 | Sitting | 0.87 | 0.55
 | Kitchen | 1.22 | 0.65
 | Guest | 1.16 | 0.87
 | Corridor | 0.1 | 0.09
 | Dirty kitchen | 0.69 | 0.59
First Floor | Bed room 1 | 1.25 | 1.08
 | Corridor (bed) | 0.12 | 0.16
 | Living F.1 | 2.11 | 1.88
 | Master room | 1.48 | 1.5
 | Bed room 2 | 0.76 | 0.54
 | Corridor (WC) | 0.09 | 0.14
 | Study room | 0.82 | 0.92
Second Floor | Kitchenette | 1.68 | 2.62
 | Living F.2 | 2.31 | 1.77
Total |  | 18.54 | 16.05

## Slide 48: Daylight Factor
Story | Zone | Average Daylight factor (%)
Ground floor | Living | 1.7
 | Bed (guest) | 2.58
 | Sitting | 1.03
 | Kitchen | 1.15
 | Guest | 2.5
 | Dirty kitchen | 2.23
First Floor | Bed room 1 | 1.99
 | Living F.1 | 1.59
 | Master room | 2.64
 | Bed room 2 | 1.21
 | Study room | 3.21
Second Floor | Living F.2 | 2.93
Avg. |  | 2.06

## Slide 49: Mechanical Design

## Slide 50: Drainage system

## Slide 51: Layout of water tanks

## Slide 52: System of distribution of water

## Slide 53: System of distribution of water

## Slide 54: Under Floor Heating

## Slide 55: VRF System
Story | Zone | Max Design Capacity (BTU/h) | Ton Refrigerator (TR) | Capacity of indoor unit (TR)
Ground floor | Living | 4436.9 | 0.37 | 0.5
 | Bed (guest) | 4095.6 | 0.34 | 0.5
 | Dining | 4436.9 | 0.37 | 0.5
 | Sitting | 2969.3 | 0.25 | 0.5
 | Kitchen | 4163.8 | 0.347 | 0.5
 | Guest | 3959.1 | 0.33 | 0.5
 | Dirty kitchen | 2354.9 | 0.197 | 0.5
First Floor | Bed room 1 | 4266.2 | 0.356 | 0.5
 | Living F.1 | 7201.4 | 0.60 | 1
 | Master room | 5119.5 | 0.427 | 0.5
 | Bed room 2 | 2593.9 | 0.216 | 0.5
 | Study room | 3139.9 | 0.262 | 0.5
Second Floor | Kitchenette | 8941.9 | 0.745 | 1
 | Living F.2 | 7883.9 | 0.66 | 1
Sum. |  |  |  | 8.5 (TR)

## Slide 56: Acoustical Design
STC
Layers | Modifications | STC (dB)
Dense Hollow Block 10 cm |  | 38
 | Adding plaster on both sides | +4
 | Adding sand to cores of hollow block | +3
 | Adding two improvements | +2
Total |  | 47dB

## Slide 57: Modeling

## Slide 58: Photovoltaic System

## Slide 59: Photovoltaic System
21570 kWh total consumption energy
85% can be covered
 | E Grid (kWh)
Jan | 1212.92
Feb | 1124.65
Mar | 1503.13
Apr | 1579.5
May | 1724.74
Jun | 1765.17
Jul | 1824.74
Aug | 1808.11
Sep | 1795.8
Oct | 1775.21
Nov | 1442.08
Dec | 1205.99
Year (kWh) | 18762

## Slide 60: Electrical Design

## Slide 61: Artificial Lighting
Type of room | Level of illuminance needed ( lux)
Stairs | 150
Entrances, landings ,halls, balconies | 100-150
Kitchen | General 150-200
Bathroom | General 100-200
Laundry room | 300-400
Bedroom | General 100-200
Studies/library | General 100-400
Living room | General 100-200
Guest room | 100-200
Dining room | 100-200
Storage room | 150

## Slide 62: Motion Sensors

## Slide 63: Artificial Lighting

## Slide 64: Sockets
Floor | Number of socket 2 Amp | Number of socket 10 Amp | Number of branches (3Ø2.5 mm2)
G.F | 22 | 2 | 7
F.1 | 19 | 2 | 6
F.3 | 5 | 3 | 3
Roof | -- | 4 | 2

## Slide 65: Sockets

## Slide 66: Branches

## Slide 67: Fire and Alarm System

## Slide 68: Fire and Alarm System

## Slide 69: Quantity Survey
 | Total Cost ($) | Unit cost ($/m2)
Excavation works | 48198.3 | 59.5
Civil works | 129620.7 | 160
Architectural works | 295348.6 | 364.6
Mechanical works | 37675 | 46.5
Electrical works | 31225.2 | 38.55
Total Cost | $ 542067.73 | $ 609

## Slide 70
THANK
YOU