## Slide 1: An-Najah National University Faculty of Engineering & Information Technology. Building Engineering Department. Graduation project (2) Qabatia Basic Girls School Prepared By: 1. Alshareef-rashed abu aqeel. 2. Ameed mlitat . 3. Hassan badien. Supervisor: Dr. Fadi fatayer.

## Slide 2: Content :
1.0
2.0
3.0
4.0
5.0
6.0
Architectural Aspects
Introduction
Environmental Aspects
Structural Aspects
Eloctro-Mechanical Aspects
Quantity Surveying and Cost Estimation

## Slide 3: 1.0 introduction :
Qabatiya basic girls school
Located in Qabatiya , Jenin .
Consists of 4 floors .
Approximate Total area of school is 3693 S.M
Employees number in the school is 18 .
Number of student is 380 .

## Slide 4: Aerial photo showing the project site :
Figure 1.1 (arial photo for the project )

## Slide 5: 2.0 Architectural Aspects :
Adding a Parking floor
plans before and after modification
3D Picture

## Slide 6: Parking Floor : Parking capacity is 15 cars
Figure 2.1 (parking plan)

## Slide 7: Ground Floor : ( before modifications )
Figure 2.2 (ground floor plan before modification)

## Slide 8: Ground Floor : ( After modifications )
Figure 2.3 (ground floor plan after modification)

## Slide 9: First Floor : ( before modifications )
Figure 2.4 (first floor plan before modification)

## Slide 10: First Floor : ( After modifications )
Figure 2.5 (first floor plan after modification)

## Slide 11: Second Floor : ( before modifications )
Figure 2.6 (second floor plan before modification)

## Slide 12: Second Floor : ( after modifications )
Figure 2.7 (second floor plan after modification)

## Slide 13: 3d picture :

## Slide 14: 3.0 Enviromintal aspects:
Design Builder simulation
Design Builder heating & cooling
Daylight Factor
Shading Analysis
Solar analysis frome Revit
Figure 3.1 (design builder modle)

## Slide 15: Design Builder simulation analysis :
Walls U-Value
Slab U-Value
Figure 3.4 (walls U-Value)
Figure 3.5 (slab U-Value)
Figure 3.2 (walls layers)
Figure 3.3 (slab layers)

## Slide 16: Design Builder Simulation Result :
Figure 3.6 (simulation result)

## Slide 17: Design Builder Simulation Result :
Table 3.1 (total energy)

## Slide 18: Design Builder heating result :
Figure 3.7 (heating loss)

## Slide 19: Heating capacity :
Table 3.2 (heating capacity in all floors )

## Slide 20: Daylight factor :
Figure 3.8 Graund floor (DF) before modification

## Slide 21: Daylight factor :
Figure 3.9 first floor (DF) before modification

## Slide 22: Daylight factor :
Figure 3.10 Second floor (DF) before modification

## Slide 23: Daylight factor :
Figure 3.11 Third floor (DF) before modification

## Slide 24: The modification :
used glass : “ Dbl LoE Elec Abs Bleached 6mm/6mm Air “
windows were covered with 0.5 m projection Louvre.
Figure 3.12 0.5 m projection Louvre.

## Slide 25: Daylight factor :
Figure 3.13 Graund floor (DF) after modification

## Slide 26: Daylight factor :
Figure 3.14 first floor (DF) after modification

## Slide 27: Daylight factor :
Figure 3.15 second floor (DF) after modification

## Slide 28: Shading analysis :
Shading analysis in summer :
Figure 3.16 (shading At 8:00 am )
Figure 3.17 (shading At 12:00 pm )
Figure 3.18 (shading At 2:00 pm )

## Slide 29: Shading analysis :
Shading analysis in winter :
Figure 3.19 (shading At 8:00 am )
Figure 3.20 (shading At 12:00 pm )
Figure 3.21 (shading At 2:00 pm )

## Slide 30: Solar analysis ( in summer ) :
Figure 3.22 (roof solar analysis in summer)

## Slide 31: Solar analysis ( in winter ) :
Figure 3.23 (roof solar analysis in winter)

## Slide 32
3.0 Structural aspects :
Structural System
Structural Checks
Seismic Design
Seismic Checks
Design & Details

## Slide 33
Design limitation Loads that effect on the building is Live load , dead load , SID load and wall load
Loads
1. Live load = 4 KN
2. SID load = 4.5 KN
3. External wall load = 20KN
In block3
Live load = 4 KN
SID load = 4.5 KN.
Design code
ASCE
2. ACI 318-14
Structural System

## Slide 34
Building Column Distribution
Structural System
Figure 4.1 Building Column Distribution

## Slide 35
Structural Checks
Compatibility Check
Figure 4.2 Block 1 Compatibility Check
Figure 4.3 Block 2 Compatibility Check
Figure 4.3 ( Block 3 )Compatibility Check

## Slide 36
Structural Checks
Equilibrium Check
Load | Manual | Etabs | Error%
Dead | 28458.82 | 27223.00 | 2.20
Llive | 10173.44 | 10531.14 | 3.40
SID | 9043.06 | 9427.68 | 4.08
wall | 10400.00 | 10041.08 | 3.57
Load | Manual | Etabs | Error%
Dead | 11084.06 | 10845.00 | 2.20
Llive | 2892.40 | 2931.86 | 1.35
SID | 3370.20 | 3298.34 | -2.18
wall | 4952 | 4777.1 | 3.7
 | ETABS | manual | Error%
SID | 1789.31 | 1736.70 | 2.94 %
L.L | 1909.73 | 1873.24 | 1.91 %
DEAD | 3660.74 | 3595.85 | 1.80 %
Table 4.1 (Block 1) Equilibrium Check
Table 4.3 (Block 2) Equilibrium Check
Table 4.2 (Block 3) Barking Equilibrium Check

## Slide 37
 | Tributary area | Manual | Etabs | Error%
corner | 1.77 | 441.72 | 429.21 | 2.92
edge | 9.15 | 1035.18 | 1076.00 | -3.79
interior | 12.92 | 1242.60 | 1232.00 | 0.86
Structural Checks
 | Manual | Etabs | Error %
Corner | 223.32 | 216.72 | 3.05
edge | 1031.72 | 1080.11 | -4.48
interior | 1258.56 | 1322.19 | -4.81
Table 4.4 (Block 1) Columns Check
Table 4.5 (Block 2) Columns Check
Stress-Strain Check – Columns

## Slide 38
Structural Checks
Stress-Strain Check – Beams
 | manual | Etabs | Error%
interior(B1) | 47.32 | 44.15 | 7.18
interior(B2 | 9.10 | 8.85 | 2.82
edge(B3) | 29.79 | 27.58 | 8.01
 | manual | Etabs | Error%
interior(B1) | 31.21 | 29.97 | 4.14
interior(B2) | 21.51 | 20.10 | 7.01
edge(B3) | 4.71 | 4.45 | 5.84
Table 4.6 (Block 1) Beam Check
Table 4.7 (Block 2) Beams Check

## Slide 39
Structural Checks
Table 4.8 (Block 1) Slabs Check
Stress-Strain Check – Slabs
Table 4.10 (Block 3) Slabs Check
Table 4.9 (Block 2) Slabs Check
 | manual | Etabs | Error%
frame 1 | 26.31 | 24.40 | 7.83
frame 2 | 47.06 | 45.10 | 4.35
frame 3 | 58.11 | 54.50 | 6.62
 | manual | Etabs | Error%
frame 1 | 34.31 | 32.70 | 4.92
frame 2 | 13.65 | 12.70 | 7.48
frame 3 | 36.67 | 34.55 | 6.14
 | manual | Etabs | Error%
frame 1 | 346.60 | 380 | -8.79
frame 2 | 332.2 | 327.8 | 1.34

## Slide 40
Seismic Design
Table 4.11 Seismic informations
City of Structure | Jenin
Soil Capacity | 440 KN/m2
Site Class | B
SOIL TYPE | (SC) very dense soil and soft
Z | 0.2
Response Modification factor ( R) | R=5.5

## Slide 41
Seismic Checks
Figure 4.4 (Block 1) Period check
Figure 4.5 (Block 2) Period check
Figure 4.6 (Block 3) Period check
Period check
Tx =0.259 , Ty = 0.54
T manual=0.193
T manual=0.54
T manual=0.54
Tx = 0.416 , Ty = 0.538
Ty =0.165 , Tx= 0.052

## Slide 42
Seismic Checks
weight | 50150.79 | V MANUAL | V etabs | Error %
tx | 0.416 | 5470.99 | 5338.83 | 2.42
ty | 0.538 | 5423.53 | 5338.83 | 1.56
w | 19800.23 | V manual | V etabs | Error %
tx | 0.259 | 2160.02 | 2082.53 | 3.59
ty | 0.54 | 2133.35 | 2082.53 | 2.38
weight | 6022.97 | V manual | V etabs | Error %
tx | 0.037 | 657.05181 | 628.2309 | -4.39
ty | 0.16 | 657.05181 | 628.2309 | -4.39
Table 4.12 (Block 1) Base shear Check
Table 4.13 (Block 2) Base shear Check
Table 4.14 (Block 3) Base shear Check
Base shear check

## Slide 43
Seismic Checks
STORY | Height | dis x | dis y | drift x | drift y | deta x | delta y | delta limit
0 |  | 0 | 0 |  |  |  |  | 
1 | 3650 | 1.05 | 1.1 | 1.05 | 1.1 | 4.0425 | 4.235 | 73
2 | 3650 | 2.7 | 2.9 | 1.65 | 1.8 | 6.3525 | 6.93 | 73
3 | 3650 | 4.7 | 4.8 | 2 | 1.9 | 7.7 | 7.315 | 73
4 | 3650 | 6.37 | 6.94 | 1.67 | 2.14 | 6.4295 | 8.239 | 73
Drift check
STORY | Height | dis x | dis y | drift x | drift y | deta x | delta y | delta limit
0 |  | 0 | 0 |  |  |  |  | 
1 | 4000 | 0.32 | 0.016 | 0.32 | 0.016 | 1.232 | 0.0616 | 80
STORY | Height | dis x | dis y | drift x | drift y | delta x | delta y | delta limit
0 |  | 0 | 0 |  |  |  |  | 
1 | 3650 | 0.5 | 0.98 | 0.5 | 0.98 | 1.925 | 3.773 | 73
2 | 3650 | 1.24 | 2.73 | 0.74 | 1.75 | 2.849 | 6.7375 | 73
3 | 3650 | 3.02 | 4.73 | 1.78 | 2 | 6.853 | 7.7 | 73
4 | 3650 | 3.8 | 6.7 | 0.78 | 1.97 | 3.003 | 7.5845 | 73
Table 4.15 (Block 1) drift Check
Table 4.16 (Block 2) drift Check
Table 4.17 (Block 3) drift Check

## Slide 44
Figure 4.8 one way ribbed slab for the building
Figure 4.7 one way ribbed slab for the barking
Design & Details

## Slide 45
Design & Details
Figure 4.9 floor Reinforcement

## Slide 46
Design & Details
slab detailing
Section in slab
Shrinkage reinforcement
Figure 4.10 Section in slab
Figure 4.11 Shrinkage reinforcement

## Slide 47
Design & Details
Column design & detailing
Section C1
C1
Section C2
C2
Section C3
C3
Figure 4.12 Column design & detailing

## Slide 48
Design & Details
Beam design & detailing
B1(300*700) reinforcement
B1 sec. (A)
B1 sec. (B)
Figure 4.13 Beam design & detailing

## Slide 49
Design & Details
Single footing design & detailing
Figure 4.14 Single footing design & detailing

## Slide 50: 5.0 Electro-Mechanical Aspects :
Radiators System .
Artificial Lighting .
Water Supply and Drainage .
Power Design .
Acoustical Design .

## Slide 51: Radiators System :
Table 5.0calclation of Radiators :

## Slide 52: Radiators distribution :
Figure 5.1Graund floor radiators distribution

## Slide 53: Radiators distribution :
Figure 5.2Fist floor
Figure 5.3Second floor
Figure 5.4Third floor

## Slide 54: Artificial Lighting :
DIALux software has been used for Space Analysis and Design
Hеadmastеr rοοm
Library
Classrοοm

## Slide 55
Hеadmastеr rοοm
Figure 5.6Hеadmastеr rοοm calculation
Figure 5.5UGR test

## Slide 56
Library
Figure 5.8Library calculation
Figure 5.7UGR test

## Slide 57
Classrοοm
Figure 5.9 UGR test
Figure 5.11Classrοοm calculation

## Slide 58
Lighting Plans
Figure 5.12grοund flοοr
Figure4.13 first flοοr

## Slide 59
Lighting Plans
Figure 5.14second flοοr
Figure 5.15third flοοr

## Slide 60: Water Supply and Drainage
Used Diameters
1)W.C Horizontal Pipe 4″ at slope of 1%
2)Lavatory Horizontal Pipe 2″ at slope of 2%
3)Main Manhole’s Pipe 6″ at slope of 1%

## Slide 61
Drainage System
Figure 5.16grοund flοοr
Figure5.17first flοοr

## Slide 62
Drainage System
Figure 5.18Madnholes plan
Figure 5.19Rain water driange paln

## Slide 63
Water Supply
Figure 5.20Water Supply in ground floor plan
Figure 5.21Water Supply in 1st floor plan

## Slide 64
Fire Fighting System
Firе Һοsе cabinеt
Figure 5.22Firе ħοsе cabinеt

## Slide 65
Fire Fighting System
Firе еxtinguisһеr
Figure5.23Firе еxtinguisһеr

## Slide 66
Dry Risеr systеm
Fire Fighting System
Figure5.24 Dry riser system

## Slide 67
Fire Fighting System
Firе alarm systеm
Figure 5.25Fire Fighting ground floor plan
Figure 5.26Fire Fighting 1st floor plan

## Slide 68
Power Design
Figure 5.27circuit brеakеr fοr grοund flοοr
Figure 5.288sοckеts plan οn tħе ground flοοr

## Slide 69
Acoustical Design
Figure 5.30Rеvеrbеratiοn timе in classroom
Figure 5.29Rеvеrbеratiοn timе for spaces

## Slide 70
Acoustical Design
Figure 5.31Recommended STC
Figure 5.32STC valuе fοr intеrnal partitiοn

## Slide 71
Figure5.33Specifications of loudspeakers
Acoustical Design

## Slide 72
Acoustical Design
Figure 5.34Total SPL for class room with loudspeakers
Figure 5.36AL% for class room with loudspeakers
Figure 5.35Total SPL

## Slide 73
6.0 Quantity Surveying and Cost Estimation :
Figure 6.1 cost percentage
Figure 6.2 cost
Cost Estimation of the school has been conducted based on the Calculate in details for all work and activities
Cost per meter = 1866.74

## Slide 74
Thank you