## Slide 1
An-Najah National University
An Integrated Re-Design For The Development and Lending Fund for Local Authorities Building
Prepared By :-
- Laith Takatek
-Raghad Al-Agbar
-Raghad Odeh
Under Of Supervisor:-
Dr. Ahmad Saleh
2021-2022
1

## Slide 2
Introduction
Site Analysis
Architectural Aspect And Consideration
Lumion 3D Model
Environmental Aspect And Consideration
Structural Aspect And Consideration
Electro - Mechanical Aspect
Quantity Surveying And Cost Estimate
2

## Slide 3
Introduction
This Project represent an integrated Re-design for the development and lending fund for local Authorities Building , in the area called Dar Jerries' in Ramallah , that was established in 2005 by the Palestinian government to serve as the main channel to support the process of reform and development of local authorities.
3

## Slide 4
Site Analysis
4

## Slide 5
Architectural Aspect And Consideration
8

## Slide 6
First Basement Before Modification
First Basement After Modification
Architectural Aspect And Consideration
9

## Slide 7
Second Basement Before Modification
Second Basement After Modification
Architectural Aspect And Consideration
10

## Slide 8
Ground Floor Before Modification
Ground Floor After Modification
Architectural Aspect And Consideration
11

## Slide 9
First Floor After Modification
Architectural Aspect And Consideration
12

## Slide 10
Architectural Aspect And Consideration
Section A-A After Modification
13

## Slide 11
Lumion 3D Model
14

## Slide 12
Environmental Aspect And Consideration
15

## Slide 13
Shading
21/12 – 8:AM
16

## Slide 14
Shading
21/6 – 8:00 AM
17

## Slide 15: Daylight Factor
Ground floor
Fourth floor
Before Modification
18

## Slide 16
Ground floor
Fourth floor
Daylight Factor
After Modification
Changing the type of glass and vertical louvers
19

## Slide 17
Total site energy of building= 163.31 KWh/m2 , which is less than the standards that equals to 52.9 KBtu/ft2 = 600 KWh/m2.
20

## Slide 18
21

## Slide 19: Heating & Cooling Load
U – value =0.38 W/m2.K
U – value =0.45 W/m2.K
U – value =1.78 W/m2.K
U-Value After Modification
22

## Slide 20
Structural Aspect And Consideration
23

## Slide 21
Structural Aspect And Consideration
3d modeling
Dead load (weight of structural elements)
Live Load= 5 KN/m²
Superimposed Load (weight of tiles, mortar, fill... etc.) =3.5 KN/m²
Weight of external stone walls will be between (18-22) and suppose its 21.00 KN/m (Applied on external beams)
Weight of Curtain walls = 0.60KN/ m2
Block
The building was designed as a single block, after making sure that the length and width of the building does not need Expansion joints.
24

## Slide 22
One and Two-way ribbed slab with hidden beams
Slab Design
slab thickness 320 mm as shown in figure , we use 240 mm hollow block thickness, and we add 20 mm of concrete to be more easy to design
25

## Slide 23
Column
Structure Element Design
Shear Wall
26

## Slide 24
Beam
Structure Element Design
Shows all information added to brokon software to design retaining wall
27

## Slide 25
ETABS Structural Model
Checks will do:
Equilibrium check
Compatibility check
Internal forces check
28

## Slide 26
Compatibility check
from mode 1
Compatibility check
Equilibrium Check
29

## Slide 27
Column that was chosen
Stress strain for column
3d modeling for axial load
Internal Forces Check
Total axial from l.l =
Total axial from l.l =
% Error= =2.17 %
30

## Slide 28
check moment & shear in beams
3D modeling for moment in beams
2D modeling for moment in beams
Internal Forces Check
Wu beams=)+( 0.6*0.3* 25*1.2).
Wu beams=99.9
M by hand ==527
From ETABS:
+M1=426
-M2=200
+M2=265
Shear=359
=578
% Error= =8.8%
Shear=
Shear==373
% Error= =3.75%

## Slide 29
+M1=29
-M2=60
+M2=17
M total =83
M by hand = =75.6
% Error =9%
+M=27
-M=89
+M=36
=120.5KN
M by hand = =129
% Error =7.13%
+M=16
-M=63
+M=82
=112KN
M by hand = =132
% Error= ((132-112))/112 =17.8%
Two way slab m22
One way slab
Internal Forces Check
Two way slab m11

## Slide 30
Seismic checks For Block
Structural Aspect
Structure Period Check:
Method A:
T = Ct (hn)3/4
Ct = 0.035 (0.0853) for steel moment resisting frames.
Ct = 0.030 ( 0.0731) for reinforced concrete moment resisting frames.
Ct = 0.02 (0.0488) for all other buildings.
Method B:
T from etabs shall be <= 1.4* T method A
Calculations:
T = 0.0731 (29)3/4 =0.91second
1.4* T=1.4*0.91=1.27seconds
Tx from etabs=0.601<= 1.27, so the first check is acceptable.
Ty from etabs=0.752<= 1.27, so the first check is acceptable

## Slide 31
Seismic checks For Block
Structural Aspect
Checks Participating Mass Ratio
As shown in the previous table sum of x and sum of y more than 90%, and that’s after added 12 modes to be an outcome 24 modes instead of 12 modes .

## Slide 32
Seismic checks For Block
Structural Aspect
Base shear check
Base shear from Etabs:
V=min x W x where:
Ca =0.18 , Cv =0.25
I=1,R=5.5
Tx from etabs=0.601, Ty from etabs=0.752
W=dead load+SID+0.3Live load
W=31127+20139.99+ (0.3*14849.85)=55722.02 KN
Vx=min x 55375.32 x =5367.93
Vy=min x 55375.32 x =4210.14
Vx from etabs=5177.07 KN
Vy from etabs=4137.52 KN
Base shear By Hand Calculations:
Percentage Error:

## Slide 33
Seismic checks For Block
Structural Aspect
ΔM=0.7*R* Δs from etabs
Drift limitation (Δ) =0.025x h story if period less than 0.7second.
Drift limitation (Δ) =0.02 x h story if period more than 0.7second.
ΔM shall be <= Drift limitation (Δ)
Sample calculations for storey1:
Height=2750mm
dis x=0.231mm from etabs ,drift x=0.231-0=0.231mm
dis y=0.307mm from etabs ,drift y=0.307-0=0.307mm
ΔMx=0.213*5.5*0.7=0.889mm
ΔMy=0.0.307*5.5*0.7=1.182mm
ΔMult=0.02*2750=55mm
ΔMx<= ΔMult so check is acceptable.
ΔMy<= ΔMult so check is acceptable
Shows Drift Checks

## Slide 34
Beam Plan
Structure Detailing
Ground Floor Beam Plan
Second Basement Beam Plan

## Slide 35
Beam 2 Detail
Structure Detailing

## Slide 36
Beam 3 Detail
Structure Detailing

## Slide 37
Column Detail
Structure Detailing
Cross Section Of C6
Cross Section Of C9
Cross Section Of C3
Cross Section Of C5

## Slide 38
Slab Detail Design
Structure Detailing

## Slide 39
Shear Wall Detail
Structure Detailing

## Slide 40
Mat Foundation Detail
Structure Detailing
Min reinforcement = 0.0018 *b * h
Min reinforcement = 0.0018 * 1000 * 900 =1620 mm²/m
Use 1 Ø 18 @ 140 mm in directions 1-2 for top bars
Calculation Of Reinforcement
Calculation Of Stud
Assume 18 mm studs 
Use s = 200 mm

x = 602 mm Use x = 600 mm

## Slide 41
Retaining Wall Detail
Structure Detailing

## Slide 42
Water Tank Detail
Structure Detailing

## Slide 43
Stair Detail
Structure Detailing

## Slide 44
Electro - Mechanical Aspect

## Slide 45
Fire Safety Design
Evacuation Way For Ground Floor

## Slide 46
Fire Safety Design
Evacuation Way For First Floor

## Slide 47
Fire Safety Design
Evacuation Way For First Basement
Evacuation Way For Second Basement

## Slide 48
Fire Safety Design
The symbols of suppression system
The symbols of Detector
Emergency signs and light
Co2 Extinguishers
Water Sprinklers

## Slide 49
Fire Safety Design
Fire Fighting Design For Ground Floor
Emergency Sign & Light Design For Ground Floor

## Slide 50
Fire Safety Design
Fire Fighting Design For First Basement
Emergency Sign & Light Design For First Basement

## Slide 51
Fire Safety Design
Fire Fighting Design For Second Basement
Emergency Sign & Light Design For Second Basement

## Slide 52
Fire Safety Design
Detector Distribution For Ground Floor
Detector Distribution For First Floor
Detector Distribution

## Slide 53
Fire Safety Design
Detector Distribution For First Basement
Detector Distribution For Second Basement

## Slide 54
Water Supply Design
The maximum number of people may exist inside the Project at the same time, equals 100 person.
In addition, the average daily consumption per person is 15 liters.
Water consumption = 0.015 m³/day × 100person=1.50 m³/day.
Use 2 tanks each tank is 1000 L
Water demand amount in each floor

## Slide 55
Water Supply Design
Diameters of the used pipes for vertical feeder 1 .
Diameters of the used pipes for vertical feeder 2.

## Slide 56
Water Supply Design
Water Supply Design For Ground Floor
Water Supply Design For First Floor

## Slide 57
Water Supply Design
Water Supply Design For Second & Third Floor

## Slide 58
Drainage System Design
Shows Number Of DFu
Shows Diameter And Slop Pipe
Drainage System For Ground Floor

## Slide 59
Drainage System Design
Drainage System For First Floor

## Slide 60
Drainage System Design
Manhole Distribution On Second Basement

## Slide 61
Drainage System Design
Roof slope plan

## Slide 62
Hvac Design
The using system is VRF system, with three main component
Out Door Unit
Controller
Diffuser

## Slide 63
Hvac Design
Hvac Design For Ground Floor
Hvac Design For First Floor

## Slide 64
Hvac Design
Hvac 3D Model Design

## Slide 65
Artificial Lighting Design
Type of used Luminaires

## Slide 66
Artificial Lighting Design
Office
Meeting Room
Cafeteria

## Slide 67
Artificial Lighting Design
Artificial Lighting For Ground Floor

## Slide 68
Artificial Lighting Design
Artificial Lighting For First Floor

## Slide 69
Artificial Lighting Design
Artificial Lighting For Second & Third Floor
Artificial Lighting For Fourth Floor

## Slide 70
Artificial Lighting Design
Artificial Lighting For First Basement
Artificial Lighting For Second Basement

## Slide 71
Power Design
Power Design For Ground Floor
Power Design For First Floor

## Slide 72
Power Design
Power Design For Second & Third Floor
Power Design For Fourth Floor

## Slide 73
Power Design
Power Design For First Basement
Power Design For Second Basement

## Slide 74
Acoustical Design
Lecture hall
Noted :- that after the modification, the area RT60 became within the required range (0.6-1.3)for medium frequency

## Slide 75
Acoustical Design
Lecture Hall - Exterior Wall
The component of wall are 70mm stone,110mm concrete,50mm polystarine,100mm hollow block,20mm plaster, total thickness is 350mm
The component of glazing: 6.4laminated glass, 12mm air, 6.4mm laminated glass, and 2mm acoustic resin for each side
As shown in previous figure the total STC for exterior wall =50 and this value its very good and acceptable compare with standard .

## Slide 76
Acoustical Design
Lecture Hall – Interior Wall
The component interior wall: 25mm plaster, 100mm hollow block, 25mm plaster ,Total thickness =150mm
As shown in previous figure the total STC for exterior wall =44 and this value its very good and acceptable compare with standard .

## Slide 77
Quantity Surveying And Cost Estimate

## Slide 78
Quantity Surveying And Cost Estimate

## Slide 79
Thank You For Listening