## Slide 1
Kamel Husein Iweida
Mohammad Husam Barham
Mohsen Mohammad Marie
Mustafa Ali Saleh
Wind Turbine Design
And evaluation

## Slide 2: objective
In this project wind turbine system will be constructed to generate power to supply electricity for buildings demands and batteries

## Slide 3: Overview
blades of the wind turbine will be designed and manufactured based on the specific of the wind generator.
the wind turbine will be installed on roof of scientific centers building and then the wind turbine will be connected by wire into control unite in the energy research center (ERC) , the control unit will be connected with batteries and inverter .
project data of the wind speed will be measured by using anemometer , at the same time the value of current and voltage will appear on the computer screen which interface with PIC , then the data obtained will be tabulated and analyzed.

## Slide 4: TURBINE OPERATION MODES
Stand Alone system
Connect to the Utility Grid

## Slide 5: Application
Electricity Production
Wind Energy for Water Applications
Water Pumping
Industrial Applications
Telecommunications
weather stations
windmill

## Slide 6: Wind Turbine
TYPE WIND TURBINE:
HAWT

## Slide 7: Type of wind turbine (cont)
VAWT

## Slide 8: Turbine Aerodynamics

## Slide 9: Project components

## Slide 10: generator
The Permanent Magnet Generator

## Slide 11: Controller system & Anemometer

## Slide 12: Battery& Inverter

## Slide 13: pic

## Slide 14: Procedure

## Slide 15: Analysis data
Ptheo= 1/2 ρ π r2 V3
Pexp= V*I
Pcoff = Pexp /Ptheo

## Slide 16: Analysis data (cont)
Power Curves

## Slide 17: Cost in $ for different component & reliability

## Slide 18: relationship between wind speed and cost of Kwh($)
cost of kwh at different average annual wind speed

## Slide 19: Conclusion & Recommendation
The best and the only choice for Palestinians is develop their renewable energy source in order to achieve their energy needs .
Site location is a crucial element, and will have a major impact on which turbine you can consider. Turbines are best placed with enough open space to allow the wind direct access to the rotor.
Similar wind turbine project can be conducted for other sites in Palestine that have strong wind speeds ( as Hebron and Ramallah ) .

## Slide 20
Thank You for Your Time and Attention
!!!!