## Slide 2
An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project – 2
Design of an integrated Mall
Prepared By: Waseem Alqasem
Rezaq Shadeh
Omar Qubaa
Ashraf Zaid Project supervisor: Eng. Narmen Albarq
2015-2016

## Slide 3
CONTENTS
Introduction
Selected Site
Architectural Design
Structural Design
Environmental Design
Electrical Design
Mechanical Design
Safety Design
Estimated Cost

## Slide 4: INTRODUCTION
The main concept of our project was to design an integrated Mall, and our focus has been on Structure, Environmental, Electrical, Mechanical and Safety design to make an integrated Mall.

## Slide 5: Location:
The site of the project is located in Kalkilya city
The area of land about 1050 m² .
The land has slight slope , and stands at an elevation of around 60m above Sea level.
Rebound from streets : 2 m

## Slide 6: ARCHITECTURAL DESIGN

## Slide 7: Site Plan

## Slide 8: Basement Floor
Notes: the following areas in addition to corridors, stairs and shaft.

## Slide 9: Ground Floor
Area (m2) | F.F contain :
31.05 | Shop 1
29.5 | Shop 2
21 | Shop 3
19.75 | Shop 4
25.7 | Shop 5
26.2 | Shop 6
20 | Shop 7
36.2 | Shop 8
21.5 | Shop 9
19.7 | Shop 10
120 | Super market 11
28.15 | Shop 12
21.8 | Shop 13
22.2 | Shop 14
27.36 | Shop 15
Notes: the following areas in addition to corridors, stairs and shaft.

## Slide 10: First Floor
Area(m2) | F.F contain
35.8 | Shop 1
33.6 | Shop 2
21.5 | Shop 3
23.65 | Shop 4
25.8 | Shop 5
41.8 | Shop 6
29.75 | Shop 7
43.6 | Shop 8
37.16 | Shop 9
45 | Shop 10
27.4 | Shop 11
Notes: include the following areas in addition to corridors, stairs and shaft

## Slide 11: Second Floor
Area(m2) | Second Floor contain:
35.8 | Shop 1
33.6 | Shop 2
21.5 | Shop 3
23.65 | Shop 4
25.8 | Shop 5
41.8 | Shop 6
29.75 | Shop 7
43.6 | Shop 8
37.16 | Shop 9
45 | Shop 10
27.4 | Shop 11
Notes: 2nd F include the following areas in addition to corridors, stairs and shaft

## Slide 12
Area(m2) | Floor contain:
85.6 | Office 1
67.4 | Office 2
39.5 | Office 3
58.3 | Office 4
76.34 | Office 5
56 | Office 6
71 | Office 7
79 | Office 8
72.5 | Office 9
68 | Office 10
Third to fifth Floor
Notes: 3rd & fourth & fifth Floors include the following areas in addition to corridors ,stairs

## Slide 13: West Elevation The main Entrance asserts itself through architectural design philosophy by prominent mass above it.

## Slide 14: East Elevation The eastern facade represents the back of the building.

## Slide 15
South Elevation High sun angles most of the day makes this facade Ideal for passive shading strategies, horizontal shelves can be installed to reduce the heat gain and eliminate glare.

## Slide 16
North Elevation On this side there is no glass façade because of function issues

## Slide 17: Section A-A
Section B-B

## Slide 18: STRUCTURAL DESIGN

## Slide 19
Design Codes
ACI -318-08 for reinforced concrete structural design.
ACI -350-3-06 for seismic design of soil pressure with concrete structure .
UBC -97 for earthquake load combinations.
ASCE for load combinations.

## Slide 20
Compressive strength of Concrete “f′c”.
    For columns and slabs f′c = 24 Mpa
    For all other elements in structure such as blinding and bracing f′c = 16 MPa
Yielding strength of steel fy = 420 MPa.
Material Property
Soil Property
Soil bearing capacity = 300 KN/m2
Soil profile = Sb

## Slide 21
Super Imposed dead load (SI):4.5 KN/m2
Live Load (L.L): 3.5 KN/m2 (for Shops) 3 KN/m2 ( for offices )
Lateral loads consider earthquake load.
Loads

## Slide 22
Column Center Lines Grid

## Slide 23: Design and Reinforcement of Structural Elements
Slab (one way & two way rib) .
Beams ( drop) .
Columns .
Shear wall .
Stair .
Footings .

## Slide 24
Mall 3D Model - Etabs

## Slide 25
Model Checks
Compatibility
By starting animation for the MODAL deformed shape, the structure was moving as one unit. The value of factor (T =0.837) is within the acceptable range which mean that the structure is Okay.
Deflection
L/360 =7.5/360 = 0.0208m =20 mm Maximum deflection found by ETABS = 2.8 mm <20 mm

## Slide 26
Model Checks
Equilibrium
Load | Manual Calc. | Etabs Calc. | Error%
Live | 11002.55 | 11002.567 | .00015
Dead | 28842.96 | 28921.0744 | 0.27

## Slide 27
Model Checks
Internal Forces
Element | Ultimate Force ETAB | Ultimate Force Manual | % of Error
Beam | 281.86 KN.m | 292.8KN.m | 3.73
Slab | 25.15 KN.m/m | 26.0KN.m/m | 3.26

## Slide 28
Cv = 0.18
Ca = 0.25
Seismic design
I = 1.25
R = 4.5
Base shear ( V ) =5691.94KN
(UX = 5691.94 , UY = 5691.94)
Soil profile SB
Z = 0.15
From Etabs
Mass participation ratio is larger than 90% in X, Y .

## Slide 29
Footing Reinforcement Details
Mat Foundation

## Slide 30
Column Reinforcement Details

## Slide 31
Column Reinforcement Details

## Slide 32
Beam Reinforcement Details

## Slide 33
Slab Reinforcement Details

## Slide 34
Slab Reinforcement Details

## Slide 35
Shear Wall Details

## Slide 36
Stair Reinforcement Details

## Slide 37: Seismic Joint

## Slide 38: Environmental Design

## Slide 39
Codes and specifications:
Energy Efficient Palestinian Building Code
Software:
Design builder version 4.5

## Slide 40: Some Facilities Used to Achieve Environmental Design
Project have a void area in the center of the building that give Daylight and natural ventilation.
In the south there is already a building covering the area ,so we didn’t have to use shading .

## Slide 41: Sun path on the building at 21 July

## Slide 42: Sun path on the building at 21 January

## Slide 43: Envelope Insulation
Stone wall
(U-value = 0.522W/m².K
Flat roof
(U-value = 0.390W/m².K)

## Slide 44: Glass Selection

## Slide 45: Thermal Analysis
Block | Design Capacity (kW)
GF | 50
F1 | 52.47
F2 | 52.69
F3 | 57.54
F4 | 56.24
F5 | 60.28
Cooling Load
Block | Design Capacity (kW)
Gf | 21.68
F1 | 17.15
F2 | 16.63
F3 | 17.15
F4 | 17.59
F5 | 22.9
Heating Load
Heating and Cooling Loads With Insulation(63Kw/m2)

## Slide 46: Thermal Analysis
Temperature and heat loss charts

## Slide 47: Thermal Analysis
Temperature and heat gain charts
Energy consumption chart

## Slide 48: Natural day light

## Slide 49: Acoustical Analysis
We have IIC= 70 which is greater than 60... OK

## Slide 50: Acoustical Analysis
RT60 calculations for cafe shop:
Recommended RT60 Rating 0.7- 1.3 s

## Slide 51: Acoustical Analysis
Values of RT60 after improving

## Slide 52: Loudspeakers design and distribution
Specifications for the speaker

## Slide 53: Speaker distribution

## Slide 54: Electrical & Mechanical Design

## Slide 55: Electrical Design 1. Artificial lighting. 2. Sockets arrangement.

## Slide 56: Artificial lighting

## Slide 57: Artificial lighting Office lighting

## Slide 58: Shop lighting

## Slide 59: Sockets Arrangement

## Slide 60: Circuit breakers (C. B.) circuit breaker 10 Amp are used for lighting and 16 Amp for sockets. for lighting use cable 1.5 mm². for sockets use cable 2.5mm².

## Slide 61: Mechanical Design 1. water supply design 2. Water Drainage Design 3. Vertical Transportation (Elevator) Design 4. HVAC DESIGN

## Slide 62: Water supply design Available pressure to lose by fitting = 54 - 15 = 39 psi. available pressure to lose by fitting = 39 psi >> 15.7 psi →ok

## Slide 63: Water supply design

## Slide 64: Water Drainage Design

## Slide 65: Rain Drainage System

## Slide 66: Vertical Transportation (Elevator) Design best choice : N=2 , (2500 Lb ,13 person) plus one.

## Slide 67: HVAC DESIGN Chilled water systems

## Slide 68: HVAC DESIGN Distribution of Diffusers

## Slide 69: Safety Design 1. Extinguisher 2. Sprinklers 3. Egress rout

## Slide 70: Estimated Cost The Total Project Cost = 3,628,000 NIS The total cost per meter square is about 600 NIS
cost | type
25000 | Excavation work
566250 | steel work
568324 | concrete work
326056 | finishes work
1243200 | stone and plaster work
900000 | labor