## Slide 1: Supervisor : Dr.Luay Dwaikat
An-Najah National university
Faculty of engineering
Building engineering departmenet
Graduation project ||
Toward zero energy building
Prepared By : Jafar Abu Zahra Qaysar halabi Mohannad zohair

## Slide 2: Outline
Introduction.
Site analysis.
Architectural design.
Structural design.
Environmental design.
Electro-mechanical design
Safety and fire system.
Quantity survey
Life cycle cost

## Slide 3: Introduction
What is zero energy building?

## Slide 4: Why we chose this project?
Source: United Nation Report on the global AIDS epidemic, 2010

## Slide 5: Site Analysis
Project location : Roujeeb village ,Nablus- Palestine
Total area of 1950 m2

## Slide 6: Architectural Design
Our building contains three stories and basement.
every story contains two apartments with an area 220 m² each .

## Slide 7: Architectural Design
3D-view

## Slide 8: Architectural Design
3D-view

## Slide 9: Architectural Design
Site plan

## Slide 10: Architectural Design
basement plan

## Slide 11: Architectural Design
ground floor plan

## Slide 12: Architectural Design
First floor plan

## Slide 13: Architectural Design
second floor plan

## Slide 14: Architectural Design
Roof plan

## Slide 15: Architectural Design
Southern elevation

## Slide 16: Architectural Design
northern elevation

## Slide 17: Architectural Design
eastern elevation

## Slide 18: Architectural Design
western elevation

## Slide 19: Architectural Design
Section A-A

## Slide 20: Architectural Design
Section B-B

## Slide 21: Architectural Design
Section C-C

## Slide 22: Structural Design

## Slide 23: Structural Design
Codes and Standards:
ACI -318-11 for reinforced concrete structural design.
UBC -97 for earthquake design.
ASCE 7 2010 for load combinations

## Slide 24: Structural Design
Design data:
Concrete strength for slabs and beams, f’c =24 MPa.
Concrete strength for columns and shear walls, f’c =28 MPa.
Steel yield strength f=420 MPa.
Bearing capacity for soil = 350 KN/m2

## Slide 25: Structural Design
Loads:
Load Type | Ribbed slab
Live | 3 (KN/m2)
S.I.D | 5 (KN/m2)

## Slide 26: Structural Design
Lateral loads:
The city of structure is Nablus.
The seismic zone factor. Z=0.2.
The soil profile is type Sc.
The acceleration seismic coefficient Ca=0.24
The velocity seismic coefficient Cv=0.32.
The Seismic importance factor is 1.
The structural design type is building frame, R=5.5

## Slide 27: Slabs
Ribbed slab with 32 cm thickness.
25

## Slide 28: Beams
26

## Slide 29: Columns layout
27

## Slide 30: Footings layout
28

## Slide 31: Modeling
29

## Slide 32: Verification of model
Compatibility check
Equilibrium check
Internal force check
Deflection check
Drift check
Period check
Model participating mass ratio check

## Slide 33: Slab Reinforcement
31

## Slide 34: Beam Reinforcement
32

## Slide 35: Beam Reinforcement
33

## Slide 36: Beam Reinforcement
34

## Slide 37: Beam Reinforcement
35

## Slide 38: Columns Reinforcement

## Slide 39: Columns Reinforcement
37

## Slide 40: Footing Reinforcement TABLE
38

## Slide 41: Footing Reinforcement
39

## Slide 42: Environmental Design

## Slide 43: Passive Design
Building Orientation
Thermal Insulation
Solar window.
Shading system.
Solar Hot Water.

## Slide 44: Passive Techniques
Solar window

## Slide 45: Effect of shading
1)21th July at10:00 (Summer solstice)

## Slide 46: 2) 21th Jan at 11:00 (Winter solstice):

## Slide 47: Materials used Comparison between materials:

## Slide 48: The results

## Slide 49: The results

## Slide 50: Thermal comfort
Comfort curve:

## Slide 51: LIGHTING DESIGN

## Slide 52: LIGHTING DESIGN
DAY LIGHT FACTOR STANDARDS

## Slide 53: LIGHTING DESIGN
DAY LIGHT FACTOR from DESIGN BUILDER →→for bed room DF%=3.05 Acceptable

## Slide 54: LIGHTING DESIGN
→→for kitchen DF%=2.77 Acceptable

## Slide 55: Lighting design
Artificial lighting design using dialux evo illuminance recommendations
type of room | recommended illuminance value
 | LUX
bed room | 200-250
guest room | 200-300
living room | 200-250
dining room | 200-250
kitchen | 300-500
parking | 100-150
corridor | 100-150
bathroom | 100-150

## Slide 56: Lighting design
Artificial lighting design using dialux evo → living room design

## Slide 57: Lighting design

## Slide 58: Results of calculation surface in living rooms

## Slide 59: Acoustical DESIGN

## Slide 60: Acoustical design
We used Ecotect program to check Reverberation time RT60. although there is no speakers in residential buildings; we check RT60 for spaces and all values are acceptable.

## Slide 61: Sound transmition class STC we used INSUL Program to check design as we see all values are acceptable
type of element | Designed STC value
External wall | 57 dB
Windows double glazing | 34 dB
External wall with glazing | 44 dB
Partition | 51 dB
Ceiling | 58 dB

## Slide 62: Mechanical Design

## Slide 63: Mechanical Design
1) Water supply system:

## Slide 64: Mechanical Design
1) Water supply system:

## Slide 65: Mechanical Design
2) Drainage System

## Slide 66: Mechanical Design
2) Drainage System

## Slide 67: Mechanical Design
3) Rainwater design

## Slide 68: Mechanical Design
4) HVAC design

## Slide 69: Mechanical Design
4) HVAC design

## Slide 70: Electrical Design

## Slide 71: Sockets distribution

## Slide 72: Switches distribution

## Slide 73: Circuit breaker distribution

## Slide 74: Energy Generation Techniques

## Slide 75: Energy generation techniques
On grid photovoltaic system:

## Slide 76: Photovoltaic System

## Slide 77: Calculations:
Total energy consumption (annually) = 67818KWh
1KWP produce almost 1600 KWh (annually)
#of KWP needed = 67818/1600 = 42.38 KWP
We need 43 KWP
We need 129 plates
The capacity for each plate (320-330 watt)
This thing requires about (380-430 m2)
The unit price for one KWP=1200 $
Total price=43*1200= 51600$

## Slide 78: Fire and Alarm System

## Slide 79: Fire and Alarm System
Detectors.

## Slide 80: Fire and Alarm System
Firefighting.

## Slide 81: Quantity Survey
 | Total Cost (NIS) | Unit cost (NIS/m2)
Excavation works | 72000 | 55.81
Civil works | 722184 | 559.83
Architectural works | 1172145 | 908.64
Mechanical works | 118005 | 91.48
Electrical works | 98500 | 76.36
PV-system | 180600 | 140.00
Total Cost | 2363434 | 1832.12

## Slide 82: Life cycle cost
Comparison between traditional building and zero energy building after 25 years at discount rate of 5%.
building type. | Annual energy consumption (KWh/year) | Annual energy recurring cost (NIS) | Energy cost after 25 years (NIS)
Traditional building | 127000 | 76200 | 1074420
Zero-energy building | 67818 | 40691 | 574575

## Slide 83: Life cycle cost
Comparison in cost between the buildings with photovoltaic system and without photovoltaic system) after 25 years.
Energy cost after 25 years for the Building without PV-system is 574575 NIS.
The total cost for PV-system to cover the energy needs of the building is 185760 NIS.
Total cost saving in 25 years is 388815 NIS.