## Slide 2: Integrative Design of a Secondary School
Prepared By:
Feras Hanoun
Majid Shohada
Mohammad Rashdan
Sari Faraj
Supervisor:
Eng. Amer Alsharef

## Slide 3: Ainabous Secondary School
Introduction
Environmental Design
Cost Estimation
Structural Design
Mechanical and Safety Design
Electrical Design
Architectural Design
Site Location

## Slide 4: Introduction
Integrative design of a secondary school .
Architectural, structural, environmental, electrical and mechanical

## Slide 5: Site Location
This land is 400 m to the west of village center, it lies between the main streets of Orif village and Jamaeen village.

## Slide 6: Mechanical System
Under Floor Heating System Layout

## Slide 7: Mechanical System
Under Floor Heating System Calculations for some functions

## Slide 8: Mechanical System
Cooling System

## Slide 9: Mechanical System
Water Supply System
Two Main Branches
For Cold and Hot Water.
Treated Water for Flush Tanks

## Slide 10: Mechanical System
Drainage System
Two Main Branches
For Gray Water, and Rain Water, Treated by Sand Filter
Black Water, Drained to Septic Tank or Municipal Pipe.

## Slide 11: Mechanical System
Manhole’s System
Two Main Branches
For Gray Water, Treated by Sand Filter
Black Water, Drained to Septic Tank or Municipal Pipe.

## Slide 12: Public Safety
Fire hose cabinet
fire extinguishers

## Slide 13
Structure system:
Assumption :
  Loads :
  Vertical loads (Gravity loads):
        Dead load (building weight)
        Super imposed = 5KN/m2.
        Live load = 5KN/m2.
  Lateral loads:
        Earthquake load
  Soil type of the site is lime-stone with bearing capacity of 300 kN/m2.

## Slide 14
Materials :
  Compressive strength of Concrete “f'c”.
    For column and shear wall 32 MPa.
    For bracing 12 MPa.
    For other element 28 MPa.
  Yielding strength of steel Fy= 420 MPa.
Design codes:
    ACI -318-08 for reinforced concrete structural design.
    UBC -97 for earthquake load computations.
    ASCE for load computations.
Computer Program used:
    SAP2000 (v14) programs for analysis and design.

## Slide 15
Structure system:
The project contains three blocks as shown:

## Slide 16
Preliminary Design For Blocks
For Column:
For Beams:
Main Beams are 55 X 30
secondary beams are 25 X35
For Slab:
one way ribbed slab
The Thickness of The Slab is 25 Cm
Dimension | Name
50*30 | C1,C2,C3
40*30 | C4
100*30 | C5

## Slide 17
Preliminary Design For Blocks
  For Footing:
  For Tie Beam:
  Tie beam are 60*30
Depth | Height | Area(m2) | Name
0.42 | 0.50 | 1.75*1.55 | F1
0.42 | 0.50 | 1.6*1.45 | F2
0.42 | 0.50 | 1.5*1.35 | F3
0.42 | 0.50 | 1.2*1 | F4
0.42 | 0.50 | 1.3*1/1m | Wall footing 1
0.42 | 0.50 | 1.4*1/1m | Wall footing 2

## Slide 18
3D Sap Model For Block A

## Slide 19
Deformed Shape For Block

## Slide 20
Equilibrium Check:

## Slide 21
Design Stage:
Slab Reinforcement:
Typical Slab Reinforcement for Slab in X-direction for Blocks

## Slide 22
Design Stage:
Beams Reinforcement:

## Slide 23
Design Stage
Column Reinforcement :

## Slide 24
Design Stage
Footing Reinforcement:

## Slide 25
Design Stage
Shear Reinforcement :

## Slide 26
Design Stage
Reinforcement around opening:

## Slide 28: Electrical Design

## Slide 29: Electrical Design
Artificial Lighting
Distribution of lighting
Electrical lighting plans
Electrical Installations
power sockets plans
Distribution boards

## Slide 30: Classroom

## Slide 31: Teachers Room

## Slide 32: Meeting Room

## Slide 33: Staircase

## Slide 34: Luminaire No.1

## Slide 35: Luminaire No.2

## Slide 36: Luminaire No.3

## Slide 39: Distribution Boards

## Slide 40: Distribution Board

## Slide 41: Total Cost Of Project
The total cost of the project is about 1,600,000 NIS