Towards  Green  Building

Case study: Fine Arts Building( at An Najah national University)

The Project  Idea:

Modify Certain aspects  to make the Building  more  environmentally friendly (green).

Architectural Design:

A (48x41) m building consist of a basement with an area of (1003.5 m2),(1668.9m2) for the ground floor, (139.89m2) for the roof and (1571m2) for the rest floors.
The Faculty was designed in the latest specifications and standards, and provide 19 classroom and 28 studios designed specifically to meet the purpose for which it was designed for.

Element  for  green  design:

- Thermal.

- Acoustic.

- Handicap.

- Safety.

- Lighting.

- Water management.

- Also, Structural design.

1-How to increase Thermal efficiency of a building::

Thermal  problem  solved  by:

Insulation.

Shading.

Skylight.

2-Noise Reduction:

Noise Reduction from outside:

Using polyurethane in outside wall.

For Noise room in First floor:

Using  egg craft  insulation  in walls, and acoustical tiles.

in structural Borne (Drums room) use PVC or rubber Tiles.

Architectural  and Environmental Modification:

Adding Handicaps Ramp.

Adding another Emergency Exit.

Adding Shutters for the north and south Windows.

Adding a Shutters(Solar chimney)for the void.

Using Polyurethane and egg craft.

Using Rubber Tiles in music room.

Using acoustical Tiles.

Project  design data

- The American Concrete Institute code ACI 318-05 .

- The seismic design according to UBC-97.

- Then the analysis and design are done using 3D model using SAP2000 program.

Material used:

B350 concrete is used→f'c=300Kg/cm²

Unit weights of materials:

Reinforced concrete = 2500 kg/m3.

Hollow block = 1000 kg/m3.

Eaton blocks =470 kg/m3.

The yield strength of steel for flexure equal fy = 4200 kg/cm2 and for shear reinforcement equal fys = 4200 kg/cm2.

bearing capacity of soil =  4 Kg/cm2.

Soil density 19.2 KN/m3

Structural system:
In this block we use two way ribbed slab with 40 cm depth.

LL=0.5 ton/m².

SID=.35t/m²

Wu=  1.85ton/m².

Main beams is assumes

to be 70*60cm (drop beam)

Secondary beams (above shear walls) assumes to be 40*30

Water Management:

Separate  grey water from black water.

Recycling grey water and reuse it in supplying W.c’s or in  irrigation.

Use of storm water in irrigation or in W.c

Recycling Gray Water:

Ultraviolet germicidal irradiation (UVGI).

Electrical System :

Using DIALux  program  for lighting and for calculate the intensity and the distribution  for Regular light units.

The company that was dealing with, 
Thorn  global company, to provide dramatically and spread in most countries of the world .

15 % saving in lighting.