## Slide 1: Structural Design of University College of Technology and Applied Sciences Building in Nablus
Prepared by: Ahmad Sawalmeh & Ahmad Fuqaha
Supervisor: Eng. Ibrahim Arman
Date: 22-12-2016
An-Najah National University
Faculty of Engineering
Civil Engineering Department

## Slide 2: Outline:
General Description.
Preliminary Design.
Three-Dimensional Modeling & Analysis.
Masonry Block Analysis Study.

## Slide 3
General
Description
Main Assumptions.
Types of Loads.

## Slide 4: General Description

## Slide 5: General Description

## Slide 6: General Description

## Slide 7
Main Assumptions
Codes & Standards.
IBC-2012
ASCE 7-10
ACI 318-14
Material Properties.
Risk Category.
Risk Category III

## Slide 8
Types of Loads
Gravity Loads (KN/)
(ASCE 7-10) (1)
Superimposed | Live | Snow
3.25 | 4.80 | 1.00
0.9 | 1 | 1.1 | 0.69
0.9 | 1 | 1.1 | 0.69

## Slide 9
Lateral Loads (according to ASCE 7-10)
Wind Load : (2) (3)
Table 27.3-1 | 1 | 0.85 | 140 Km/hr
Location | Windward | Sideward | Leeward
Cp | 0.8 | -0.7 | -0.3
Table 27.3-1 | 1 | 0.85 | 140 Km/hr
Location | Windward | Sideward | Leeward
Cp | 0.8 | -0.7 | -0.3

## Slide 11
Earthquake Load.
Spectral Response Acceleration.

## Slide 12
Design Response Acceleration Parameters
Site Class : C
Importance Factor : 1.25
Seismic Design Category : D

## Slide 13
Preliminary Design
Slab
Beams
Columns

## Slide 14
Preliminary Design of Slab
Structural System:
Two-way Waffle.

## Slide 15
Designed Frame

## Slide 16
Critical Panel

## Slide 17
According to calculations, the resulted thickness of a solid slab is 30.0 cm.
Equivalent waffle section:
Resulted Thickness

## Slide 18
Preliminary Design of Beams
Minimum Depth (According to ACI 318-14):
For beam B4 (e.g.) = 0.55 m
Dimensions of the beams:
 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
Width (mm) | 1000 | 900 | 700 | 600 | 500 | 300 | 250 | 600 | 250
Depth (mm) | 725 | 725 | 725 | 725 | 725 | 725 | 725 | 525 | 525

## Slide 19
Beams Layout

## Slide 20
Preliminary Design of Columns

## Slide 21
Preliminary Design of Columns
Critical Column C8:
Ultimate load = 3781.4 KN.
(4)
Assuming ρ = 1%
Dimensions = 500 × 500 (mm)

## Slide 22
3-D Modeling & Analysis
Section & loads Assignment & related definitions
Checks:
Compatibility.
Equilibrium.
Type of System & Irregularity Checks.

## Slide 23
3-D Modeling

## Slide 24
Sections & Load definitions

## Slide 25
Response Spectrum Function

## Slide 26
Checks:
Compatibility

## Slide 27
Equilibrium
Gravity loads
 | Dead (KN) | Live (KN) | Snow (KN) | Superdead (KN)
Hand calculations | 66229.1 | 20246.4 | 1406 | 40327.62
Difference % | 0.06 % | 0.14 % | 0.14 % | 0.17 %

## Slide 28
Internal Forces
Beams ( B2)
Hand ML= 71.34 KN.m
Etabs ML = 68.36 KN.m
Difference = 4.1 %

## Slide 29
Internal Forces
Critical Panel
Hand Mu = 80.68 KN.m
Etabs Mu = 80.48 KN.m
Difference = 0.2 %

## Slide 30
Internal Forces
Critical Column
Hand PL = 652.61 KN
Etabs PL = 642.64 KN
Difference = 1.5 %

## Slide 31
Base Shear
SDS = 0.6 , SD1 = 0.3875.
SDC = D
Seismic Force-Resisting System:

## Slide 32
Effective Seismic Weight ( D+SD+0.25L) = 111618 KN
Importance Factor = 1.25
Analysis procedure selection:

## Slide 33
Total base shear = 13952 KN
Difference Percentage = 1.14 %

## Slide 34
Check Type of the Structural System
Percent of base shear in columns = < 25%
Percent of base shear in shear walls = > 75%

## Slide 35
Deflection
Long term Deflection : (5)

## Slide 36
Deflection
Allowable Deflection : = 0.0275 m = 27.5 mm.
Long term Deflection = 17.01 mm.

## Slide 37
Type of Diaphragm
UX, midpoint <
0.435 < mm.
The Diaphragm is rigid in X & Y direction.

## Slide 38
Irregularities
Horizontal Irregularities:
Type 1 – Torsional Irregularity.

## Slide 39
Irregularities
Horizontal Irregularities:
Type 2 – Reentrant Corner irregularity.
In X-direction:
The projection beyond the re-entrant corner is
In Y-direction:
The projection beyond the re-entrant corner is
Irrigularity exists.

## Slide 40
Irregularities
Horizontal Irregularities:
Type 3 – Diaphragm discontinuity.
The percentage of opening area in the diaphragm =

## Slide 41
Irregularities
Horizontal Irregularities:
Type 4 – out of plan offsets.
Does not exist.

## Slide 42
Irregularities
Horizontal Irregularities:
Type 5 – Non-parallel System.
Does not exist.

## Slide 43
Irregularities
Vertical Irregularities:
Type 1 – Stiffness Soft Story.
When 70% of excess
Does not exist.

## Slide 44
Irregularities
Vertical Irregularities:
Type 2 – Mass & weight vertical irregularity.
is considered to exist when the effective mass of any story is more than 150 percent of the effective mass of an adjacent story.
Does not exist.

## Slide 45
Irregularities
Vertical Irregularities:
Type 3 – Vertical Geometry.
Does not exist.
is considered to exist where the horizontal dimension of the seismic-force-resisting system in any story is more than 130 percent of that in the adjacent story.

## Slide 46
Irregularities
Vertical Irregularities:
Type 4 – In plan Discontinuity in Vertical.
Does not exist.
vertical irregularity exists when there is an in-plane offset of the lateral-forceresisting elements greater than the length of those elements

## Slide 47
Design of Structural Members
Structural system:
Intermediate Beams.
Special Columns.
Special Shear walls.

## Slide 48
Design of Structural Members
Beams
Flexure Check:
Difference % = 1.44%

## Slide 49
Design of Structural Members
Beams
Shear Check:
Difference % = 0.00%

## Slide 50
Design of Structural Members
Beams
Torsion Check:
Difference % = 1.18%
.
Difference % = 1.66%

## Slide 51
Design of Structural Members
Column
Slenderness (P- effect):
For column not braced against side sway : not slender.
For column braced against side sway : if not slender.
Check if braced or not: If stiffness of Lateral Force Resisting System > 12 stiffness of columnsbraced.
= (About global Y-axis)

## Slide 53
Design of Structural Members
Column
Axial & Bending Moment Strength Check:
= 26.7 KN.m, = 32.2 KN.m
= 15 + 0.03 x h = 30 mm.
= 41 KN.m
Chart: Ø Mu (KN.m)
| 0 | 156.27670000000001 | 238.43700000000001 | 304.0247 | 352.2475 | 389.56799999999998 | 437.08170000000001 | 461.37470000000002 | 355.51940000000002 | 189.8878 | 0
Phi Mu | 3973.4357 | 3973.4357 | 3628.4806 | 3056.9091 | 2436.7697 | 1709.5794 | 1449.4447 | 1010.296 | 200.5143 | -684.8034 | -1587.517
500 mm
500 mm

## Slide 54
Detailing of Structural Members
General Seismic Requirements
Intermediate beams.
Longitudinal Reinforcement:
Have at least two continuous bars at both top and bottom faces. Continuous bottom bars shall have area not less than one-fourth the maximum area of bottom bars along the span.
Positive moment strength at joint face is not to be less than 1/3 of the negative moment strength provided at the face of the joint.
The negative or positive moment at any section along the member is not to be less than 1/5 the maximum moment strength provided at the face of either joint.

## Slide 55
Detailing of Structural Members Reinforcement
General Seismic Requirements
Intermediate beams (continued).
Transverse Reinforcement:
Check for Beam-Column design is needed or not:
If Design for axial load is needed.

## Slide 56
Detailing of Structural Members Reinforcement
General Seismic Requirements
Intermediate beams (continued).
Shear Strength Reinforcement:
Shear capacity () shall be at least the minimum of:
The sum of the shear associated with development of nominal moment strength (Mn) of the beam at each restrained end of the clear span and the shear calculated for factored gravity loads (ultimate gravity load).
The maximum shear obtained from design load combinations that include earthquake loading E, with E taken as twice (2E).

## Slide 58
Detailing Sample:

## Slide 59
Detailing of Structural Members Reinforcement
General Seismic Requirements
2. Special columns.
Longitudinal Reinforcement:
Area of longitudinal reinforcement, Ast, shall be at least 0.01Ag and shall not exceed 0.06Ag.
Lap splices are permitted only within the center half of the member length, and shall be designed as tension lap splices and enclosed within transverse reinforcement.
Transverse Reinforcement.

## Slide 60
Detailing Sample:

## Slide 61
Detailing of Structural Members Reinforcement
3. Special shear walls.
Wall components:
Vertical segments.
Horizontal segments.

## Slide 62
Detailing of Structural Members Reinforcement
General Requirements
3. Special shear walls.
and are at least 0.0025.
Reinforcement spacing each way in structural walls shall not exceed 450 mm.
At least two layers of reinforcement shall be used in a wall if Vu larger than 0.17Acv λ or ≥ 2.0
Special requirements for walls piers.
Transverse reinforcement shall be in the form of hoops.
Vertical spacing of transverse reinforcement shall not exceed 150 mm.

## Slide 63
Detailing Sample:

## Slide 64
Detailing of Structural Members Reinforcement
Foundations
Type of footing : Mat & Wall footings.

## Slide 65
Detailing of Structural Members Reinforcement
Detailing:

## Slide 66
Detailing of Structural Members Reinforcement
Tie Beams
Analysis & design considerations:
Gravity loads: Dead load (own weight).
Seismic effects: according to IBC 2012, the design shall be for an axial load = The lesser of
Due to differential settlement effect.

## Slide 67
Detailing of Structural Members Reinforcement

## Slide 68
Hollow Block Masonry Wall Study

## Slide 69
Creating Parts :

## Slide 70
Material Definition
Viscosity parameter | K | fbo/fco | Eccentricity ϵ | Dilation angle ψ (degree) | Poisson’s ratio | Young’s modulus (MPa) | Mass density (Kg/mm3)
0 | 0.67 | 1.16 | 0.1 | 36 | 0.2 | 19,264 | 2.4E-6

## Slide 71
Assembly:

## Slide 72
Meshing Instances:

## Slide 73: Results

## Slide 74: Curve Fitting

## Slide 75: Resulted Mechanical Properties:
Young Modulus = Slope = 14630 MPa
Poisons’ Ratio = Slope = 0.218

## Slide 76: Thank You