## Slide 1
An-Najah National University
Facility of Engineering
Building Engineering department
Qaffin Secondary girls school
Supervisor:
Dr. Mutasim Babaa
Prepared By:
Eleane Jamal Jamlan Mohammad Hasan Hijaz
Lama Hafez Aker Sarah Wadah Zaqzouq
Presented in partial fulfillment of the requirements for Bachelor degree in (Building Engineering).
Graduation project (II) .68591
Notes: Good afternoon everybody our project is Qaffin Secondary girls school our time is sara eleane m7md and me lama and e our supervisor dr mutasem baba

## Slide 2: Table of contents
Introduction To project
Mechanical Design
Architectural Redesign
Structural Design
Electrical Design
Environmental Design
Quantity Surveying
Notes: I’m going with the introduction of the project and then going to architectural redesign and my partner are going to talk about environmental structural mechanical electrical and quantity serving

## Slide 3
Site location
Figure 1: Site
Notes: Site of our school going to be in the village of qafin

## Slide 4
Introduction to project
Figure 2: Average temperature in Tulkarm area
Relative humidity 69%
Wind speed 3.4 km/h

## Slide 5
Architectural redesign:
The total area of the school is (2480m²) each floor has an area of 827 m².
Notes: The shape of the building is obtained from an architectural designer which consists of three floors. The total site area equals (3500m2). Modifications had been made over the architectural design to meet the goals of the project.
The total area of the school is (2480m²) each floor has an area of 827 m².

## Slide 6: Modifications:
Figure 3: first modification
Figure 4: second modification

## Slide 7: Modifications:
Figure 6: fourth modification
Figure 5: third modification

## Slide 8
Modifications
Figure 7: fifth modification

## Slide 9
Floor Plans
Space name | Number
Class room | 4
Toilets | 13
library | 1
Administration | 1
Resources room | 1
Canteen | 1
Storage | 1
First aid | 1
Kitchen | 1
Secretary | 1
Waiting area | 1
Figure 9: Ground floor plan

## Slide 10
Figure 10: first floor plan
Space name | Number
Class rooms | 6
Computer lab | 1
Home economics | 1
Teatcher room | 1
toilet | 2
Councilor room | 1

## Slide 11
Floor Plans
Figure 11: second floor plan
Space name | Number
Class rooms | 6
Science lab | 1
Art and craft | 1
Teatcher room | 1
toilet | 2
Preparation | 1
Lab store | 1

## Slide 12
Site plan
Figure 13: site plan
Figure 12: site

## Slide 13
Elevations
Figure 15: Western elevation
Figure 14: Eastern elevation

## Slide 14
Elevations
Figure 17: southern elevation
Figure 16: Northern elevation

## Slide 15
Sections
Figure 19: Section B-B
Figure 18: Section A-A

## Slide 16: Table of contents
Introduction To project
Mechanical Design
Architectural Design
Structural Design
Electrical Design
Environmental Design
Quantity Surveying

## Slide 17: Environmental Aspects
Maintain human comfort.
Water efficiency.
Natural lighting and minimum glare.
good ventilation in summer.
maintain good acoustical performance (RT60,STC & IIC)
Safe design for reduction of Hazards in school.
Use of green areas.

## Slide 18: Environmental Design
Environmental design includes :
Teaching spaces orientation and design .
Courtyard analysis.
Day lighting analysis.
Acoustical analysis.
Thermal analysis.

## Slide 19
Teaching spaces orientation and design
Each classroom has windows on external wall & partition with corridor
Figure 20 : Section in the classroom

## Slide 20: Courtyard analysis
This covered courtyard provides .
shelter for students in winter
good natural daylighting for courtyard space.
natural lighting and ventilation for the classrooms & corridors
The courtyard was treated for:
excessive lighting.
extra heat in summer & ventilation.
reverberation time & noise
Figures 21 : The location of the courtyard

## Slide 21: Courtyard analysis
It is recommended to use thin filter materials at the glass bottom to prevent birds and insects from interring the space
Figure 22 : opening glass at summer
Figure 24 : Closing glass at winter
Figure 23 : Filter material at the bottom of the court
Notes: The court shading is designed to work as a solar chimney by opining the glass from two sides at summer to release heat and it will be closed at winter.

## Slide 22: Courtyard analysis
Direction of ventilation at the courtyard
Figure 25 : Section in courtyard

## Slide 23: Simulation using Ecotect Program
The school has been analyzed using insulation and natural ventilation without a need for HVAC system.
Figure 26 : School building at Ecotect

## Slide 24: Input data in Ecotect
Overall heat transfer coefficient “U-value” is 0.48
Figure 27 : Layers of external wall with details

## Slide 25: Input data in Ecotect
Overall heat transfer coefficient “U-value” is 2.93
Figure 28 : Layers of partition with details

## Slide 26: Input data in Ecotect
Overall heat transfer coefficient “U-value” is 0.74
Figure 29 : Layers of roof with details

## Slide 27: Day lighting analysis
Area | Floor | Orientation | Value | 
 |  |  | D.F | Lux
Classroom 4 | Ground | North | 5.12% | 460.73
Figure 30 : Daylight value at a northern classroom at ground floor

## Slide 28: Day lighting analysis
Figure 31 : Daylight value at a southern classroom at ground floor
Area | Floor | Orientation | Value | 
 |  |  | D.F | Lux
Classroom3 | Ground | South | 5.81% | 523.27
Notes: After looking at the Daylight factor values for classrooms the daylight is approximately high so, adding internal blinds will be sufficient.

## Slide 29: Day lighting analysis
Figure 32 : Daylight value at the Library at ground floor
Area | Floor | Orientation | Value | 
 |  |  | D.F | Lux
Library | Ground | North | 5.21% | 468.60
Notes: also trees are planted at outside like Royal Poinciana which will reduce the value and provide natural shading to the school in addition to the acceptable landscape

## Slide 30: Reverberation Time T60
The optimum value of RT60 for classroom is between 0.6-0.8 sec.
Figure 34 : Reverberation time in classroom
Figure 33 : Adjustment for classroom

## Slide 31: Reverberation Time T60
Figure 36 : Reverberation time at classroom before and after the treatment.

## Slide 32: Reverberation Time T60
The optimum value of RT60 for library is between 0.4-0.6 sec.
The same treatment has done to the library.
Figure 38 : Reverberation time in library
Figure 37 : Adjustment for library

## Slide 33: Reverberation Time T60
Figure 39 : Reverberation time at library before and after the treatment .

## Slide 34: Acoustical treatment for the courtyard
Figure 40 : Section at the courtyard with wall perforated panels.
The court is located at the middle of school so, it needs an important acoustical treatment.
Figure 41 : Reverberation time at the courtyard

## Slide 35: Acoustical treatment for the courtyard
It is suggested to use perforated panels at the walls and ceiling to reduce the noise.
Figure 42 : Perforated panels and its section.

## Slide 36: Simulation using Design Builder Program
Insert the building into the program.

## Slide 37: Simulation Values gathered over 3624.00 hours
Table 4 : Site and source energy
 | Energy Per Total Building Area [kWh/m2] | Energy Per Conditioned Building Area [kWh/m2]
Total Site Energy | 43.22 | 44.56
Net Site Energy | 43.22 | 44.56
Total Source Energy | 116.63 | 120.24
Net Source Energy | 116.63 | 120.24
Note : the total site energy is equal 44.56 which is within the range of heating with interval of [30-80 KWh/m²]

## Slide 38: Simulation Values gathered over 3624.00 hours
Table 6 : End Uses
 | District Cooling [kWh] | District Heating [kWh]
Heating | 0.00 | 46665.25
Cooling | 58925.03 | 0.00
Interior Lighting | 0.00 | 0.00
Interior Equipment | 0.00 | 0.00
District heat appears to be the principal heating source based on energy usage.

## Slide 39: Table of contents
Introduction To project
Mechanical Design
Architectural Design
Structural Design
Electrical Design
Environmental Design
Quantity Surveying

## Slide 40: Structural Design:
Design code
The American Concrete Institute code ACI 318-08.
The seismic design according to UBC-97&IBC-2009
Analysis method : 3D model by SAP program.

## Slide 41
Design data
Bearing capacity = 250 KN/M2
Concrete Strength for slab and beams f'c = 24 Mpa
Concrete strength for columns and footings f'c= 28 Mpa
Steel yield strength Fy = 420 Mpa
Concrete unit weight = 25 KN/m3
Superimposed (SID) = 4 KN/m2
Live Load = 5 KN/m2

## Slide 42
3D model
Figure 43: block1 3D
Figure 44: block2 3D

## Slide 43
Model checks
1. Equilibrium check
load | manual | sap | error
live | 9990 | 9947 | 0.4%
SID | 15596.2 | 15535 | 0.3%
dead | 23019.5 | 22948.2 | 0.3%
Table 7 : equilibrium check

## Slide 44
2. Compatibility check
Figure 45: block1compatability check
Figure 46: block2compatability check

## Slide 45
Design of slab
Structural system : One way solid slab.
Slab thickness = 20 cm.
Analysis method : 3D model by SAP program.

## Slide 46
Figure 48: Y steel

## Slide 47
Figure 49: X steel

## Slide 48
Design of beams
Figure 50: Beam detailing

## Slide 49
Design of column
Figure 51: column detailing

## Slide 50
Design of footing
Figure 52 : single footing

## Slide 51
Design of footing
Figure 53: combined footing

## Slide 52
Shear wall and wall footing
Figure 54: shear wall
Figure 55: wall footing

## Slide 53: Seismic design
The building frame system is assumed as:
R=4.5
I =1.25
Zone 2B, Z=0.2
the soil profile is(SC).
(Ca)=0.24
(C v)=0.32

## Slide 54: Dynamic Analysis
Figure 56: response spectrum

## Slide 55
Base shear Seismic checks:
V=10986.1 KN
Vmax =1346 KN
Vmin = 6797.7 KN
Since V > Vmax use V max to compare with SAP Result
Figure 57: base shear

## Slide 56
periodical time
Manual calculation
Ct = 0.0488 * (10.92+2)3\4 = 0.33 s
Figure 59: dynamic analysis

## Slide 57: Structural joint design
The project has 1 structural joints which divide the building into two parts: A and B . It is composed of reinforced concrete parts
The joint construction was made to achieve the seismic requirement .
(0.033m) structural joint is used.

## Slide 58: Table of contents
Introduction To project
Mechanical Design
Architectural Design
Structural Design
Electrical Design
Environmental Design
Quantity Surveying

## Slide 59
Mechanical Design
Four aspects of mechanical water systems were designed:
Water supply system
Gray water system(for irrigation only)
Storm water system(flushing)
Drainage system

## Slide 60
Water supply
 | Supply control | Fixture units Potable water |  | Water demand (gpm) | 
 |  | A | B | A | B
Ground floor | Faucet, flush tank | 78.5 | 16 | 37 | 18
First floor | Faucet, Flush tank | - | 18 | - | 19
Second floor | Faucet, flush tank | 42 | 2 | 27 | 5
Figure 60: water tanks
Table(8) potable water demand (gpm)
Notes: At the top of the stair cae we have installed six 2m3 water tanks four of tem connected directly from main potable water supply and two of them are from storm water underground tanks which will be used for flushing

## Slide 61
Water supply
Figure 61: water supply

## Slide 62
Sanitation systems
Sanitation system contains:
Black water: from WC’s, floor drains, lab’s lavatories and kitchen sinks.
Gray water: from lavatories, water fountains.
Storm water: from rain.
Figure 62: sanitation systems

## Slide 63
Storm water harvesting
Figure 63: storm water collection

## Slide 64
Fire Fighting system
Figure 64: fir fighting systems

## Slide 65
Fire suppression system
Figure 65: fire fighting systems

## Slide 66: Table of contents
Introduction To project
Mechanical Design
Architectural Design
Structural Design
Electrical Design
Environmental Design
Quantity Surveying

## Slide 67
Electrical design

## Slide 68: Artificial lighting
Eavg(lux) | UGR | Uniformity
370 | 10-15 | 0.7

## Slide 69: Artificial lighting
Eavg(lux) | UGR | Uniformity
517 | 10-18 | 0.76

## Slide 70: Artificial lighting
Library | Perpendicular illuminance | UGR | Uniformity
reading | 500 | 10-15 | 0.85
bookshelves | 250 | 10-12 | 0.8

## Slide 71
Sockets arrangement
Figure 66 : sockets arrangement

## Slide 72
Photovoltaic geographical system
Figure 67: Photovoltaic program

## Slide 73
Photovoltaic system
Total Annual consumption | Total annual cost
11767 KW.H | 7530.8 NIS
Total annual Bonus = 8384-7530.8 = 853.12NIS
Total Annual Generation | Total annual cost
13100 KW.H | 8384 NIS

## Slide 74: Table of contents
Introduction To project
Mechanical Design
Architectural Design
Structural Design
Electrical Design
Environmental Design
Quantity Surveying

## Slide 75
Quantity surveying
work | unit | Quantity | price
Earth work | M3 | 804 | 40200
concrete works | M3 | 1618 | 533940
steel works | Ton | 97.68 | 273504
Finishing works | M² | 19967 | 1919314
Electrical work |  |  | 11488
Mechanical work |  |  | 46798
Total |  |  | 2,825,244 NIS +80000 NIS (PV)

## Slide 76
Special thanks to:
Our supervisour Dr.Mutasim baba
To faculty members of the department
To our families and friends