## Slide 1
Graduation Project – II (10611591)
Re-Design of the Businessmen Forum Building
Submitted By:
Ameed “ Qasem Suliman ”
Abrar Sweileh
Supervisor Name:
Dr. Luay Dwaikat
2019-2020
An-Najah National University Building Engineering Department

## Slide 2: Contents
Introduction
Site Analysis
Architectural aspects
Environmental aspects
Structural aspects
Electro mechanic aspects
Cost Estimation
Conclusion

## Slide 3: Introduction

## Slide 4
Objectives of the work
Redesigning and development the building, all aspects and engineering systems will be included where all weaknesses and problems of the building will be taken into account during the operation process

## Slide 5: Site analysis

## Slide 6: The building is located from the Rafidia district, Tunis Street. The building is surrounded by two streets, the main entrance to the building on the south side .

## Slide 7
Climatic conditions

## Slide 8: Architectural aspects

## Slide 9
South elevation
S-E elevation
S-W elevation
N-E elevation

## Slide 10
Basement Floor after
Basement Floor before

## Slide 11
Basement floor 2 new

## Slide 12
Ground floor after
Ground floor before

## Slide 13
First Floor after
First Floor before

## Slide 14
East Elevation
South Elevation

## Slide 15
North Elevation
West Elevation

## Slide 16: Environmental aspects

## Slide 17: The important parameter of environmental assessment
The orientation of the faculty
Shading
Thermal Design
Daylight factor
Acoustic Design

## Slide 18: The Orientation and sun path of the faculty

## Slide 19: Sun Path
Sun path in summer at 12:00 pm
Sun path in winter at 12:00 pm

## Slide 20: Shading

## Slide 21: Thermal Design

## Slide 22
3D Model

## Slide 24
External wall layers
Floor layers
PMV

## Slide 26: Daylight analysis
Ground Floor
Legend

## Slide 27: Daylight analysis
First Floor
Legend

## Slide 28: Sun shading will be used in east and south and west elevation

## Slide 29: The model after adding vertical and horizontal louvers.

## Slide 30: Ventilation

## Slide 31: Ventilation Used In The Project

## Slide 32: Acoustical Design

## Slide 33: Materials and Frequency's
Material Choices
Walls → Wood panel 2 sides + Plaster another sides
Floor → Carpet
Ceiling → Gypsum board
Material | frequency | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000
Wall |  | 0.1 | 0.07 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03
Floor |  | 0.2 | 0.2 | 0.25 | 0.3 | 0.3 | 0.3 | 0.3
Ceiling |  | 0.33 | 0.28 | 0.1 | 0.05 | 0.03 | 0.07 | .09
Window |  | 0.17 | 0.14 | 0.09 | 0.02 | 0.00 | 0.00 | 0.00
Door |  | 0.17 | 0.14 | 0.12 | 0.08 | 0.08 | 0.07 | 0.06

## Slide 34: Ecotect program
Shows the RT60 By SABINE
FREQ. | ABSPT. | RT(60)
63 Hz | 141.711 | 1.08
125 Hz | 122.511 | 1.23
250 Hz | 83.554 | 1.39
500 Hz | 79.588 | 1.42
1000 Hz | 75.082 | 1.45
2000 Hz | 83.434 | 1.24
4000 Hz | 90.285 | 1.15
the values of RT60 in this analysis its in the avg. in the a reverberation time in the range (1.2 to 1.7 )seconds

## Slide 35: EASE program

## Slide 36: Total and direct SPL on seats

## Slide 37: ISUL program
The material used in outside → Stone 5cm → concrete 10 cm → Block 10 cm → plaster 2 cm STC = 53 Ok !
The STC used in the offices = 45 and the same of conference room
The material used in inside → plaster 2 cm → Block 20 cm → plaster 2 cm
STC = 48 Ok !
INSIDE
OUTSIDE

## Slide 38: Structural aspects

## Slide 39: Marital, Codes & Loads
Marital
Concrete with compressive strength of 35 MPa (B450),
Steel rebar with yielding strength of 420 MPa
Design Codes
ACI 318-14, ( Building Code Requirements for Structural Concrete )
IBC 2012: (International Building Code)
ASCE 7-10: ( American Society of Civil Engineering )
AASHTO: ( American Association of State Highway and Transportation Official )
Live 5 KN/m² For Parking
Live 4 KN/m² For another floors
SID 2.7 KN/m²
Loads

## Slide 40: Slab System
The one – way ribbed slab with dropped beams between all supports used as the slab system .
Thickness of slab = ln\21 = 5.4/21 = 0.257 m → 30 cm

## Slide 41: Footing Design
The type of foundation used is mat foundation
The thickness = expected area of footing / area of building
expected area of footing = 520 m²
area of building = 929 m²
The thickness = 520/929 = 55 cm

## Slide 42: Dimensions of Beams
Beams :
The secondary beams assume = 50*30 cm
The girder dimension assume = 65*100 cm

## Slide 43: Slab and Beams

## Slide 44: The following figure shows the results of program of floor GF & F1 as a sample of results By Etabs

## Slide 45: Dimensions of Columns and shear walls
Columns :
C1 = 70*35 cm
C2 = 70*35 cm
Shear walls
L section = 150*30 cm
I section = 150*30 cm

## Slide 46: ETABS design the columns, and after finished the design the following results obtained

## Slide 47: Detailing of column

## Slide 48: Detailing of Shar walls and retaining wall

## Slide 49: CIS Detailing of Beams

## Slide 50: STAIRCASE

## Slide 51: ETABS model

## Slide 52: Compatibility check

## Slide 53: Equilibrium Checks
Load (KN) | ETABS | MANUAL | % Difference
Live load | 13943.83 | 12770 | 0.95 %
SID load | 7996.48 | 7380 | 4.55%
Dead load | 21376.67 | 21580 | 4.16%
Difference % Doesn’t exceed 5 %

## Slide 54: Period and Diaphragm Check
Direction | X |  | Y | 
Floor | GF | F1 | GF | F1
1st side | 3.78 | 6.25 | 2.48 | 4.00
2nd side | 3.6 | 5.52 | 2.45 | 3.96
Mid. | 3.8 | 5.95 | 2.64 | 4.05
Ang. x2 | 7.38 | 11.77 | 4.93 | 7.96
Type | Rigid | Rigid | Rigid | Rigid
So, the diaphragm is rigid.

## Slide 55: Diaphragm Check
Floor: | Height: | Dis. X | Dis. Y | Drift X | Drift Y | Delta X | Delta Y | Delta Limit | Check
B2 | 3000 | 0.01 | 0.07 | 0.01 | 0.07 | 0.04 | 0.28 | 45 | Okay
B1 | 3000 | 0.33 | 0.45 | 0.32 | 0.38 | 1.28 | 1.52 | 45 | Okay
GF | 5000 | 3.78 | 2.48 | 3.45 | 2.03 | 13.8 | 8.12 | 75 | Okay
F1 | 3000 | 6.25 | 4.00 | 2.47 | 1.52 | 9.88 | 6.08 | 45 | Okay
Note: all unit used in the above table in mm.

## Slide 56: Electro mechanic aspects

## Slide 57: Mechanical aspect
Water Supply System

## Slide 58: First Floor

## Slide 59: Draining
1. Horizontal pipe for the water closet is 4 ̎
with slope 1%
2. Horizontal pipe for the lavatory is 2 ̎
with slope 2%
3. Horizontal pipe for the kitchen sink is 4 ̎
with slope 2%
4. Vent pipe is 2 ̎
5. The pipe between the manholes is 6 ̎
with slope1%
6. The rain water main vertical stack 4

## Slide 60: HVAC System

## Slide 61
• OUTDOOR UNIT: Unit put in roof
• INDOOR UNIT : Diffuser and Return unit
• FAN COIL: Fresh air source
VRF system

## Slide 62: Fire fighting system

## Slide 63
Detectors Types

## Slide 64: Electrical aspect

## Slide 65: Power Design

## Slide 66: Lighting and Switch plan

## Slide 67: Artificial Lighting Design

## Slide 68: Office Room
Daylight
Artificial Lighting

## Slide 69
Space | Lux | Required Lux | UGR | Required UGR | Type of lighting
Office | 227 | 150 | 10 | 19 | Artificial lighting
 | 666 | 150 | 12.7 | 19 | Artificial lighting +Daylight
 | 212 | 150 | 10 | 19 | Daylight
Luminaire list
Result Offices simulation
The recommended and standard for office space equal 150 LUX

## Slide 70: Render Artificial and Daylight
Daylight
Artificial Lighting

## Slide 71
Space | Lux | Required Lux | UGR | Required UGR | Type of lighting
Reception | 491 | 400 | 18.8 | 22 | Artificial lighting
 | 974 | 400 | 10 | 22 | Artificial lighting +Daylight
 | 484 | 400 | 10 | 22 | Daylight
Luminaire list
Result Offices simulation
The recommended and standard for reception space equal 400 LUX

## Slide 72: Quantity surveying & Cost Estimate

## Slide 73: Concrete skeleton and finishing work :
floor | Area | Cost for 1 m² | Total cost floor
Basement 1 | 929.8 | 230$ | 213,854$
Basement 0 | 720 | 230$ | 154,330$
Ground floor | 450 | 230$ | 103,063$
First floor | 450 | 230$ | 103,033$
Total | 2497 | 230$ | 574,310$
floor | Area | Cost for 1 m² | Total cost floor
Basement 1 | 929.8 | 340$ | 316,132$
Basement 0 | 720 | 340$ | 228,140$
Ground floor | 450 | 340$ | 152,354$
First floor | 450 | 340$ | 152,354$
Total | 2497 | 340$ | 848,980$
The total cost for this project expected = 1,423,290 Almost equal = 1,500,000 $

## Slide 74: TOTAL PROJECT COST
TOTAL COST ( NIS ) | 3306471
Unit cost (NIS/SM) | 1312
Unit cost ($/SM) | 386
Unit cost (JOD/SM) | 266
The total cost its less than the expected cost

## Slide 75: Thank you 