## Slide 1
Supervised By
Eng. Haitham Sawalha
Integrated Design Of A
Youth center
By Mostafa Yahya
Imran Zaid
Mahmoud Hafnawi
1
An-Najah National University
Faculty of Engineering
Building Engineering Department

## Slide 2
Outline
Introduction
Architectural Design
Environmental Design
Electrical Design
Quantity Surveying and Cost Estimation
Mechanical Design
Structural Design
2

## Slide 3
Introduction
3

## Slide 4
Youth center building:
located in Nablus
Nablus city does not have a youth center with a complete design that include all activities.
The goal was to provide an integrated design of a building that takes into account all design aspects
4

## Slide 5
Architectural Design
5

## Slide 6
6
Map of site
Site Plan
N
Total area =4567 m²

## Slide 7
7
Architectural Design
Basement floor
N
Area =1964m²

## Slide 8
8
Architectural Design
Ground
floor
N
Area =1550 m²

## Slide 9
9
Architectural Design
First floor
N
Area =540 m²

## Slide 10
10
East Elevation
Architectural Design

## Slide 11
South Elevation
Architectural Design
11

## Slide 12
West Elevation
Architectural Design
12

## Slide 13
13
North Elevation
Architectural Design

## Slide 14
Section A – A
Architectural Design
14

## Slide 15
Architectural Design
Section B – B
15

## Slide 16
3D model
Architectural Design
16

## Slide 17
Environmental Design
17

## Slide 18
Environmental Design
Shading
Daylight
Thermal Design
Acoustics
18

## Slide 19
Environmental Design
East windows (vertical shutters)
Shading
19
South windows (horizontal shutters and cantilever)

## Slide 20
Environmental Design
Daylight
Compute room
20
D.F = 2.83 %
Management Room

## Slide 21
21
Environmental Design
Thermal Design
U value for building components
The conventional wall was used with specification shown in table

## Slide 22
Environmental Design
Thermal Design
22
Design standards:
There are conditions that must be met in the design:
Maintain operative temperature between:
20.0 to 23.5o C in winter and 22.5 to 26.0o C in summer.
Maintaining Rh between 30 to 60%.
AIR Speed between 0.1 to 0.35 m/s.
Cooling loads
Total cooling load=149.27 kW

## Slide 23
Environmental Design
Thermal Design
23
Heating loads
Total heating load=208 kW

## Slide 24: Environmental Design
Thermal Design
Site and source energy=112.77 kwh/m²
24

## Slide 25
Environmental Design
PPD and PMV
25

## Slide 26
Environmental Design
Acoustics
Surface material used in cafeteria
surface | Freq.(HZ) Material | 63 | 125 | 250 | 500 | 1000 | 2000 | 400 | 800 | 16000
wall | Plaster board | 0.11 | 0.12 | 0.09 | 0.07 | 0.05 | 0.05 | 0.04 | 0.05 | 0.04
ceiling | Acoustic Tile Suspended | 0.60 | 0.40 | 0.63 | 0.43 | 0.60 | 0.77 | 0.89 | 0.60 | 0.55
door | Foam Core Plywood | 0.35 | 0.30 | 0.25 | 0.15 | 0.10 | 0.10 | 0.07 | 0.10 | 0.15
floor | terrazzo | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03
Windows | Double Glazed | 0.11 | 0.09 | 0.05 | 0.03 | 0.00 | 0.02 | 0.02 | 0.03 | 0.03
26

## Slide 27
Environmental Design
Acoustics
Reverberation Time ()
27
Required RT60 in Cafeteria
(0.7-0.9)
 | TOTAL | SABINE | NOR-ER | MIL-SE
FREQ. | ABSPT. | RT(60)(sec) | RT(60)(sec) | RT(60)(sec)
63Hz: | 197.497 | 0.75 | 0.49 | 0.61
125Hz: | 189.069 | 0.78 | 0.41 | 0.62
250Hz: | 196.951 | 0.73 | 0.94 | 0.54
500Hz: | 158.883 | 0.87 | 1.31 | 0.67
1kHz: | 172.944 | 0.79 | 1.61 | 0.52
2kHz: | 202.597 | 0.67 | 1.3 | 0.4
4kHz: | 221.051 | 0.61 | 1.26 | 0.34
8kHz: | 165.236 | 0.69 | 1.19 | 0.54
16kHz: | 173.226 | 0.66 | 1 | 0.52

## Slide 28
Environmental Design
Acoustics
External wall
28
TL combined =40 dB
Recommended STC=34
Internal wall
STC =50 dB
Recommended STC=38
Recommended IIC=50
IIC =64 dB
Roof

## Slide 29
Environmental Design
Acoustics
Sound reinforcing system
29
Specifications | 
Type of speaker | High compliance
Sensitivity | 88 dB
Distance between tow speakers | 6.8m
Coverage angle | 130°
Ceiling mounted Speaker

## Slide 30
Structural Design
30

## Slide 31
Codes
(ACI 318-14) for RC Structures Design
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads combination
Structural Design
31

## Slide 32
Loads
Live Load =
SID=
EQ Loads (UBC97):
I= 1 Cv=0.4
R= 5.5 Ca=0.28
Z= 0.2 (2B) Ct= 0.0488
Structural Design
32

## Slide 33
Material
Concrete 28,24 (Mpa)
Steel Fy = 420MPa
Structural Design
Final Design Sections
Slabs thickness 0.3 m
Columns(rectangular) (0.80.4),(0.4 m)
Beams (0.6),(0.7 ),(0.5),(0.30.5)m
Walls thicknesses 0.3 m
Structural system
One way ribbed slab
33

## Slide 34
Structural Design
34
Selected block
3D Modeling

## Slide 35
Structural Design
Compatibility Check
35

## Slide 36
Structural Design
36
 | Block 1 |  |  | Block 2 |  | 
Load | Manual Calculation(KN) | Etabs Calculation(KN) | Difference (%) | Manual Calculation(KN) | Etabs Calculation(KN) | Difference (%)
Dead Load | 18702 | 19609 | 4.6 | 7694.05 | 7829.12 | 1.7
Live Load | 5350.95 | 5329.12 | 0.4 | 2402.78 | 2489.07 | 3.4
Super Imposed Load | 9570.2 | 9310.5 | 2.7 | 2896.49 | 2888.45 | 0.27
Equilibrium check
Elements | Hand calculation | Calculation from Etabs | Difference %
Column 8 | 1248.4 | 1203 | 3.6
Strip of slab 3 | 25.5 | 23.75 | 6.86
MB2 | 1401.5 | 1471.91 | 4.78
Internal Forces Check

## Slide 37
Structural Design
Deflection
Limit = 14500/240 = 60.4 mm
(According to
ACI 318-11)
37

## Slide 38
Structural Design
Slab:
one-Way Ribbed Slab
38

## Slide 39
Structural Design
Beam Design
39

## Slide 40
Structural Design
Column Design
40

## Slide 41
Footing Design
Structural Design
41

## Slide 42
Footing Design
Structural Design
Section in footing (F2)
Plan of footing (F2)
42
Footing ID | B | L | AS Long. | As Trans.
1 | 3.0 | 2.1 | 9ø16 mm | 10ø16 mm
2 | 3.0 | 2.3 | 12ø16 mm | 15ø16 mm
3 | 3.0 | 2 | 9ø16 mm | 9ø16 mm
4 | 2.0 | 1.3 | 5ø16 mm | 6ø16 mm
5 | 2.0 | 1.6 | 6ø16 mm | 10ø16 mm
6 | 2.0 | 1.3 | 5ø16 mm | 6ø16 mm
7 | 1.5 | 1.4 | 4ø16 mm | 16ø16 mm
8 | 1.5 | 0.8 | 2ø16 mm | 3ø16 mm
9 | 2.0 | 1.1 | 3ø16 mm | 3ø16 mm
10 | 2.0 | 1.1 | 3ø16 mm | 3ø16 mm
11 | 2.0 | 1.2 | 4ø16 mm | 5ø16 mm

## Slide 43
Structural Design
Shear wall Design
43

## Slide 44
Structural Design
44
Stair Design

## Slide 45
Structural Design
45
Prestressed and composite beam Design

## Slide 46
Structural Design
Cost and optimization for beams
46
Beam Type | Cost of material
Drop beam | 5572
Prestressed beam | 2774
Composite beam | 8236.6
The optimum design is for prestressed beam

## Slide 47
Electrical Design
47

## Slide 48
All spaces: ceiling lamps are on.
Electrical Design
Artificial lighting:
Light scenes 1
48
Required illuminance
(500 lx)
Required uniformity
(>0.60)
Required uniformity
0.6
0.6
0.4
Calculation Results

## Slide 49
Electrical Design
Light scenes 1
Calculation Results
49

## Slide 50
Electrical Design
Light scenes
1. Artificial lighting:
50

## Slide 51
Electrical Design
Sockets and Lighting
Socket Distribution
Distribution of lighting
51

## Slide 52
Mechanical Design
52

## Slide 53
Water Supply
Drainage System
HVAC Design
Safety Design
Mechanical Design
53

## Slide 54
Mechanical Design
Water Supply System
daily water demand for southern block = 11.84
54

## Slide 55
Drainage System
Mechanical Design
55

## Slide 56
Mechanical Design
Rain Water Drainage
56

## Slide 57
Size storage tank.
57

## Slide 58
Mechanical Design
HVAC system
58
VRF system
Out door
(Toshiba company)
(108kW) heating
(96kW) cooling
Controller (Toshiba company)
35.1KW nominal cooling capacity
Fan coil unit
(42 NH)
(3.7– 12.6 kW) cooling
(5.1– 17.5 kW) heating
Carrier company
Ceiling Diffuser
(675*285*575 mm mm)
Air flow 144.76L/s
Noise level 35.8 dBA

## Slide 59
Mechanical Design
HVAC system (GF floor)
59

## Slide 60: Mechanical Design
HVAC system
60

## Slide 61
Mechanical Design
Emergency
Fire Protection System
61
`
Emergency Egress System
Safety Design

## Slide 62
Quantity Surveying & Cost Estimation
62

## Slide 63
Total Cost for finishing and Structural Design
= 2,842,059 NIS
Total Cost for Mechanical Design = 539120.5 NIS
Total Cost for Electrical Design including elevators
= 192,948.5 NIS
Total Cost for Southern block =3,891,289 NIS (2000 NIS/)
Quantity Surveying and Cost Estimation
63

## Slide 64
Thank You