## Slide 1
An- Najah National University
Faculty of Engineering & Information Technology.
Building Engineering Department.
Graduation project (2)
Integrated redesign of the multistorey car park.
Prepared By: Rawan Salahat
Supervisor: Dr. Luay Dwaikat

## Slide 2: TABLE of CONTENTS
03
01
05
02
Introduction
Architectural Aspects
Environmental Aspects
04
Structural Aspects
Electro-Mechanical Aspects
06
Site analysis

## Slide 3: Introductory
Project location
Project description
Users and zoning
01

## Slide 4: Project location
Project location
Contour line

## Slide 5: Project description
Multi storey car park
located in Nablus.
site area 5867.
number of floors 5

## Slide 6: Users and zoning
Floor | Function | users | Number of car parks
Ground floor | Parking | managers and visitors | 63
First floor | Parking | employees | 63
Second floor | Parking | employees and students | 71
Third floor | Parking | students | 71
Fourth floor | Art gallery | - | -

## Slide 7: Site analysis
Sun path
Climate
CFD analysis
02

## Slide 8: Site analysis
Sun path in winter
Sun path in summer

## Slide 9: Climate

## Slide 10: CFD analysis
CFD analysis for ground floor
CFD analysis for first floor.

## Slide 11: CFD analysis
CFD analysis for third floor.
CFD analysis for second floor.

## Slide 12: CFD analysis
CFD analysis for fourth floor.
CFD: Computational fluid dynamics

## Slide 13: Architectural Aspects
03
Architecture plans
Elevations
Sections

## Slide 14: Master plan

## Slide 15: Master plan

## Slide 16: Ground floor plan

## Slide 17: Ground floor plan

## Slide 18: First floor

## Slide 19: First floor

## Slide 20: Second and third floors

## Slide 21: Second and third floors

## Slide 22: Fourth floor

## Slide 23: Fourth floor

## Slide 24: Dimensions check

## Slide 25: Sections

## Slide 26: Elevations
North elevation
East elevation

## Slide 27: Elevations
South elevation
West elevation

## Slide 28: Environmental aspects
Shadowing and overshadowing
Daylight factor
Heating and cooling loads for the art gallery
04

## Slide 29: Shadowing and overshadowing
21/6
8:00 am
12:00 pm
3:00 pm

## Slide 30: Shadowing and overshadowing
21/12
8:00 am
12:00 pm
3:00 pm

## Slide 31: Daylight factor
Daylight factor before modification
skylight

## Slide 32: Daylight factor
Daylight factor before modification
Shading

## Slide 33: Daylight factor
Daylight factor before modification
Daylight factor after modification
Shading
Glass type
Skylight

## Slide 34: Heating and cooling loads for the art gallery
Case 1
External wall section
Roof cross section
Glazing type and layers
Results
Selection?
Case 2
External wall section
Roof cross section
Glazing type and layers
Results

## Slide 35: External wall section
External wall section in case 1
External wall section in case 2

## Slide 36: Roof cross section
Roof cross section in case 1.
Roof cross section in case 2.

## Slide 37: Glazing type and layers
Glazing type and layers in case 1.
Glazing type and layers in case 2.

## Slide 38: Shading
3D view
Shading

## Slide 39: Temperature and heat loss in the art gallery
Case 1
Case 2

## Slide 40: Heating and cooling loads for the art gallery
Heating load in case 2 (after modification).
Saving 48 %
Saving
64 %
Cooling load in case 2 (after modification).

## Slide 41: Energy consumption
Art gallery area = 1570 m2
(Saving 51%)

## Slide 42: Structural aspects
05
Codes
Construction material
Structural element dimensions
Structural grid
Loads
Checks
Seismic data
Structural detailing

## Slide 43: Codes
ACI-2019 for reinforced concrete structural design.
ASCE 7-2010 for loads.
UBC-97 for seismic design.

## Slide 44: Construction material
Reinforced Concrete
Structural element | Compressive Strength (f’c)
Slabs and beams | Concrete 28 Mpa
Columns and shear walls | Concrete 40 Mpa
element | Yield Stress (Fy)
Steel bars | 420 Mpa

## Slide 45: Structural element dimensions
Columns
Beams
Column No. | Column dimensions (m)
C1 | 0.4 x 0.4
C2 | 0.6 x 0.6
C3 | Diameter = 0.8
C4 | Diameter = 1
Beam No. | Width (m) | Depth (m)
B1 (hidden) | 0.5 | 1
B2 (drop) | 0.35 | 0.7
B3 (around openings) | 0.3 | 0.45

## Slide 46: Slab section
Slab section
Voided
slab
Long span
Less load on structural
members
Lower cost

## Slide 47: Loads
Design loads
Space/ element | L.L (Kn/ m2) | SID (Kn/ m2)
Parking | 6 | 2.5
Art gallery | 4 | 2.5
Stone wall | - | 6
Curtain wall | - | 0.6

## Slide 48: Structural grid
(G.F - Th.F) floors
Fo.F floor

## Slide 49: Typical slab Layout

## Slide 50: Checks
Compatibility check

## Slide 51: Checks
Equilibrium check
Equilibrium check |  |  |  | 
Load | Manual (KN) | ETABS (KN) | % Error | Check status (%error < 5%)
Dead | 200314.97 | 207648.95 | 3.5 % | OK
Live | 72528.38 | 72638.36 | 0.15 % | OK
SID | 54684.85 | 54831.59 | 0.26 % | OK

## Slide 52: Checks
Stress-strain check for column
Stress-strain check for columns from live loads |  |  |  | 
 | Manual (KN) | ETABS (KN) | % Error | Check status (<15%)
Edge | 891.66 | 888.55 | 0.35 % | OK
Internal | 1993.64 | 1851.71 | 7.66 % | OK
Corner | 381.48 | 336.31 | 13.43 % | OK
Deflection check for slab
Allowable limit (mm) | ETABS (mm) | Check status
46.78 | 56.25 | OK

## Slide 53: Checks
Stress-Strain Check for slab
Selected frame
Frame dimensions
Frame width = 8.15 m
Column strip width = 3.79 m
Middle strip width = 4.46 m
Frame |  |  | 
Moment | Manual (KN.m) | ETABS (KN.m) | % Error
Negative | 854.63 | 831.53 | 2.77 %
Positive | 460.19 | 576.49 | 20.17 %
Negative | 854.63 | 790.81 | 8.07 %
Column strip |  |  | 
Moment | Manual (KN.m) | ETABS (KN.m) | % Error
Negative | 664.04 | 646.09 | 2.77 %
Positive | 350.06 | 439.28 | 20.31 %
Negative | 664.04 | 614.45 | 8.07 %

## Slide 54: Checks
Stress-Strain Check for slab
Stress-Strain Check for beam
Middle strip |  |  | 
Moment | Manual (KN.m) | ETABS (KN.m) | % Error
Negative | 190.59 | 185.44 | 2.77 %
Positive | 109.53 | 137.21 | 20.17 %
Negative | 190.59 | 176.36 | 8.06 %
Beam |  |  | 
Moment | Manual (KN.m) | ETABS (KN.m) | % Error
Negative | 553.14 | 491.76 | 12.48%
Positive | 292.09 | 323.68 | 9.75%
Negative | 553.14 | 520.17 | 6.33%

## Slide 55: Seismic data
UBC-97 code
Response spectrum method
Structural system: Concrete intermediate moment-resisting frame (IMRF)
Zone 2B  Z = 0.2
Soil profile: Sc
Cv =0.32
Ca = 0.24
R = 5.5
I = 1

## Slide 56: Seismic Checks
Period check
Check name | ETABs result | Allowable limit | Check status
Period check | 0.599 Sec | ≤ 0.646 Sec | OK
Base shear check
Load case (KN) | ETABs results | Allowable limit | Check status
Earthquake (x) | 27359.24 | ≥ 27355.20 | OK
Earthquake (y) | 27362.84 | ≥ 27355.20 | OK

## Slide 57: Seismic Checks
Modal participating mass ratio check
 | ETABs results | Allowable limit | Check status
Sum (Ux) | 0.91 | ≥ 0.9 | OK
Sum (Uy) | 0.90 | ≥ 0.9 | OK
Drift check
Δ Mx max. (mm) | Δ My max. (mm) | Δ Limit (mm) | Check status
10.52 | 6.514 | 100 | OK

## Slide 58: Structural detailing
Slab Reinforcement in
y-direction :

## Slide 59: Structural detailing
Slab Reinforcement in
x-direction :

## Slide 60: Structural detailing
Ramp Detailing:

## Slide 61: Structural detailing
Column Detailing:

## Slide 62: Structural detailing
Beams Detailing:
Section C-C
Section B-B
Section A-A

## Slide 63: Structural detailing
Shear wall Detailing:

## Slide 64: Structural detailing
Stair Detailing:

## Slide 65: Electro-Mechanical ASPECTS
05
HVAC Design for Art Gallery
Fire Fighting System
Artificial lighting design
Acoustical design
Photovoltaic system design

## Slide 66: HVAC Design for Art Gallery
Heating and cooling loads for the art gallery | 
Cooling load | 173.23
Heating load | 136.777
Art gallery area = 1570 m2
Heating and cooling loads for the art gallery
HVAC system: VRV HVAC system

## Slide 67: HVAC Design for Art Gallery
Outdoor unit:
Indoor unit- fan coil:
Indoor units- slot linear Diffusers :

## Slide 68: HVAC Design for Art Gallery
Distribution of fan coils and diffusers
(Art gallery area = 1570 m2).

## Slide 69
Fire Fighting System
Hazard type
Alarm systems
Fire suppression

## Slide 70: Fire Fighting System
Hazard type
“low hazard storage, group S-2”.
Parking
Art galleries
“Assembly Group A-3”.
Alarm systems
Call point
Detectors
Parking
Art galleries
Smoke detector
Heat detector
Flasher electronic sounder

## Slide 71: Fire Fighting System
Fire suppression
Fire extinguishers
Parking
Art galleries
Water extinguisher (2 A) / 75 ft (22 m)
Powder extinguisher (10 B) / 50 ft (15 m)
Automatic sprinklers
Required in “Group A-3” 1 sprinkler/ 21 m2
Not required in open parking
Standpipe system
Parking
Art galleries
Stand pipe system: Class I
Stand pipe system: Class III
/150 ft (45.72 m) for areas
without sprinklers + Stair + Horiz. exits

## Slide 72: Fire Fighting System
Fire alarm system

## Slide 73: Fire Fighting System
Standpipe system

## Slide 74: Fire Fighting System
Automatic sprinklers

## Slide 75: Artificial lighting design
General
Accent
Task
Decorative
Types of Artificial lighting:

## Slide 76: Artificial lighting design
3D lighting Modeling for the parking

## Slide 77: Artificial lighting design
3D lighting Modeling for the art gallery

## Slide 78: Artificial lighting design
Lighting plan

## Slide 79: Acoustical design of the art gallery
Recommended reverberation time in art galleries: (0.8-1.2) sec
Actual reverberation time
= (0.81 -1.08) within allowable limit

## Slide 80: Acoustical design of the art gallery
Noise control
Allowable background noise (dB) ≤ 35 dB
Noise level from outside = 80 dB
STC (Required)= 40 dB
*STC: Sound transmission class (STC) is a rating of sound isolation of a building wall assembly.

## Slide 81: Acoustical design of the art gallery
STC (gallery external wall)
STC > 40 dB ok

## Slide 82: Acoustical design of the art gallery
TLC (gallery ceiling)
STC (gallery ceiling)
STC (glass)

## Slide 83: Photovoltaic system design
Case 1: Portrait arrangement.
Case 2: landscape arrangement.
Number of modules = 72
Number of modules = 63

## Slide 84: Photovoltaic system design
Case 2: Portrait arrangement
Invertor size = 33 KW
Number of modules = 72 module
Number of Invertors = 1 invertor
Module type
Invertor type

## Slide 85: Photovoltaic system
Produced energy
Initial cost

## Slide 86: Photovoltaic system
Cash flow

## Slide 87
THANKS

## Slide 95
Outdoor unit:
Outdoor unit capacity | Design load | No. of outdoor units required
95.4 | 173.23 | 2 units
Indoor unit- fan coil:
Fan coil cooling capacity | Design load | No. of outdoor units required
28 | 173.23 | 7 units
Indoor units- slot linear Diffusers :
Design flow rate | 1m slot diffuser flow rate | No. of slot diffusers | Art gallery area
13.36 m3/sec | 0.094 m3/sec/m | 143 diffuser | 1570 m2