## Slide 1
Graduation Project - II
Faculty of Engineering & Information Technology
Department of Building Engineering
Redesign of the United Motor Trading Company in Nablus
Prepared by:
Abdallah Omar
Qays Dasoqi
Qusay Hassanein
Supervisor:
Eng. Haitham Sawalha
Date: 24/12/2018

## Slide 2
Site Analysis
Architectural Design
Electrical Design
Environmental Design
Structural Design
Quantity Surveying
Mechanical Design
Content

## Slide 3
Site analysis
Site location

## Slide 4
Architectural Design
Block | Area (m2)
First | 2382
Second | 3946
- The project was divided into two blocks.
- Each block consists of three floors.
- The first block consists of Showrooms, and multipurpose hall
- The second block consists of offices, workshop and painting shop

## Slide 5
Site plan

## Slide 6
Ground floor plan

## Slide 7
First floor plan

## Slide 8
Second floor plan

## Slide 15
Mechanical Design
1
Water supply system
3
HVAC system
4
Firefighting system
2
Drainage system

## Slide 16
Water supply system
Tank and main feeders in roof

## Slide 17
Sample in first floor

## Slide 18
Drainage system
Sample in ground floor

## Slide 19
Manholes distribution

## Slide 20
HVAC system
Heating load (KWh) | 27472.85
Cooling load (KWh) | 75212.70
Energy per total area building KWh/m2 | 73.06<100 it is OK

## Slide 24
Firefighting system
Types of safety systems used in building
Sprinklers
Extinguishers
Hose station
Fire exit signs

## Slide 27
Electrical Design
1
2
sockets distribution
Lighting Design

## Slide 28
Lighting Design
Luminaries used

## Slide 30
- Showroom
Zone | Standard target Lux | Designed Lux | UGR | Assessment
Showroom | 800 | 868 | <10 | OK

## Slide 31
- Manager office
Zone | Standard target Lux | Designed Lux | UGR | Assessment
Manager office | 500 | 548 | 16.6 | OK

## Slide 32
- Cafeteria
Zone | Standard target Lux | Designed Lux | UGR | Assessment
Cafeteria | 300 | 301 | < 10 | OK

## Slide 33
- Workshop
Zone | Standard target Lux | Designed Lux | UGR | Assessment
Cafeteria | 250 | 264 | 26.3 | OK

## Slide 34
Electrical Discription and sockets layout
Space | Number of sockets
Showroom | 19
Office | 4
cafeteria | 6
Workshop: each part has 2 sockets, one for personal work and other for general.

## Slide 36
Environmental Design
1
2
Acoustical Design
Thermal Design

## Slide 37
Thermal Design
At 9:00 AM
21/7
21/1

## Slide 38
At 12:00 PM
21/7
21/1

## Slide 39
At 3:00 PM
21/1
21/7

## Slide 40
- Not comfortable hours
- Operative and air temperatures
- PMV values

## Slide 41
case | comment
Pierce PMV ET values are ranged between – 1 to 0.5. | The values are relatively not very bad.
Time Not Comfortable Based on Simple ASHRAE 55-2004 equals 530 hour per year. | This value is less than 1000 hour per year, so there is good comfort inside the building.
The heating air temperature equals 24°C and the operative air temperature equals 22 °C. | The difference between two values is equals 2 °C, so it is a good indicator for thermal comfort.

## Slide 42
Acoustical Design
Reverberation time checks
      Manager office
Maximum value of RT60 in manager office at used frequencies equals 0.50 s at 1 kHz,
The values of RT60 at all used frequencies is within the range which is less than 1.2s , OK

## Slide 43
      ii. Showroom
Maximum value of RT60 in showroom at used frequencies equals 0.97 s at 1 kHz,
The values of RT60 at all used frequencies is within the range which is less than 2s , OK

## Slide 44
      iii. Cafeteria
Maximum value of RT60 in cafeteria at used frequencies equals 1.25 s at 500 Hz
The values of RT60 at all used frequencies is within the range which is less than 1.6 s , OK

## Slide 45
      iv. Workshop
Maximum value of RT60 in work shop at used frequencies equals 1.32s at 125 Hz
The values of RT60 at all used frequencies is within the range which is less than 2 s , OK

## Slide 46
STC checks
Ceiling
Required value | Designed value | Assessment
50 dB | 76 dB | OK
Internal walls
Required value | Designed value | Assessment
30 dB | 29 dB | OK

## Slide 47
Glazing wall
Required value | Designed value | Assessment
35 dB | 41 dB | OK
External wall
Required value | Designed value | Assessment
45 dB | 46 dB | OK

## Slide 48
Structural Design
General description

## Slide 49
Geology of the site
- The bearing capacity of soil for site land equals 300 KN/m2.
Codes used in design
ACI -318-14 for reinforced concrete structural design.
UBC -97 for earthquake load computations.
Construction materials
Compressive strength concrete with different strengths
1. B300: for slabs and beams.
2. B350: for columns and walls.
Yielding strength steel ( Fy = 420 Mpa).
Loads
1. Live load = 5 kN/m2
2. SID = 4 kN/m2

## Slide 50
Seismic Design data
The city of structure is Nablus.
The seismic zone factor. Z = 0.2.
The soil profile is type Sd.
The acceleration seismic coefficient Ca = 0.28
The velocity seismic coefficient Cv = 0.40
The Seismic importance factor I = 1
The structural design type is intermediate, R=5.5

## Slide 51
Sections Dimensions
Slabs sections
Two way waffle slab
40 cm
One way solid slab
30 cm
Columns sections
C1 | 70*50
C2 | 70*90
C3 | 50*70
C4 | 70*40
C5 | 40*70
Beams sections
B1 | 50*80
B2 | 40*50
B3 | 50*30
B4 | 70*50
Footing sections

## Slide 52
Verification of the model
Equilibrium check
Load | ETABS results (KN) | Manual results (KN) | Difference (%)
D.L | 21256 | 21768 | 2.4
L.L | 11019 | 10980 | 0.35
SID | 9204 | 8784 | 4
Compatibility check

## Slide 53
Seismic Design checks
Check for time period (T)
Block | Hn (m) | TmethodA | 1.3* TmethodA | T from ETABS | Assessment
First block | 14 | 0.35 | 0.46 | 0.52 | OK
Check for base shear (V)
Direction | ETABS result | Manual value
X | 6226 | 6188
Y | 6269 | 6188
Check for story drift
Story | Limitation (mm) | 𝛥 S (mm) | 𝛥 m (mm) | Assessment
Ground | 125 | 5.06 | 19.48 | OK
First | 125 | 13.65 | 52.55 | OK
Second | 110 | 24.17 | 93.05 | OK

## Slide 54
Check for modal participation mass ratio
direction | Value from sixth mode
X | 0.9871
Y | 0.9651
Check for slab deflection
Maximum deflection | Limit
41 | 46.25

## Slide 55
Slabs and beams layout

## Slide 56
Beams reinforcement

## Slide 57
Columns reinforcement

## Slide 58
Columns reinforcement

## Slide 59
Footing reinforcement

## Slide 60
Structural total cost (NIS) | 5,821,938
Mechanical total cost | 803,376
Electrical total cost | 64,271
Total cost | 6,689,585
Total unit cost | 
Quantity Surveying