## Slide 1: An Optimum Design of Photovoltaic Pumping system
By Dalia Hajhamad
Supervisor Tamer Khatib

## Slide 2: Objective:
Design a Photovoltaic Pumping system.
Achieve pre-feasibility to such system.
Study and identify the combination of PV’s and pumps as a hybrid/off-grid system and its importance to Palestinian farmers as a challenge to the Israeli occupation.

## Slide 3: Case study layout description

## Slide 4: imec water pump cpm 200

## Slide 5: Concept of the system

## Slide 6: Pump sizing
=1.388 *
=4.9

## Slide 7: Selecting proper pump depending on TDH and Flow rate

## Slide 8: Submersible pump
Model | 50250D
Power (kW) | 3.7
Efficiency | 35-40%

## Slide 9: Photovoltaic panels
#PV panels =
=12
Peak Power (Wp) | 320
Max voltage (V MPP) | 37.1
Max Current (I MPP) | 8.63
Module efficiency | 16.5

## Slide 10: Inverter connection

## Slide 11: PV modules connection method.
Series connected modules =
= 12 module

## Slide 12: Wiring system
Cables (DC & AC)
Circuit breakers
Fuses
Surge arresters

## Slide 13: Floating system (HDPe)

## Slide 14: Pre-Feasibility study
Important information | 
Dollar rate | 3.58 ILS
Project capacity [kWp] | 3.7
Energy tariff | 0.13
Profit($) | 2,770.98
Selling price | 25,000.00
kWp Cost price [$] | 4,486.33
Project cost [$] | 16,599.42
SPP =
=
=5.99 years

## Slide 15: Constrains
Area coverage
Exact amounts and time
Feasibility

## Slide 16: Conclusion
Photovoltaic power for irrigation costs are competitive with traditional energy sources for small, remote applications, if the total system design and utilization timing are carefully considered and organized to use solar energy as efficiently as possible. In the future, when the prices of fossil fuels rise and the economic advantages of mass production reduce the peak watt cost of the photovoltaic cell, photovoltaic power will become more cost competitive and more common.