## Slide 1
1
Building Engineering Department
Graduation project II presentation
Page 1
Supervised by: Eng . Alaa shaheen Eng .Hasan Mathar
Prepared By :
Esraa Atatreh.
Hala Al-Ahmad.
Shaimaa Al-Sayed.
Shaimaa Zean Al-Dean.

## Slide 2
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Page 2
Quantity surveying

## Slide 3
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Page 3
Quantity surveying

## Slide 4
3
Page 4

## Slide 5
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
5
Electro-Mechanical
Aspect
CONTENT
Page 5
Quantity surveying

## Slide 6
Page 6

## Slide 7
5
Page 7

## Slide 8
6
Page 8

## Slide 9
8
Page 9

## Slide 10
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Page 10
Quantity surveying

## Slide 11
12
Page 11

## Slide 12
Page 12

## Slide 13
13
Page 13

## Slide 14
14
Page 15

## Slide 15
15
Page 17

## Slide 16
16
Page 19

## Slide 17
19
emergency staircase
emergency staircase
Disabled bathroom
Disabled bathroom
Zone2
Zone1
Zone3
Page 14
Area = 3088.76 m2

## Slide 18
20
emergency staircase
emergency staircase
Page 16

## Slide 19
21
emergency staircase
emergency staircase
Page 18

## Slide 20
22
Page 20

## Slide 21
28
LUMION (3D MODEL )
Page 21

## Slide 22
28
LUMION (3D MODEL )
Page 22

## Slide 23
28
LUMION (3D MODEL )
Page 23

## Slide 24
28
LUMION (3D MODEL )
Page 24

## Slide 25
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Quantity surveying
Page 25

## Slide 26
29
Page 26

## Slide 27
Page 27

## Slide 28
Environmental analysis and design
summary of the cases that we have suggested to get less consumption
We chose Scenario number 4 (placed a curtain panel wall (Perforated Panels) on all the southern façade and use insulating materials for walls and roof and double glazing)
Page 33

## Slide 29
Heating and cooling load
Total heating loads | 263.40Kw
Total cooling loads | 461.39Kw
Total consumption | 133.59Kwh/m2
Page 37
Environmental analysis and design

## Slide 30
Design builder baseline comparison
The percentage of saving is 50.62 % in Scenario number 4.
Page 34
Environmental analysis and design

## Slide 31
Environmental analysis and design
Thermal analysis and comfort
U-value =.459(w/m^2.k).
Roof with insulation material
Wall with insulation material
Double glazing
Page 36
U-value =. 375 (w/m^2.k).
U-value = 2.185 ( (w/m^2.k).

## Slide 32
43
Page 28

## Slide 33
45
Page 30

## Slide 34
39
Page 32

## Slide 35
40
Page 35

## Slide 36
CFD analysis and design
Exterior CFD
Interior CFD
Page 38
Environmental analysis and design

## Slide 37
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Page 39
Quantity surveying

## Slide 38
49
Page 40

## Slide 39
Page 41

## Slide 40
50
Page 42

## Slide 41
Seismic Load
( Z) = 0.2 because the project in Jenin .
Soil type = SE.
q all =200 KN/m2
Seismic importance factor I= 1.25 .
Seismic system factor R=5.5.
Ca = 0.34 .
Cv = 0.64.
Design
Page 43
with U-Boot block thickness 400 mm as shown in figure we use 550 mm slab thickness,
Slab system
Two-way voided slab (U-Boot) with drop beams

## Slide 42
Design
Column’s
Column | Width (mm) | Depth (mm)
C1 | 1800 | 500
C2 | 1800 | 700
C3 | 1500 | 400
Page 44
Shear wall | thickness (mm)
SW 1 | 200
SW 2 | 250
SW 3 | 300
SW 4 | 350
Shear wall

## Slide 43
Design
Page 45
Beam’s
Beam | Dimensions |  | 
 | Width (mm) | Depth (mm) | span length (m)
DB1 | 1000 | 900 | 14.55
DB2 | 1000 | 900 | 16
DB3 | 1000 | 900 | 13.55
DB4 | 800 | 600 | 10
DB5 | 800 | 600 | 11.7
DB6 | 800 | 600 | 7
DB7 | 1000 | 900 | 4.5
DB8 | 1000 | 900 | 16.5
DB9 | 1000 | 900 | 17
DB10 | 1000 | 900 | 14.7
DB11 | 1000 | 900 | 12
DB12 | 800 | 600 | 9
DB13 | 800 | 600 | 9
DB14 | 1000 | 900 | 17
DB15 | 800 | 600 | 11.7
DB16 | 800 | 600 | 6.5
DB17 | 1000 | 900 | 15.2
DB18 | 800 | 600 | 10
DB19 | 800 | 600 | 8.5
DB20 | 800 | 600 | 11.5
B21 | 1000 | 550 | 9

## Slide 44
ETABS structural model
block 1
block 2
block 3
Page 46
block 4

## Slide 45
Structural Aspect
block 4
Compatibility check
block 2
block 1
block 3
Page 47

## Slide 46
Equilibrium check (block 1)
pattern |  | load |  | Error%
 |  | Manual | ETABS | 
Live |  | 7621.5 | 7621.1145 | 0.005
SID | On slab | 6097.2 | 10523.751 | 0.309
 | Walls | 4459.14 |  | 
 | Total SID | 10556.34 |  | 
Dead | Columns | 2160 | 22230.931 | 1.698
 | Beams | 6799.5 |  | 
 | Slab | 12037.93 |  | 
 | Walls | 1617.6 |  | 
 | Total Dead | 22615.03 |  | 
column | Axial load (KN) |  |  | Error%
C1 | Manual (from) |  | ETABS | 
 | beams | 1925.1 | 4899.5 | 0.465
 | slab | 2673.218 |  | 
 | own weight | 324 |  | 
 | Total | 4922.318 |  | 
internal force check for columns
Structural Aspect
Block 1
S1 | manual |  |  | ETABS | Error %
 | M11 (KN.m) | M(-) | 55.91 | 41 | 26.67
 |  | M(+) | 135.71 | 116 | 14.52
 |  | M(-) | 63.00 | 48 | 23.81
 | M22 (KN.m) | M(-) | 67.00 | 52 | 22.39
 |  | M(+) | 98.00 | 87 | 11.22
 |  | M(-) | 47.00 | 36 | 23.40
internal force check for slab
internal force check for beam
28
Page 48
manual |  |  |  | ETABS | Error %
B1 | moment (KN.m) | M(-) | 172.27 | 285.9 | 39.74
 |  | M(+) | 368.95 | 242 | 34.41
 |  | M(-) | 548.10 | 339.45 | 38.07
 | shear (KN) |  | 313 | 287.24 | 8.23

## Slide 47
Equilibrium check (block 2)
internal force check for columns
Structural Aspect
Block 2
internal force check for slab
internal force check for beam
28
Page 49
pattern |  | load |  | Error%
 |  | Manual | ETABS | 
Live |  | 10709 | 10707.25 | 0.016
SID | On slab | 8567.2 | 12421.052 | 0.222
 | Walls | 3881.43 |  | 
 | Total SID | 12448.63 |  | 
Dead | Columns | 2070 | 31758.837 | 3.572
 | Beams | 11448.75 |  | 
 | Slab | 16914.54 |  | 
 | Walls | 2502 |  | 
 | Total Dead | 32935.29 |  | 
column | Axial load (KN) |  |  | Error%
C1 | Manual- load due to |  | ETABS | 
 | beams | 1753.2 | 5463.68 | 0.400343
 | slab | 3408.353 |  | 
 | own weight | 324 |  | 
 | Total | 5485.553 |  | 
 | manual |  |  | ETABS | Error%
S2 | M11 (KN.m) | M(-) | 26.06 | 18 | 30.92
 |  | M(+) | 32.00 | 21 | 34.38
 |  | M(-) | 81.00 | 63 | 22.22
 | M22 (KN.m) | M(-) | 34.00 | 20 | 41.18
 |  | M(+) | 42.00 | 33 | 21.43
 |  | M(-) | 103.00 | 90 | 12.62
 | manual |  |  | ETABS | Error %
B2 | moment (KN.m) | M(-) | 46.51 | 31.8 | 31.63
 |  | M(+) | 136.98 | 90.9 | 33.64
 |  | M(-) | 246.90 | 357.45 | 44.77
 | shear (KN) |  | 265.65 | 219 | 17.56

## Slide 48
Equilibrium check (block 3)
internal force check for columns
Structural Aspect
Block 3
internal force check for slab
internal force check for beam
28
Page 50
pattern |  | load |  | Error%
 |  | Manual | ETABS | 
Live |  | 7906.5 | 7907.2398 | 0.009
SID | On slab | 6325.2 | 9047.2099 | 0.706
 | Walls | 2658.6 |  | 
 | Total SID | 8983.8 |  | 
Dead | Columns | 2430 | 20828.472 | 0.865
 | Beams | 6092.1 |  | 
 | Slab | 12488.08 |  | 
 | Walls | 0 |  | 
 | Total Dead | 21010.18 |  | 
column | Axial load (KN) |  |  | Error%
C3 | Manual (from) |  | ETABS | 
 | beams | 1553.4 | 10403.24 | 0.9159583
 | slab | 8621.129 |  | 
 | own weight | 324 |  | 
 | Total | 10498.53 |  | 
S3 | manual |  |  | ETABS | Error%
 | M11 (KN.m) | M(-) | 13.00 | 8 | 38.46
 |  | M(+) | 31.00 | 20 | 35.48
 |  | M(-) | 23.62 | 17 | 28.01
 | M22 (KN.m) | M(-) | 52.00 | 34 | 34.62
 |  | M(+) | 39.00 | 28 | 28.21
 |  | M(-) | 112.00 | 97 | 13.39
 | manual |  |  | ETABS | Error%
B3 | moment (KN.m) | M(-) | 158.00 | 192 | 21.52
 |  | M(+) | 104.00 | 77.1 | 25.87
 |  | M(-) | 334.67 | 287.73 | 14.03
 | shear (KN) |  | 230 | 195.45 | 15.02

## Slide 49
Equilibrium check (block 4)
internal force check for columns
Structural Aspect
Block 4
internal force check for slab
internal force check for beam
28
Page 51
pattern |  | load |  | Error%
 |  | Manual | ETABS | 
Live |  | 13670 | 13666.152 | 0.028
SID | On slab | 10936 |  | 
 | Walls | 6006 |  | 
 | Total SID | 16942 | 16889.619 | 0.309
Dead | Columns | 4230 | 39173.967 | 2.126
 | Beams | 10444.5 |  | 
 | Slab | 21591.35 |  | 
 | Walls | 3759 |  | 
 | Total Dead | 40024.85 |  | 
column | Axial load (KN) |  |  | Error%
C4 | Manual (from) |  | ETABS | 
 | beams | 1228.41 | 5147.38 | 0.2695
 | slab | 3608.845 |  | 
 | own weight | 324 |  | 
 | Total | 5161.255 |  | 
S4 | manual |  |  | ETABS | Error%
 | M11 (KN.m) | M(-) | 54.23 | 86 | -58.58
 |  | M(+) | 159.72 | 142 | 11.09
 |  | M(-) | 77.00 | 58 | 24.68
 | M22 (KN.m) | M(-) | 62.00 | 43 | 30.65
 |  | M(+) | 104.00 | 95 | 8.65
 |  | M(-) | 71.00 | 55 | 22.54
 | manual |  |  | ETABS | Error%
B4 | moment (KN.m) | M(-) | 189.92 | 261 | 37.42
 |  | M(+) | 312.00 | 267.65 | 14.21
 |  | M(-) | 436.00 | 383.24 | 12.10
 | shear (KN) |  | 293 | 245 | 16.38

## Slide 50
Structural Aspect
Seismic checks For Block 1
Base shear check
Drift check
Story | Height (mm) | Dis-X(mm) | Dis-Y(mm) | Drift-X(mm) | Drift-Y(mm) | Delta-X(mm) | Delta-Y(mm) | Delta-Limit (mm) | Check
0 | - | 0 | 0 | - | - | - | - | - | -
1 | 4000 | 0.056 | 0.076 | 0.056 | 0.076 | 0.22 | 0.45 | 80 | OK
2 | 4000 | 0.187 | 0.249 | 0.131 | 0.173 | 0.78 | 1.03 | 80 | OK
3 | 4000 | 0.365 | 0.481 | 0.178 | 0.232 | 1.06 | 1.38 | 80 | OK
Time period
EQx Max | 6662.7798 | 4887.2174
EQy Max | 4752.7509 | 6534.7019
Page 52
Load Case/Combo | FX | FY | FZ
 | kN | kN | kN
Dead | -7.364E-07 | -0.000018 | 23965.42
Live | 0 | -0.0000072 | 7621.33
SID | 0 | -0.0000082 | 10523.92
EQx Max | 2644.92 | 1940.07 | 0
EQy Max | 1952.1 | 2544.73 | 0

## Slide 51
Structural Aspect
Seismic checks For Block 2
Base shear check
Drift check
Time period
Page 53
EQx Max | 10244.2297 | 5359.1836 | 0.000003801
EQy Max | 4617.0078 | 10182.1932 | 0.000002718
Story | Height (mm) | Dis-X(mm) | Dis-Y(mm) | Drift-X(mm) | Drift-Y(mm) | Delta-X(mm) | Delta-Y(mm) | Delta-Limit (mm) | Check
0 | - | 0 | 0 | - | - | - | - | - | -
1 | 4000 | 0.135 | 0.129 | 0.135 | 0.129 | 0.52 | 0.77 | 80 | OK
2 | 4000 | 0.423 | 0.42 | 0.288 | 0.291 | 1.71 | 1.73 | 80 | OK
3 | 4000 | 0.791 | 0.822 | 0.368 | 0.402 | 2.19 | 2.39 | 80 | OK
Load Case/Combo | FX | FY | FZ
 | kN | kN | kN
Dead | 0 | 0.000001092 | 36334.2
Live | 0 | 0 | 12280.0
SID | 0 | 0 | 13716.7
EQx Max | 4674.77 | 2524.15 | 0.0000017
EQy Max | 2516.73 | 4711.37 | 0.000001343

## Slide 52
Structural Aspect
Seismic checks For Block 3
Base shear check
Drift check
Time period
Page 54
Story | Height (mm) | Dis-X(mm) | Dis-Y(mm) | Drift-X(mm) | Drift-Y(mm) | Delta-X(mm) | Delta-Y(mm) | Delta-Limit (mm) | Check
0 | - | 0 | 0 | - | - | - | - | - | -
1 | 4000 | 0.137 | 0.016 | 0.137 | 0.016 | 0.53 | 0.1 | 80 | OK
2 | 4000 | 0.41 | 0.096 | 0.273 | 0.08 | 1.62 | 0.48 | 80 | OK
3 | 4000 | 0.772 | 0.225 | 0.362 | 0.129 | 2.15 | 0.77 | 80 | OK
EQx Max | 6935.56 | 3221.40 | 0.00000452
EQy Max | 2961.89 | 6884.78 | 0.00000402
Load Case/Combo | FX | FY | FZ
 | kN | kN | kN
Dead | -0.000009974 | -0.00001423 | 24476.30
Live | -0.000004917 | -0.000005817 | 8745.74
SID | -0.00000317 | -0.00000413 | 9646.41
EQx Max | 479.16 | 875.63 | 0.000000542
EQy Max | 1509.39 | 2912.14 | 0.000001776

## Slide 53
Structural Aspect
Seismic checks For Block 4
Base shear check
Drift check
Time period
Story | Height (mm) | Dis-X(mm) | Dis-Y(mm) | Drift-X(mm) | Drift-Y(mm) | Delta-X(mm) | Delta-Y(mm) | Delta-Limit (mm) | Check
0 | - | 0 | 0 | - | - | - | - | - | -
1 | 4000 | 0.122 | 0.169 | 0.122 | 0.169 | 0.47 | 1.01 | 80 | OK
2 | 4000 | 0.373 | 0.405 | 0.251 | 0.236 | 1.49 | 1.4 | 80 | OK
3 | 4000 | 0.733 | 0.705 | 0.36 | 0.3 | 2.14 | 1.79 | 80 | OK
EQx Max | 11610.70 | 3902.57 | 0.00003521
EQy Max | 3799.29 | 11575.63 | 0.0001
Page 55
Load Case/Combo | FX | FY | FZ
 | kN | kN | kN
Dead | -0.1838 | -0.2271 | 39787.33
Live | -0.0812 | -0.0915 | 13674.37
SID | -0.2341 | -0.1138 | 16896.193
EQx Max | 6137.74 | 2062.99 | 0.00001861
EQy Max | 2326.28 | 4983.47 | 0.0000232

## Slide 54
beam plan
Structural details
Page 56

## Slide 55
Structural details
Column details
cross section of C3
Page 57
cross section of C2
Column | Width (mm) | Depth (mm) | % Rebar | Bars reinforcement | Stirrups
C1 | 1800 | 500 | 1.00 | 30 Ø 20 | 4 Ø 10 @ 250mm
C2 | 1800 | 700 | 1.00 | 40 Ø 20 | 5 Ø 10 @ 250mm
C3 | 1500 | 400 | 1.00 | 24 Ø 18 | 3 Ø 10 @ 250mm
cross section of C1

## Slide 56
Beam details
Structural details
Page 58

## Slide 57
Beam details
Page 59
Structural details

## Slide 58
Slab details
Structural details
Page 60

## Slide 59
shear wall plan
Page 58
Page 61
Structural details

## Slide 60
shear wall details
section in shear wall 1
Structural details
vertical section in shear wall 1
Page 62

## Slide 61
Structural details
Mat foundation ( foundation details)
Page 63

## Slide 62
Structural details
Mat foundation ( foundation details)
Page 64

## Slide 63
Structural details
Retaining wall design and Water tank design
Page 65

## Slide 64
Structural details
Stairs design
Page 66

## Slide 65
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Electro-Mechanical
Aspect
CONTENT
Quantity surveying
Page 67

## Slide 66
Page 68

## Slide 67
Electro-Mechanical Aspect
Fire safety design - Evacuation ways for ground floor :
Page 107

## Slide 68
Electro-Mechanical Aspect
Fire safety design - Evacuation ways for first floor :
Page 108

## Slide 69
Electro-Mechanical Aspect
Fire safety design - Evacuation ways for second floor :
Page 109

## Slide 70
Electro-Mechanical Aspect
Fire safety design - Evacuation ways for second floor :
The symbols of suppression system
Extinguishers
Sprinklers
Fire Hose
Emergency signs and light
Page 110

## Slide 71
Electro-Mechanical Aspect
Fire safety design for ground floor
Page 111

## Slide 72
Electro-Mechanical Aspect
Fire safety design for first floor
Page 112

## Slide 73
Electro-Mechanical Aspect
Fire safety design for second floor
Page 113

## Slide 74
Electro-Mechanical Aspect
Water Supply Design:
The maximum number of people may exist inside the technical education center at the same time, equals 800 person.
The average consumption of water for each person daily in such this building equals 7 L/day for each person.
The volume based on the number of people and their consumption of water: 800x 7= 5600 L/day ≈ 6 m3
floor | WSFU | Water flow for floor g/m
Ground floor | 157.2 | 58
first floor | 158.6 | 59
second floor | 124 | 50
Water demand amount in each floor.
Page 102
Water tank elevation

## Slide 75
Electro-Mechanical Aspect
Water Supply Design:
Diameters of the used pipes for vertical feeder 1 .
Diameters of the used pipes for vertical feeder 2 .
Page 103
1.4

## Slide 76
Electro-Mechanical Aspect
Water Supply Design for ground floor
Page 104

## Slide 77
Electro-Mechanical Aspect
Water Supply Design for first floor
Page 105

## Slide 78
Electro-Mechanical Aspect
Water Supply Design for second floor
Page 106

## Slide 79
Electro-Mechanical Aspect
Drainage Design for ground floor
floor | DFU’S
Ground floor | 108
first floor | 110
second floor | 83
Page 97

## Slide 80
Electro-Mechanical Aspect
Drainage Design for first floor
Page 98

## Slide 81
Electro-Mechanical Aspect
Drainage Design for second floor
Page 99

## Slide 82
Electro-Mechanical Aspect
Drainage Design
Page 100

## Slide 83
Electro-Mechanical Aspect
Drainage Design
Page 100
Manhole no. | Dimension (cm) | Top level (cm) | Interval level (cm) | Depth (cm)
1 | ɸ60 | 0 | -60 | 60
2 | ɸ60 | 0 | -62 | 62
3 | ɸ60 | 0 | -70 | 70
4 | ɸ60 | 0 | -87 | 87
5 | ɸ60 | 0 | -96 | 96
6 | ɸ80 | 0 | -106 | 106
7 | ɸ80 | 0 | -119 | 119
8 | ɸ80 | 0 | -122 | 122
9 | ɸ60 | 0 | -60 | 60
10 | ɸ60 | 0 | -64 | 64
11 | ɸ80 | 0 | -130 | 130
12 | ɸ80 | 0 | -145 | 145
13 | ɸ80 | 0 | -162 | 162
14 | ɸ80 | 0 | -177 | 177
15 | ɸ80 | 0 | -190 | 190
16 | ɸ60 | 0 | -60 | 60
17 | ɸ60 | 0 | -64 | 64
18 | ɸ60 | 0 | -68 | 68
19 | ɸ80 | 0 | -201 | 201
20 | ɸ100 | 0 | -211 | 211
21 | ɸ100 | 0 | -219/-73 | 219
22 | ɸ60 | 0 | -60 | 60
23 | ɸ60 | 0 | -63 | 63
24 | ɸ60 | 0 | -66 | 66
25 | ɸ60 | 0 | -69 | 69
26 | ɸ100 | 0 | -232 | 232
27 | ɸ100 | 0 | -246 | 246

## Slide 84
Electro-Mechanical Aspect
Drainage Design-Roof slope plan
Page 101

## Slide 85
Electro-Mechanical Aspect
HVAC Design:
The system used for HVAC design is Variable refrigerant flow “ VRF system ”
Outdoor unit
Indoor unit
Indoor unit
Page 90
fan coil unit (ERV)
Filter design that controls and kills viruses

## Slide 86
Electro-Mechanical Aspect
HVAC Design for ground floor :
Page 94

## Slide 87
Electro-Mechanical Aspect
HVAC Design for first floor :
Page 95

## Slide 88
Electro-Mechanical Aspect
HVAC Design for second floor :
Page 96

## Slide 89
Electro-Mechanical Aspect
Acoustic design
Workshop (blacksmithing room)
Reverberation time for workshop
Page 66
Page 84

## Slide 90
Electro-Mechanical Aspect
Acoustic design
Office
Library
Reverberation time
Reverberation time
Meeting room
Reverberation time
Page 85

## Slide 91
Electro-Mechanical Aspect
Acoustic design
Cafeteria
Reverberation time for cafeteria
Page 86

## Slide 92
Electro-Mechanical Aspect
Acoustic design for cafeteria
total SPL value
Page 66
Value of direct SPL for cafeteria
value of articulation loss
Page 87

## Slide 93
Electro-Mechanical Aspect
Acoustic design -Sound insulation
Design of internal floors
Page 66
Design of external glazing
Design of ceilings
Page 88

## Slide 94
Electro-Mechanical Aspect
Acoustic design -Sound insulation
Page 66
Design of normal partitions
Design of glazed partitions
Design For external wall
Page 89

## Slide 95
Electro-Mechanical Aspect
Artificial lighting design
Type of used Luminaires:
Page 69

## Slide 96
Electro-Mechanical Aspect
Artificial lighting design
Type of used Luminaires:
Page 70

## Slide 97
Electro-Mechanical Aspect
Artificial lighting design
Teachers rooms :
Page 71
counting department

## Slide 98
Electro-Mechanical Aspect
Artificial lighting design
Class room :
Page 72
carpentry

## Slide 99
Electro-Mechanical Aspect
Artificial lighting design
Kitchen
Cafeteria for teachers
store
W.C
Page 73

## Slide 100
Electro-Mechanical Aspect
Artificial lighting design
Art room
Page 74
Computer room

## Slide 101
Electro-Mechanical Aspect
Artificial lighting design
library
Page 75
corridor

## Slide 102
Electro-Mechanical Aspect
Artificial lighting design
Meeting room
Page 76

## Slide 103
Electro-Mechanical Aspect
Artificial lighting design – plan for ground floor
Page 77

## Slide 104
Electro-Mechanical Aspect
Artificial lighting design – plan for first floor
Page 78

## Slide 105
Electro-Mechanical Aspect
Artificial lighting design – plan for second floor
Page 79

## Slide 106
Electro-Mechanical Aspect
Power design
index | Manufacturer | Luminous flux (LM) | Maintenance factor | connected load (W) | Quantity | Power(watt)
Teacher room | Thorn | 3800 | 0.8 | 33 | 56 | 1848
Carpentry room | Thorn | 3800 | 0.7 | 33 | 30 | 990
Carpentry room | Thorn | 4600 | 0.7 | 42 | 2 | 84
Class room | Thorn | 3800 | 0.8 | 33 | 24 | 792
Class room | Thorn | 4600 | 0.8 | 42 | 4 | 168
Cafeteria teachers | Thorn | 2050 | 0.8 | 19.6 | 26 | 509.6
Meeting room | Thorn | 3378 | 0.8 | 34 | 16 | 544
Meeting room | Thorn | 17400 | 0.8 | 240 | 2 | 480
security room | Thorn | 3800 | 0.8 | 33 | 3 | 99
Counting department | Thorn | 3800 | 0.8 | 33 | 8 | 264
WC | Thorn | 2050 | 0.8 | 19.6 | 36 | 705.6
Corridor | Thorn | 3800 | 0.8 | 33 | 57 | 1881
lighting power for spaces on the ground floor.
Page 80

## Slide 107
Electro-Mechanical Aspect
Power design – plan for ground floor
Page 81

## Slide 108
Electro-Mechanical Aspect
Power design – plan for first floor
Page 66

## Slide 109
Electro-Mechanical Aspect
Power design – plan for second floor
Page 83

## Slide 110
Introduction
Site Analysis
Architectural Aspect
Environmental Aspect
Structural Aspect
Quantity surveying
Electro-Mechanical
Aspect
CONTENT
Quantity surveying
Page 114

## Slide 111
59
Page 115

## Slide 112
60
Cost summery
Page 116

## Slide 113
61
Page 117