## Slide 1
An-Najah National University Faculty of Engineering & Information Technology. Building Engineering Department. Graduation project (2) Integrated redesign of the Children’s Hospital of Palestine in Ramallah city.
Prepared By:
1. Ameer Ihmedan.
2. Anees Ihmedan.
3. Rawan Amireh.
Supervisor: Eng. Haitham Sawalha.
1

## Slide 2: 02 03 05 06 01 04
TABLE OF CONTENTS
Environmental Aspects
Quantity Surveying and Cost Estimation
Introduction
Structural Aspects
Eloctro-Mechanical Aspects
Architectural Aspects
2

## Slide 3: 01 Introduction
Project Description & location
Methodology
3

## Slide 4: Project Description
This project is a specialized hospital for children located in Ramallah in Al-Bireh Khallat Al-Salamia, Block No. 102, Basin 8. with total area 7551 and number of floors 12
4

## Slide 5: Methodology
5

## Slide 6: 02 Architectural Aspects
Adding an ambulance bridge
Adding a parking floor
plans before and after modification
3D View
Site analysis
6

## Slide 7
Adding a
ambulance bridge
7

## Slide 8
Added basement floor 3
Adding a Parking floor
8

## Slide 9: Basement floor2 before modification
Plan before modification
9

## Slide 10: Basement floor2 after modification
Plan after modification
Added two ramp for parking
10

## Slide 11
Basement floor1 before modification
Plan before modification
11

## Slide 12
Basement floor1 after modification
Plan after modification
1.Waiting area
2.Change in control room location
12

## Slide 13
Ground floor before modification
Plan before modification
13

## Slide 14
Ground floor after modification
Plan after modification
1. Pharmacy
2. Reception
3. Elevator in emergency room and medical staff
14

## Slide 15
First floor before modification
Plan before modification
15

## Slide 16
First floor after modification
Plan after modification
1. Door in operation area
2. Stairs and Escape stairs
16

## Slide 17
Roof before modification
Plan before modification
17

## Slide 18
Roof after modification
Plan after modification
18

## Slide 19
19
3D view

## Slide 20: Site Analysis
20

## Slide 21: 03 Enviromental Aspects
Simulation Analysis
CFD Analysis
Daylight Factor Analysis
Shading Analysis
21

## Slide 22: Design Builder Simulation Analysis
Wall Section
Wall U-Value
Roof Section
Roof U-Value
Glass U-Value

## Slide 23: Design Builder Simulation Result

## Slide 24: Design Builder Simulation Result

## Slide 25: Design Builder Simulation Result
Predicted Mean Vote
Energy Baseline Comparison

## Slide 26: Design Builder CFD

## Slide 27: Design Builder CFD

## Slide 28: Daylight Factor Analysis
Third Floor Before Modifications
Third Floor After Modifications

## Slide 29
Floor | Space name | Lighting daylight Factor Before modification % | Lighting daylight Factor after modification %
Ground floor | Clinic | 8-34 | 2-6
 | Clinic | 4-14 | 1-6
 | Clinic | 4-14 | 1-6
 | Entrance | 4-20 | 2-6
 | Clinic | 8-24 | 2-5
 | Dining area | 4-30 | 2-7
First floor | sterile room | 2-20 | 2-6
 | STUFF room | 7-22 | 2-10
Second floor | ICU room | 5-22 | 2-10
 | Machine room | 4-14 | 3-11
 | ICU room | 10-34 | 3-7
 | ICU room | 5-22 | 2-6
 | CCU room | 1-20 | 1-7
 | ICU room | 5-28 | 2-6
 | wating area | 30-34 | 3-8
Third floor | wating area | 2-32 | 1-7
 | Patients room | 12-32 | 2-7
 | LABOUR | 1-22 | 1-9
 | Patients room | 2-22 | 1-5
 | Patients room | 2-22 | 1-7
Fourth floor | Hall | 2-33 | 2-7
 | W.C | 2-16 | 2-5
 | W.C | 4-18 | 1-5
 | Patients room | 2-20 | 2-10
 | Patients room | 2-20 | 2-6
 | Patients room | 4-33 | 2-10
 | Baby room | 2-18 | 1-9
Floor | Space name | Lighting daylight Factor Before modification % | Lighting daylight Factor after modification %
Fourth floor | Hall | 2-33 | 2-7
 | W.C | 2-16 | 2-5
 | W.C | 4-18 | 1-5
 | Patients room | 2-20 | 2-10
 | Patients room | 2-20 | 2-6
 | Patients room | 4-33 | 2-10
 | Baby room | 2-18 | 1-9
Fifth Floor | Patients room | 8-33 | 2-7
 | Patients room | 2-22 | 2-6
 | Patients room | 2-18 | 1-6
 | Patients room | 3-22 | 1-6
 | Patients room | 1-14 | 1-8
 | Hall | 6-33 | 2-6
Sixth floor | Patients room | 8-33 | 2-7
 | Patients room | 2-22 | 2-6
 | Patients room | 2-18 | 1-6
 | Patients room | 3-22 | 1-6
 | Patients room | 1-14 | 1-8
 | Hall | 6-33 | 2-6
Roof | Meeting room | 40-60 | 2-7
 | Admnistration | 6-30 | 1-4
 | HAll | 40-60 | 2-6

## Slide 30: Shading Analysis
8:00 AM
12:00 PM
South east Elevation in Summer
2:00 PM

## Slide 31: Shading Analysis
8:00 AM
12:00 PM
South east Elevation in Winter
2:00 PM

## Slide 32: 03 Structural Aspects
Structural System
Structural Checks
Seismic Design
Seismic Checks
Design & Details
32

## Slide 33: Structural System
The following codes were used in the structural design:
ACI-318R-11 for reinforced concrete structural design
ASCE 7 2010 for load combinations
IBC – 2016 for seismic design.
Dead load (From ETABS)
SID= 4 KN/m2 , 7 KN/m2 and 12 KN/m2
Live Loads = 4 KN/m2 and 7 KN/m2
Lateral Loads
Load effect :

## Slide 34: Structural System
Ground floor Column Distribution

## Slide 35: Structural Checks
Compatibility Check

## Slide 36: Structural Checks
Equilibrium Check
 | Etabs | Manual | Error | < 5 %
Dead | 73301 | 70647.49 | 3.62 | OK
Live | 27876 | 27785 | 0.33 | OK
SID | 37628 | 38218 | 1.57 | OK

## Slide 37: Structural Checks
Stress-Strain Check – Columns
 | Etabs | Manual | Error | < 10 %
interior column | 10590 | 10203.71 | 3.65 | OK
Edge column | 8751 | 8513.92 | 2.705 | OK
corner column | 2204 | 3193.6 | 44.91 | Not OK
Moment A-B | Etabs | Manual | Error | < 10 %
Moment(+ve) | 122.3 | 117.6 | 3.84 | OK
Moment(-ve) | 139.5 | 136.2 | 2.37 | OK
Moment(-ve) | 552 | 540 | 2.17 | OK
Stress-Strain Check – Slab

## Slide 38: Seismic Design
Seismic Design
City of Structure | Ramallah
Soil Capacity | 520 KN/m2
Site Class | B
Seismic Design Category | C
Seismic Importance Factor | I=1.5
Structural Design Type | DUAL SYSTEMS WITH INTERMEDIATE MOMENT FRAMES CAPABLE OF RESISTING AT LEAST 25% OF PRESCRIBED SEISMIC FORCES-ORDINARY REINFORCED CONCRETE SHEAR WALLS
Response Modification factor ( R) | R=5.5

## Slide 39: Seismic Design
DUAL SYSTEMS
Building with 25%seismic load
Building with 100%seismic load

## Slide 40: Seismic Design
From maps:
TL= 9
Ss= 0.4
S1= 0.1

## Slide 41: Seismic Check
      Base Shear Check (V)
Axis | T | T(limit) | Tfinal | Cs1 | Cs2 | Cs3 | Csfinal | V | V(Etabs) | Error
X | 1.247 | 2.924 | 1.247 | 0.0727 | 0.0146 | 0.0176 | 0.01760 | 2338.437 | 2331.6 | 0.292
Y | 1.726 | 2.924 | 1.726 | 0.0727 | 0.0105 | 0.0176 | 0.01760 | 2338.437 | 2318.219 | 0.865
Error percentage is less than 5%.

## Slide 42: Seismic Check
Number of story | Axis | drift (m) | factor | Check
Story11 | X | 0.00524 | 0.004716 | ok
Story11 | Y | 0.006845 | 0.006161 | ok
Story11 | X | 0.004799 | 0.004319 | ok
Story11 | Y | 0.006786 | 0.006107 | ok
Story10 | X | 0.001752 | 0.001577 | ok
Story10 | Y | 0.001409 | 0.001268 | ok
Story10 | X | 0.002015 | 0.001814 | ok
Story10 | Y | 0.001447 | 0.001302 | ok
Story9 | X | 0.001849 | 0.001664 | ok
Story9 | Y | 0.001458 | 0.001312 | ok
Story9 | X | 0.002226 | 0.002003 | ok
Story9 | Y | 0.001617 | 0.001455 | ok
Story8 | X | 0.002003 | 0.001803 | ok
Story8 | Y | 0.001459 | 0.001313 | ok
Story8 | X | 0.002303 | 0.002073 | ok
Story8 | Y | 0.001549 | 0.001394 | ok
Story7 | X | 0.002095 | 0.001886 | ok
Story7 | Y | 0.001397 | 0.001257 | ok
Story7 | X | 0.002262 | 0.002036 | ok
Story7 | Y | 0.001427 | 0.001284 | ok
Story6 | X | 0.00211 | 0.001899 | ok
Story6 | Y | 0.001316 | 0.001184 | ok
Story6 | X | 0.002069 | 0.001862 | ok
Story6 | Y | 0.001309 | 0.001178 | ok
Story5 | X | 0.002051 | 0.001846 | ok
Story5 | Y | 0.001332 | 0.001199 | ok
Story5 | X | 0.001721 | 0.001549 | ok
Story5 | Y | 0.001119 | 0.001007 | ok
Number of story | Axis | drift (m) | factor | Check
Story4 | X | 0.002025 | 0.001823 | ok
Story4 | Y | 0.00191 | 0.001719 | ok
Story4 | X | 0.001262 | 0.001136 | ok
Story4 | Y | 0.000883 | 0.000795 | ok
Story3 | X | 0.001038 | 0.000934 | ok
Story3 | Y | 0.001458 | 0.001312 | ok
Story3 | X | 0.000304 | 0.000274 | ok
Story3 | Y | 0.000372 | 0.000335 | ok
Story2 | X | 0.00011 | 0.000099 | ok
Story2 | Y | 0.000057 | 5.13E-05 | ok
Story2 | X | 0.000122 | 0.00011 | ok
Story2 | Y | 0.000041 | 3.69E-05 | ok
Story1 | X | 0.000031 | 2.79E-05 | ok
Story1 | Y | 0.000039 | 3.51E-05 | ok
Story1 | X | 0.00003 | 0.000027 | ok
Story1 | Y | 0.000025 | 2.25E-05 | ok
      Drift Check

## Slide 43: Seismic Check
      Stiffness Check
Story 2 |  |  |  |  | 
Axis | P (KN) | S (KN) | H (m) | Stability coefficient | Check
X | 155275.9 | 2532384 | 4.3 | 0.01426 | ok
Y | 155275.9 | 2144707 | 4.3 | 0.016837 | ok
Story 4 |  |  |  |  | 
Axis | P (KN) | S (KN) | H (m) | Stability coefficient | Check
X | 112827.4 | 457838.1 | 4.3 | 0.057311 | ok
Y | 112827.4 | 703862.4 | 4.3 | 0.037278 | ok
Story 5 |  |  |  |  | 
Axis | P (KN) | S (KN) | H (m) | Stability coefficient | Check
X | 98972.73 | 355599.5 | 4.3 | 0.064727 | ok
Y | 98972.73 | 451490 | 4.3 | 0.05098 | ok
Story 8 |  |  |  |  | 
Axis | P (KN) | S (KN) | H (m) | Stability coefficient | Check
X | 55266.1 | 204338.8 | 4.3 | 0.062898 | ok
Y | 55266.1 | 273102 | 4.3 | 0.047061 | ok

## Slide 44
First floor U-Boot plan
Design & Details
Slab Design

## Slide 45: Design & Detailing
First floor Reinforcement
First floor Reinforcement
Slab Design

## Slide 46: Design & Detailing
slab detailing
Shrinkage reinforcement
Section in slab

## Slide 47: Design & Detailing
Column design & detailing

## Slide 48: Design & Detailing
Column design & detailing

## Slide 49: Design & Detailing
Column design & detailing

## Slide 50: Design & Detailing
Column 3D

## Slide 51: Design & Detailing
Beam design & detailing

## Slide 52: Design & Detailing
Beam design & detailing

## Slide 53: Design & Detailing
Stairs design & detailing

## Slide 54: Design & Detailing
Stairs Beam and Detailing

## Slide 55: Design & Detailing
Stairs Beam and Detailing

## Slide 56: Design & Detailing
Mat Foundation design & detailing

## Slide 57: Design & Detailing
Check Punching shear
Building with load 25%seismic
Building with load 100%seismic

## Slide 58: Design & Detailing
Isolated footing Design and tie beam for bridge

## Slide 59: Design & Detailing
Water Tank Design

## Slide 60: Design & Detailing
    Basement wall and Shear wall Design

## Slide 61: 04 Electro-Mechanical Aspects
HAVC System
Water Supply system
Artificial Lighting system
Drainage system
Fire fighting system
Power Design and photovoltaic system Acoustical Design
61

## Slide 62: HAVC System
Chart: 
VRF System has been considered.
HVAC System Used Components:
Air handling Unit
Ducts
Diffusers
Split unit

## Slide 63: HAVC System
Chart: 
Design Capacity = 188 kW
Total Design Flowrate = 10000 L/sec.
Air Handling Unit Catalogue

## Slide 64: HAVC System
Chart: 
Ground Floor

## Slide 65: HAVC System
Chart: 
HEPA
NACH
Fan Coil Catalogue

## Slide 66: HAVC System
Chart: 
diffuser design with check

## Slide 67: HAVC System
Chart: 
Split unit design

## Slide 68: Water Supply system
Chart: 
Fixture unit

## Slide 69: Water Supply system
Chart: 

## Slide 70: Water Supply system
Chart: 
Water loss and limiter used

## Slide 71: Water Supply system
Chart: 
Water for fifth plan

## Slide 72: Water Supply system
Chart: 
Water Tank

## Slide 73: Water Supply system
Chart: 
Solar boiler

## Slide 74: Artificial Lighting
Chart: 
CSDD
Operation Room
Recovery Room
Reception Room Operation Room CSDD
Clinic Room
Patient Room
Emergency
Pharmacy
RECOVERY STERILE AREA
DIALux has been used for Space Analysis and Design.

## Slide 75: Artificial Lighting
Chart: 
Reception Room

## Slide 76: Artificial Lighting
Chart: 
Patient Room

## Slide 77: Artificial Lighting
Lighting Plans
Five Floor
Second Floor

## Slide 78: Drainage
Used Diameters
W.C Horizontal Pipe = 4″ at slope of 1%
Lavatory Horizontal Pipe = 2″ at slope of 2%
Main Manhole’s Pipe = 6″ at slope of 1%

## Slide 79: Drainage
Drainage System Sample Plans

## Slide 80: Drainage
Drainage System Sample Plans

## Slide 81: Drainage
Rainwater System

## Slide 82: Fire Fighting System
Used Fire-fighting System
Sprinkler System
Fire Hose Stations
Fire alarm System
Dry Stand Pipe
Fire-fighting Signs
FM200
Dry chemical fire extinguisher
Manual ABC fire extinguisher

## Slide 83: Fire Fighting System
Six Floor Fire-Fighting Plan
Fire-fighting Symbols

## Slide 84: Fire Fighting System

## Slide 85: Power Design
Socket and Distribution Boards Plans

## Slide 86: Power Design
Distribution Boards Plans
Circuit breaker for fifth plan

## Slide 87: Power Design
Low voltage Design
Designed the low voltage circuits such as internet or TV line.

## Slide 88: photovoltaic system design
Module Specifications

## Slide 89: photovoltaic system design
Module Distribution Cases

## Slide 90: photovoltaic system design
Result of Photovoltaic system

## Slide 91: Acoustical Design
Insul has been used to designed layer of wall
Ease has been used for RT60 analysis
Standard of STC (Sound transmission class) for space and roof.

## Slide 92: Acoustical Design
IIC For Slab

## Slide 93: Acoustical Design
STC For external Wall
STC For internal Wall

## Slide 94: Acoustical Design

## Slide 95: Acoustical Design
Ceiling loud speaker

## Slide 96: 05 Quantity Surveying & Cost Estimations
Cost Estimation of the Hospital has been conducted based on the Calculate in details for all work and activities
96

## Slide 97: Cost Estimation
Unit cost =1600 NIS/m
Cost (NIS) | 
5000000 | Structure Work
4500000 | Finishing Work
900000 | Electrical Works
1600000.00 | Mechanical Work
12000000.00 | Total Cost

## Slide 98: Thanks!
Does anyone have any questions?