## Slide 1
Group Members:
Ala’ Saleh & Nariman Abu Sneineh
Supervisor:
Dr. Ashraf Armoush
© ShakeWake 2014

## Slide 2: Outline:
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 3: Outline:
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 4: Why/What is ShakeWake?

## Slide 5: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 6: Polysomnography
Polysomnography is a sleep study monitors you as you sleep, it records your body movements.
There are two states of sleep:
Cycling between NREM and REM sleep does in about 90 minutes.
Rapid eye movement (REM)
Non-rapid eye movement (NREM)

## Slide 7: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 8: Methodology
Software
Hardware
Data Storage
GUI
Implementation
Design
Implementation

## Slide 9: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 10: Software Part
Data Storage
Implementation
Graphical User Interface

## Slide 11: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 12: The Data Storage
In our application we used the local data storage to store :
Users alarm clocks.
Sleep graphs data.
Shared Preferences

## Slide 13: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 14
GUI
We build the GUI using targeted android SDK version API-14 “android 4.0: IceCreamSandwich” integrated with the XML tags.
We used the external library “achartengine-1.1.0” to draw sleep graphs.

## Slide 15: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 16: Implementation
Our application consists of two main features:
Both of them sends the commands to Arduino via Bluetooth.
Alarm Clock Feature.
Health Indicator Feature.

## Slide 17: Alarm Clock Feature
This feature has two modes:
Strict Mode
Healthy Mode
The Known alarm clock.
Depend on sleep cycles.

## Slide 18: Health Indicator Feature
This feature concerns in:
Receiving and storing the movement values and the time when happen
Drawing the sleep graphs
Analyzing each sleep graph

## Slide 19: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 20: Hardware Part
Design.
Implementation.

## Slide 21: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 22: Design
Components
Packaging
The design has two phases:

## Slide 23: Components
  Arduino Uno “ATMEGA328P-PU”
  Bluetooth Chip Module “HC-06”
The microcontroller in the project.
1 item X 180 NIS.
The communication chip
Used to make connection between Android and Arduino.
1 item X 120 NIS
The total cost of our project is: 550 NIS

## Slide 24: Components
  Vibrating Motors
  Flex Sensors
Used to make the pillow vibrates
2 items X 10 NIS
Used to check and get the state of the pillow.
3 items X 48 NIS / one of them damaged.
Used instead of pressure sensor because of the wide area it covers.

## Slide 25: Components
  Open Collector “ULN2003AP0”
  Normal Pillow
  Resistors, Wires, Sockets, Board & Packaging Materials.
Used to protect the motors and the Arduino from being damaged when they’re connected to the Arduino.
1 item X 10 NIS
1 item X 25 NIS
51 NIS

## Slide 26: Packaging
The three constraints in our project design:
The size of the controller unit
Vibrating motors
Flex sensors

## Slide 27: Packaging
The Controller Unit:
The Shield over the Arduino
Pillow Controller Packaging

## Slide 28: Packaging
Vibrating Motors Packaging:

## Slide 29: Packaging
Flex Sensors Packaging:

## Slide 30: Packaging
Final View:

## Slide 31: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 32: Implementation
Alarm Clock Feature.
Health Indicator Feature.
We broke our project into two pieces and tested each one individually:
Both of them communicate with the Android via Bluetooth.

## Slide 33: Alarm Clock Feature
Receives command from Android
Turns on the vibrating motors
Checks the state of the flex sensors
Keeps checking until the user wakes up

## Slide 34: Health Indicator Feature
Receives command from Android
Starts reading the flex sensors values
Checks if there is a change in the data and sends it to android
Keeps reading and checking until the user stops it

## Slide 35: Outline
Why/What is ShakeWake?
Literature Review
Methodology
  The Software Part
    Data Storage
    Graphical User Interface
    Implementation
  The Hardware Part
    Design
    Implementation
Future Work
Demo Time

## Slide 36: Future Work
Cross Platform Application
Displayable LEDs
Playing Music.

## Slide 37: Thank You!