## Slide 1
Bentley Car Showroom
An-Najah National University
Faculty of Engineering & Information Technology
Building Engineering Department
Supervised by:
Dr. Muhannad Haj Hussein
Group team:
Doaa Dasouqi
Donya Mahmud
Lu’a Arman
2020-2021

## Slide 3
Site Locations
Beit Iba street
Bystreet
Residential building
N
Commercial building

## Slide 4
Architectural Aspects
Environmental Aspect
Structural Aspect
Mechanical Aspects
Electrical Aspect
Quantity surveying & Cost Estimate
Bentley Car Showroom

## Slide 5
Architectural Analysis (Ground floor)

## Slide 6
Architectural Analysis (first floor)

## Slide 7
Architectural Analysis (Elevation)

## Slide 8
Architectural Analysis (Elevation)
South elevation

## Slide 9
Architectural Analysis (Section)

## Slide 10
Loads in
Building
Structural Aspect
Type of Slab
Checks of
Slab
Reinforcement
3D Model

## Slide 11
3D Model
we divide the project to three blocks by using structural joint .
Block Two
Block Three
Block One

## Slide 12
Loads in Building
The building was designed constructively according to the code adopted in the country American Code for Reinforced Concrete (ACI 318M-14).
Loads Data:
Live Load = 4KN/m2 for first slabs.
2.5 KN/m2 for second slabs.
SID= ) .

## Slide 13
Combinations load
Combination (1) = 1.4 D + 1.4 SID
Combination (2) = 1.2 D + 1.2 SID + 1.6 L.L
Service = D + SID + L.L
Envelope = Combination (1) + Combination (2)

## Slide 14
Results Of Checks
Tables of Results

## Slide 15
Seismic Load Combination Ultimate
(U1) = 1.4D + 1.4SID
(U2) = 1.2D +1.2SID + 1.6L+1.6SOIL
(U3)=1.34D+1.34SID+1.0L+1SOIL+1.0EQx+0.3EQy
(U4)=1.34D+1.34SID+1.0L+1SOIL+1.0EQy+0.3EQx
(U5)=0.76D+0.76SID+1.0EQx+0.3EQy
(U6)=0.76D+0.76SID+1.0EQy+0.3EQx
Envelope ultimate =U1=U2=U3+U4+U5+U6

## Slide 16
Seismic Load Combination Service
(S1)= 1D+1SID
(S2)= 1D+1SID+1L
(S3-1)=1D+1SID+0.71EQx+0.21EQy
(S3-2)=1D+1SID+0.71EQy+0.21EQx
(S4-1)=0.9D+0.9SID+0.71EQx+0.21EQy
(S4-2)=0.9D+0.9SID+0.71EQy+0.21EQx
(S5-1)=1D=1SID+0.75L+0.54EQx+0.16EQy
( S5-2)=1D+1SID+0.75L+0.54EQy+0.16EQx
Envelope service =S1+S2+(S3-1)+(S3-2)+ (S4-1)+ (S4-2)+ (S5-1)+ (S5-2)

## Slide 17
Results Of Checks
Tables of Results

## Slide 18
Slabs
Beams
Columns
Reinforcement
Shear walls
Footings

## Slide 19
Slabs Reinforcement
Slab design for first block

## Slide 20
Slabs Reinforcement (Section)
Slab section for first block

## Slide 21
Slabs Reinforcement
Slab design for block two

## Slide 22
Slabs Reinforcement
Slab design for block three

## Slide 23
Beams Reinforcement (first block)

## Slide 24
Columns Reinforcement (first block)

## Slide 25
Columns Reinforcement (section)

## Slide 26
Shear Walls Reinforcement (first block)

## Slide 27
Footing Reinforcement (first block)

## Slide 28
Tie beams & footing plan

## Slide 29
Environmental Aspect
Natural Light
Thermal comfort
in building
GRC materials
Heating
&
Cooling

## Slide 30
Ground floor
Natural lighting
First floor

## Slide 31
By using the DesignBuilder program, the amount of hours not comfort inside building equals 1478 hrs\year
Thermal comfort inside building

## Slide 32
Predicted Mean Vote Index (PMV)
The value between (-0.5,0.5) expect April month
Thermal comfort inside building
Thermal comfort inside building

## Slide 33
Cooling and heating
First : Layers of floor

## Slide 34
Second : Layers of Roof
Cooling and heating

## Slide 35
Third : Layers of Walls
Cooling and heating

## Slide 36
GRC materials
GRC : Glass Reinforced Concrete
Engineering properties for GRC material |  | 
1 | Breaking strength | 600 Kg/cm2
2 | Absorption rate | Less than 4%
3 | Specific weight | More than 2.3gm/cm3
4 | Palestinian specifications according to The specification | (PS55-4-1997)
5 | The upper limit of absorption | 4.6%
6 | The minimum specific weight | 2gm/cm3
7 | Modules of elasticity | 10-13KN/mm2
8 | Heat conductivity | .8-1.2w/mk
9 | Density | 1.8-2 Kg/dm3
10 | Shrinkage value | 1-2 mm/m
GRC properties

## Slide 37
Results
Cooling and heating

## Slide 38
HVAC system
Write your description here
Fire fighting
Mechanical Aspect
Water supply
Drainage water& Rain water design

## Slide 39
HVAC System

## Slide 40
Fresh Air System

## Slide 41
Mechanical Plans (Ground floor)

## Slide 42
Mechanical Plans (First floor)

## Slide 43
Fire fighting system
Ground Floor

## Slide 44
Fire fighting system
First Floor

## Slide 45
Water supply
Ground Floor

## Slide 46
Water supply
First Floor

## Slide 47
Drainage Water
Ground Floor

## Slide 48
Drainage Water
First Floor

## Slide 49
Rain Water Design
Plan show casting tendencies

## Slide 50
Lighting design
Lighting Design
Space | Illuminance (LUX)
Showroom | 500
Filling ,Copying | 300
Writing, Reading | 500
Conference and Meeting rooms | 500
Reception | 300
Seles area | 300
Entrance | 100
Cloakroom (W.C) | 200
Parking area | 75
Circulation area and Corridors | 100
Stairs and Elevators | 100
Store | 100
Body work and Assembly | 500
Painting, Spraying chamber, Polishing chamber | 750
Final inspection | 1000
General vehicle servicing, Repair and Inspection | 300
Painting :spraying , polishing | 750
Kitchen | 400
Cafeteria | 400
Lighting standard

## Slide 51
Lighting design
Lighting Design
Office design

## Slide 52
Plans For Lighting Distribution
Ground floor

## Slide 53
Plans For Lighting Distribution
First floor

## Slide 54
Electrical Design
Electrical system design
Load of Hvac system
Load of lighting system
Load of Equipment

## Slide 55
Electrical Design (Power System)
Plane Of Socket
Ground Floor

## Slide 56
Electrical Design (Power System)
Plane Of Socket
First Floor

## Slide 57
Electrical Design (M.D.B)
M.D.B

## Slide 58
Electrical design (plans)
Ground Floor

## Slide 59
Electrical design (plans)
First Floor

## Slide 60
Acoustical design
Reverberation time
 | Function | RT60(sec)
1 | Showroom | 0.7 – 1.4
2 | Offices | 0.4 – 0.7
Results of office

## Slide 61
Acoustical design
Results of Showroom

## Slide 62
Wall Transmission loss
Figures show STC between offices wall

## Slide 63
Figure show STC between showroom and workshop ceiling .
Wall Transmission loss

## Slide 64
Loud speaker design
Figure show Loud speaker design for back ground music.

## Slide 65
Finish
Cost
Construction
Cost
Furniture
Cost
Quantity surveying & Cost Estimate

## Slide 66
8,888,669 ILS
Cost Estimated
• Cost of the building was complete equal 8,888,669 ILS
The cost per square meter quails 2419.34 ILS/m2.