## Slide 1: An-Najah National University Building Engineering Department
Integrated redesign of bravo supermarket in Nablus city.
Prepared By:
Sarah Saboubeh.
Noor Sadaqa.
Hanan Kittaneh.
Supervisor:
Eng. Haitham Sawalha

## Slide 2: Contents :
Introduction
Site analysis
Architectural design
Economical aspects
Environmental design
Structural design
Electro-mechanical design

## Slide 3: Introduction:

## Slide 4: Site Analysis.

## Slide 5: Site location:
The land stands on west of the Nablus city, at a distance about of 10 km from the center of the city.
The area of it is about 7500 m2.
located on light hills, at the average height from sea about 650 m.
it is surrounded by two streets, one of them is main street by width 10m, and the other is secondary by width 12 m.

## Slide 6
Architectural design

## Slide 7: Ground floor (before Modifications)

## Slide 8: Site plan (Before modifications.)
Problem in parking
N

## Slide 9: Problem and modification:
Added cosmetics and home accessories.
Before.
After.

## Slide 10
Added flower store ,prayer ,electronics ,ice cream space and water closet.
prayer

## Slide 11
Parking :
Before
Number of parking 104.

## Slide 12
After modifications:
1- Number of parking become 190.
2-Added ramp 13%.
3-Added retaining wall.

## Slide 13
Added Electrical ramp
Change the shelves to rounded shelves:
After.

## Slide 14
Electro-mechanical design

## Slide 15: Artificial lighting: *illuminance *glare *uniformity
Calculation surface | Lux | Required lux | Uniformity | Required uniformity | Glare |  |  |  | Required glare
Shopping area | 541 | 500 | - | - | In front of corridor |  | Medium | End of corridor | < 22
Between shelves | 628 | (700-1000) | .9 | .6 | 16.3 | 15.5 |  | 13.4 | 
Entrance | 594 | 500 | .6 | .6 |  |  |  |  | 
Shopping area :

## Slide 16
Calculation surface | Lux | Required lux | Uniformity | Required uniformity | Glare | Required glare
Office | 500 | 500 | 0.61 | .6 | 15 | < 22
Office :

## Slide 17
Calculation surface | Lux | Required lux | Uniformity | Required uniformity | Glare |  | Required glare
Happy land | 631 | 300 | 0.5 | 0.52 | 13.2 | 12.4 | < 22
Happy land :
-The happy land considered as sport halls.

## Slide 18
Calculation surface | Lux | Required lux | Uniformity | Required uniformity | Glare | Required glare
Bakeries | 566 | 500 | 1.0 | 0.7 | 16.3 | 22
Bakery :

## Slide 19
Calculation surface | Lux | Required lux | Uniformity | Required uniformity | Glare |  | Required glare
Café | 191 | 150 | 0.4 | .01 | 21.5 | 21.2 | 22
Jasmin café :

## Slide 20: The electrical load of power and lighting in the electrical distribution board 1:
 | M.D.B 1 | Special load | Normal load | Light load | Total power | I load | I C.B | I cable | C.B | Cable (IEC )
EDB-1 |  | Watt | Watt | Watt | Watt | Amp | Amp | Amp | Amp | 
 | 3-phase | 10560 | 3500 | 1525 | 12830 | 20.58 | 23.66 | 27.21 | 25 | (31A ) ,6 mm2

## Slide 21: The electrical load of power and lighting in the supermarket:
 | M.D.B 2 | Special load | Normal load | Light load | Total power | I load | I C.B | I cable | C.B | Cable (IEC )
HVAC |  | Watt | Watt | Watt | Watt | Amp | Amp | Amp | Amp | 
 |  | 39000 | 0 |  | 39000 | 62.54628 | 71.92822 | 82.71745 | 25 | (77 A ) ,25 mm2
The electrical load of HVAC system:

## Slide 22
Acoustical- design.

## Slide 23
The spaces that were designed :
The parameters should be studied:

## Slide 24
Shopping area :
Absorption coefficient for material:
Panels was added to the walls in order to decrease RT60

## Slide 25
Loud speaker :
Model | Coverage area | Max SPL @1m | System sensitivity
PL 8X | 80 | 90 | 90
Result :
SPL= around 85
AL= 7%
STI=.8

## Slide 26
STC :
Layers for exterior wall : aluminum sheet (12mm)+polyethylene + aluminum sheet 12mm

## Slide 27
Layers of the interior wall:20 mm Sand/Cement render (plaster) + 100 mm CMU+ 20 mm Sand/Cement render (plaster).
STC :

## Slide 28
Environmental design.

## Slide 29
The basic parameter in the environmental assessment:
Day lighting
Thermal
Analysis
Photovoltaic analysis and design

## Slide 30: Day lighting analysis
Before modification
After modification

## Slide 31: Environmental Modifications
Skylight on the roof
Vertical louvers on the eastern facade
Horizontal louvers on the southern façade

## Slide 32
Thermal analysis

## Slide 33
Roof : U-value = 0.409 (W/m2-K).
Ground floor:U- value = 3.64 (W/m2-K).
External wall : U-value = 0.349 (W/m2-K).
Internal wall : U-value = 2.372(W/m2-K).

## Slide 34
  Heating design:
Total heating load capacity =322.360 KW.
  Cooling design:
Total cooling load capacity= 597.51 KW.

## Slide 35
The comfort graph for the supermarket from Design Builder
The building achieves the comfort when the PMV graph be with range between (-0.05 _0.05)

## Slide 36
Photovoltaic analysis and design

## Slide 37
Sun analysis:
In winter:
In summer:

## Slide 38
Distribution of the PVs on the roof :

## Slide 39
PV Syst Results:

## Slide 40
Cumulative cash flow from RET Screen:
for south elevation
For roof
the pay pack period equals 6 years
the pay pack period equals 4 years

## Slide 41
Heating, ventilation, and air conditions system
design (HVAC)

## Slide 42
The system used for HVAC design is “ VRF system ” Variable refrigerant flow with cooling load capacity =597.51 KW.
Entrance area:
Air Curtain HVAC systems:
Shopping area:
Air handling units::
Diffuser:
Outdoor unit:
Fan coil unit:

## Slide 44
Mechanical system :
The fresh water consumption in stores (included butchery & bakery) = 12 m3/day
The daily average of fresh water consumption = 80 L/day/person
Volume of basement water tank =150 m3.
 | Horizontal | Main branch | Sub-branch
diameter | 2 ½ " | 2" | ¾ "
losses | 2.82 | 1.56 | 0.73
Final selection for ground floor :
 | vertical | Horizontal | branch
diameter | 2" | 1½ " | ¾ "
losses | 0.34 | 0.43 | 0.61
Final selection first floor :

## Slide 45
Water drainage:

## Slide 46
Structural design

## Slide 47
Concrete with compressive strength of 28 MPa (B350),and compressive strength of 32MPa.
Steel with yield stress of 248 MPa and Ultimate strength 400 MPa.
Material
  Design Codes
ASCE ,2010 for load design
ACI 318-14
Seismic design UBC 97
AISC360-10 for steel analysis,

## Slide 48
Distribution of column in basement:
Loads for concrete structure:
Loads | kN/m2
L.L | 4
SID | 0.5

## Slide 49: ETABS model of concrete structure

## Slide 50
Checks:
design check:
Deflection check :
 | From etabs | Limitation | check%
Block 1 | 14 mm | 43 | Ok.
Block 2 | 17 mm | 43 | Ok.

## Slide 51: Design elements
concrete:
1. solid Slab: flat plate without beams with thickness 30 cm.
Column: three groups of column will be used:
Edge column (50*30)
Interior column (60*40) and (80*30)

## Slide 52: Checks (Equilibrium) (Internal force)
Loads | ETABS | Manual | Error%
live | 10462.80 | 10440.28 | 0.2%
SID | 1307.12 | 1305.03 | 0%
Dead | 257524.41 | 25726.95 | 0.1%
Structural element | From ETAB | Manual calculation | Error
internal Column | 1098KN | 1162 | 7.5 %
edge Column | 525.85 KN | 507.29 | 3.5 %

## Slide 53
Checks for seismic design:
Base shear check:
Drift check:

## Slide 54: Details for the structural element:
Slab details:

## Slide 56: Footing details:

## Slide 57
Column details:
Details for column (60*40):
Details for column (50*30):
Details for column (80*30):

## Slide 58
Steel structure:

## Slide 59: SAP2000 model of steel structure, for shopping area:
Roof loads:
Live load = 6kN/m.
Super imposed dead = 3.19kN/m.
Wind load on roof = 3.6kN/m.
For lee word= 2.19kN/m.
Snow load = 10.8kN/m.
Loads:

## Slide 60
Steel:
Design elements
Section for column tube(240× 240 × 12 mm).
Section for top chord (Tube 400*200*12)
Section for bottom chord (Tube 240× 168 ×12.5)
Section of the diagonal (Tube 120*60*8).
Section Post (Tube 100*50*6).
Bracing column(100*60*3).
Top bracing(120*80*3.6).
Tube Section:

## Slide 61: Checks (compatibility):

## Slide 62: Checks
Equilibrium check:
 | From etabs: | From hand calculation: | Error%:
Live | 3185.14 | 3168.00 | 0.5%
Snow | 5702.00 | 5702.4 | 0%
SID | 1936.79 | 1936.79 | 0.7%
Internal force check:
 | From etabs: | From hand calculation: | Error%:
Axial force | 1501.9 | 1414 | 6%

## Slide 63: Design of connection:

## Slide 64
Design of connection (B):
AutoCAD drawing, joint B
3D Tekla detail
3D Tekla detail
Members detail

## Slide 65
Design of connection (G):
AutoCAD drawing, joint G
3D Tekla detail
3D Tekla detail

## Slide 66
Design of connection (N):

## Slide 67
Design of connection (k):
Top view connection K
Side view connection

## Slide 68
Design of connection (k):
3D Tekla connection

## Slide 69
Design of connection (I):
3D Tekla connection
Details drawing AutoCAD

## Slide 70
Connection between bracing:
Details drawing AutoCAD:

## Slide 71
Connection between column and bracing:
3D Tekla connection

## Slide 72
Anchors and base plate design:
3D Tekla connection
Top view, AutoCAD detailed

## Slide 73
Fire fighting- design.

## Slide 74
Fire alarm system:
Beam smoke detectors:

## Slide 75
Fire alarm system:
Beam smoke detectors:

## Slide 76
Fire suppression system:
Distribution of the extinguishers in the shopping area:

## Slide 77
Fire suppression system:
Distribution of the sprinklers in the shopping area:

## Slide 78
Fire suppression system:
FM200 system

## Slide 79
Quantity Surveying and Cost Estimation

## Slide 80
Summery of each work total cost in BRAVO
Type of work | Total cost of work (NIS)
Earth work | 216815
Substructure work | 448503
Superstructure work | 2119113
Electrical work | 431401
Fire system | 113950
Mechanical work | 53662
HVAC system | 448000
Total project cost | 5600000
The total cost of the Bravo 5600000 NIS and the total area of the BRAVO is 3200 m2 which means that the total unit cost per m2 is 1750 NIS/ m2.

## Slide 81
Summery of each work total cost in Basement
Type of work | Total cost of work (NIS)
Earth work | 401527
Substructure work | 598485
Superstructure work | 665304
Finishing | 130945
Total cost | 1796261
The total cost of the Basement is 1796261 NIS and the total area of the Basement is 2800 m2 which means that the total unit cost per m2 is 641 NIS/ m2

## Slide 82: Thank you