## Slide 1
“An Integrated Redesign of Anti-Corruption Commission in Ramallah City”
Submitted by:
Lama daghlas
Fatima daraghma
Deema shakhsher
Supervisor name: Dr. Luay Dwaikat

## Slide 2: Table of content
01 : introduction
03 : Architectural aspect
02 : site analysis

## Slide 3: Table of content
04 : Environmental aspects
05 : Structural Aspects
06 : electro –mechanical aspects
04 : quantity serving and cost estimation

## Slide 4: Introduction
Located in in
Al-Bireh - Ramallah
on latitudes 31.5419° and 35.1254.
Land area = 1800 S.M
Building area =9700 S.M,
Distributed on 10 floors

## Slide 5: SITE ANALYSIS
Sun path diagram in winter
Sun path diagram in summer

## Slide 6: Wind analysis in Ramallah
Wind Rose
The main wind direction in Ramallah is southwest

## Slide 7: Precipitation amounts, amount of the rain
Amount of rain from 1980-2022
Amount of rain throughout the year

## Slide 8: Temperature analysis
The average temperature along a year

## Slide 9: ARCHITECTURAL ASPECTS

## Slide 10: 3rd Basement Floor
After

## Slide 11: 2nd Basement Floor
Before
After

## Slide 12: 1st Basement Floor
Before
After

## Slide 13: Ground Floor
Before
After

## Slide 14
First Floor
Before
After

## Slide 15: Second Floor
Before
After

## Slide 16: Third Floor
Before
After

## Slide 17: Fourth Floor
Before
After

## Slide 18: Fifth Floor
Before
After

## Slide 19: Sixth Floor
Before
After

## Slide 20: ENVIRONMENTAL ASPECTS

## Slide 21: Daylight Factor Analysis
GROUND FLOOR
before
after

## Slide 22: Daylight Factor Analysis
first FLOOR
before
after

## Slide 23: Daylight Factor Analysis
second FLOOR
before
after

## Slide 24: Daylight Factor Analysis
third FLOOR
before
after

## Slide 25: Daylight Factor Analysis
fourth FLOOR
before
after

## Slide 26: Daylight Factor Analysis
fifth FLOOR
before
after

## Slide 27: Daylight Factor Analysis
sixth FLOOR
before
after

## Slide 28: Heating and Cooling Loads
Before modifications
Heat gain case 1.
Temperature and heat loss

## Slide 29: Heating and Cooling Loads
Before modifications
The wall without insulation layers:
.

## Slide 30: Heating and Cooling Loads
Thermal Modifications on Glazing area Thermal Modifications on exterior wall

## Slide 31: Heating and Cooling Loads

## Slide 32: Heating and Cooling Loads
after modifications
Heat gain case 1.
Temperature and heat loss

## Slide 33: Thermal Comfort
PMV Index graph:
PMV index value is between the allowable range
(-1 , 1 ) which indicates that the building is thermal comfort .

## Slide 34: Site and Source energy
Total energy saving of 63.06%

## Slide 35: Shadowing and Overshadowing Analysis
In Summer solstice (21/6):
At 8:00 AM
At 12:00 PM
At 2:00 PM

## Slide 36: Shadowing and Overshadowing Analysis
In winter solstice (21/12):
At 8:00 AM
At 12:00 PM
At 2:00 PM

## Slide 37
Structural
aspect

## Slide 38: Designing data
material used:
Concert B350 for slabs ,beams and columns (fc`=28 MPA, ɣ=25 kN/m3)
Steel rebar E = 200 GPA , FC =420 MPA , unit weight (ɣ=78kN/m3]
project designing load:
- Live load is 2.4KN/m2, we use2.5 KN/m2. - Live load for car garages = 4 KN/m2, - SID is assumed = 4 KN/m2. - Wall load = 20 KN/m-
- used cod :
- ACI 318-14
- seismic design UBC97
-ASCE for load design

## Slide 39: Sesmic design
The building is located in Ramallah city witch mean the seismic zone is 2A and from the ,map above the seismic zone factor = .15

## Slide 40: Sesmic design
-Soil profile type :
The soil under the building is very dense soil with bearing capacity =350 KN/m2 its mean that the soil
profile is SC .
Acceleration-Dependent Seismic Coefficient ( Ca) :
(at soil profile sc and z = .15 CA = .18
Velocity-Dependent Seismic Coefficient ( Cv) :
The seismic coefficient from table = .25 from table at z = .15 , and soil profile =Sc
Force Reduction Factor (R) :
The used structural system in the building is #2-3-a which is Building frame system with concrete shear walls. Seismic reduction factor R = 5.5 & Ω =2.8.
Important factor :
It usually serves to describe or demonstrate how significant a building is(i=1)

## Slide 41: Structural detailing
Section in slab
Typical story
Block dimensions | slab thickness | Structural system used
24*40 *20* | 30 cm | Two way ribbed slab

## Slide 42: Structural detailing
Slab plan for typical story :

## Slide 43: Gravity checks
Compatibility
Check:

## Slide 44: Equilibrium check
 | Error% | Etabs | Manual | LOOD
<5% OKK | 1.3 % | 75007 KN | 76360 KN | Dead
 | .3% | 24393KN | 24312KN | Live load
 | .2% | 30575 KN | 30572 KN. | Sid load

## Slide 45: Stress – strain check
< 15 % OKK | Difference % | Etabs | Manual | Column
 | 8.8 % | 1358 KN | 1238KN | column1
 | 3.6 % | 4405 KN | 4564KN | column2
 | 3.6% | 5264 KN | 5073kn | column3
< 15 % OKK | Difference % | Etabs | Manual | 
 | 11.3% | 345 KN . m | 384.23 KN .m | Middle strip
 | 9 % | 88 KN .m | 96 KN .m | Column strip
< 15 % OKK | Difference% | Etabs | Manual | 
 | 14.4% | 692 KN.m | 592 KN.M | Beam1
 | 11.1% | 630KN.m | 560KN.m | Beam2
Column check
Slab check
Beams check

## Slide 46: Deflection check
 | ETABS DEFLECTION | MAX DEFLEATION | 
OK | .03 | .03 | SERVICE LOAD
OK | .007 | .02 | LIVE LOOD

## Slide 47: Sesmic checks
1 – period check :
Check result | Limitation | ETABS results | 
ok | .92 | 1.2 sec | TX
ok | .92 | 1.02 | Ty
2- model participation mass ratio :
Number of mode | limitation | Etabs result | Check name
45 mode | 90% > | 92 % | 
3- base shear check :
Check | Deference | Manual base shear | Base shear from etabs
okkk | .08 % | 5523.3 kn | 5523kn.

## Slide 48: Sesmic checks
4- drift check
Check | Delta limit | Limit y | Limit x | story
Ok | 60 | 2.3485 | 2.6565 | Story 2
Ok | 76.7 | 7.7 | 11.165 | Story3
Ok | 72 | 9.625 | 16.555 | Story 4
Ok | 72 | 11.165 | 17.325 | Story 5
Ok | 72 | 10.395 | 16.94 | Story 6
Ok | 72 | 15.4 | 23.1 | Story 7
Ok | 72 | 15.4 | 19.25 | Story 8
Ok | 72 | 15.4 | 11.55 | Story 9

## Slide 49: Sesmic checks
5- p-delta check
Check | Өy | Өx | Stiffness y kn/m | Stiffness x kn/m | story
ok | 0.002464 | 0.002171 | 26811881 | 30440546.7 | base2
ok | 0.008923 | 0.010634 | 6458279 | 5418980.14 | Base1
ok | 0.029205 | 0.019761 | 1378019 | 2036630.2 | ground
ok | 0.035673 | 0.04511 | 818679.4 | 645618.85 | 1
ok | 0.035286 | 0.044072 | 674721.7 | 538719.555 | 2
ok | 0.038827 | 0.044507 | 554847.6 | 482694.939 | 3
ok | 0.030105 | 0.029859 | 432317.1 | 434676.474 | 4
ok | 0.025817 | 0.021676 | 302444.5 | 359215.195 | 5
ok | 0.02104 | 0.016229 | 176296 | 227917.356 | 6

## Slide 50: Structural detailing
Sheet pile

## Slide 51: Structural detailing
Sheet piles detail :
Cross section in sheet pile

## Slide 52: Structural detailing
Single footing detail :
Section in F1-C1

## Slide 53: Structural detailing
Single footing detail :
Section in F2-C1

## Slide 54: Structural detailing
Raft foundation detail :

## Slide 55: Structural detailing
Wall footing detail

## Slide 56: Structural detailing
Wall footing detail

## Slide 57: Structural detailing
Section in slab
Typical story

## Slide 58: Structural detailing
Slab plan reinforcement in x direction :

## Slide 59: Structural detailing
Slab plan reinforcement in y direction :

## Slide 60: Structural detailing
Column layout

## Slide 61: Structural detailing
Column detail :

## Slide 62: Structural detailing
Column detail
Cross section in column 1
Cross section in column 2

## Slide 63: Structural detailing
Column detail
Cross section in column 4

## Slide 64: Structural detailing
Shear wall lay out :

## Slide 65: Structural detailing
Shear wall detail :
Cross section in elevator shear wall
Cross section in shear wall 11
Cross section in shear wall 12

## Slide 66: Structural detailing
Basement wall detail :

## Slide 67: Structural detailing
Beams lay out

## Slide 68: Structural detailing
Beams detail :
Cross section in beam 2
Cross section in beam 3
Depth | Width | Beam
300 mm | 900 mm | Main beam
300m | 1000mm | Main beam 2
500 mm | 700 mm | Drop beam

## Slide 69: Structural detailing
Beams detail :
Cross section in beam 4

## Slide 70: Structural detailing
Beams detail :
Section in beam 1

## Slide 71: Structural detailing
Beams detail

## Slide 72: Structural detailing
Beams detail

## Slide 73: Structural detailing
Water tank detail

## Slide 74: Structural detailing
Water tank detail

## Slide 75: Structural detailing

## Slide 76: Structural detailing
Cross section in ground beam

## Slide 77: Structural detailing
Stairs detail :

## Slide 78: Structural detailing
Ramp detail :

## Slide 79: Electro-Mechanical ASPECTS

## Slide 80
Electro-Mechanical ASPECTS
Artificial lighting design
HVAC Design
Fire Fighting System
Photovoltaic design
Acoustical Design
Water supply system

## Slide 81: Artificial lighting design
Types of Artificial lighting:
General
Accent
Task
Decorative

## Slide 82
The reflection factors used
Ceiling: 75
Floor: 60
Wall: 30

## Slide 83: 3D lighting Modeling for the the offices.
The Glare check
lux level on Employees Office
3D lighting Modeling

## Slide 84
3D lighting Modeling for the Reception + waiting room
.

## Slide 85: 3D lighting Modeling for Multipurpose room

## Slide 86: lux value in multipurpose room

## Slide 87: Glare Rating (UGR)

## Slide 88
Glare Rating (UGR)

## Slide 89: Glare Rating (UGR)

## Slide 90: Glare Rating (UGR)

## Slide 91
3D lighting Modeling for Meeting room
Glare check
3D lighting Modeling for Meeting room
lux level on Meeting Room

## Slide 92: Glare check:

## Slide 93
Glare check:

## Slide 94
Glare check:

## Slide 95
Glare check:

## Slide 96
3D lighting Modeling for Kitchen & Cafeteria

## Slide 97
3D lighting Modeling for Garage

## Slide 98: HVAC Design

## Slide 99: HVAC Design
Heating and Cooling Loads:

## Slide 100
Outdoor Unit:
The used HVAC system is VRF
indoor Unit:
Split Unit for the Offices, and caste unit for commercial spaces.
HVAC Design:

## Slide 101: HVAC Design:
indoor Units Used:
[FXSQ40], a 4.5-kW unit
(FXAQ50P, FXAQ32P), a 5.6-kW, 3.6-kW
HVAC Design:

## Slide 102: Sample of the distribution of fan coils and diffusers in the Ceiling
HVAC Design:

## Slide 103: 3D HVAC system by Revit program

## Slide 104
Acoustical Design

## Slide 105
Acoustical consideration
Private Offices
RT60 | SPL (dB) | NR (dB) | Noise level (dBA)
0.6- 1.0 | 40-45 | 35 | 30-40
Open Offices
RT60 | SPL (dB) | NR (dB) | Noise level (dBA)
0.8 - 1.3 | 45 | 40 | 40
Conference room
RT60 | SPL (dB) | NR (dB) | Noise level (dBA)
0.8 - 1.2 | 25-30 | 30 | 30- 40
Courts
RT60 | SPL (dB) | NR (dB) | Noise level (dBA)
0.6 - 1.3 | 40 | 40 | 40

## Slide 106: Multipurpose room - lobby
Meeting room - Private office
Acoustical Design

## Slide 107
Office – toilet:
Office – loopy
office & outside:
Acoustical Design

## Slide 108: Fire Fighting System

## Slide 109: Fire Fighting System

## Slide 110: Fire Fighting System

## Slide 111: Fire Prevention
Fire Prevention
Smoke detector
Call point
Exit sign
Alarm bell
Heat detector

## Slide 112: Fire Fighting System

## Slide 113: In our building we use

## Slide 114: Photovoltaic design

## Slide 115: Photovoltaic design:
Module selection:
The mechanical specification data of the used photovoltaics module

## Slide 116: Photovoltaic design:
inverter selection:

## Slide 117: Drainage system

## Slide 118: Using pipes

## Slide 119: Sample design

## Slide 120: Drainage in building

## Slide 121: Water supply system

## Slide 122: Used pipes in water supply system

## Slide 123: Sample design

## Slide 124: Drainage of rain water on the roof

## Slide 125
QUANTITY SURVEYING and COST ESTIMATE

## Slide 126: QUANTITY SURVEYING and COST ESTIMATE
The unit cost of the project | The total cost of the project
1300 NIS / m2 | 11,127,123 NIS
The Bottom-up estimating method was adopted for the cost estimate of the project.

## Slide 127: THANKS!