## Slide 1
An-Najah National University
Faculty Of Engineering
Building Engineering Department
Graduation project II
Integrated design Of Fuel Station

## Slide 2
Supervised by:
Dr. Ahmad Saleh
Prepared by:
Ali Ghannam
Morad Azoqa
Majd Alhaj

## Slide 3
Outline
Site analysis .
Architectural Design
Structural Design.
Environmental Design.
Electrical Design.
Mechanical Design.
Safety Design.
Total Cost.
Conclusion.

## Slide 4
Introduction
The project presents an integrated design for a fuel station, it locates in the southern west part of Nablus (Qalqilya – Nablus Street). The significance of project come from that there is no fuel station like our project in this part of city

## Slide 5
Site of the project

## Slide 6
Site of the project
Area = 5000 Square Meter.

## Slide 7
Architectural Design

## Slide 8
Site plan for the project

## Slide 9
The Master plan for the project

## Slide 10
First Floor paln (Area = 54)

## Slide 11
Rivet

## Slide 12
Rivet

## Slide 13
Elevation

## Slide 14
Elevation

## Slide 15
Elevation

## Slide 16
Elevation

## Slide 17
Sections

## Slide 18
Environmental Design

## Slide 19
Design Builder Was used for Thermal performance analysis and Simulation

## Slide 20
Layers of external walls in building
Layers of internal

## Slide 21
Heating And Cooling Result From Design Builder

## Slide 22: Acoustical design :
Reverberation time (RT60) for the restaurant when the occupancy =100%

## Slide 23: STC value :
Between restaurant and out side
STC = 53

## Slide 24: STC value :
Between restaurant and Super market (int wall)
STC = 49

## Slide 25: IIC value :
For roof
IIC = 63

## Slide 26
Structural Design

## Slide 27
Structural Design
Two structural systems were used in the project:
concrete structure.
steel structure in covering.

## Slide 28
Structural Design
concrete structure.
Concrete Compressive Strength :
F’c =24 Mpa For Slabs, Shear Wall & Beam.
F’c =28 Mpa For Columns & Footing.
Bearing Capacity For Soil 250 Mpa.
Yielding Strength Of Steel : Fy= 420 Mpa
Data Sheets

## Slide 29
Structural Design
concrete structure.
Ribbed slab with drop beams
The Thickness Of Slab (H) = 30cm
Structural system
Columns:
25*50cm diameter .
Beams:
Main beams 40*60 cm^2.
Girder beams 40*60 cm^2.
Secondary beams 20*30 cm^2.
Columns for main canopy
0.8cm diameter .
Columns for secondary canopy
0.5cm diameter .

## Slide 30
Structural Design
Columns Distribution:

## Slide 31
concrete structure.
3D modeling from Etaps Program
Compatibility Check:

## Slide 32: Equilibrium Checks
load | manual | From etabs | % of error
Live load | 3428.99 | 3330.37 | 2.9%
Dead load | 1050 | 1000 | 4.7%
SID load | 700 | 667.37 | 4.6%
All percent of error < 5% >> OK

## Slide 33
concrete structure.
Equilibrium Checks

## Slide 34: Stress Strain relationship:
 | manual | From etabs | % of error
beams | 230 | 217 | 5.19%
Slab | 11.5 | 11.36 | 1.23%
column | 117 | 107.15 | 8.5%
All percent of error < 10% >> OK

## Slide 35: Deflection
Max deflection in the model = 14.647 mm Max allowable deflection in slab = 7.68/ 240 = 32 mm 14.67 < 32 so it is ok

## Slide 36
Importance factor (I) = 1.25
velocity-dependent seismic coefficient (Cv): = 0.40 acceleration-dependent seismic coefficient (Ca): = 0.28
The Structural System in Nablus.
Peak Ground Acceleration = 0.2g
Structural system Coefficient (R) = 5.5
concrete structure.
Seismic Design

## Slide 37
concrete structure.
Natural Period (T) for the building:
Period from ETABS (0.286) < 1.4*0.207 = 0.29 OK

## Slide 38: Drift:
T<0.7 sec Δm =0.7*5.5*0.724= 2.7
Drift from Etabs =2.7 (4000/400) = 10mm 2.7<10 its ok

## Slide 39
concrete structure.
Slab Design
1st Slab
2ed Slab
3rd Slab

## Slide 40
concrete structure.
Slab Section

## Slide 41
concrete structure.
Main Beam Design

## Slide 42
concrete structure.
Secondary Beam Design

## Slide 43
concrete structure.
Girder Beam Design

## Slide 44
concrete structure.
Footing Design

## Slide 45
concrete structure.
Column + Footing Design

## Slide 46
Shear wall Desgin
concrete structure.

## Slide 47
Structural Design
Steel structure.
Steel truss system used to cover circular building by using Polycarbonate sheet as covering material.
Covering Material properties:
2cm thickness
Density= 22.46 Kg/m2
Data Sheets

## Slide 48
SID = 0.023KN/m2
Live Load= 1.6 KN/m2
Snow load= 2.40 KN/m2
Wind load = 0.491 KN/m2
Structural Design
Steel structure.

## Slide 49
Structural Design
Steel structure.
SAP Checks:
Compatibility:
Start animation OK
period (Modal) T=0.05 < 1 ok
Equilibrium:
Max Deflection = 0.021mm  deflection check is ok

## Slide 50
Structural Design
Truss Design

## Slide 51
Structural Design
Connection Design.

## Slide 52
Mechanical Design

## Slide 53
Mechanical Design
Water Supply # of tanks

## Slide 54
Mechanical Design
Water Supply Design

## Slide 55
Mechanical Design
Water Supply For Ground Floor

## Slide 56
Mechanical Design
Water Drainage

## Slide 57
Mechanical Design
Water Drainage For Ground Floor

## Slide 58
Mechanical Design
Water Drainage For 1st Floor

## Slide 59
Mechanical Design
HVAC System Design
Split unit has been used in this project.

## Slide 60
Mechanical Design
HVAC System Design

## Slide 61
Electrical Design
The simulation analysis and design by “DIALux Evo”

## Slide 62
Electrical Design
Restaurant.

## Slide 63
Electrical Design
canopy.

## Slide 64
Electrical Design
Supermarket.

## Slide 65
Electrical Design
Lighting arrangement
1st Floor
Ground Floor

## Slide 66
Electrical Design
Soket
1st Floor
Ground Floor

## Slide 67
Safety Design

## Slide 68
Safety Design

## Slide 69
Safety Design
Fire Sprinkler system :

## Slide 70
Quantity Surveying