## Slide 1
An-Najah National University
Faculty of Engineering
Mechanical Engineering Department
District Heating Network
Prepared by:
Mahmoud Salem
Mahmoud Ghanem
Basem Daghlas
Mohammad Daragmeh
Supervisor:
Eng. Luqman Hirzallah

## Slide 2
Contents :
Introduction
System Components
Network design
Calculations
Conclusion

## Slide 3
District Heating Network : is a system for distributing heat generated in a centralized location for residential and commercial for heating and production of domestic hot water.
Introduction :
Definition

## Slide 4
Benefit of DH:
Organize the heat production
Reduce the risk and maintenance
Easy to use and control
Make cities more pleasant places

## Slide 5
Boiler
Pipe Network isolated
Pumps
Heat Exchanger for each building
Valve and accessories
The System consist of
Components :

## Slide 6: : Boiler
We select model Rex 450 for the center Boiler.
We select vertical centrifugal pump with 6 bar and capacity 20 l/s
: Pumps
We select stainless steel pipe with Insulation
u= 0.14-0.41 w/m.c
: Pipes

## Slide 7: How Its Work

## Slide 9
This project will be the first in Palestine is not implemented yet in Palestine even though there is need for such a project.
Literature Review in Palestine

## Slide 10: Model :
Representation of reality
It is required to perform the calculation
In DH networks the following assumption :
One dimensional geometry
Junctions between components occurs in points

## Slide 11: Network design
Topological representation
  we use graph theory to determine nodes and branch's
Physical representation
  we use fluid dynamic equations and thermal equation

## Slide 12: Topological representation
A graph is a representation of a set of connected objects.
This representation is based on two concepts: the node and the branch
Nodes are used to describe a section at which two or more components are connected. the nodes of fluid network usually correspond to junctions
A branch is a line that is bounded by two nodes

## Slide 13: Physical representation
  Momentum equation and Continuity equation
      =
  Energy equation

## Slide 14: Incidence matrix
The interconnection between the nodes and branches is expresses by the incidence matrix

## Slide 15: Calculations :
We have assumed heating load is 120(watt) per area and we have 38 building

## Slide 17: Pressure loss
Chart: Nodes NO
#REF! | 1
#REF! | 1

## Slide 18: Mass flow rate
Chart: nodes
| 4 | 6 | 8 | 10 | 11 | 13 | 15 | 17 | 19 | 21 | 23 | 25 | 27 | 29 | 31 | 33 | 35 | 37 | 39 | 41 | 43 | 46 | 48 | 49 | 52 | 55 | 57 | 58 | 60 | 62 | 64 | 67 | 68 | 70 | 72 | 74 | 76 | 77
mass flow rate | 0.50037 | 0.47014 | 0.23841 | 0.64502 | 0.93262 | 0.35794 | 1.1836 | 0.99262 | 0.93783 | 0.31417 | 0.30653 | 0.038711 | 0.17923 | 0.86488 | 1.1462 | 0.062522 | 0.5983 | 1.2973 | 0.29073 | 0.041681 | 0.99264 | 0.08753 | 0.32998 | 0.15214 | 0.1636 | 0.85967 | 0.57989 | 0.9769 | 0.71066 | 0.21049 | 0.67304 | 0.14276 | 0.052101 | 0.13755 | 0.42306 | 0.27822 | 0.29177 | 0.5627

## Slide 19: Temperature
Chart: nodes
| 4 | 6 | 8 | 10 | 11 | 13 | 15 | 17 | 19 | 21 | 23 | 25 | 27 | 29 | 31 | 33 | 35 | 37 | 39 | 41 | 43 | 46 | 48 | 49 | 52 | 55 | 57 | 58 | 60 | 62 | 64 | 67 | 68 | 70 | 72 | 74 | 76 | 77
temp | 122.3 | 122.4 | 122.2 | 122.3 | 122.2 | 122.2 | 122.2 | 122 | 121.9 | 121.6 | 121.9 | 120.4 | 121.7 | 121.8 | 121.8 | 121 | 121.7 | 121.8 | 121.4 | 121.4 | 121.5 | 120.7 | 121.1 | 120 | 122.2 | 122.4 | 122.5 | 122.2 | 122.4 | 122.1 | 122.2 | 122 | 121.8 | 122.2 | 122 | 122.1 | 121.8 | 121

## Slide 20
Compressed fluid check
From compressed thermodynamics table flow the pressure found 5 bar at 120°C ,so using a pump greater than 5 bar to take over friction to be fluid compressed liquid .

## Slide 21
Pump Cavitation check
By net positive suction head(NPSH )
NPSH = 48.5 >
Will not occur cavitation to the pump

## Slide 22: Comparison between traditional and central district heating systems
Chart: 
| Fuel consumptiion | CO2 emission
traditional | 647128.4 | 1941385
central district heating | 629909 | 1889728

## Slide 23: Propane and Electricity
Price of KWH produced by Propane0.7 NIS
Price of KWH produced by E.58 NIS

## Slide 24: Conclusion:
This system in our country is not feasible due to the high cost of oil derivatives.
This system can be applied in our country through the waste to energy furnace or utilize gas located on Gaza Strip.

## Slide 25
Before the end we have small videos for DSH