## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
Building Engineering Department
Graduation Project -11
Rawabi English Academy
Supervisor:
Dr. Alaa Shaheen.
Students:
Hala Houmran
Reem Hamdan
Aseel Abd Aljawwad
Amr Taneeb

## Slide 2: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate
Introduction

## Slide 3: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate
Introduction

## Slide 4: Introduction
Rawabi English Academy locates in Rawabi city , with an area of 3300 m2, and consists of four floors.

## Slide 5: Site Analysis
The building is located in Rawabi city which locates 9Km to the North of Ramallah City and 5.3 Km North of Beir Zeit village .

## Slide 6: Site Analysis
There are three main streets ,lower street ,upper street and left street.

## Slide 7: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate

## Slide 8: Architectural Aspects
Architectural Aspects
Areas and dimensions
Areas Ratios
Plans

## Slide 9: Architectural standards
Architectural Aspects
Areas and dimensions
Areas ratios
Plans

## Slide 10: Areas and dimensions
Classrooms
Usually classes hold 30 students, 1.8-2 m² for each student, so area of each class in minimum equals 65 -70 m²
the height should not be less than 2.7, but for appropriate lighting and ventilation requirements is should not be less than 3.2m.

## Slide 11: Areas and dimensions
Stairs
stairs width 1.49m and threshold dimensions are 30 x 16.55 cm, which is acceptable .

## Slide 12: Architectural standards
Architectural Aspects
Areas and dimensions
Areas ratios
Plans

## Slide 13: Area ratios

## Slide 14: Architectural standards
Architectural Aspects
Areas and dimensions
Areas ratios
Plans

## Slide 15: Plans site plan

## Slide 16: Plans Ground floor (before modification)

## Slide 17: Plans Ground floor (after modification)

## Slide 18: Plans first floor (before modification)

## Slide 19: Plans First floor (After Modification)

## Slide 20: Plans second floor (before modification)

## Slide 21: Plans second floor (after modification)

## Slide 22: Plans Third floor (before modification)

## Slide 23: Plans Third floor (after modification)

## Slide 24: Parking

## Slide 25: Elevations West elevation

## Slide 26: Elevations south elevation

## Slide 27: Elevations north elevation

## Slide 28: Elevations east elevation

## Slide 29: Section A-A

## Slide 30: Section B-B

## Slide 31: Render Photos

## Slide 33: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate

## Slide 34: Structural Aspects
Materials
Code
Loads
ACI 318-14
Seismic design UBC 97
ASCE for load design
Live load = 5 kN/m2
SID load = 4 kN/m2
F’c equals 28 MPa for the whole elements.
Steel Fy equals 420 MPa.
Specific weight Concrete equals 25 KN / m3.

## Slide 35: Structural Aspects
Our building contains four floors (G.F, first, second and third).
Two blocks ,first block and second block.
Figure 5: block 1
Figure 5: block 2

## Slide 36: Structural Aspects
Slab one way ribbed slab
(The thickness of slab’s first block equals 30 centimeters (300 millimeters). (The thickness of slab’s second block equals 32 centimeters (320 millimeters).

## Slide 37: Structural Aspects
Checks:
1-Compatibility check.
Compatibility check for the two blocks is OK.
Figure 16: Deformed shape of block 1
Figure 17: Deformed shape of block 2

## Slide 38: Structural Aspects
2-Equilibrium check.
Block 1 :- Equilibrium check is Ok
Block 2 :- Equilibrium check is Ok

## Slide 39: Structural Aspects
3-Stress strain check .
Stress strain check for block 1 and block 2 OK.

## Slide 40: Structural Aspects
4-Deflection check.
Deflection in ETABS = 13.8 <22.7 from the deflection limit
Deflection in ETABS = 17.45 < 22.5 from the deflection limit
Deflection check for two blocks OK.

## Slide 41
The parameters for seismic analysis
  Mass source: 100% for dead loads and SID , 25% for live loads
  Seismic zone : The directorate is located in Rawabi city Therefore, the seismic zone is 2A and the Z value is equal to 0.15.
  Soil profile: the soil profile is Sc .
  Force Reduction Factor R = 5.5
  Importance Factor I = 1
  Acceleration-Dependent Seismic Coefficient Ca = 0.18
  Velocity-Dependent Seismic Coefficient Cv = 0.25

## Slide 42: Structural Aspects
5- Period check.
T from ETABS = 0.389 <0.495 from method A T limit
Deflection in ETABS = 0.39 < 0.495 from method A T limit
Period check for two blocks OK.

## Slide 43: Structural Aspects
6- Modal mass participate ratio check-MPMR

## Slide 44: Structural Aspects
7- Base shear check
Base shear from ETABS = 2248.77 <2261 from manual
Base shear from ETABS = 4229 < 4280 from the deflection limit
Base shear for two blocks OK.

## Slide 45: Structural Aspects
8- Drift check
Drift check for two blocks OK.

## Slide 46: G.F Slab( First Block)
Slab Cross Section
Slab Reinforcement

## Slide 47: G.F Slab( Second Block)

## Slide 48
Columns Dimensions and sections

## Slide 49
Beams reinforcement and layout for G.F(First block)

## Slide 50
Beams reinforcement and layout for G.F(second block)

## Slide 51
Footings
Mat Foundation
Isolated footing

## Slide 52: Design of retaining wall

## Slide 53: Design of retaining wall
Material | Properties
Concrete | fˋc = 28 Mpa
 | Ɣconcrete = 25 Kn/m³
Water | (ɣwater) = 10 Kn/m³
 | Level = 2.00 m
Soil | Bearing Capacity (qall) = 250 KN/m²
 | Fraction angle (Ø) = 30 ̊
 | Unit weight for soil (ɣsoil) = 18 KN/m³
Reinforcement steel | Fy = 420 Mpa

## Slide 54: Design of retaining wall
Design criteria:
PROKON program was used to analyze and design retaining wall.
Coulomb Theory method used in design.
(BS8110/ 1997) Code used in design.
Type of retaining wall: Cantilever.

## Slide 55: Design of retaining wall
Preliminary dimension

## Slide 56: Design of retaining wall
Overturning: 2  FS  3 Sliding: 1.5  FS  2
Bearing capacity:   qall

## Slide 57: Design of retaining wall

## Slide 58: Design of retaining wall

## Slide 59: Design of water tank

## Slide 60: Design of water tank
Design code
ACI350 (American concrete Institute code)
Materials properties:
ɣconcrete =25 KN/m3
Fc =28 Mpa
Fy = 420 Mpa.
ɣsoil = 18 KN/m3.
ɣwater= 10 KN/m3.
Friction angle (Ø (= 30
Allowable bearing capacity of soil (qall) = 250 kN/m2
Load combination:
1.4D
1.2D + 1.6LL
Service = 1D + 1LL
Long term = 2D + 1.5LL
Loads:
Live load on the roof = 5 KN/m2.
Dead load on the roof = 3.5 KN/m2.

## Slide 61: Design of water tank
Design and calculation
SAP2000 program used to design this water tank
Dimensions: Underground (with roof)
Length = 8.00m
Width = 4.00m
Height = 4.00m

## Slide 62: Design of water tank

## Slide 63: Design of water tank
Wall reinforcement thickness = 300mm
Slab reinforcement thickness = 300mm
Direction | Horizontal reinforcement | Vertical reinforcement
Interior face | 6 ∅20/𝑚 | 5 ∅ 16 /m
Exterior face | 5 ∅ 14 /m | 4 ∅ 12 /m
Direction | Longitudinal reinforcement | Transverse reinforcement
Bottom | 6∅10/m | 6∅10/m
Top | 6∅10/m | 6∅10/m

## Slide 64: Design of water tank
Base reinforcement Base thickness = 650mm
Direction | Longitudinal reinforcement | Transvers reinforcement
Bottom |  | 
Top |  | 
Direction | Longitudinal reinforcement | Transvers reinforcement
Bottom |  | 
Top |  | 

## Slide 65: Design of water tank

## Slide 66: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate

## Slide 67: Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate

## Slide 68: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 69: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 70: Cooling and heating

## Slide 71: Cooling and heating

## Slide 72: Cooling and heating

## Slide 73: Cooling and heating
Class room

## Slide 74: Cooling and heating

## Slide 75: Cooling and heating
Solar radiation falling on window of class room (South elevation)

## Slide 76: Environmental Aspect
Inside
Outside
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 77
Inside the building :
The selected luminaires
1- Philips -DN295B which used in WC
2- Philips lighting (china) investment co. Ltd

## Slide 78
Artificial lighting in Ground Floor

## Slide 79
Ground floor
Stair
Result from DIALUX evo form artificial only
Function | Standard min. (E) lux | (E) used lux | Uniformity
Classroom | 300 | 517 | 1.92
Head master | 500 | 575 | 1.69
secretary | 300 | 381 | 1.78
Teachers room | 300 | 426 | 1.51
Staircase | 100 | 135 | 1.28
W.C | 100 | 107 | 1.18
Corridor | 150 | 237 | 3.1
First aid | 300 | 373 | 1.43
Kitchen | 500 | 500 | 1.82
Cafeteria | 200 | 218 | 2.01
Waiting area | 300 | 412 | 1.37
Meeting room | 400 | 552 | 1.70
Multipurpose hall | 500 | 572 | 1.83
lobby | 150 | 163 | 1.24
Laboratory | 500 | 599 | 1.94
store | 150 | 156 | 1.30
library | 300 | 347 | 1.98
Computer lab | 400 | 411 | 2.28
janitor | 300 | 321 | 1.67
Security | 400 | 462 | 1.41

## Slide 80: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 81: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 82
Acoustical design
The spaces that were designed acoustically in the building
1- Class room
2- Library
3- Teacher room
4- Multipurpose room
5- Computer lab
6- Cafeteria

## Slide 83: Reverberation time curve for classroom( Ecotect software 2011)
Partition | Material
Walls | concrete block plaster
 | Maulstick MA 20 Fine
Floor | Concrete Slab Tiles On Ground
Ceiling | Plaster Insulation Suspended
window | Double Glazed Aluminum Frame
Doors | Foam Core Plywood
Material used in classrooms

## Slide 84: RT60 Values for classroom( Ecotect software 2011)
 | TOTAL | SABINE | NOR-ER | MIL-SE
REQ. | ABSPT. | RT(60) | RT(60) | RT(60)
63Hz | 20.350 | 0.96 | 1.14 | 0.83
125Hz | 17.826 | 1.05 | 1.19 | 0.94
250Hz | 10.839 | 1.12 | 0.96 | 1.09
500Hz | 14.559 | 0.95 | 0.71 | 0.87
1kHz | 24.027 | 0.66 | 0.45 | 0.42
2kHz | 19.603 | 0.65 | 0.52 | 0.54
4kHz | 25.218 | 0.51 | 0.43 | 0.42
8kHz | 26.571 | 0.37 | 0.33 | 0.31
16kHz | 29.350 | 0.36 | 0.33 | 0.30
RT60 standard values (EGUEZ, 2017)

## Slide 85
Sound Transmission Loss (STC)
This figure shows the STC value of the interior wall of the building, equivalent to 43, and this value is greater than the required STC value, which is equal to 42 thus the value is acceptable.

## Slide 86
Sound Transmission Loss (STC)
This figure shows the STC value of the exterior wall of the building, equivalent to 56, and this value is greater than the required STC value, which is equal to 50 thus the value is acceptable

## Slide 87
Impact Insulation Class (IIC)
This figure shows the STC value of the roof of the building, equivalent to 68, and this value is greater than the required STC value, which is equal to 50 thus the value is acceptable

## Slide 88: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical transportation
Water supply
Drainage

## Slide 89
There are two types of firefighting systems used in this building:
Fire extinguisher. This type of fire extinguisher is used in certain locations in the building and is exposed to fire at any time, and is placed in an easily accessible place near the entrance to the room, and in this building they have been used in corridors, kitchens and some security rooms and employees.
FM200: This system is used in places that contain important files, sensitive electronic devices, and high-risk places, and in this building it was used in most places such as the classroom, the principal’s office, the teachers’ room, in addition to the chemistry, physics, biology, the computer laboratory and the library.
Fire alarm and Firefighting systems

## Slide 90: distribution of fire extinguishers for ground floor

## Slide 91: FM200 distribution for second floor

## Slide 92: . Room Name (Space) : COMPUTER LAB Hazard Level : Class “C” (Of Electrical)-MANUALLY ACTIVATED-Medium Hazard Area = 68.5 m2 // Height = 3.25 m // Volume(V) = 222.625 m3 // Concentration Ratio (C) = 7.6 % Design Temperature = 20°C // Specific Volume (S) = 0.1373 kg/m3 Altitude = 1094 m, From Sea Level // Altitude Correction Factor = 0.1373 [ w = (V/s) X (c/(100-c) ] kg w = 133.365 kg/w

## Slide 93: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Water supply
Drainage
Vertical and horizontal transportation

## Slide 94
Daily water consumption
Water supply system:
Based on the quantities of water consumed for this building, it became easy to know the size of the water tank on the roof in addition to the size of the underground water tank, with taking into considerate on the provision of water for two days.

## Slide 95: Environmental Aspect
Environmental Aspect
Cooling and heating
Artificial lighting design
Power design
Acoustical design
Fire alarm and Firefighting systems
Vertical and horizontal transportation
Water supply
Drainage

## Slide 96
Drainage system:
Black line
Pipes were used with 4 inch and slope ¼ “inch per foot”.
Gray Line
Pipes were used with 2 inch and slope 1/8 “inch per foot”.

## Slide 97
Contents:
Architectural Aspects
Structural Aspect
Environmental Aspect
Quantity surveying & Cost Estimate

## Slide 98
Quantity surveying & Cost Estimate
The project is Rawabi school for the boys and the girls with an area of 3300 m2 , the cost of the project was calculated by evaluating the price for the material and labor for the components of the project and its number which was cost around 6440068 ILS as total and 1952 ILS /meter square unit cost, which equals 610 $ /meter square
Earth work = 166200 NIS
Foundation = 738020.5 NIS
Building (construction) = 2619832.7 NIS
Finishing = 2240938.3 NIS
Site Plane work = 518372.4 NIS
Electrical = 522489 NIS
Mechanical = 890608.1 NIS

## Slide 99
Chart: 
| Earth work | Foundation | Construction | finishing | Site plane work | Electrical | Mechanical
Earth work Foundation Construction finishing Site plane work Electrical Mechanical | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 166200 | 738020.5 | 2619832.7 | 2240938.3 | 518372.4 | 522489 | 890608.1
Percentage for each work from total cost of the building

## Slide 100: Thank you for listening