## Slide 2
2

## Slide 3
Introduction
The Project present a new design of Nablus municipality. The basic goal of this project is to concentrate on designing a new building for the Nablus municipality that wants to provide all the necessities For employees and citizens, so that it is an integrated building from all architectural, structural, environmental, mechanical and electrical aspects.
Final Design For Nablus Municipality
3

## Slide 4
3D views for project :
4

## Slide 5
5

## Slide 6
6

## Slide 7
7

## Slide 8
Environmental information about the site :
Average of humidity =67%
Maximum temperature(hot season) =26-35C°
(cold season)=10-18C°
The wind direction is northwest.
Noise level in the site 44 dB
General information about project :
Total site area = 3335 .
Total Project area = 11141 .
The municipality Building consists of six floors.
basement 1, basement 2, ground, first, second and third floor.
Q allowable for soil = 180 kN/
8

## Slide 9
Methodology
Collection Of Data And Analysis
Computer Simulation
Architectural , Environmental, and Structural Design
Environmental Design
Structural Design
Design Builder
INSUL & EASE
Etabs
SAP
Prokon
Electrical Design
Dailux Program
Mechanical Design
Revit
9

## Slide 10
Architectural Design
Problem and modifications: basement:
Before modification
10

## Slide 11
basement:
After modification
11

## Slide 12
Ground floor:
After modification
Before modification
12

## Slide 13
First floor:
Before modification
After modification
13

## Slide 14
Second floor:
Before modification
After modification
14

## Slide 15
Third floor:
Before modification
After modification
15

## Slide 16
Elevations:
Southwest elevation
Northeast elevation
Northwest elevation
Southeast elevation
16

## Slide 17
Sections :
SEC. A-A
SEC. B-B
17

## Slide 18
Site plane :
18
Before modification
After modification

## Slide 19
Environmental Design :
Daylight factor
Heating and Cooling
Thermal comfort
Shading system
Photovoltaics system
Computational fluid dynamics (CFD)
Oriantation
We make an analyses on design builder program to study this factor:
19

## Slide 20
The orientation of our building is inclined by 25 degree from the north as shown in the figure below :
Orientation:
19
20

## Slide 21
Daylight analysis:
Daylight analysis for our building using design builder program:
21
Ground floor
First floor

## Slide 22
We found that the daylight factor is in some region we need to artificial lighting but in the region close to the windows the lighting is in the range from 2.5 to 4 %
Second floor
Third floor
22

## Slide 23
Thermal analysis :
External wall :
U-value = 0.291 (W/m²-K)
Internal wall:
U-value =1.054(W/m²-K)
Ground floor construction:
U-value = 0.254(W/m²-K)
Roof layers:
U-value = 0.202(W/m²-K)
Heating design:
Total heating load capacity=224.22 kW
Cooling design:
Total cooling load capacity=233.94 kW
23

## Slide 24
Thermal comfort:
The building achieve the thermal comfort when the PMV graph be in range (-0.7 _ +0.7) as shown in the figure below:
Site source energy:
Approximate consumption energy for our municipality as shown in the figure:
The site energy for our building =123.67kwh/m2, the standard annual energy for offices=212kwh/m2 (Portfolio Manager) so it’s ok for the municipality.
24

## Slide 25
ASHAE 90.1 Energy consumption and saving percent for proposed and baseline building:
As shows in the figure the percent of saving was 29.46%
Shading system:
25

## Slide 26
Computational Fluid Dynamic (CFD) analysis:
External CFD:
26

## Slide 27
Internal CFD:
27
Treatment to increase the solarium room:
We have been add two fans (artificial ventilation)
Decrease the area of sky light in the solarium room follow:

## Slide 28
Photovoltaic analysis and design :
PV distribution on the roof :
from zeversolar
Three inverters with capacity = 19.5KW
For two string each have 18 modules each module have 465 wp
from Sandi Electric
inverter with capacity = 7 kW
for two strings each have 8 modules each module have 465 wp
28

## Slide 29
Initial cost = 2537.71 $/ kW.
Inverter price (15kw) = 2830.4 $.
Inverter price (7kw) = 1632.3 $.
Maintenance and operating cost = 33.31$/kW – year.
the pay pack period equals 6.5 years
29

## Slide 30
Acoustical
two component we should to take into consideration :
Architectural side
Electro- acoustic side
Component we was studied:
Reverpration time(RT60)
Sound transmission loss
Articulation loss
Sound pressure level
Sound transmission class(STC)
Speech transmission index (STI)
spaces we design by using insul and ease programs:
Office
Public service hall
Canteen
30

## Slide 31
Architectural side:
Reverberation time (RT60):
Canteen:
Public service hall:
Office:
The result is less than one
(within the standard so ok).
The result is between 0.4-0.6
(within the standard so ok).
The result is between 0.5-1
(within the standard so ok).
31

## Slide 32
Sound Transmission Loss (STC):
External wall:
STC for combined:
42 dB > 38 dB (standard), so it is ok.
32

## Slide 33
Internal wall:
space | Adjacent space | Normal STC | Calculated STC
Office | Office | 38 | 48
Office | Corridor | 38 | 48
Conference room | Corridor | 40 | 48
The calculated STC is more than the limit, so it is ok .
Impact Insulation Class (IIC):
Floor-ceiling assemblies IIC > 52
IIC (60)>52(standard), so it is ok
33

## Slide 34
Electro acoustic side: Load speaker design: We was designed the load speaker in different spaces as shown in the figure below:
Corridor
Multi purpose hall
The load speaker was used in the building from JBL Company for corridors (ceiling speakers-8100 series ceiling with stylized grille-8128) as shown in the figure below:
34

## Slide 35
The figure below show section in loud speakers:
The figure below show the distribution for loud speakers for corridor:
The load speaker was used in the building from JBL Company for multipurpose hall (in-wall speakers-control contractor 100 series in-wall speakers-) Control 128 WT as shown in the figure below:
35

## Slide 36
Ease program results:
      Sound pressure level (SPL) :
36
      All the value more than 70 so its ok.
Corridor:
      Multi-purpose hall:
More than 70dB so it’s ok.

## Slide 37
Articulation loss:
Multi-purpose hall:
Corridor:
In this, space the value approximately 7% so its status was good.
In this, space the value approximately 3% so its status was excellent.
37

## Slide 38
Sound transmission loss (STI):
Multi-purpose hall:
Corridor:
In this space the value approximately 0.6 so its status was good.
In this space the value approximately 0.75 so its status was excellent.
38

## Slide 39
Structural design :
Building Structural Blocks:
The building has divided three blocks A,B,C , By the use of a seismic separator. Each block has a specific structural system.
39

## Slide 40
The American concrete institute code ACI -318 for reinforced concrete design.
Uniform Building Code -UBC-97 for seismic design and load combinations.
Design Data:
Compressive strength of Concrete (fc̀)= 28 MPa for columns and shear wall, fc̀ = 24 MPa for slabs and beams.
Yielding strength of steel Fy = 420 MPa.
Loads:
Super imposed dead load = 4 kN/
Live load = 3 kN/ for each floor slabs, except basement floor slabs = 5 kN/
Design codes:
40

## Slide 41
Building modeling for blocks :
Block A
Block B
Block C
41

## Slide 42
Structural System :
Block A:
Used one-way ribbed slab reinforcement in X-direction 40 cm,
for all floors.
Drop beam (50/80)
Girder beam (60/80)
Drop beam (40/80)
Column 80*80 cm
Block C:
Used one-way ribbed slab reinforcement in X-direction 40 cm, for all floors.
Drop beam (50/80)
Girder beam (60/80)
Hidden beam (80/40)
Column 80*80 cm
Column 70*70 cm
Column 50*50 cm
Block B:
Used one-way ribbed slab reinforcement in X-direction 40 cm, for all floors.
Drop beam (50/80)
Girder beam (60/80)
Drop beam (40/80)
Column 80*80 cm
42

## Slide 43
Seismic zone is 2B (Z=0.2) because the building is on Nablus.”\
Importance factor I =1”
Force reduction factor, R = 5.5 (Building frame system)
Soil profiles in the project is (SD)
Acceleration-dependent seismic coefficient, Ca =0.28
Velocity dependent seismic coefficient, Cv = 0.4
Seismic design data according to UBC-97 code
43

## Slide 44
Model checks for blocks :
Compatibility check:
Block A,B,C it’s a compatible. Check OK
44

## Slide 45
Equilibrium Checks
Block | Type load | ETABS (KN) | Manual (KN) | % Error
Block (A) | Dead load | 20431.04 | 20659.41 | 1.10
 | Live load | 9214.44 | 9214.42 | 0
 | SID load | 14771.41 | 14771.47 | 0
Block (B) | Dead load | 25208.37 | 25708.89 | 1.93
 | Live load | 9296.58 | 9338.81 | 0.45
 | SID load | 17474.15 | 17474.31 | 0
Block (C) | Dead load | 63563.21 | 64056.81 | 0.77
 | Live load | 26456.19 | 26475.73 | 0.07
 | SID load | 37860.31 | 37859.00 | 0
Percentage of error dose not exceed 5%, so equilibrium check it’s OK.
45

## Slide 46
Internal forces checks
Check of axial load on columns for blocks :
Block | Column label | ETABS (KN) | Manual (KN) | % Deference
Block (A) | Internal column (C1),7 | 4730.36 | 4589.95 | 3.05 %
 | corner column (C1),13 | 2154.60 | 2025.46 | 6.37 %
 | Corner column (C1),8 | 3448.80 | 3420.47 | 0.83%
Block (B) | Internal column (C1),26 | 4438.69 | 4181.76 | 6.14 %
 | Edge column (C1),32 | 1634.33 | 1667.61 | 1.99 %
 | Internal column (C1), 31 | 5192.53 | 5493.36 | 5.47%
Block (C) | (C1),24 | 6260.54 | 6151.32 | 1.77 %
 | C2 (25) | 4853.43 | 4986.12 | 2.66 %
 | C2 (29) | 4674.52 | 4876.77 | 4.14%
Percentage of Deference dose not exceed 10%, so check it’s OK
46

## Slide 47
Check of bending moment on beams for blocks :
Block | Beam label | ETABS (KN) | Manual (KN) | %Deference
Block (A) | Beam (80*60) cm | 176.44 | 179.50 | 1.70%
 | Beam (80*50) cm | 509.01 | 495.06 | 2.82%
 | Beam (80*40) cm | 75.23 | 68.69 | 9.51%
Block (B) | Beam (80*60) cm | 278.58 | 296.16 | 5.94 %
 | Beam (80*50) cm | 166.64 | 173.56 | 3.98 %
 | Beam (80*40) cm | 413.03 | 384.24 | 7.49 %
Block (C) | Beam (80*60) cm | 414.59 | 388.13 | 6.81 %
 | Beam (80*50) cm | 112.45 | 107.86 | 4.25 %
 | Beam (80*60) cm | 398.34 | 370.50 | 7.51%
Percentage of Deference dose not exceed 10%, so check it’s OK.
47

## Slide 48
Check of bending moment on slabs for blocks:
Block | Slab section | ETABS (KN) | Manual (KN) | %Deference
Block (A) | Slab (1) | 45.30 | 46.74 | 3.06%
 | Slab (2) | 94.53 | 96.73 | 2.27%
Block (B) | Slab (1) | 65.25 | 70.57 | 7.53%
 | Slab (2) | 32.31 | 30.13 | 7.23%
Block (C) | Slab (1) | 80.55 | 74.33 | 8.37 %
 | Slab (2) | 72.83 | 70.17 | 3.64 %
Percentage of Deference dose not exceed 10%, so check its ok
48

## Slide 49
Seismic load analysis for blocks :
Check modal participation mass ratio
Block | Case | Mode | Period | UX | UY | UZ | Sum UX | Sum UY
Block (A) | Modal | 11 | 0.057 | 0.0088 | 0.0572 | 0 | 0.9484 | 0.91
Block (B) | Modal | 12 | 0.055 | 0.0103 | 0.0375 | 0 | 0.9577 | 0.9368
Block (C) | Modal | 21 | 0.06 | 0.0052 | 0.0282 | 0 | 0.9213 | 0.9203
Time period check”
Block (A)
T from ETABS < 40 % from method "A" , “0.711 < 1.4*0.513 = 0.718.” So that check is OK.”
Block (B)
T from ETABS < 40 % from method "A" , 0.709 < 1.4*0.513 = 0.718.”So that check is OK.”
Block (C)
T from ETABS < 40 % from method "A"”, 0.704 < 1.4*0.513 = 0.718.”So that check is OK
49

## Slide 50
Base shear check
Block | Axis | T | T-Limit | T-Used | V-Manual | V-ETABS
Block (A) | X | 0.711 | 0.711 | 0.711 | 3859.83 | 3860.25
 | Y | 0.577 | 0.711 | 0.577 | 4756.22 | 4756.46
Block (B) | X | 0.709 | 0.709 | 0.709 | 4669.10 | 4669.54
 | Y | 0.545 | 0.709 | 0.545 | 5793.18 | 5793.61
Block (C) | X | 0.704 | 0.704 | 0.704 | 11204.75 | 11207.96
 | Y | 0.48 | 0.704 | 0.48 | 13804.26 | 13807.64
Vx and Vy from ETABS greater than V manual calculated, so check its ok
Drift check
 | Block (A) |  | Block (B) |  | Block (C) |  | 
Story # | Delta-X (∆m) | Delta-Y (∆m) | Delta-X (∆m) | Delta-Y (∆m) | Delta-X (∆m) | Delta-Y (∆m) | Delta Limitation (∆story)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B2 | 5.39 | 4.23 | 3.60 | 2.75 | 2.96 | 2.43 | 80
B1 | 9.24 | 9.62 | 7.72 | 5.53 | 2.73 | 5.47 | 80
GF | 18.09 | 20.40 | 15.94 | 13.59 | 18.13 | 11.94 | 80
F1 | 18.09 | 19.25 | 19.48 | 16.21 | 22.10 | 13.48 | 80
F2 | 15.78 | 18.09 | 21.25 | 16.17 | 19.17 | 14.168 | 80
F3 | 11.55 | 16.17 | 1.04 | 1.19 | 14.90 | 13.78 | 80
All ∆m in X, Y direction less than (∆story), so check is OK
50

## Slide 51
Design Basement 2 Slab and reinforcement for block A
Basement 2 Slab and reinforcement for block A
Zoom In reinforcement one-way ribbed slab for basement floors
Section In one-way ribbed slab for basement floors
Section In one-way ribbed slab for other floors
51

## Slide 52
Design Basement 2 Slab and reinforcement for block B
Basement 2 Slab and reinforcement for block B
Zoom In reinforcement one-way ribbed slab for basement floors
Section In one-way ribbed slab for basement floors
Section In one-way ribbed slab for other floors
52

## Slide 53
Design Ground floor Slab and reinforcement for block C
Ground floor Slab and reinforcement for block C
Section In one-way ribbed slab for All floors
Zoom In reinforcement one-way ribbed slab for Ground floor
53

## Slide 54
Second floor Beam Plan for block C
Second floor Beam Plan for block B
54

## Slide 55
Design Frame (1) in second floor for Block C
55

## Slide 56
Design Frame (4) in second floor for Block B
SECTION IN B5,C14,C19,C26,C31,C32, 2 nd floor ,block B (Frame 4 )
56

## Slide 57
Design Columns for all Block
Section in column (80*80)
Section in column (70*70)
Section in column (50*50)
57

## Slide 58
Longitudinal Column section
58

## Slide 59
Shear wall Reinforcement
59

## Slide 60
Stair case Reinforcement
60

## Slide 61
Plan of Foundation for all block
61

## Slide 62
Mat Foundation analysis for block A
Base :( IF 50% < < 60%), mat foundation is an option.
According to the previous base in block A, ratio = 51.41%. Used mat foundation in block A.
Checks that need to ETABS:
Deflection shape
Zoom in Deflection check of mat footing for block A
wide beam shear
Ø Vc = * ”
Ø Vc = *
”
Maximum value of V13 equals 871 maximum value of V23 equal 866 (From ETABS) which are less than the shear capacity equals 1191 KN/m → Shear check is ok.”
Check punching shear
For critical column Pu = 7622.36 kN
“Ø Vcp = 0.75* *b˳*d”
“= 0.75* * 3400* 1800 *10^-3 = 8095.6 KN”
Compare this value with maximum axial load on a column as a conservative value.”
Pu = 7622.36 kN < 8095.6 KN → So, check punching shear it is ok.
62

## Slide 63
Mat Foundation Reinforcement
63

## Slide 64
Mat Foundation Reinforcement in X-direction
Zoom in Mat Foundation Reinforcement from block A
Zoom in Mat Foundation Reinforcement from block B
Zoom in Mat Foundation Reinforcement from block C
64

## Slide 65
65
Zoom in Mat Foundation Reinforcement from block C
Mat Foundation Reinforcement in Y- direction for one strip

## Slide 66
66

## Slide 67
Design of daily use water tank
Materials properties
Fy = 420 Map. fc̀ = 28Mpa (B350).”
This tank designed underground; thus, it has two cases of Loading the first one is to be full liquid without soil exposed, and the second case is to be empty Case with soil exposed
3D model in SAB
Section A-A with dimensions
Detailing and reinforcement for underground water tank”
67

## Slide 68
Basement wall design
Bulk density (Ɣ) = 18 KN/m3”, q allowable = 180 kN/m2 , Fc’ = 28 Map , Fy = 420 Map, = 30° , For at rest case K˳”= 0.5”
Design basement wall in basement floor 2, so h for basement wall = 4m , Thickness of basement wall 30 cm.”
Used PROKON program to calculate shear and moment, then design basement wall according to the value of moment and check thickness shear according to the value of shear from Prokon
load on basement wall by PROKON program
Basement wall reinforcement
68

## Slide 69
Electro-mechanical design
Artificial lighting: - illuminance - glare -uniformity
Office (Members of municipal council
Calculation surface | Lux | Required lux | Glare | Required glare
Cafeteria | 460 | 300-400 | 10 | < 19
69

## Slide 70
Cafeteria
Calculation surface | Lux | Required lux | Glare | Required glare
Cafeteria | 521 | 300 | 14 | < 22
70

## Slide 71
Fees collecting hall
71

## Slide 72
Meeting Room
Calculation surface | Lux | Required lux | Glare | Required glare
Meeting Room | 642 | 500 | 14 | < 19
72

## Slide 73
Mayor office
Calculation surface | Lux | Required lux | Glare | Required glare
Mayor office | 651 | 500 | 14 | < 19
73

## Slide 74
Distribution board
74

## Slide 75
The electrical load of power
75

## Slide 76
The electrical load of HVAC and elevators system:
EDB-2 | I load Amp | I C.B Amp | I cable Amp | C.B Amp | Cable (IEC )
Total | 428.20 | 492.43 | 566.30 | 800 | 
Each phase | 142.73 | 164.14 | 188.77 | 266.66 | 310 A 185 mm2
Lighting wires distribution
76
 | M.D.B 1 | Total power | I load | I C.B | I cable | C.B | Cable (IEC )
EDB-1 |  | Watt | Amp | Amp | Amp | Amp | 
 | 3-phase | 110935 | 177.91 | 204.60 | 235.29 | 250 | (225A ) .125 mm²

## Slide 77
Mechanical system :
The daily average of fresh water consumption = 15 L/day/person
Volume of basement water tank =18 m3
77

## Slide 78
Final selection for collector No. 1 in the ground floor
The pipes diameter selected |  |  | 
 | Vertical (steel) | horizontal (PVC) | branch
diameter | 2 | 1 ¼ | 1/2
Losses | 4.18 | 1.57 | 6.54
Total losses | 12.29 |  | 
Final selection for collector No. 3 in the ground floor
 | Vertical (steel) | horizontal (PVC) | branch
diameter | 2 | 1 | 1/2
Losses | 1.34 | 1.97 | 1.77
Total losses | 5.08 |  | 
Final selection for collector No. 2 in the ground floor
The pipes diameter selected |  |  | 
 | Vertical (steel) | horizontal (PVC) | branch
diameter | - | 1 | 1/2
Losses | - | 8.68 | 2.14
Total losses | 10.82 |  | 
Final selection for collector No. 4 in the ground floor
The pipes diameter selected |  |  | 
 | Vertical (steel) | horizontal (PVC) | branch
diameter | 2 " | 1" | 1/2"
Losses | 2.76 | 1.97 | 1.97
Total losses | 6.70 |  | 
78

## Slide 79
Water drainage
79

## Slide 80
Safety Design:
-Notification system
Manual fire alarm
Automatic Fire Alarm
-Emergency Lighting and signs:
Fair Suppression System :
1-Manual suppression system
Extinguishers
Space | Extinguishers
Canteen , Corridors , service room | Water extinguishers
All offices and meeting room | Dry powder extinguisher
Kitchen | Chemical extinguisher
Multi-purpose hall , Fees collecting hall , and public service hall | Both water extinguishers and dry powder extinguishers
2-Automatic suppression system
Sprinklers:
-Hose station
-Dry Stand pipe
80

## Slide 81
Fair system on the ground floor :
81

## Slide 82
Evacuation from the building
82

## Slide 83
Heating, ventilation, and air conditions system design (HVAC)
The system used for HVAC design is VRF system Variable refrigerant flow with cooling load capacity = 233.94 kW
Outdoor unit:
Capacity= 73.6 kW
Fan coil:
Flow rate equal 0.28m3/s
Cassatt unit:
Flow rate equal 0.1m3/s
Diffuser:
supply: flow rate equal 0.13m3/s
return: flow rate equal 0.36m3/s
83

## Slide 84
Filter design that controls and kills corona virus and other:
84

## Slide 85
HVAC design :
Ground floor
First floor
85

## Slide 86
Second floor
Third floor
86

## Slide 87
This figure below shows the duct distribution for multipurpose hall:
87

## Slide 88
Derange design :
Ground floor
First floor
88

## Slide 89
Second floor
Third floor
89

## Slide 90
Quantity Surveying and Cost Estimation
-Summery of each work total cost inn Nablus municipality :
The total cost of the Nablus municipality 11168472 NIS and the total area of Nablus municipality is 11141 m2 which means that the total unit cost per m2 is 1002 NIS/ m2.
Type of work | Total cost of work (NIS)
Earth work | 362409.00
Substructure work | 1135599.00
Superstructure work | 8278659.00
Electrical work | 326910.00
Fire system | 96150.00
Mechanical work | 70672.00
HVAC system | 619935.00
PV System | 21026.00
Elevator System | 225000.00
Total project cost | 11168472 NIS
90