## Slide 1: AN-Najah National University Faculty Of Engineering ELECTRICAL ENGINEERIG DEPARTMENT “Graduated project” “Power plug-meter”
BY:
Nour Khreim .
Haifa Sairy .
Supervised by: Dr. Mazen Rasekh .

## Slide 2: “Power plug-meter”

## Slide 3: Abstract :
Chapter one: introduction.
Chapter two: Applications.
Chapter three: background calculations.
Chapter four: hardware components
Chapter five: procedure
Chapter six: logical and hardware instruction.
Chapter seven: safety.
Chapter eight: results and conclusion.
Chapter nine: Future scenarios.

## Slide 4: Chapter one: Introduction
Power plug-meter:
It’s a device which can measure, and display the voltage , current and power the connected device
is consuming at the moment.
Max Voltage.
Max Current.
Max Power.

## Slide 5: Chapter two: projects applications
Our device is friendly to be controlled; you can just insert it between the wall socket and the device.
1-factoreis .
2-laboratories .
3-house.
4-electrical equipments shops.
5-hospitals.

## Slide 6: Chapter three: Background calculations.
V(t) = V*cos(wt)
I(t) = I*cos(wt-φ)
P(t) = V(t)*I(t)
P = Vrms*Irms*cos(φ)
Q = Vrms*Irms*sin(φ)

## Slide 7: Chapter four: hardware components.
Current Sensor (ACS712) :

## Slide 8
Solid state relay:
SSR is able to perform many of the
same tasks as electromechanical relay (EMR)s.
SSRs have no moving mechanical parts within it. Essentially, it is an electronic device that relies on the electrical, magnetic, and optical properties of semiconductors and electrical components to achieve its isolation and relay switching function.

## Slide 9: Thermal resistance: It’s a measure of a material's ability to resist heat transfer. Transformer: The transformer used to decrease the voltage level from 220 v to 110 v. PIC Microcontroller : In this project the PIC(F16877A) is used .

## Slide 10: Chapter five: procedure
Calibrating the sensor:
Testing the solid state relay:
DC/ AC

## Slide 11: Chapter six: logical & hardware instruction
Logical Structure

## Slide 12: Hardware / Software Tradeoffs Hardware designed to bring voltage levels into the appropriate range from 0 to 5 volt for the PIC internal ADC. In software, a PIC will be employed to sample the voltage levels at a frequency of 4 kHZ and perform the appropriate calculations in real time. The software will also be handling the computer and controlling the relay switch.

## Slide 13: Software Design
ADC sampling
An important feature of the PIC f16877A that it contains a function called ADC converts the analog input signal to digital samples.
Current and voltage calculation
The samples calculated by ADC in the microcontroller are under comparison in order to find the maximum value and send it by the serial cable to the hyper terminal in windows for the display.
Power Calculations
To calculate real power, voltage and current are multiplied during every sample and summed up. After 1000 samples are taken, the power summation is divided by 1000 to get the average power over 1 second. The following equation describes the operation:

## Slide 14: Chapter seven: Safety in Design
Safety of the device achieved through the use of optisolators as well as different power supplies.
Safety to the operator is achieved by following the same strict guidelines in wiring of a house.
Safety by using the relay which protect from crossing the limit power.

## Slide 15: Chapter eight: Results and Conclusion
The system gives us the scaled range from 0 to 5 volt that received to the micro controller and calculated to give the accurate value of current and voltage and power witch displayed on hyper terminal on Windows.
We chose a variable lamps as a load to test the Power Meter ; 100w lamp, 40 w lamp, 200w lamp and 150w lamp.

## Slide 16: The following figures shows the complete system with results:
(100)W load
(40)W load

## Slide 17: Chapter nine: Future scenarios.
Power factor calculation:
In the software part , there is a possibility to find the power factor value which represent the phase shift between the current and the voltage signal.
The main idea could be about setting two timers in the MCU as a reference to know where a sample of a certain value in the voltage signal how much it lags or leads a certain equal sample in the current signal, by this way we could measure the phase angle and after that measure the power factor as follow:
PF= cos(φ)=P/S
Finding the PF make it easy to find the apparent and reactive power.
C# Graphing :
The C# application will be used to display the power graph and report values. It might be replaced by using LCD.

## Slide 18
Wireless:
in our product it might be able to replace the serial cable connecting product with the PC by a wireless device, this step will be very useful to make the controlling for devices much easier.
Power Box shape:
We decided to make its shape as a cube with diameter (15*15*10) cm in order to be simple to use for the customer.

## Slide 19: Thank you *_* …any Questions ?!