## Slide 2: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 3: Introduction:
Our graduation project is an integrated design for the municipality of Nablus, near Jamal Abdel Nasser Park

## Slide 4: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 5: Our project locates in near Jamal Abdel Nasser Park in Nablus city with area 2369.42 meter square
Location and Site:

## Slide 6: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 7: Architectural analysis and redesign
Site plan ground floor after modification

## Slide 8: Architectural analysis and redesign
Parking plan before modification (B1).

## Slide 9: Architectural analysis and redesign
Parking plan after modification(B2) Parking plan after modification(B1) :

## Slide 10: Architectural analysis and redesign
Ground floor before modification. Ground floor after modification

## Slide 11: Architectural analysis and redesign
First before modification First after modification

## Slide 12: Architectural analysis and redesign
Second before modification Second after modification

## Slide 13: Architectural analysis and redesign
Third Floor before modification. Third Floor after modification

## Slide 14: Architectural analysis and redesign
Fourth Floor before modification . Fourth Floor after modification

## Slide 15: Architectural analysis and redesign
South elevation: North elevation:

## Slide 16: Architectural analysis and redesign
East elevation: West elevation:

## Slide 17: Architectural analysis and redesign
Section A-A: Section B-B:

## Slide 18: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 19: Environmental analysis and evaluated
Building orientation.
Shadowing.
Solar Radiation.
Daylight Factor.
Environmental Modification.
Acoustical analysis.

## Slide 20: Building orientation: The Orientation of the building is 43˚ from true north.
Sun path in Winter.
Sun path in summer.

## Slide 21: Shadowing:
8:00am in summer.
As shown in the figures, we note that there is no shading from adjacent buildings, just shading from building itself.
12:00pm in summer.
2:00pm in summer.

## Slide 22: Shadowing:
8:00am in Winter.
12:00pm in Winter.
2:00pm in Winter.

## Slide 23: Solar Radiation in summer.
The solar gain in summer is high due to the long sunshine hours and the sun's altitude angle.

## Slide 24
East-south elevation.
South-west Elevation

## Slide 25
North-west Elevation.
East-north Elevation.

## Slide 26: Solar Radiation in Winter.
In winter the solar gain is small. Because of the path of the sun and the shortness of the solar radiance.

## Slide 27
South-west Elevation

## Slide 28
North-west Elevation.

## Slide 29: Daylight factor.
Revit program was used to determine daylight factor before and after modification.
In this type of building (Office) the percentage of daylight (2-6%)

## Slide 30: Daylight factor.
GF after Modification
GF before Modification

## Slide 31
F1 After Modification
F1 before Modification
Daylight factor.

## Slide 32
F2 before Modification
F2 after Modification
Daylight factor.

## Slide 33
F3 before Modification
F3 after Modification
Daylight factor.

## Slide 34
F4 before Modification
F4 after Modification
Daylight factor.

## Slide 35
Environmental Modification
Vertical louvers were added to the eastern façade.
Modification of reflectivity and transmittance of external glass.
The exterior wall of the building was modified by the use of insulation and the use of stone facades.

## Slide 36: Acoustical analysis
STC: use INSUL 9.0
external wall Internal Wall Curtain Wall IIC for floor

## Slide 37: Acoustical analysis
RT60:
RT60 was calculated using the Ecotect program.
1) RT60 for Multipurpose hall:
o Volume: 758.950 m3.
o Surface Area: 644.184 m2.
o Occupancy: (112 x 0%).
o Optimum RT (500Hz - Speech): 0.76 s.
o Optimum RT (500Hz - Music): 1.36 s.
o Volume per Seat: 6.776 m3.
o Automatic: Millington-sette.
o Most Suitable: Millington-sette.

## Slide 38: Acoustical analysis
2) RT60 for Meeting room:
o Volume: 305.490 m3
o Surface Area: 372.775 m2
o Occupancy: (20 x 0%)
o Optimum RT (500Hz - Speech): 0.64 s
o Optimum RT (500Hz - Music): 1.20 s
o Volume per Seat: 15.274 m3.
o Automatic: Millington-sette.
o Most Suitable: Millington-sette.

## Slide 39: Acoustical analysis
3) RT60 for Mayor office:
Volume: 464.210 m3
Surface Area: 606.160 m2
Occupancy: 20
Optimum RT (500Hz - Speech): 0.70 s
Optimum RT (500Hz - Music): 1.28 s
Volume per Seat: 23.210 m3
Most Suitable: Millington-Sette (Widely varying)
Selected: Millington-Sette (Widely varying)

## Slide 40: Acoustical analysis
4) RT60 for Fees hall:
Volume: 531.510 m3
Surface Area: 508.199 m2
Occupancy: 40
Optimum RT (500Hz - Speech): 0.72 s
Optimum RT (500Hz - Music): 1.30 s
Volume per Seat: 13.288 m3
Most Suitable: Millington-Sette (Widely varying)
Selected: Sabine (Uniformly distributed)

## Slide 41: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 42: Structural Analysis.
Slab:
Two way ribbed slab 0.35 m thickness with beams.
Beams :
Hidden beam: 350mm X 700mm
Drop beam:
500mm x500 mm
Column's dimension:
C1= 700 x 400
C2= 700*300
Radial diameter =800mm.
Shear wall with 0.30 M thickness

## Slide 43: Structural Analysis.
Structural layout for main plan

## Slide 44: Structural Analysis.
Expansion joint
Part 1
Part 2
Expansion joint detailing

## Slide 45: Structural Analysis.
Etabs models :
Structural model from ETABS17 (part 1).
Structural model from ETABS17 (part 2).

## Slide 46: Structural Analysis.
check’s
Analysis Checks | 
Check: | Result
Compatibility Check | Ok
Equilibrium check | Ok
Internal Force Check | 
Columns | Ok
Beams | Ok
Slab | Ok
Design Check | 
Check: | Result
Deflection | Ok
Beam | Ok
Shear Check | Ok
Tow way ribbed slab | Ok
Seismic Checks | 
Check: | Result
Period check. | Ok
Modal mass participation ratio | Ok
Base shear (scale factor) | Ok
Drift | Ok

## Slide 47: Structural Analysis.
Sheet piles plan :

## Slide 48: Structural Analysis.
Footing plan :

## Slide 49: Structural Analysis.
Footing detailing:
combined footing detailing.
Wall footing detailing.

## Slide 50: Structural Analysis.
Footing detailing:
Mat footing detailing.
isolated footing details

## Slide 51: Structural Analysis.
rectangular column detailing. Circular column detailing.
column detailing:
Detailing converting column circular to rectangular:

## Slide 52: Structural Analysis.
Slab and beam plan :
for the second basement floor. for the first basement floor.

## Slide 53: Structural Analysis.
Slab and beam plan :
for the ground floor. for the first floor.

## Slide 54: Structural Analysis.
Slab and beam plan :
for the second floor. for the third and fourth floor

## Slide 55: Structural Analysis.
Hidden beam detailing:
Girder beam detailing :

## Slide 56: Structural Analysis.
Slab detailing.(main plan) :
for the first basement floor.

## Slide 57: Structural Analysis.
Water tank :
type of tank is vertical one way .

## Slide 58: Structural Analysis.
    Water tank Detailing:
water tank corner detailing
Water stop.
Water stop.

## Slide 59: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical )Lighting Design(. Cost & Budget.
Outline:

## Slide 60: Lighting Design
An artificial simulation was done using DIALux software for one space of each functional, all lighting requirements achieved.
mayor office.
Meeting room.
Multi-purpose hall.
Public service hall.
Public Relation(office).
Reception(office).
Corridors.

## Slide 61: Lighting Design
Type of luminaires was used:
luminaire from PHILPS: Spot :

## Slide 62: Lighting Design
1- Results of lighting in mayor office:
:
According to calculation objects there no glare from artificial light in mayor office room.

## Slide 63: Lighting Design
2- Results of lighting in meeting room:

## Slide 64: Lighting Design
3- Results of lighting in Public service hall :
According to calculation objects there no glare from artificial light in Public service hall.

## Slide 65: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical )Power design (. Cost & Budget.
Outline:

## Slide 66: Power design
The electrical load of the building was calculated. The electrical switches and sockets were distributed and the wires needed for the connections were calculated
Distribution of lighting wires and switches for the B2.
Distribution of lighting wires and switches for the B1.

## Slide 67: Power design
Distribution of lighting wires and switches for the Ground floor.
Distribution of lighting wires and switches for the First floor.

## Slide 68: Power design
Distribution of lighting wires and switches for the Second floor.
Distribution of lighting wires and switches for third and fourth floor.

## Slide 69: Power design
sockets circuit breaker for B2

## Slide 70: Power design
sockets circuit breaker for B1

## Slide 71: Power design
sockets circuit breaker for GF.

## Slide 72: Power design
sockets circuit breaker for F1 and F2.

## Slide 73: Power design
sockets circuit breaker for F3 and F4.

## Slide 74: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical )Sound Speaker Design(. Cost & Budget.
Outline:

## Slide 75: Sound Speaker Design
Two types of audio systems are designed.
• PA system for Multi-purpose hall.
• Ceiling Sound System for fees hall and corridor.

## Slide 76: Sound Speaker Design
Design for PA System Design using EASE.

## Slide 77: Direct SPL:

## Slide 78: AL Loss (%): Max loss 2.69 …Excellent.

## Slide 79: Sound Speaker Design
Ceiling Sound System for fees hall and corridor.
H=3.5m
Hs=1.2m.
h=3.5-1.2=2.3m
Tan(120/2)=1.73
R=4 m
coverage angle | 120⁰
Maximum SPL | 100 dB
Diameter | 113 mm

## Slide 80: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical (Water supply Design). Cost & Budget.
Outline:

## Slide 81: Water supply Design
water tank in the second basement floor with pump system
roof water tank
vertical steel pipes
horizontal PVC pipes
Part 1
Part 2

## Slide 82: Water supply Design
pipes design for part1:
floor | vertical design |  | horizontal design |  | branch design |  | total loss | NACHRAL LOESS | actual pressure | check pump
 | steel pipes dimeter | loss psi/100ft | PVC pipes dimeter | loss psi/100ft | PVC pipes dimeter | loss psi/100ft |  |  |  | 
GF | 1.5 | 14.1 | 1 | 3.2 | (1/2) | 2.9 | 20.2 | 32.99 | 12.79 | not need pump
f1 | 1.5 | 14.1 | 1 | 3.2 | (3/4) | 0.5 | 17.8 | 26.49 | 8.69 | not need pump
f2 | 2 | 4.3 | 1 | 3.2 | (3/4) | 0.5 | 8 | 20.7 | 12.7 | not need pump
f3 | 2 | 4.3 | 1.25 | 1.23 | (3/4) | 0.5 | 6.03 | 14.9 | 8.87 | not need pump
f4 | 2 | 4.3 | 1.25 | 1.23 | (3/4) | 0.5 | 6.03 | 9.18 | 3.15 | need pump
Site plan

## Slide 83: Water supply Design
pipes design for part2:
floor | vertical design |  | horizontal design |  | branch design |  | total loss | NACHRAL LOESS | actual pressure | check pump
 | steel pipes dimeter | loss psi/100ft | PVC pipes dimeter | loss psi/100ft | PVC pipes dimeter | loss psi/100ft |  |  |  | 
GF | 1.5 | 4.6 | (1/2) | 5.2 | (1/2) | 0.69 | 10.49 | 21.47 | 10.98 | not need pump
f1 | 1.5 | 4.6 | (3/4) | 0.8 | (1/2) | 0.69 | 6.09 | 15.7 | 9.61 | not need pump
f2 | 1.5 | 4.6 | (3/4) | 0.8 | (1/2) | 0.69 | 6.09 | 9.95 | 3.86 | need pump
Site plan

## Slide 84: Water supply Design
Water supply plan :
for the second basement floor. for the first basement floor.

## Slide 85: Water supply Design
Water supply plan :
for the ground floor. for the first floor.

## Slide 86: Water supply Design.
Water supply plan :
for the second floor. for the third floor

## Slide 87: Water supply Design.
Water supply plan :
For the fourth floor

## Slide 88: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical (Fire-fighting system). Cost & Budget.
Outline:

## Slide 89: Fire-fighting system
The appropriate system was designed for each space and the following was used:
Detecting system.
Suppression system.
Emergency lights and signs.

## Slide 90: Fire-fighting system
1- Smoke detector:
2- heat detector :
3-Manual fire alarm:
Detecting system:

## Slide 91: Fire-fighting system
1- fire extinguisher:
2- Fire hose:
3-Sprinkler:
Emergency lights and signs:
Suppression system:

## Slide 92: Fire-fighting system
Fire-fighting system plan :
for the second basement floor. for the first basement floor.

## Slide 93: Fire-fighting system
Fire-fighting system plan :
for the ground floor. for the first floor.

## Slide 94: Fire-fighting system
Fire-fighting system plan :
for the second floor. for the third floor

## Slide 95: Fire-fighting system
Fire-fighting system plan :
For the fourth floor

## Slide 96: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical (Water Draining) Cost & Budget.
Outline:

## Slide 97: Water Draining system
In the beginning, several diameters of PVC pipes was used, arranged as in the following table:
Used for | diameters
Black water | 4”
Gray water | 2”
Rain water | 3”

## Slide 98: Water Draining system
Water Draining system plan :
for the second basement floor.

## Slide 99: Water Draining system
Water Draining system plan :
for the first basement floor.

## Slide 100: Water Draining system
Water Draining system plan :
for the ground floor.

## Slide 101: Water Draining system
Water Draining system plan :
for the first floor.

## Slide 102: Water Draining system
Water Draining system plan :
for the second floor.

## Slide 103: Water Draining system
Water Draining system plan :
for the third floor.

## Slide 104: Water Draining system
Water Draining system plan :
for the fourth floor.

## Slide 105: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical ( heat simulation& HVAC) Cost & Budget.
Outline:

## Slide 106: heat simulation
This part was done by design builder program ,where a thermal simulation of the building was done before and after thermal insulation.

## Slide 107: heat simulation
Material properties
Object | External wall | Internal wall | Roof | curtain wall
U- Value W/M^2 . K | 0.46 | 2.18 | 0.226 | 2.665

## Slide 108: heat simulation
Design Builder Result
the thermal loads before and after the treatments were as follows

## Slide 109: Hvac system
VRF system was used and two systems were used , cassette unit and fan coil unit from Mitsubishi, Where the company provided us with catalogs and blocks for the Revit program.

## Slide 110: Hvac system
Havc system plan :
for the ground floor. for the first floor.

## Slide 111: Hvac system
Havc system plan :
for the second floor. . for the third and fourth floor

## Slide 112: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical (Reflected Ceiling) Cost & Budget.
Outline:

## Slide 113: Reflected Ceiling
Reflected Ceiling plan :
for the second basement floor. for the first basement floor.

## Slide 114: Reflected Ceiling
Reflected Ceiling plan :
for the ground floor. for the first floor.

## Slide 115: Reflected Ceiling
Reflected Ceiling
for the second floor. for the third and fourth floor

## Slide 116: introduction. Description of project. Architectural Analysis. Environmental Evaluation . Structural Analysis. Electromechanical. Cost & Budget.
Outline:

## Slide 117: Cost & Budget.
WORK
BREAKDOWN
STRUCTURE

## Slide 118: Cost & Budget.
total cost
The cost of the project is 5,730,746$. The cost of each square meter is approximately 700$ (698.36$)

## Slide 119: Thank you for listening