## Slide 1
An-Najah National University
Building Engineering Department
Graduation Project 2:
Design Orthopedic Specialist Hospital
Prepared By: Mohannad Iyad Al-Shak’a. Supervisor: Dr. Mutasim Baba.
Yasmine Fareed Sarah.
Mais Nabeel Abu-Alhasan.
May, 2015

## Slide 2: Outline:
Introduction To project
Architectural Design
Environmental Design
Structural Design
Electrical Design
Fire system Design
Cost estimation
Mechanical Design

## Slide 3
Since there is no orthopedic specialist hospital in North-West Bank, it has been assigned to serve the northern regions and parts of the southern regions.
Introduction to project:

## Slide 5
Architectural design:-

## Slide 6
Original Design
Architectural design:-

## Slide 7
New Design
Architectural design:-

## Slide 8
Original Design
Architectural design:-

## Slide 9
New Design
Architectural design:-

## Slide 10
New Design
Architectural design:-

## Slide 11
Architectural design:-

## Slide 12
Site plan:

## Slide 13
East elevation
ELEVATIONS :-

## Slide 14
West elevation
ELEVATIONS :-

## Slide 15
North elevation
ELEVATIONS :-

## Slide 16
South elevation
ELEVATIONS :-

## Slide 17
Section A-A
The Sections :-

## Slide 18
Section B-B
The Sections :-

## Slide 19
Section C-C
The Sections :-

## Slide 20
Section D-D
The Sections :-

## Slide 21: Structural Design

## Slide 22: Design data :
Concrete compressive strength | f’c = 28 Mpa | Slab . beam , shear wall . tie beam
 | f’c= 48 Mpa | Columns , and footing
Yielding strength of steel | Fy = 420 Mpa | 
Bearing capacity of soil | 250 KN/m2 | Soil profile is SD.
Load | Super imposed dead load=5 KN/m2 | Live load = 5 KN/m2

## Slide 23
The building of our project consists of eight blocks . we design block A with fully Structural Design .

## Slide 24
Slab model for block A :-

## Slide 25: One way solid slab details :

## Slide 26: Check Model.
Compatibility check

## Slide 27: Equilibrium Check > ok
Equilibrium from | Manual | SAP | The error % | 
live load | 7768 KN | 7786.23 KN | 1.48 % | accepted
super imposed dead load | 15286 KN | 15298.83 KN | 1 % | accepted
dead load | 21610.7 KN | 20989.9 KN | 2.8 % | accepted

## Slide 28: Stress – Strain Check:
 | Manual result | SAP result | Error % | 
For the slab | 10 (KN.m) | 9.7 (KN.m) | 3.09 % | acceptable
the beam | 87.34 KN.m | 130.3 KN.m | 3.2 % | acceptable
Column 1 | 450 KN | 480 KN | 6.6 % | acceptable

## Slide 29
Soil type SD
Cv = 0.40
Ca = 0.28
T = 0.27 sec.
Seismic design using Response Spectrum – UBC 97: -

## Slide 30
we use one type of column (60*80) cm .

## Slide 31
Reinforcement details in columns :-

## Slide 32
the main beam in x direction =(40*70) cm .
beam (40*50) cm.
beam (30*30 )cm.
Types of beam .

## Slide 33
Reinforcement details in beams:-

## Slide 34: footing design :-
footing plane:

## Slide 35: Isolated footing :-

## Slide 36
footing 1,2,3 ,11.
footing 5,6,7,12.
Reinforcement design for footing :-

## Slide 37
footing 4:-
footing 8:-

## Slide 38
Mat footing (1) with 40 cm thickness :-

## Slide 39
Top & bottom reinforcement for mat footing (1) :-

## Slide 40
Top & bottom reinforcement for mat footing (1) :-

## Slide 41
Mat footing (2) with 40 cm thickness :

## Slide 42
Mat footing (2) with 40 cm thickness :

## Slide 43
Mat footing (3) with 50 cm thickness :

## Slide 44
Design of tie beams:

## Slide 45
Design Data:-
Wall Thickness: tw=0.25m.
TS =1.11 s
SS=1.55
S1=0.93
I =1.25
Fa=1
FV=1.5
Hydrotherapy pool:-

## Slide 46
Hydrotherapy pool details :

## Slide 48: Shear wall design :

## Slide 49
Enviromental Design

## Slide 50
This calculation only for one block for four floors of the hospital.

## Slide 51
Annual sun path for January at 8 Am. :

## Slide 52
Annual sun path for January at 12 pm. :

## Slide 53
Jan . 4
Annual sun path for January at 4 pm. :

## Slide 54
Annual sun path for July at 8 Am. :

## Slide 55
Annual sun path for July at 12 pm. :

## Slide 56
Annual sun path for July at 4 pm. :

## Slide 57
Shading for elevations:

## Slide 58
It has a daylight factor of 3.19% and daylight level of 289 Lux.
Daylight factor for Emergency in west elevation:

## Slide 59
It has a daylight factor of 3.83% and daylight level of 345 lux.
Daylight factor for Doctors room (north) :

## Slide 60
It has a daylight factor of 3.76% and daylight level of 339 lux.
Daylight factor for Clinic(south-east):-

## Slide 61
It has a daylight factor of 4.20% and daylight level of 378 lux.
Daylight factor for Bedroom (south-west):_

## Slide 62
Material used for external walls:
Thermal Conductivity (U) equal to 0.502W/m2.k.
Material used for windows:
Thermal Conductivity (U) for windows
(Double glazed) equal to 1.689 W/m2.K.
Thermal Design:

## Slide 63
Materials used for floors:
Thermal Conductivity (U) for floor
equal to 0.86 W/m2.k.
Materials used for ceiling:
Thermal Conductivity (U) for ceiling
equal to 0.623 W/m2.k.

## Slide 64
Monthly heating & cooling for the block:
Max. heating load= 5.35kwh/m2.
Max. cooling load= 5.01kwh/m2.

## Slide 65
Annual heating and cooling for the block:
Heating load (Kw/m2) | Cooling load (Kw/m2)
20.69 | 22.73

## Slide 66: Acoustical Design:
Apt. A` |  | Apt. B | IIC
Patient room | Above | Patient room | 46-49dB
corridor | Above | Patient room | 46-49dB
Patient room | Above | ICU or operation | 46-49dB
Corridor and meeting room | Above | operation | 54-57dB
(Floor design) Impact Sound Insulation of Floor-Ceiling between hospital units:

## Slide 67
STC between patient rooms equal to 31-41db.
STC | Layers
38 | 4-in. Dense hollow block
Plus 4 | Add plaster to both sides
42 | Total
Internal walls between patient room.

## Slide 68
The value of STC between doctors room and gym shall be about 54-59db.
STC for doctors room:
The value of STC between corridors and doctors room shall be 31-42.

## Slide 69
STC | Layers
48 | 8-in. Dense hollow block
Plus 3 | Add sand to cores of hollow blocks
Plus 10 | Add furring strips, lath and plaster to both sides
61 | Total
Material used for partition
between doctor’s room and gym.
STC | Layers
38 | 4-in. Dense hollow block
Plus 4 | Add plaster to both sides
Plus 3 | Add sand to cores of hollow blocks
45 | Total
Material used for partition between doctor’s room and corridor.

## Slide 70
Since, the average noise out of the hospital about 59, so 61 db for this exterior wall is acceptable.
STC equal 61db.
External walls:

## Slide 71
The required optimum values of RT60 level in emergency is 0.6-1 sec.
Materials used for ceiling.
Materials used for walls and door.
Materials used for floor and beds
Acoustical Design: (RT60)

## Slide 72
RT60 from ecotect
Acoustical Design: (RT60)

## Slide 73
The required optimum values of RT60 level in patient room is 0.4-0.8 sec.
Material used for floor and furniture
Material used for walls and door
Material used for ceiling
Acoustical Design: (RT60)

## Slide 74
RT60 from ecotect
Acoustical Design: (RT60)

## Slide 75
The required optimum values of RT60 level in GYM is 1-1.25 sec.
Material used for tiles and devices
Material used for walls and windows
Material used for ceiling
Acoustical Design: (RT60)

## Slide 76
RT60 from ecotect
Acoustical Design: (RT60)

## Slide 77: Mechanical design

## Slide 78: Hvac design:
Using DC-12 fan coil unit
Filters for operating and ICUs.

## Slide 79: hvac:

## Slide 80: hvac:

## Slide 81: hvac:

## Slide 82: hvac:

## Slide 83: hvac:

## Slide 84
A large air handling unit used to get
a fresh air for basement, ground and
first floors in the hospital.
After using about 65 fan coil unit with flow rate 952cmf (0.45m3/s) for the hospital, APX 90-2S chiller has to be used.

## Slide 85: Water supply:
2.5 " steel pipe for vertical feeder
1.5" pvc pipe for main feeder.
0.75 pvc pipe for branch.

## Slide 86
Bathrooms
Sewage system:

## Slide 87
Gas lines:

## Slide 88: Electrical Design

## Slide 89: Waiting room 1:
Eav [lx] | u0 | UGR
288 | 0.746 | 10-16

## Slide 90: X- ray room :-
Eav [lx] | u0 | UGR
347 | 0.815 | <10

## Slide 91: Single bedroom:
Eav [lx] | u0 | UGR
346 | 0.685 | <10

## Slide 92: Emergency room:
Eav [lx] | u0 | UGR
533 | 0.727 | 11-13

## Slide 93
Sockets distribution for the ground floor.

## Slide 94
Light distribution for the Ground floors.

## Slide 95
Fire & Safety
Design

## Slide 96
Distribution of stairs in hospital

## Slide 97
Fire system used in the hospital:-
Safety signs:
Fire extinguishers
Sprinklers
Right and left Exit
Staircase sign
Fire exit
Use elevators
Smoke detectors
Fire alarm
Hose system

## Slide 98: Cost estimation

## Slide 99
Total Price for our block | NIS
Structural system | 1158407
Electrical system | 41180
HVAC | 73421
Finishing: | 996053.5
COST ESTIMATION: