## Slide 1
Graduation Project report-II- "Qabatia Basic Girls School“
Prepared by:
Sara Hamdan
Yousef Maree
Khalid Attili
Supervisor: Dr. Mutasim Baba
May 2022

## Slide 2
-1-
Chapter One
Introduction

## Slide 3: Introduction
Qabatiya is a Palestinian village, located in Jenin city, about 10 km to the southwest, between longitudes 35.22, latitude 31.78, and at an altitude of 256 m above sea level.
The number of students at Qabatiya Elementary School for Girls is 450 students.
The number of classrooms in the school is 18 classrooms. It is equipped with laboratories and necessary facilities.

## Slide 4
Location

## Slide 5: -2- Chapter two Architectural Aspects

## Slide 6
Architectural modification
a garage has been added in the basement

## Slide 7
Ground floor before modification

## Slide 8
Ground floor after modification

## Slide 9
First floor before modification

## Slide 10
First floor after modification

## Slide 11
Second floor before modification

## Slide 12
Second floor after modification

## Slide 13
Third floor before modification

## Slide 14
Third floor after modification

## Slide 15
South elevation

## Slide 16
East elevation

## Slide 17
North elevation

## Slide 18
West elevation

## Slide 19
Section A-A

## Slide 20
Section B-B

## Slide 21
3D picture for the school

## Slide 22
-3-
Chapter three
Environmental Aspects

## Slide 23
Sun bath in winter
Sun bath in summer
Sun bath

## Slide 24
Shadow in winter
Shadow in summer
Shadowing

## Slide 25
South elevation
solar simulation
In summer
In winter

## Slide 26
West elevation
In summer
In winter

## Slide 27
east elevation
In summer
In winter

## Slide 28
DF
DF in GF
DF in FF

## Slide 29
DF in SF
DF in TF

## Slide 30
heating and cooling load
As shown below from design builder the heating and cooling load:
Heating load=88.65 KW
Cooling load:=135.36 KW
Design builder figures

## Slide 31
-4-
Chapter four
Structural Aspects

## Slide 32
40cm

## Slide 33
Figure 4.4 3D model

## Slide 35
Weight of building =-23473.9 kn = total dead load
Super dead= area x 4.5 =12014.55
Live dead= area x 5 =13349.5
Equilibrium check

## Slide 36
figure 4.10: tributary area in internal column]
Figure4.11 : Axial load on internal column

## Slide 37
Manual moment = WL2/8
52.7*6.422/8 = 271.513Kn.m
Moment Right side = 161.24kn.m
moment in left side = 162.97kn.m
moment at meddle of beam = 109.5kn.m
Mu ETABS = (162.97+161.24)/2+109.5 = 271.6 KN.m
Error in range 5% OK

## Slide 38
Ss = 0.65 S1 = 0.14

## Slide 39
Fa= 0.9 Fv= 0.8 .

## Slide 41
1- equivalent static analysis
2- response spectrum analysis

## Slide 42
Equivalent static
V = CsW

## Slide 47: v

## Slide 54
Beam dimensions = 40cm width , 50cm depth , d= 45cm , , Fy=420

## Slide 66
Wall footing

## Slide 73
-5-
Chapter five
Mechanical and Electrical aspects

## Slide 74
HVAC design
As shown below from design builder the heating and cooling load:
•Heating load=88.65 KW
•Cooling load:=135.36 KW
Some standard from design builder:
•Tin (winter)=22c
•Tin (summer)=25c
•relative humidity=30%-70%
Outdoor unit
•Outdoor unit model name :
( AM260KXVGGH/ET).
•Type :( DVM S).

## Slide 75
Indoor unit:
Cassatt unit
Properties:
Indoor unit model name (AC140RN4DKG/EU)
Air flow rate = 0.1m3/s
Indoor unit

## Slide 76
Distribution for indoor unit
Ground floor

## Slide 77
First floor

## Slide 78
Second floor

## Slide 79
Third floor

## Slide 81
Water supply design :
Design pipes size:
Design vertical pipes :

## Slide 82
Design Horizontal pipes:

## Slide 83
Design branch pipes:

## Slide 84
Pipes size for all floors:

## Slide 85
Water supply for G.F

## Slide 86
Water supply for 1st F

## Slide 87
Water supply for 2nd F

## Slide 88
Water supply for 3rd F

## Slide 89
Drainage system:
Sample of calculation :
 Max number of dfu for 2 inch =21 dfu with slope 2%.
 Max number of dfu for 4 inch =180 dfu with slope 1%.

## Slide 90
The following figure shows the distribution of all points and then gives each pipe its diameter according to dfu for each unite :

## Slide 91
Drainage for garage

## Slide 92
Drainage for G.F

## Slide 93
Firefighting system
number of Sprinklers used

## Slide 94
G.F Sprinklers distribution , Fire exit & Extinguishers distribution

## Slide 95
1st F Sprinklers distribution , Fire exit & Extinguishers distribution

## Slide 96
2nd F Sprinklers distribution , Fire exit & Extinguishers distribution

## Slide 97
3rd F Sprinklers distribution , Fire exit & Extinguishers distribution

## Slide 98
Detector distribution
fire symbol
Gf Detector distribution

## Slide 99
1st f Detector distribution

## Slide 100
2nd f Detector distribution

## Slide 101
3rd f Detector distribution

## Slide 102
Electrical design
Power design
Electrical symbols used

## Slide 103
Main Distribution board

## Slide 106
Artificial lighting design
type luminaire

## Slide 107
show the distribution for luminaire in braking
distribution for luminaire in ground floor

## Slide 108
show the distribution for luminaire in 1st floor
show the distribution for luminaire in 2nd floor

## Slide 109
show the distribution for luminaire in 3rd floor

## Slide 110
ELECTRICAL DESIGN :
Power of light of barking floor
show the power from lighting for the ground floor

## Slide 111
power from lighting for the 1st floor
power from lighting for the 2nd floor

## Slide 112
power from lighting for the 3rd floor

## Slide 113
The acoustical design:
by Using the ecotect program, we obtained the results of the RT60 for the classroom and corridors

## Slide 114
By using EASE
Total SPL for class room
ALC for class room

## Slide 115
By using EASE
STI for class room

## Slide 116
speaker selenium
Sound preshure level in speaker

## Slide 117
Treatment by using insull
STC external wall
STC internal wall

## Slide 118
stc for glass
STC in slab

## Slide 119
-6-
Chapter six
Quantity surveying & Cost Estimate

## Slide 120
Project total cost =5300000 nis
project area = 3261.5 sm
project unit cost =1625 nis/sm
structural work unit cost = 905.15 nis/sm
Finishing unit cost = 418.81 nis/sm
electrical work unit cost =11 nis/sm
mechanical work unit cost =58.64 nis/sm