## Slide 1
WELCOME

## Slide 2: Mechanical Systems of Al-Karmel Residential building
Prepared by :
Wala’ sha’ar
Abthal Adeeb
Submitted To :
Dc. Ramez Al-Khalde

## Slide 3: Description of the building
Al-Karmel Residential building located in Ramallah, which consists of four floors each floor has two apartments, roof and basement.
our project is the design of mechanical systems consisting of heating, ventilation and air conditioning system, sewage system and fire alarm system .

## Slide 4: Conditions in Ramallah
Design conditions in Ramallah as chosen from the Palestinian code :
Temperature in winter 7.5 C
Temperature in summer 30 C
Humidity in winter 71.7
Humidity in summer 49.7
W in winter 2.8
W in summer 20

## Slide 5: Chapter (1): Introduction
HVAC background :
HVAC (pronounced either "H-V-A-C" or "aitch-vak") is an acronym that stands for the closely related functions of "Heating, Ventilating, and Air Conditioning”- the technology of indoor environmental comfort. HVAC system design is a major subdiscipline of mechanical engineering, based on the principles of thermodynamics, fluid mechanics, and heat transfer. Refrigeration is sometimes added to the field's abbreviation as HVAC&R or HVACR, or ventilating is dropped as in HACR (such as the designation of HACR-rated circuit breakers). HVAC is particularly important in the design of medium to large industrial and office buildings such as skyscrapers and in marine environments such as aquariums, where safe and healthy building conditions are regulated with temperature and humidity, as well as "fresh air" from outdoors.

## Slide 6: Chapter (2) : Mechanical System in Building
Cooling water system .
Introduction .
Water cooling is a method of heat removal from components. As opposed to air cooling, water is used as the heat transmitter. Water cooling is commonly used for cooling internal combustion engines in automobiles and large electrical generators. Other uses include cooling the barrels of machine guns, cooling of lubricant oil in pumps; for cooling purposes in heat exchangers; cooling products from tanks or columns, and recently, cooling of various major components inside high-end personal computers. The main mechanism for water cooling is convective heat transfer.

## Slide 7: Advantages of using cooling water system
Advantages
The advantages of using water cooling over air cooling include water's higher specific heat capacity, density, and thermal conductivity. This allows water to transmit heat over greater distances with much less volumetric flow and reduced temperature difference. For cooling CPU cores, this is its primary advantage: the tremendously increased ability to transport heat away from source to a secondary cooling surface allows for large, more optimally designed radiators rather than small, inefficient fins mounted on or near a heat source such as a CPU core. The "water jacket" around an engine is also very effective at deadening mechanical noises, which makes the engine quieter. There is also a disadvantage and this is because it costs more than a air cooled engine system.

## Slide 8: Ventilation Air
Ventilation is the intentional movement of air from outside a building to the inside. It is the V in HVAC. With clothes dryers, and combustion equipment such as water heaters, boilers, fireplaces, and wood stoves, their exhausts are often called vents or flues — this should not be confused with ventilation. The vents or flues carry the products of combustion which have to be expelled from the building in a way which does not cause harm to the occupants of the building. Movement of air between indoor spaces, and not the outside, is called transfer air.

## Slide 9: Problem in Ventilation
In hot, humid climates, unconditioned ventilation air will deliver approximately one pound of water each day for each cubic foot per minute of outdoor air per day, annual average, This is a great deal of moisture, and it can create serious indoor moisture and mold problems.

## Slide 10: Indoor Air Quality
Indoor air quality (IAQ) is a term referring to the air quality within and around buildings and structures, especially as it relates to the health and comfort of building occupants.
IAQ can be affected by microbial contaminants (mold, bacteria), gases (including carbon monoxide, radon, volatile organic compounds), particulates, or any mass or energy stressor that can induce adverse health conditions. Indoor air is becoming an increasingly more concerning health hazard than outdoor air. Using ventilation to dilute contaminants, filtration, and source control are the primary methods for improving indoor air quality in most buildings.

## Slide 11: Dehumidifier
A dehumidifier is mostly a household appliance that reduces the level of humidity in the air, usually for health reasons, as humid air can cause mold and mildew to grow inside homes, which has various health risks. Relative humidity is preferably 30 to 50%.[1] Very high humidity levels are also unpleasant for human beings, can cause condensation and can make it hard to dry laundry or sleep. Higher humidity is also preferred by most insects, including clothes moths, fleas and cockroaches. Dehumidifiers are used in industrial climatic chambers for keeping certain level of humidity.

## Slide 12: Cooling Load
The total amount of heat energy that must be removed from a system by a cooling mechanism in a unit time, equal to the rate at which heat is generated by people, machinery, and processes, plus the net flow of heat into the system not associated with the cooling machinery.

## Slide 13: exterior cooling loads
outside cooling loads which bring energy by sun exposure and warm outside air into the building. In addition belong:
Heat flow by external walls
Heat flow by roofs
Transmission heat stream by windows
Radiant heat by windows
Heat entry by joint ventilation
The sum of these factors results in the outside cooling load of a building or an area.

## Slide 14: internal cooling loads
internal cooling loads which by energy conversion processes, which take place, develop inside the regarded area or building . In addition belong:
Heat emission by persons
Heat emission by lighting
Machine and equipment warmth
Heat entry by material throughput
Warmth by chemical reactions
Heat flow of neighbour areas

## Slide 15: latent heat loads
A special form of the internal cooling loads are latent heat loads. These are not noticeable, because the area did not warm up (still) by them. It concerns here the enthalpy of the water vapour contained in the spatial air. If this water vapour becomes free and supplies condensed (e.g. by a cooling of the area by an air conditioning system), the enthalpisch stored heat energy of the water vapour, the area energy, which leads now to a heating up and thus an additional power demand of the air conditioning system.
The sum of these factors results in the internal cooling load of a building or an area.

## Slide 16: Cooling load Calculations Peak hour at 4.00 pm june For fourth floor . (first apartment ) .
Rooms | Q people | Q equipments | Q light | Q ext.wall | Q window | Q ceiling | Q insi.wall | Q floor
Kitchen | 470.4 | 2 610 | 67.2 | 85.5 | 411.8 | 102.5 | 591.8 | 0
Bed Room 1 | 176.4 | 2610 | 33.6 | 62.9 | 411.8 | 124.9 | 582.6 | 0
Bed Room 2 | 176.4 | 2610 | 33.6 | 109.6 | 411.8 | 124.9 | 590.9 | 0
Master Room | 117.6 | 2610 | 33.6 | 52.8 | 411.8 | 149.8 | 662.5 | 0
Living Room | 470.4 | 2610 | 134.4 | 87.8 | 729.0 | 120.5 | 653.4 | 0
Dining Room | 470.4 | 2610 | 84 | 71.2 | 435.2 | 203.5 | 0 | 0
Guest Room | 882 | 2610 | 100.8 | 13.4 | 729.0 | 202.3 | 1065.4 | 0
Corridors | 117.6 | 2610 | 16.8 | 0 | 0 | 87.7 | 0 | 0

## Slide 17: The Total Cooling Load
Rooms | Q Total (watt) | Q Total (cfm) | Number of Grills
Kitchen | 4339.2 | 595.9 | 2
Bed Room 1 | 4002.2 | 457.4 | 2
Bed Room 2 | 4057.2 | 463.7 | 2
Master Room | 4038.1 | 461.5 | 2
Living Room | 4805.5 | 549.2 | 3
Dining Room | 3874.4 | 442.8 | 2
Guest Room | 5602.9 | 640.3 | 3
Corridors | 2832.1 | 323.7 | 2
Total |  | 3834.4 | 19

## Slide 18: Duct Design
Efficient and well-designed duct systems distribute air properly throughout your home without leaking to keep all rooms at a comfortable temperature. The system should provide balanced supply and return flow to maintain a neutral pressure within the house.

## Slide 19: Duct Design
Duct design for the Kitchen in the first apartment (fourth floor) .
Duct section | V (m^3) | v (m^2) | A | D | H | W
Kitchen FCU-1S | 0.1808 | 5 | 0.04 | 0.2 | 150 | 250
Kitchen FCU-1R | 0.1808 | 5 | 0.04 | 0.2 | 150 | 250
Kitchen FCU-2S | 0.1808 | 5 | 0.04 | 0.2 | 150 | 250
Kitchen FCU-2R | 0.1808 | 5 | 0.04 | 0.2 | 150 | 250

## Slide 20: Heating losses
Heat is lost from a residential home mainly in two ways: one is conduction through the walls, windows, basement floors and the roof; the other is through the replacement of inside air with outside air (air changes).

## Slide 21: Boilers
A boiler is a closed vessel in which water or other fluid is heated. The heated or vaporized fluid exits the boiler for use in various processes or heating applications.

## Slide 22: Hot water heating system
In a hot water (hydronic) heating systems, water is heated in a gas, oil, or electric boiler and circulated through pipes to convectors; older systems use radiators. When the thermostat calls for heat, a "circulator pump" in the boiler return line moves water through the pipes to the convectors, which give up heat to the rooms. When the circulator is not pumping, a "flow-control valve" stops the water flow to protect the convectors from overheating, older gravity systems have no circulator pumps and depend on lighter, heated water rising in the pipes to the radiators; and cooler, heavier water gravitating back to the boiler.

## Slide 23: Piping Piping of the Bed Room in the first floor (second apartment)
Lines | Q(KW) | M (L/S) | P/L | D(mm)
Bed Room FCU-1S | 8.9 | 0.09 | 245 | 20
Bed Room FCU-1R | 8.9 | 0.09 | 245 | 20
Bed Room FCU-2S | 8.9 | 0.09 | 245 | 20
Bed Room FCU-2R | 8.9 | 0.09 | 245 | 20

## Slide 24: Fire Alarm System
Fire Protection
Fire protection is the study and practice of mitigating the unwanted effects of fires[1]. It involves the study of the behavior, compartmentalisation, suppression and investigation of fire and its related emergencies, as well as the research and development, production, testing and application of mitigating systems.

## Slide 25: Residential plumbing
Types of residential hot water piping/plumbing systems including green plumbing layouts, looped piping, branched piping and combinations.
Generally there are two basic types of residential plumbing or piping systems layouts found in typical residential piping; series plumbed and branched. There are of course, many variations and combinations of the two types.

## Slide 26: Introduction to pumps
A pump is a device used to move fluids, such as liquids or slurries, or gases. A pump displaces a volume by physical or mechanical action. One common misconception about pumps is the thought that they create pressure. Pumps alone do not create pressure; they only displace fluid, causing a flow. Adding resistance to flow causes pressure. Pumps fall into five major groups: direct lift, displacement, velocity, buoyancy and gravity pumps. Their names describe the method for moving a fluid.

## Slide 27: Plumbing Water system design
Fixture | Number of fixture in all building | Weights of water in (F.U) | Number of units
Water closets | 27 | 10 | 270
Lavatories | 27 | 2 | 54
Bath tub | 17 | 2 | 34
Kitchen sink | 10 | 2 | 20

## Slide 28: Drainage
Fixture | Number of Fixture in all building | Drainage value (F.U) | Number of Units
Water closets | 27 | 4 | 108
Lavatories | 27 | 1 | 27
Shower | 1 | 2 | 2
Kitchen sink | 10 | 2 | 20