## Slide 1: Design of a Wastewater Collection Network for Tell Village – Nablus Governorate By: Bara Rehan Under supervision of: Dr. Mohammad Almasri Fall 2021

## Slide 2: OUTLINE
INTRODUCTION
OBJECTIVES
STUDY AREA
METHODOLOGY
DESIGN
RESULTS
CONCLUSIONS & RECOMMENDATIONS

## Slide 3: INTRODUCTION

## Slide 4: OBJECTIVES
Design of a wastewater collection network for Tell Village and estimate its cost

## Slide 5: STUDY AREA
Study Area
A
C
D
Location
Population
Topography
B
E
Water
Situation
Climate

## Slide 6: LOCATION

## Slide 7: Topography

## Slide 8: POPULATION

## Slide 9: CLIMATE

## Slide 10: WATER SITUATION

## Slide 11: WATER SITUATION
Total Length 8230 m

## Slide 12: METHODOLOGY
Define the Problem
Select Study Area
Data collection
Software Programs
Design WWCN
Estimate WWCN

## Slide 13: DATA COLLECTION
CONTOUR picture

## Slide 14: DATA COLLECTION
AIRIAL PHOTO

## Slide 15: SOFTWARE PROGRAMS
SewerCAD Program
The modeling software compiler can consider Manning Equation in its computation algorithm Manning Equation:
Manning Equation: V=(R^(2/3) √s)/n Where:
V = velocity (m/s)
n = coefficient of roughness (Dimensionless)
R = hydraulic radius (m)
S = slope of the energy grade line (m/m).

## Slide 16: DESIGN
Allocating the manholes location on the aerial photos and master plan using ArcGIS.

## Slide 17: DESIGN
Importing the final manholes location into the SewerCAD by using ModelBuilder Tool.

## Slide 18: DESIGN
Connecting the conduits between the manholes in SewerCAD.

## Slide 19: DESIGN
Defining the manholes and conduit characteristics and assigning the load on each manhole by principals of equally distribution.

## Slide 20: DESIGN
Assigning the design constraints that will be used in our design as the following:

## Slide 21: DESIGN
The village was divided into two parts (eastern and western). The eastern part was taken to be designed in this stage.

## Slide 22: RESULTS
Manhole depths

## Slide 23: RESULTS
Velocity

## Slide 24: RESULTS
Slope

## Slide 25: RESULTS
Sewerage Network Quantities Estimation
Earthwork: excavation, Backfilling, Reinstatement.
Pipe works: delivery and installation counduits.
Manhole concrete works: delivery and installation manhole structure.

## Slide 26: Sewerage Network Quantities Estimation

## Slide 27: CONCLUSION & RECOMMENDATION
Sarra WWTP
Discharge point

## Slide 28: Thank You