## Slide 1: Integrated Re-Design of the United Motor Trade Company in Nablus
Prepared by: Supervised by:
Noor Barahmeh. Eng. Haitham Sawalha.
Wa’d Bustami.
Zaina Abu-Salameh.

## Slide 2
Quantity surveying
Site analysis
Architectural design
Structural design
Environmental design
Electrical design
Mechanical design
Outline

## Slide 3: Site analysis
Located in Bait-Iba 4.7m away from Nablus city
Land area = 6,800 m2
Building area = 3,000 m2
Surrounding
Parking

## Slide 4: Site analysis
Movement

## Slide 5: Architectural design
Ground floor plan
First floor plan

## Slide 6: Architectural design
Second floor plan

## Slide 7: Architectural design
South Elevation

## Slide 8: Architectural design
East Elevation and West elevation

## Slide 9: Architectural design
North Elevation

## Slide 10: Architectural design
Section A-A

## Slide 11: Architectural design
Section B-B

## Slide 12: Architectural design
Section C-C

## Slide 13: Structural design
Reinforced concrete structure
Steel structure ( Truss system)

## Slide 14: Structural design
Codes:
ACI 318-14
UBC – 97
f’c = 24 MPa
Fy = 420 MPa
Floor height = 6 m
Maximum span length = 14.12 m

## Slide 15: Structural design
Floor/Load | SD (kN/m2) | Live(kN/m2)
Ground floor slab | 4 | 5
First floor slab | 4 | 3
Gravity loads
Beam/Load | SD (kN/m)
External beams under stone wall | 25
External beams under almost curtain wall | 15
Nablus city with a zone factor equals 0.2
The soil type is SE which is soft soil. (250 kN/m2 soil bearing capacity).
Over strength factor, R=5.5 (for sway intermediate concrete frame structure).
Period (T) equals Ct × building height3/4 =0.0488×123/4= 0.315 second.
Importance factor (I) equals 1
Response spectrum scale factor= (g×I)/R=1784.
Lateral loads

## Slide 16: Structural design
Manual checks
Compatibility check
Equilibrium check
Internal forces check ( columns, slabs, beams)
Deflection check
Period check
Drift check
Base shear check

## Slide 17: Structural design
Two way waffle slab
Thickness = 50 cm
Shear check :
no shear  3Ø10 per m in rib

## Slide 18: Structural design
Moment design
As = 3Ø12
As shrinkage = 3Ø8/m

## Slide 19: Structural design
Columns’ groups and reinforcement

## Slide 20: Structural design
Sections for columns

## Slide 21: Structural design
Beams design
- Frame B1-B5 as a sample
Name | Depth (cm) | Width (cm)
B1 | 60 | 35
B5 | 80 | 60

## Slide 22: Structural design
Footing design
Isolated footings are used:
Punching shear check
Wide shear check

## Slide 23: Structural design
Footings’ reinforcement summery
Name | Width (m) | Length (m) | Depth (m) | Bars number parallel to L | Bars number parallel to W
F1 | 4.5 | 4.5 | 1 | 28ø18 | 28ø18
F2 | 3.6 | 3.5 | 0.7 | 22ø16 | 25ø16
F3 | 2.4 | 2.4 | 0.45 | 10ø16 | 10ø16
F4 | 2.6 | 2.5 | 0.45 | 15ø16 | 13ø16
F5 | 1.9 | 1.9 | 0.4 | 7ø16 | 5ø14
F6 | 1.5 | 1.4 | 0.4 | 5ø14 | 3ø14
F7 | 3.3 | 3.3 | 0.55 | 19ø18 | 19ø18
F8 | 2.7 | 2.6 | 0.5 | 12ø16 | 14ø16

## Slide 24: Structural design
Ramp design
Name | Load kN/m2
SD | 1
Live | 5
-One way solid slab was used Thickness: 25cm.
Reinforcement : 5∅ 12mm/m
-Loads

## Slide 25: Structural design
Ramp results
Columns:
5 Circular columns (50 cm diameter).
Reinforcement: 1016
Beams:
4 Main drop beams (80×30cm).
1 hidden secondary beam (25×25 cm).

## Slide 26: Structural design
Code :
AISE 2010
Materials
Steel A36 , fu 245 MPa
Steel A325 Type N,
Structure height = 2.8 m
Steel coverage roof

## Slide 27: Structural design
Load | walls | Roof (edge) | Roof (center)
D.L (kN/m) | 2.098 | 1.05 | 2.098
L.L (kN/m) | 1 | 1.95 | 3.9
W.L (kN/m) | 0.5 | 1.17 | 2.34
S.L (kN/m) | 2.1 | 4.1 | 8.19
Member | Section (inch)
Top members | HSS 773/16
Bottom members | HSS 771/8
Post members | HSS 221/8
Inclined members | HSS 643/16
Steel bracing | HSS 331/8
Steel columns | HSS 1861/4
Member | Section (inch)
Top members | 
Bottom members | 
Post members | 
Inclined members | 
Steel bracing | 
Steel columns | 
Sections and loads

## Slide 28: Structural design
Deflection check
Yielding check
Local buckling check
Compression member check
Manual checks

## Slide 29: Structural design
Connection design
- Bearing failure
- Tear out failure

## Slide 30: Environmental design
Daylighting
Daylight Factor
Shading
Acoustics
RT60
Noise control
Background noise
Thermal
Temperatures
System Loads
Comfort Curves

## Slide 31: Environmental design
Daylighting (the gallery building)

## Slide 32: Environmental design
Daylighting (the offices building)

## Slide 33: Environmental design
Zone | Actual DF % | Standard DF % | Comply/Not comply
Show room | 2.61 | (2.5-4) | Comply
Main manager office | 2.74 | (1.5-2.5) | Comply
Office | 2.40 | (1.5-2.5) | Comply
Meeting room | 2.89 | (1.5-2.5) | Comply
Multipurpose room | 6.50 | (2.5-4) | Comply
Cafeteria | 2.60 | (2.5-4) | Comply
Daylight factor for selected spaces

## Slide 34: Environmental design
Shading
Horizontal louvers on the main elevation
2mm thickness, 30 cm depth, 0.5 m vertical spacing and 30 angle
External louvers for the steel coverage roof
10 mm thickness, 1 m length, 1.5 horizontal spacing and 30 angle

## Slide 35: Environmental design
Acoustical analysis ( )
Frequency | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz
(Ceiling: Acoustical tile) | 0.40 | 0.50 | 0.50 | 0.60 | 0.55 | 0.45
(Floor: Ceramic) | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02
(Walls: Painted Plaster) | 0.1 | 0.05 | 0.06 | 0.07 | 0.09 | 0.08
(Glass: Double Glass) | 0.1 | 0.05 | 0.03 | 0.03 | 0.02 | 0.02
RT60 (Sec.) (0.85-1.7) | 1.32 | 1.24 | 1.36 | 1.19 | 1.25 | 1.43
Frequency | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz
 | 0.40 | 0.50 | 0.50 | 0.60 | 0.55 | 0.45
 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02
 | 0.1 | 0.05 | 0.06 | 0.07 | 0.09 | 0.08
 | 0.1 | 0.05 | 0.03 | 0.03 | 0.02 | 0.02
RT60 (Sec.) (0.85-1.7) | 1.32 | 1.24 | 1.36 | 1.19 | 1.25 | 1.43
and for the gallery building

## Slide 36: Environmental design
Frequency | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz
(Ceiling: Acoustical tile) | 0.40 | 0.50 | 0.50 | 0.60 | 0.55 | 0.45
(Floor: ceramic) | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02
(Walls: Painted Plaster) | 0.1 | 0.05 | 0.06 | 0.07 | 0.09 | 0.08
(Glass: Double Glass) | 0.1 | 0.05 | 0.03 | 0.03 | 0.02 | 0.02
RT60 (Sec.) (0.4-0.7) | 0.58 | 0.58 | 0.52 | 0.54 | 0.41 | 0.40
Frequency | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz
 | 0.40 | 0.50 | 0.50 | 0.60 | 0.55 | 0.45
 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02
 | 0.1 | 0.05 | 0.06 | 0.07 | 0.09 | 0.08
 | 0.1 | 0.05 | 0.03 | 0.03 | 0.02 | 0.02
RT60 (Sec.) (0.4-0.7) | 0.58 | 0.58 | 0.52 | 0.54 | 0.41 | 0.40
and for the offices building

## Slide 37: Environmental design
for the gallery building
for the offices building

## Slide 38: Environmental design
Noise control
Component | STC (dB) | Standard (dB)
The Frontal Alucobond Wall. | 50 | (40-55)
The External Stoned Walls. | 51 | (40-55)
The Block Partition wall. | 43 | (40-55)
Component | IIC(dB) | Standard (dB)
Gallery building roof | 78 | >50
Gallery building ceiling | 73 | >50
Offices’ building roof | 71 | >50
Offices’ building ceiling | 69 | >50

## Slide 39: Environmental design
Alucobond Wall
Stoned Wall
Partition

## Slide 40: Environmental design
Gallery’s Roof
Gallery’s Ceiling
Offices’ Roof
Offices’ Ceiling

## Slide 41: Environmental design
Back ground noise
space | Noise | NR | BN | Standard | OK/not ok
Gallery | 73 | 55 | 18 | < 30 | Ok
Manger office | 73 | 55 | 18 | <30 | Ok

## Slide 42: Environmental design
Thermal
Temperatures
Air temperature = 20 °C
Radiant temperature = 17.95 °C
Operative temperature =19 °C
Average RH% = 44.06%

## Slide 43: Environmental design
System loads
- Total heating load = 134.25 kW
- Total cooling load = 301 kW

## Slide 44: Environmental design
Temperatures
RH less 70%
Fanger PMV between (-0.5 - 0.5)
Comfort curves

## Slide 45: Environmental design
Energy consumption = 112.10 kWh/m2
The number of uncomfortable hours based on simple ASHRAE 55-2004 equals 2686 hr./year.

## Slide 46: Electrical design
Sockets distribution
Artificial lighting design
Sound reinforcement system design
Electrical boards distribution

## Slide 47: Electrical design
Sockets distribution
Power sockets distribution
Un-interrupted Power Source (UPS) distribution

## Slide 48: Electrical design
UPS
Power

## Slide 49: Electrical design
Artificial lighting

## Slide 50: Electrical design
Gallery lighting design
Used luminaires
Spots  ( 100-150 ) Lux
Trackers  (700-1000) Lux
LED panels  (500) Lux
Strip (decorative )
Maximum | Minimum | limit
17.2 | 14.3 | 22
Glare
Ceiling | walls | Floor
75% | 50% | 25%
Surface reflection

## Slide 51: Electrical design
Lighting distribution

## Slide 52: Electrical design
Manager office lighting distribution
Used luminaires
LED panels  (500) Lux
Maximum | Minimum | Limit
16.1 | <10 | 19
Ceiling | walls | Floor
85% | 70% | 25%
Surface reflection
Glare

## Slide 53: Electrical design
Luminaires distribution

## Slide 54: Electrical design
Sound reinforcement system design
PRO – 180 RPC – Klipsch Company
θ =
Coverage :

## Slide 55: Electrical design
Electrical boards distribution
Offices ground floor EB

## Slide 56: Mechanical design
Storm water harvesting
HVAC
Fire fighting
Drainage
Water supply
Emergency exits

## Slide 57: Mechanical design
VRV system
Split units
Mechanical fans
HVAC system

## Slide 58: Mechanical design
Gallery HVAC system design
VRV System ( DAIKIN )
Outdoor unit (heat recovery) 30 TR for each floor , connection ration 100%
Indoor unit ( fan coil units connecting with slot units )
Duct sizing
Fresh air fans
Extract air fans
On ground free return diffuser
Refrigeration pipes
Total cooling load in the gallery = 60 kW , 30 kW for each floor

## Slide 59: Mechanical design
Distribution of slot unit and ducts

## Slide 60: Mechanical design
Design of HVAC system for the offices building
VRV system (DAIKIN)
Outdoor unit (heat recovery) 10 TR
Wall mounted indoor unit with different capacity
Refrigerant pipes
Split units

## Slide 61: Mechanical design
Zone | Design Capacity (kW) | TR | Chosen capacity (TR)
GF Offices: Accessories Store | 6.13 | 1.74 | 2
GF Offices: Sales Manager | 2.76 | 0.78 | 1
GF Offices: Sales Department | 4.34 | 1.23 | 1.3
GF Offices: Logic and Parts | 4.58 | 1.30 | 1.3
GF Offices: Service Manager | 1.9 | 0.54 | 0.6
GF Offices: Service Manager1 | 2.04 | 0.58 | 0.6
GF Offices: Service Offices | 3.26 | 0.93 | 1
GF Offices: Accountant | 1.24 | 0.35 | 0.6
First Offices: Financial Manager | 3.03 | 0.86 | 1
First Offices: Accountant | 4.62 | 1.31 | 2
First Offices: Meeting | 2.15 | 0.61 | 1
First Offices: Secretary | 1.27 | 0.36 | 0.6
First Offices: IT Department | 1.91 | 0.54 | 0.6
First Offices: Warranty | 2.01 | 0.57 | 0.6
First Offices: After Sale Department | 3.55 | 1.01 | 1.3
First Offices: After Sale Manager | 1.95 | 0.55 | 0.6
First Offices: Main Manager | 2.75 | 0.78 | 1
Second Offices: Multipurpose hall | 26.22 | 7.46 | 8
Cooling capacity for the offices building

## Slide 62: Mechanical design

## Slide 63: Mechanical design
Design of the workshops ventilation system
Distribution of fresh air fans
Distribution of extract air fan
Ducts
Diffusers
Split units for offices and waiting area

## Slide 64: Mechanical design
Mechanical workshop
Painting workshop

## Slide 65: Mechanical design
Drainage system
2’’ PVC pipes for gray water (2% slope)
4’’ PVC pipes for black water (1% slope)
CPVC pipes for condensed water
UPVC for pipes between manholes

## Slide 66: Mechanical design
Drainage system

## Slide 67: Mechanical design
Storm water harvesting
Minimum slope on roofs =0.7%
The capacity of the underground water tank=630 m3

## Slide 68: Mechanical design
Water supply system
Diameters of water pipes:
Pipe Diameter (in) | Branch | Horizontal | Vertical
Offices | ¾ | 1.25 | 2
Gallery | ¾ | 1.25 | 2
Workshops | ¾ | 1.25 | 1.5

## Slide 69: Mechanical design
Water supply system
35×15 cm water cabinets to simplify the maintenance.
Capacity of the underground water tank =55m3.
(including fire fighting needs)

## Slide 70: Mechanical design
Fire fighting system
Fire suppression using:
  Extinguishers
  Sprinklers
  Hose stations
  FM200
Fire detecting and notification using:
  Smoke detectors
  Flame detectors

## Slide 71: Mechanical design
Fire suppression system
Extinguishers class ‘A’ for offices
Extinguishers class ‘B’ for workshops
Extinguishers class ‘C’ for electrical rooms

## Slide 72: Mechanical design
Fire suppression system
Sprinklers:
Ordinary hazard
Coverage area=37 m2
60 gpm flow rate
28.7 psi pressure

## Slide 73: Mechanical design
Fire suppression system
FM200 system for the electrical and technical rooms.

## Slide 74: Mechanical design
Fire detecting system
Flame detectors for kitchens and smoke detectors for other spaces:
photoelectric style detectors with LED and sound indicating alarms
Coverage area= 25 m2

## Slide 75: Mechanical design
Safety
Emergency signs
Emergency routes

## Slide 76: Quantity surveying
Including:
Excavation and backfilling (186,201 NIS).
Structural work (693,426 NIS).
Architectural finishes (2,603,203 NIS).
Mechanical and electrical works (362,893 NIS).
Total gallery’s cost
= 3,939,223 NIS

## Slide 77: Conclusion
UMT New Design.
Site analysis
Architectural design
Structural design
Environmental design
Electrical design
Mechanical design