## Slide 1
Assessment and Redesign of Nablus municipality
An-Najah National University
Faculty of Engineering & Information Technology
Department of Building Engineering
Graduation Project (2)
Supervisor :Dr. Narmeen Al-Barq
Students:
Ali Darawsheh , Islam Daraghmeh , Moath Zeedan , Nu’man hamed

## Slide 2
Outline :
Project Description.
Architectural Aspects
Environmental Aspects
Structural Aspects
Electro-Mechanical Aspects
Cost estimation

## Slide 3
Description of the project :
Location :
The location of the Nablus municipality, one kilometer west of the Martyrs Square roundabout, according to the photo.

## Slide 4: Architectural aspects
Site Plan
Before redesign

## Slide 5: Architectural aspects
Parking floor

## Slide 6: Architectural aspects
Ground floor plan
First floor plan

## Slide 7: Architectural aspects
Second floor plan
Third floor plan

## Slide 8: Architectural aspects
Fourth floor plan
Roof floor plan

## Slide 9: Architectural aspects
South Elevation
East Elevation

## Slide 10: Architectural aspects
North Elevation
West Elevation

## Slide 11: Architectural aspects
Sections : The levels were modified so that the parking was a height of 2.5 m, the height of the ground floor 4m, and the height of the remaining floors 3m
Section 1-1
Section 2-2

## Slide 12: Architectural aspects
3D model

## Slide 13
Site analysis
Environmental analysis and evaluation
Wind direction : the general direction in our country is from the south-west direction.
The noise: mainly from the street and from the municipality's stadium.
The orientation of building The municipality's address is south-west at an angle of 205 degrees.

## Slide 14
Site analysis
Environmental analysis and evaluation
Sun path the sun moves from east to west passing through the south. Therefor, the south west facade will be the one which exposed the most sun heat.

## Slide 15
Environmental analysis and evaluation
According to the path of the sun, the whole building is exposed to the sun's rays and the reason for that is because the walls are curtain walls, so that Shutters and Louvers were used as a shading system.
Shading system

## Slide 16
Day-light Factor
Environmental analysis and evaluation
Ground floor
First floor

## Slide 17
Solar radiation on the elevation
Environmental analysis and evaluated
North elevation
East elevation

## Slide 18
Solar radiation on the elevation
Environmental analysis and evaluated
South elevation
West elevation

## Slide 19: Daylight factor from Design Builder

## Slide 24
Heating load

## Slide 25
Cooling load

## Slide 28
Time not comfortable for the building = 2939
The total energy for the building = 91.79

## Slide 29: External CFD Top view
External CFD horizontal section

## Slide 30
Internal CFD horizontal section

## Slide 31
General information
Structural analysis
Design code :
American Concrete Institute ACI 318
International Building Code (IBC-2012).
Uniform Building Code (UBC 97)
Materials :
Concrete.
f´c = 24 Mpa.
specific weight of Reinforced concrete (Ɣ) = 25 KN/m³
specific weight of voided (Ɣ) = 1.18 KN/m³
Steel
Fy = 420 Mpa

## Slide 32
General information
Structural analysis
Loads
Live Load= 3 KN/m²
Live Load of parking = 5 KN/m²
Superimposed dead load = 4 KN/m² (assumed)
Weight of Masonry wall = 18 KN/m (assumed)

## Slide 33
Structural element used
Structural analysis
- Slab:
Voided slab with thickness of 42 cm .
- Columns:
The columns are dimensional for :
Block 1 : Interior: (0.9, 0.8), Edge :( 0.6, 0.8), Corner :( 0.5, 0.7)
Block 2 : Interior: (0.4, 0.8), Edge :( 0.4, 0.8), Corner :( 0.4, 0.6)
Block 3 : Interior: (0.25, 0.5), Edge :( 0.25, 0.6), Corner :( 0.25, 0.5)
- Shear walls:
Thickness 30 cm for walls.

## Slide 34
Structural element used
Structural analysis
- Main beams:
The main beams dimensions are assumed to be 0.70m depth and 0.7m width .
- Footing:
Footing used: mat foundation

## Slide 35
The structural layout after redesign The structural layout before redesign

## Slide 36
Structural layout for the building after redesign
Structural analysis
Columns center lines after redesign

## Slide 37: Beam and slab Layout
Parking floor (1)
Parking floor (2)

## Slide 38: Beam and slab Layout
Ground floor
First floor

## Slide 39: Beam and slab Layout
Second floor
Third floor

## Slide 40: Beam and slab Layout
Fourth floor

## Slide 41
Structural ETABS model
Structural analysis
Figure :3D model from ETABS

## Slide 42
ETABS checks
Structural analysis
All checks will be done to make sure that the work was done properly
according to ACI which is :-
Deflection check.
Compatibility check.
Equilibrium check.
Internal forces check.

## Slide 43: Deflection check:
Critical span length =13.05m
Deflection limit (Δ) = = 54.375 mm
From ETAB Deflection = Uz = 13 mm
The deflection in slab does not exceed the limit.

## Slide 44
Compatibility check
Compatibility check was done on ETAB, all element are moving together.

## Slide 45
Equilibrium check
Table :Base reactions from ETAB
Loads | ETABS (KN) | Parts | Manual | %Error
Live | 31480.51 | Slabs | 32371.65 | 2.83%
SID | 45952.588 | Slabs | 33,264.71 | 
 |  | Wall | 13,611.60 | 
 |  | Total | 46,876.31 | 2.01%
Dead | 94130.2 | Slabs | 50055.47 | 
 |  | Columns | 6035 | 
 |  | Beams | 14334.4 | 
 |  | Shear walls | 20269 | 
 |  | Total | 90693.87 | 3.65%
Table :Equilibrium check

## Slide 46
Internal forces check
Column 5:
From ETAB ultimate axial force = 13418.1067 KN.
Column weight =567 KN.
Slab weight = 10367.28 KN.
Beam weight = 1947.46 KN.
Total manual = 12881.74 KN.
% error = 3.997% < 10% … Ok

## Slide 47
Moment from ETAB = 404.605 KN.m.
Manual:
Moment (form beam) = 97.98 KN.m
Moment (form external walls) = 116.64 KN.m
Moment (form slab) = 206.99 KN.m
Avg. = 421.6147 KN.m
% error = 4.2% < 10% … Ok
Beam:

## Slide 48
Seismic design
Seismic loads will be calculated depending on IBC-2012 and UBC-97 codes
Project location in (Nablus), Soil bearing capacity = 200 KN/m2
Seismic zone is 2B, the value of zone factor (Z=0.2)
Soil profile type : SC
I = 1
R = 5.5
Cv = 0.32
Ca = 0.24
Period check:
T = 0.59 sec.
T limit = 1.4 * T = 1.4 * 0.59 = 0.831 sec.
period check is ok

## Slide 49
Drift check:
According to the UBC code the max drift check ΔM (drift) = 0.7 * R * ΔS
Drift allowable = 0.02 * story height.
Drift check is ok.
Base shear check:
49
Error = 0.433 % < 1% , check is ok.

## Slide 50: Slabs Design:
Voided slab with thickness 42 cm
Stair slab for block 1 with thickness 25 cm
Stair slab for block 2 with thickness 25 cm

## Slide 51
Reinforcement of Voided slab:
Second Basement Floor slab
first Basement Floor slab

## Slide 52
Reinforcement of Voided slab:
Ground Floor slab
First Floor slab

## Slide 53
Reinforcement of Voided slab:
Second Floor slab
Third Floor slab

## Slide 54
Reinforcement of Voided slab:
Fourth Floor slab

## Slide 55
Reinforcement of Stair slab:
Stair slab

## Slide 56
Beams Design
Steel Reinforcement of beams for basement frames :-

## Slide 57
Beams Design
Steel Reinforcement of beams for basement frames :-

## Slide 58
Beams Design
Steel Reinforcement of beams for Ground Floor frames :-

## Slide 59
Detailing for cross- section of the Frame

## Slide 60
Columns Design
Design of column 1:
Dimensions: 700mm * 500mm
ρ = 0.01
As = ρ * Ag = 0.01 * 700 * 500 =3500mm2.
Use 14 Ø 18 .
Use stirrups 2 Ø 10mm/15 cm.

## Slide 61
Design of columns 2 - 9:

## Slide 62
Design of the stairs
Load on slab = (1.2D+1.6L)
DL = 5 KN/m2.
LL = 3 KN/m2.
SID = 4 KN/m2.
Load on slab = 15.6 KN/m2.
Figure : Stairs plan
Figure : Section in the stairs (Section A-A)

## Slide 63
Design of retaining wall
Unit weight of concrete (ɣ concrete) = 25 KN/m3.
Unit weight of soil (ɣ soil) = 18 KN/ m3.
Friction angle of soil = 35 ̊.
Bearing capacity of soil = 200 KN/.
Figure : Results from Prokon program
Figure : Reinforcement of retaining wall

## Slide 64
Design of shear walls:
Vertical reinforcement:-
As = (44659/34.809) = 1282.97 mm2 /m
As = 7 Ø 16/m
Horizontal reinforcement:-
As = 1042.80mm2 /m
As = 7 Ø 14/m
Table : area steal of shear wall from ETABS program
Table : shear design of shear wall from ETABS program

## Slide 65
Figure : Reinforcement of shear wall (Horizontal section)
Figure : Reinforcement of shear wall (vertical section)
Design of shear walls:

## Slide 66
Design of water tank
Materials properties for underground water tank design:
Concrete compressive strength = 24 MPa.
Unit weight of soil = 18 KN/m3.
Soil friction angle = 35 ̊.
Bearing capacity of soil = 200 KN/m3.
Assumptions for the water tank:
ACI design code.
Water tank dimensions (6m width, 5m length, 2.9m height).
Not a supporting roof.
The water height in water tank equals 2.4m.
Rectangular water tank.
H = 2.9m and L = 6m.
(L / H) = (6 / 2.9) = 2.06 > 2 Shallow Tank
Location of water tank
66

## Slide 67
Element | Bars # Ø db | Length of bare (M)
Wall-H (inter) | 8 Ø 12 | 7.33 & 8.33
Wall-H (out) | 7 Ø 12 | 7.40 & 8.40
Wall-V (inter) | 8 Ø 14 | 4.10
Wall-V (out) | 7 Ø 12 | 4.10
Water tank reinforcement:
Horizontal section for water tank
Vertical section for water tank
67

## Slide 68
Footing design
Soil bearing capacity (q all) = 200 KN/m2.
Concrete compressive strength = 28 MPA.
Density of concrete = 25 KN/m3.
Density of soil = 18 KN/m3.
Footing layout
Such that:
68
In this project mat foundation was used

## Slide 69
Mat foundation reinforcement:
69

## Slide 70
Mat foundation reinforcement:
70

## Slide 71
Solve Punching shear by Droop panel:
71
Droop panel reinforcement use 11 Ø 14
The dimensions of droop panel
2*2*1.20 & 2.5*2.5*1.20

## Slide 72
Solve shear force by Studs reinforcement:
72
use 1 studs Ø 12 @ 300mm

## Slide 73
73
Section in Mat foundation reinforcement:

## Slide 74
74
Sheet Pile design:

## Slide 75
75
Sheet Pile design:
Dimensions the sheet pile:
Length 14.40 m and diameter 80cm
The space between sheet piles 40 cm
reinforcement sheet piles 30 Ø 22
And stirrups 1 Ø 12 / 9.5cm spring

## Slide 76: Electrical & Lighting system
51

## Slide 77
The electrical load of power, lighting and elevator in the building
77

## Slide 78: Main distribution board in the building

## Slide 79: Sample of Secondary distribution board for ground floor:

## Slide 80
Sample of calculation for power Second floor:
80

## Slide 81
Sample of calculation for lighting Second floor:

## Slide 82: Power & Distribution socket in ground floor
82

## Slide 83: Power & Distribution socket in first floor
83

## Slide 84: Power & Distribution socket in second floor
84

## Slide 85: Power & Distribution socket in third floor
85

## Slide 86: Power & Distribution socket in forth floor
86

## Slide 87
87
Sample of design lighting by DIALux evo for second floor:

## Slide 88: Distribution luminaries in ground floor
88

## Slide 89: Distribution luminaries in first floor
89

## Slide 90: Distribution luminaries in second floor
90

## Slide 91: Distribution luminaries in third floor
91

## Slide 92: Distribution luminaries in forth floor
92

## Slide 93: Distribution luminaries in first basement floor
93

## Slide 94: Distribution luminaries in second basement floor
94

## Slide 95
The selected Luminaires
Artificial lighting
95

## Slide 96: Acoustical Design
The spaces that were designed acoustically in the Municipality
1) Tenders office
2) Tourism office
3) manger office
4) Studies office
5) Landscaping office
6) Multi-purpose Hall
The absorption coefficient for the used material

## Slide 97: Reverberation time (RT60): 1)The reverberation time for the Tenders office according to sabine 2)The reverberation time for the Tourism office according to sabine

## Slide 98
Reverberation time (RT60): 3)The reverberation time for the manger office according to sabine 4)The reverberation time for the Studies office according to sabine

## Slide 99
Reverberation time (RT60):
5) The reverberation time for the Landscaping office according to sabine

## Slide 100
6) Multi-purpose Hall
Figure : model for Multi-purpose Hall
Figure : decibel for E-3000
Loud speaker for Multi-purpose Hall :-

## Slide 101
Table : standard values for Multi-purpose Hall
Table : important values from ease program

## Slide 102
Sound Transmission Class (STC)
STC for internal partition :-

## Slide 103
STC for External wall :-
Figure :STC for external wall without window
Figure :STC for window
Figure : STC for external wall

## Slide 104
impact insulation class (IIC) for the floor :-
impact insulation class (IIC)

## Slide 105: Mechanical system:
Mechanical systems include water drainage system, water supply system, rainwater drainage system, firefighting system and HVAC system.
Water supply system:
The components use in the water system:
Water tank.
Pipes (galvanized iron, PVC), Red for hot water and blue for cold water.
Valves.
Collector.

## Slide 106
water supply system for ground floor
water supply system for first floor
106

## Slide 107
water supply system for second floor
water supply system for third floor
107

## Slide 108
water supply system for fourth floor
108

## Slide 109
The distribution of the water tank on the roof
109

## Slide 110: Firefighting system:
110
List of symbols:

## Slide 111
Firefighting extinguisher and distribution of the sprinklers in the Ground Floor.
111
Firefighting extinguisher and distribution of the sprinklers in the first Floor.

## Slide 112
Firefighting extinguisher and distribution of the sprinklers in the second Floor.
112
Firefighting extinguisher and distribution of the sprinklers in the third Floor.

## Slide 113
Firefighting extinguisher and distribution of the sprinklers in the fourth Floor.
113

## Slide 114
Fire Detectors in the first floor
Fire Detectors in the ground floor
114

## Slide 115
Fire Detectors in the third floor
Fire Detectors in the second floor
115

## Slide 116
Fire Detectors in the fourth floor
116

## Slide 117
Drainage system for ground floor:
Drainage system
117
Drainage system for first floor:

## Slide 118
Drainage system for second floor:
Drainage system
118
Drainage system for third floor:

## Slide 119
Drainage system for fourth floor:
Drainage system
119

## Slide 120
Sewer fixture units(dfu)/slope/size-for Ground Floor
dfu in the whole building.
120
Sewer fixture units(dfu)/slope/size-for first Floor

## Slide 121
Sewer fixture units(dfu)/slope/size-for second Floor
121
Sewer fixture units(dfu)/slope/size-for third Floor
Sewer fixture units(dfu)/slope/size-for fourth Floor

## Slide 122
The path of the Black and Gray water from the building to the municipality’s manholes.
122
Both gray and black water will be collected in pipes that- pass through the bottom of the ground floor (specifically, the roof of the first basement floor-as shown in the figure-) and then diverted to the municipality's manholes

## Slide 123
Rainwater (Storm Water):
123
The Rainwater (Storm water) that will be stored in the underground water tank, then it will be pumped

## Slide 124
Rainwater (Storm Water):
124
The location of the underground water tank which will store the rainwater in it.

## Slide 125: HVAC system
AHU unit
Rounded duct
Air terminal unit
Diffuser
The HVAC system used VAV system

## Slide 127: Quantity Surveying and Cost Estimation:
The total cost of the project is 19594868.72 ILS and the total area of the project is 9111.09 m2 which means that the total unit cost per m2 is 2150.66 LIS/ m2, while in graduation project 1 the unit cost was 3021.6 ILS/m2.
%error equals 28.8% in the unit cost.
127
Chart: 
| SecondBacement work | First Bacement work | Ground floor work | First floor work | Second floor work | Third floor work | Forth floor work | Finishing work
 | 5519256.8508 | 1382123.4984 | 1059031.2924 | 843758.8884 | 784862.676 | 783484.056 | 2657924.928 | 6564426.5268

## Slide 128
Thank You