## Slide 1
A stand alone PV system design in
remote area in Hebron
Prepared by :Ruqayya Imran
Supervisor :Tamer khatib

## Slide 3: Previous results
Load estimation
Total Ah for all houses = 908.3576 Ah/day
Load profile

## Slide 4: System layout

## Slide 5: Circuit diagram

## Slide 6
Item | Description | Specification | Unit price (USD) | Quantity | Total price (USD)
1 | PV modules | 320 Wp | 170 | 44 | 7480
2 | Battery | 12V , 100Ah | 195 | 56 | 10920
3 | Inverter | 8 KW , 48V | 3690 | 2 | 7380
4 | DC cables solar type 16 mm2 cross section |  | 2.25 | 60 m | 135
5 | AC cables solar type 10 mm2 cross section |  | 2 | 132 | 264
6 | DC CB | 80A | 132 | 2 | 264
7 | AC CB | 63 A | 94 | 2 | 188
8 | DC fuse | 80A | 54 | 4 | 216
9 | AC fuse | 63A | 30 | 2 | 60
10 | DC surge protection |  | 63 | 2 | 126
11 | AC surge protection |  | 45 | 2 | 90
12 | PV module KWh meter panel |  | 56 | 1 | 56
13 | Generation KWh meter panel |  | 26 | 5 | 130
14 | Mounting structure |  | 2728 |  | 2728
15 | Complete system installation and operation |  | 1100 | 1 | 1100
16 | DC Electrical Panel |  | 45 | 1 | 45
17 | AC Electrical Panel |  | 45 | 1 | 45
18 | System grounding |  | 400 | 1 | 400
 |  |  |  |  | 31647
Cost analysis

## Slide 7: simulation

## Slide 8: Decentralized system
Chart: load profile 1
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Ah/day | 1.3636 | 1.3636 | 1.3636 | 1.3636 | 1.9086 | 1.9086 | 5.9086 | 8.3756 | 9.7866 | 3.9426 | 7.4506 | 1.8176 | 1.8176 | 6.8496 | 20.9016 | 17.1516 | 17.1516 | 17.6966 | 17.6966 | 17.6966 | 17.6966 | 15.9926 | 1.3636 | 1.3636 | 1.3636
Chart: load profile 3
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
total Ah/day | 1.3636 | 1.3636 | 1.3636 | 1.3636 | 1.9086 | 1.9086 | 5.9086 | 8.3756 | 9.7866 | 3.9426 | 7.4506 | 1.8176 | 1.8176 | 6.8496 | 20.9016 | 17.1516 | 17.1516 | 17.6966 | 17.6966 | 17.6966 | 16.9016 | 15.5386 | 1.3636 | 1.3636 | 1.3636
Chart: load profile 4
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Ah/day | 1.3636 | 1.3636 | 1.3636 | 1.3636 | 1.9086 | 1.9086 | 1.8306 | 6.2336 | 7.0126 | 1.3636 | 5.0156 | 1.3636 | 1.3636 | 6.7716 | 16.3566 | 17.1516 | 17.1516 | 16.9016 | 16.9016 | 16.9016 | 16.9016 | 1.3636 | 1.3636 | 1.3636 | 1.3636
Chart: load profile 5
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Ah/day | 1.3636 | 1.3636 | 1.3636 | 1.3636 | 1.9086 | 1.9086 | 6.3894 | 1.3636 | 1.8826 | 1.3636 | 1.3636 | 1.3636 | 1.3636 | 2.5055 | 15.4476 | 16.3566 | 16.3566 | 16.9016 | 16.9016 | 16.4476 | 15.5386 | 1.3636 | 1.3636 | 1.3636 | 1.3636

## Slide 9: System layout

## Slide 10: Circuit diagram
House 1, 2 and 3

## Slide 11
Item | Decentralized | >< | centralized
PV module | 340 | > | 
Battery | 90 | > | 
Inverter | 4210 | > | 
DC cable |  | < | 71.75
AC cable |  | < | 220.5
DC .CB | 320 | > | 
AC .CB |  | < | 88
DC fuses | 126 | > | 
AC fuses |  | < | 45
DC surge arrester | 189 | > | 
AC surge arrester | 510 | > | 
PV module KWh meter | 224 | > | 
Generation Kwh meter |  | < | 130
Steel structure | 124 | > | 
DC electrical panel | 180 | > | 
AC electrical panel | 180 | > | 
Discussion