## Slide 1: Power Plant Cycle
Done by :
Karam Zerie
Abdallah Kmail
Osama Yamin
Supervised by :
Dr. Salameh Abd Alfatah

## Slide 2: What are the methods of generating electric energy ?
Wind Energy
Solar Energy
Energy from dams
power plant energy

## Slide 3: What is a power plant cycle?
An industrial way to generate electricity
One of the most important sources of energy generation in the world

## Slide 4: Objective
The main goal of this project is to provide an electric power from different types of fuels
choose the best fuel that provides the most efficiency.
It may be through the disposal of waste which is a fuel.
Using the system for university study .
Reducing pollution by isolating the system .
It can work to make the system on a larger scale .

## Slide 5: Components of Power Plant Cycle :
Pump
Boiler
Turbine
Condenser

## Slide 6: Pump
A suitable pump has been selected for this project so that it meets the right requirement specifications
It gives high head (high pressure) and low flow rate.
The specifications of this pump are flow rate of 4.0 L/min and maximum pressure of 0.6 MPa.

## Slide 7
Boiler
STEP 1
STEP 2
STEP 3
FINAL STEP

## Slide 8
Turbine
The type of this turbine is a steam turbine.
connected with electrical generator to generate electricity.
used in a small scale for experimental purposes.

## Slide 9
Condenser
Bad condenser has a leak problem
Good condenser
The condenser converts the water from vapor phase to liquid phase after coming out from the turbine .
This condenser has been obtained from an air conditioner that used in cars.

## Slide 10
Tools that have been used in this project
Pipes that resist high pressure and temperature
Pipes conversions
Fasteners
Pressure and temperature gauges
Small car battery

## Slide 11
T-S Diagram
Pump : Compression of the fluid to high pressure using a pump (this takes work) (Steps 1 to 2).
Boiler : The compressed fluid is heated to the final temperature (which is at boiling point), therefore, a phase change occurs—from liquid to vapor. (Steps 2 to 3).
Turbine : Expansion of the vapor in the turbine. (Steps 3 to 4).
Condenser : Condensation of the vapor in the condenser (where the waste heat goes to the final heat sink (the atmosphere or a large body of water (ex. lake or river). (Steps 4 to 1).

## Slide 12
Limitation

## Slide 13: Result & Analysis :
Efficiency (%) | Wp(KW) | Wt(KW) | q o (KW) | q in (KW) | Fuel type
19.3 | 0.174 | 5.87 | 26.6 | 29.5 | Natural gas
18.13 | 0.174 | 5.2 | 24.68 | 27.73 | wood
18.7 | 0.174 | 5.54 | 25.2 | 28.57 | coal
Table 1: The data of the cycle using 3 used fuels

## Slide 14
Power Plant Simulation
Software : DWSIM
Working fluid : R245fa
Property package : Steam tables
Draw the system : Pump, Boiler, Turbine, Condenser, 4 streams, 4 energy flows.
System condition : Inlet at 1= 2bar,
Pump = 6bar, Boiler = 350 KW

## Slide 15
Some of the results that have been obtained from the simulation
The efficiency of the cycle cane be calculated from this equation:

## Slide 16
Case1 : Efficiency vs mass flowrate using gas, coal and wood respectively

## Slide 17: Future Work

## Slide 18: Conclusion :
A certain amount of water must be used .
Efficiency of gas, coal and wood was 19.3% , 18.7% and 18.13% respectively so the amount of heat released was the best in gas fuel.
Rankine cycle was the best because :
it works without large temperature difference between heat source and steam.
It works without pressure losses.
It increases the thermal efficiency.

## Slide 19
Any Question ?