## Slide 1: Integrated Design Of Beauty Center & Wedding Hall
Prepared by :
Amal Fawaz Abu – Diak Lamees Nasasrah
Sama Suhail Abu- Dhair Tamara Balalem
Supervisor :
Dr.Monther Dweiakt
An-Najah National University
Faculty of Engineering & Information Technology
Department of Building Engineering
بسم الله الرحمن الرحيم

## Slide 2: Outline
Architectural Design
Environmental Design
Structural Design
Mechanical And Safety Design
Quantity Survey And Cost Estimation
Electrical Design

## Slide 3: Architectural Aspects
Slide 1

## Slide 4
Site Analysis
.

## Slide 5: Site Analysis
Slide 1
مدرسة الكندي
المستشفى الوطني
الموقع
Nablus City

## Slide 6: Site Analysis
Slide 1
Total Area = 2780 m2

## Slide 7
Slide 1
.
Architectural
Requirements

## Slide 8: Architectural Requirements
Slide 1
.
Beauty Center Part.
Wedding Hall Part.
A Link Between The Beauty Center & The Wedding Hall
Parking.

## Slide 9: Architectural Requirements
Slide 1
1. Beauty Center
It Designed To Contain A Section For Beauty, And A
Section For Physical Therapy
&
A Link With The Wedding Hall

## Slide 10: Architectural Requirements
Slide 1
Beauty Center

## Slide 11: Architectural Requirements
Slide 1
2. Wedding Hall
It Designed To Contain :
The Main Hall
The Men Hall
Services.
Manager Area
Photography area

## Slide 12: Architectural Requirements
Slide 1
Wedding Hall

## Slide 13: Architectural Requirements
Slide 1
3. Parking
It Designed To Accommodate The Attendants
For Every 20 m2 ---- > 1 Parking
Achieved ---- > 76 Parking

## Slide 14
The Design Phase
Slide 1
.

## Slide 15: Architectural Design
Site Plan
Slide 1

## Slide 16: Entrances
Slide 1
Parking
Beauty Center
MEN Hall
Main Hall

## Slide 17: Architectural Design
Ground
Floor
Plan
Slide 1

## Slide 18: Architectural Design
Slide 1
Total Area
=
2680 m2

## Slide 21: Architectural Design
First
Floor
Plan
Slide 1

## Slide 22: Architectural Design
Slide 1
Total Area
=
2680 m2

## Slide 25: Architectural Design
Second
Floor
Plan
Slide 1

## Slide 26: Architectural Design
Slide 1
Total Area
=
1858 m2

## Slide 29
Elevations&
Sections
Slide 1
.

## Slide 30: Architectural Design
North
Elevation
Slide 1

## Slide 31: Architectural Design
South
Elevation
Slide 1

## Slide 32: Architectural Design
EAST
Elevation
Slide 1

## Slide 33: Architectural Design
WEST
Elevation
Slide 1

## Slide 34: Architectural Design
Section
A-A
Slide 1

## Slide 35: Architectural Design
Section
B-B
Slide 1

## Slide 36: Architectural Design
Slide 1
Final 3D
View

## Slide 37
Slide 1

## Slide 38
Slide 1
VEDIO

## Slide 39
Environmental ASPECTS

## Slide 40
ENVIROMENTAL Aspects
Thermal analysis.
Energy simulation.
Acoustical analysis .

## Slide 41
Thermal analysis

## Slide 42: Thermal Analysis
External walls Internal walls
U value = 0.47 W/m2k U value = 0.6 W/m2k

## Slide 43: Thermal Analysis
Roof Floor
U value = 0.43 W/m2k U value = 0.70 W/m2k
U value = 0.70 W/m2k
Glass

## Slide 44
Energy simulation

## Slide 45: Environmental Design
Energy Simulation
When the hall is almost full with 300
Audience (cooling only )
Max Cooling: 117 KW/m2
at 13:00 on 5th August

## Slide 46: Environmental Design
When there is no audience in the hall ( heating only )
Max Heating: 82 kW/m2 at 23:00 on 17th January

## Slide 47
Acoustical analysis

## Slide 48: Acoustical Analysis
Reverberation time (RT60) in the main hall before modifications
RT60 range (1-1.60) s
From table and figure, the RT60 of the wedding hall is out the range.

## Slide 49: Acoustical Analysis
To meet the standards of the RT60
Plaster board with bitumen was used on ceiling Perforated aperture on walls
Wood panel on wall above the stage Fabric on tables and carpet floor

## Slide 50: Acoustical Analysis
RT60 Values for main hall after modifications
From table and figure, the RT60 of the wedding
. hall is in the range

## Slide 51: Sound Transmission Class (STC)
STC for wall =52 STC partition = 58
IIC for floor = 69

## Slide 52: Speakers
For sound distribution EASE FOCUS was used
LA1214

## Slide 53: Speakers
Distribution of sound in the hall
The range between 106-109 dB

## Slide 54
HVAC system

## Slide 55: Mechanical Design
HVAC System Design
central air handling unit
diffuser

## Slide 56: V V Mechanical Design
Number of diffuser in the hall = 54 Main duct size =0 .75 m
For all branches , duct size = 0.4 m
The diffusers size = 15x15 cm

## Slide 57
Structural Design
Slide 1

## Slide 58: Blocks of Project
Slide 2
Blocks of Project

## Slide 59: Design Data:
System design: One way ribbed with beam gerder and shell.
Concrete Fʹc = 24 MPa for slabs and concrete beams.
Concrete Fʹc = 28 MPa for footings, shear walls and concrete columns .
Allowable Bearing Capacity of Soil = 350 KN/m²
Loads:
Slide 3
Shell | Wedding Hells | Barking | Beauty Center | Loads
2 | 7 | 5 | 4 | Live Loads
2 | 4 | 4 | 4 | Super Imposed

## Slide 60: Seismic Design Data
Soil type: SD
Location → Nablus
Zone =2B → Z=0.20
CV = 0.40 , Ca = 0.28
I = 1.00
R = 5.50
Slide 4

## Slide 61: ETABs Models
Slide 5
Block (C)
Block (B)
Block (A)

## Slide 62: Deformed shape of block (A)
The model is valid for
1. Compatibility,
2. Equilibrium,
3. and stress strain relationship
Slide 6
% of Error | ETABs Results (KN) | Manual Results (KN) | Equilibrium check
0.25 | 28895.41 | 28825.00 | Total Dead Load
2.10 | 9299.52 | 9100.00 | Total Live Load
3.0 | 19144.86 | 18500.00 | Total Super Imposed

## Slide 63: Dynamic Checks
Period check:
TETABs = 0.131 sec
Drift check:
Maximum drift = 1.54 mm
Modal participation mass
ratio>90%
Base shear check
Slide 7

## Slide 64: Results
Slide 8
Slab Design:

## Slide 65: Results
Slide 9
Beam Design:

## Slide 66: Results
Slide 10
Column Design:
Dimension:
60*60 cm, R 50 cm
Steel Reinforcement:
16Ø18 mm
3Ø10@125mm

## Slide 67: Results
Slide 11
Shear wall

## Slide 68: Results
Footings:
Slide 12

## Slide 69: Results
Stair Design (By using SAP program)
Slide 13

## Slide 70: Results
Shell Design:
Slide 14

## Slide 71
Electrical Design

## Slide 72
Lighting distribution
.

## Slide 74
1- Chandeliers:

## Slide 75
2- Spots:

## Slide 76
3- led lamp:

## Slide 77
4- projectors:

## Slide 78: CALCULATION & RESULT:
L.I=770
>Target(750)
Uo=.7
L.I =545
>Target(500)
Uo=.62
L.I= 721
>Target(700)
Uo=.67
L.I=706
>Target(700)
Uo=.75

## Slide 79
Socket distribution
Slide 1
.

## Slide 80: distribution of sockets:
first
floor

## Slide 81
Mechanical
Design

## Slide 82
Water supply
Slide 1
.

## Slide 83: water consumption:
total building of water demand = 3640 g/ day

## Slide 84: water supply system:
Small roof tank with basement storage and pump.
a water tank of 80 m3.

## Slide 85
first floor
Second floor
ground floor
water supply design:

## Slide 86: pipes diameters (collector #3): Vertical1.5 in Horizontal1.25 in Branch1.00 in
Total FU’S | Collectors
4 | 1
28 | 2
31 | 3
36 | 4
38 | 5
28 | 6
22 | 7
41 | 8
3 31
collector #3):

## Slide 87
Drainage system

## Slide 88: Mechanical Design
Piping Design for Drainage system ( ground floor )

## Slide 89: Mechanical Design
Roof
and
storm
water
drainage

## Slide 90
Slide 1
Safety design

## Slide 91: Emergency exits
Second
Floor
Slide 1

## Slide 92: Safety system:
1-Fire extinguishers.
2-Fire hose stations

## Slide 93: QUANTITY SURVEY & Cost Estimates
Slide 1

## Slide 94: Structural Quantities
Slide 1

## Slide 95: TOTAL COST
Slide 1

## Slide 96
Thank you