## Slide 1
“Analysis of Cinema building in Nablus”
prepared by:
Mohammad Sreide
Ahmad Omar
Tayyeb Almohor
Mohammad Salameh
Supervisor Name: Dr. Mohammad Jehad Dweikat
Al-Najah National University
Faculty of Engineering
Building Engineering Department
“Graduation project 2”

## Slide 3
  Outline :
  Site analysis
  Architectural analysis
  Environmental analysis
  Structural analysis
  Electrical analysis
  Mechanical analysis
  Quantity serving & cost estimate

## Slide 4
Site analysis
Location : Jammal Abdelnasser park
Area of the project =

## Slide 5
Site analysis

## Slide 6
Climate

## Slide 7
Architectural design
First floor
Second floor

## Slide 8
Elevations
SW elevation
NW elevation

## Slide 9
Elevations
SE elevation
NE elevation

## Slide 10
Sections
Section A-A
Section B-B

## Slide 11
Environmental analysis
Environmental Adjustments
Daylight Factor
Materials and layers
Acoustical design
Shadow Analysis
Heating and cooling Load

## Slide 12
Environmental Adjustments
3D modeling for the building

## Slide 13
Environmental analysis
3D modeling for the building

## Slide 14
Materials and layers
Cross section for partition
Cross section for external wall
Cross section for roof
U-value is 0.252 W/m2
U-value is 0.333 W/m2
U-value is 2.964 W/m2

## Slide 15
Materials and layers
Glazing

## Slide 16
Daylight factor
Daylight factor for ground floor

## Slide 17
Daylight factor
Daylight factor for first floor

## Slide 18
Daylight factor
Daylight factor for building
Ground floor
First floor

## Slide 19
Shadow analysis
Shadow at 8:00 AM in Summer
Shadow at 12:00 PM in Summer
Shadow at 2:00 PM in Summer
Sunbath diagram in Summer

## Slide 20
Shadow analysis
Shadow at 8:00 AM in Winter
Shadow at 12:00 PM in Winter
Shadow at 2:00 PM in Winter
Sunbath diagram in Winter

## Slide 21
Heating and cooling load
Heating load = 76.97 KW

## Slide 22
Cooling load
Cooling load = 196.25 KW

## Slide 23
Acoustical analysis
Reverberation time

## Slide 24
Acoustical analysis
3D modeling for cinema hall

## Slide 25
Acoustical analysis
Direct SPL on chairs

## Slide 26
Acoustical analysis
Direct SPL on hall area

## Slide 27
Acoustical analysis
Total SPL for chairs

## Slide 28
Acoustical analysis
Total SPL on hall area

## Slide 29
Acoustical analysis
Sound transmission loss for external walls

## Slide 30
Acoustical analysis
Sound transmission loss for partition walls

## Slide 31
Structural analysis
Codes
ACI 318
ASCE 7
UBC 97
Material
concrete: concrete strength (f'c) = 28 Mpa ,ɣ concrete = 25 KN/m3 .
steel rebar: steel yield strength (Fy) = 420 Mpa , modules of elasticity = 200 Gpa and ɣ steel = 78.5 KN/m3 .

## Slide 32
Structural analysis
Design Load
Dead load (DL)
Super imposed dead load (SID) = 4.5 KN/m2.
Live load (LL) for office = 3 KN/m2.
Live load (LL) for cafeteria = 5 KN/m2.
Seismic factor
Z = 0.20
Ca = 0.28
Cv = 0.40
I = 1
R = 5.5

## Slide 33
Structural analysis
Analysis checks
Compatibility Check(ok).
Equilibrium check (ok).
Stress Strain check (ok).
Design check.
Deflection (ok).
Shear check (ok).
Seismic check.
1. Period check (not ok).
2. Modal mass participation ratio check (ok).
3. Base shear check (ok).
4. Drift check (ok).
5. P-delta check (ok).

## Slide 34
Structural analysis
Slap design
One way ribbed slap 30cm

## Slide 35
Structural analysis
Slap design
One way ribbed slap 45cm

## Slide 36
Structural analysis
Slap design
Two way ribbed slap 30cm

## Slide 37
Structural analysis
Beam design

## Slide 38
Structural analysis
Beam design
Drop beam 90*120

## Slide 39
Structural analysis
Beam design
beam 30*80

## Slide 40
Structural analysis
Beam design
beam 30*80

## Slide 41
Structural analysis
Column design

## Slide 42
Structural analysis
Column design
C1

## Slide 43
Structural analysis
Column design
C2
Column design
C3

## Slide 44
Structural analysis

## Slide 45
Structural analysis
Shear wall design

## Slide 46
Structural analysis
Shear wall design

## Slide 47
Structural analysis
Basement wall design

## Slide 48
Structural analysis
Footing design

## Slide 49
Structural analysis
Footing design

## Slide 50
Structural analysis
Footing design

## Slide 51
Electrical Design

## Slide 52
Electrical design
Lighting design
space | E (LUX) Required | E (LUX) Used
Cinema halls | 200-300 | 250
Waiting area | 300 | 377
Service room | 300-500 | 377
Corridors | 200-300 | 300
WC | 150-300 | 350
Ticketing room | 300 | 350
Cafeteria | 300-500 | 400
Kitchens | 200 | 220
Manager Room | 500 | 500
Staff room | 500 | 500
Luminaires used
Required Illuminance

## Slide 53
Electrical design
Luminaires distribution
Luminaires distribution on the ground floor
Luminaires distribution on the first floor

## Slide 54
Electrical design
Luminaires distribution
Luminaires distribution in Cafeteria
Luminaires distribution in Cinema hall

## Slide 55
Electrical design
Sockets distribution

## Slide 56
Electrical design
Electrical calculations
Floor |  | Load Current (A) | C.B Current (A) | Cable Current (A)
Building A | Ground Floor | 32.54421053 | 40.68026316 | 50.85032895
 | First Floor | 50.31726316 | 62.89657895 | 78.62072368
Building B | Ground Floor | 22.09789474 | 27.62236842 | 34.52796053
 | First Floor | 29.19473684 | 36.49342105 | 45.61677632
Floor |  | Load Current (A) | C.B Current (A) | Cable Current (A) | ϼ(Ώm) | Max L(m) | A(mm2) | R(Ώ) | Drop voltage | %Drop voltage
Building A | Ground Floor | 11.2 | 14 | 17.5 | 1.68E-08 | 50 | 2.5 | 0.336 | 3.7632 | 1.710545
 | First Floor | 19 | 23.75 | 29.6875 | 1.68E-08 | 45 | 2.5 | 0.3024 | 5.7456 | 2.611636
Building B | Ground Floor | 9.5 | 11.875 | 14.84375 | 1.68E-08 | 20 | 2.5 | 0.1344 | 1.2768 | 0.580364
 | First Floor | 27 | 33.75 | 42.1875 | 1.68E-08 | 18 | 2.5 | 0.12096 | 3.26592 | 1.484509

## Slide 57
  Mechanical aspects

## Slide 58
Mechanical aspects
Water Supply
type | Diameter (inch)
Vertical | 2
Horizontal | 1.25
Branch | 0.75
Diameter Of Pipes

## Slide 59
Mechanical aspects
Drainage system
distribution fixture units for Building A

## Slide 60
Mechanical aspects
Drainage system
Drainage System Plan
Type | Diameter
WC | 4 inches.
Lavatory | 2 inches.
Kitchen Sink | 2 inches.
Main Stack | 4 inches.
Between Manholes | 6 inches.
Pipe Diameter

## Slide 61
Mechanical aspects
HVAC System
From the Design Builder program
Building A :
Total Heating Load = 54.46 kW.
Total Cooling Load = 127.71 kW.
Total Flowrate = 5.7159 m^3/s.
Outdoor unit used : Samsung model number AM140FXVAGH / GR, 135.2 KW
Indoor unit : fan coil was selected by type FWD04-18A with flowrate 3000 m3/h.
Building B :
Total Heating Load = 22.896kW.
Total Cooling Load = 91.58kW.
Total Flowrate = 3.2945 m^3/s.
Outdoor unit used : Samsung model number AM120FXVAGH / GR 95.2 KW
Indoor unit : fan coil was selected by type FWD04-18A with flowrate 3000 m3/h.

## Slide 62
Mechanical aspects
HVAC System
Distribution of Indoor Unit for first floor

## Slide 63
Mechanical aspects
Fire Fighting System
Sprinkler System used : Wet pipe system

## Slide 64
Mechanical aspects
Fire alarm System

## Slide 65
Mechanical aspects
Fire alarm System

## Slide 66
Project cost
The total cost of the project is 2866660 ₪
Work | Budget Cost (₪) | Percentage (%)
sub-structure | 951981.875 | 33.20874648
Finishing Works | 1228299.19 | 42.84774476
Mechanical Work | 168042 | 5.861943722
Electrical Work | 446400 | 15.57212886
Total | 2866660.07 | 100

## Slide 67
Thank you for attention