## Slide 1: Introduction

## Slide 2: Project A

## Slide 3: Project B

## Slide 4: Site analysis
Location:

## Slide 5: Surrounded streets:

## Slide 6: Architectural design

## Slide 7: Third basement floor

## Slide 8: Second basement

## Slide 9: First basement

## Slide 10: Ground and first floors

## Slide 11: Second and third floors

## Slide 12: Fourth and fifth floors

## Slide 13: Sixth and seventh floors

## Slide 16: The section

## Slide 17: Mechanical design
HVAC , water supply
drainage system, fire system.

## Slide 18
U | The element
0.72 | Outside wall
0.87 | ceiling
0.61 | floor
3.5 | window
7 | Aluminum door
HVAC system
  - Heating design.

## Slide 22: -The selection diffuser is a square supply air diffusers of four way flow pattern with size of 46*46 cm
- cooling design.

## Slide 24: Water supply

## Slide 27: Drainage system

## Slide 31: Fire system

## Slide 35: Electrical design

## Slide 36: Artificial lighting
Florescent lamp (4*T8 18 watt) BEGA 5524 3 TC-D 26W
Luminaire Luminous Flux =5400 lm Luminaire Luminous Flux =5400 lm

## Slide 37: Number of luminaries for each space have been calculated

## Slide 38: the seventh floor was design by daualux program lamps that were used are of a type SECOLUX-E PL-L 136EVG. with 36 watt.

## Slide 40: Cost estimation

## Slide 41: Total cost=45300000 NIS Total area=14885.92m² Project A cost/m²=3043.14 NIS

## Slide 42: Total cost =25900000 NIS. Total area= 8957.69 m² Project B Total cost /m²=2891.3 NIS
cost | Work
25586010 NIS | Structural & architectural cost
216930 NIS | Mechanical cost
97060 NIS | Electrical cost