## Slide 1: Graduation project II (10611590) Autism children institution
Prepared by:
Mohammad Tbaileh Nadeem Abu shams
Supervisor: Eng. Narmeen al barq

## Slide 2: Outline:
Introduction
Site analysis
Architectural design
Structural design
Environmental design
Electro-Mechanical design
Fire fighting
Quantity Survey
3D modeling

## Slide 3: Introduction:
Why did we choose Autism children institution:
Kids with autism forms a noticeable slice in our society so, we must help them to fit in our society and give them their academic rights.
The building is still on paper, so we have the chance to submit our design to be constructed.

## Slide 4: Site analysis

## Slide 5: Site analysis:
location
Nearby.
Site area.
Sun path and wind direction.

## Slide 6: Architectural design

## Slide 7: Architectural analysis:
 Four story building.
3 m
Avg floor area=280 m^2
Total area =1115m^2

## Slide 8: Site plan:

## Slide 9: Ground floor:

## Slide 10: First floor:

## Slide 11: Second floor:

## Slide 12: Third floor:

## Slide 13: Special design aspects
Must avoid florescent lamps and glare as much as possible.
Furniture must be heavy or bolted to a wall or floor.
Rubber material placed in the sharp corners.
Coloring :
1- Blue is an instant de-stresser which is cool.
2- Green is the safest colors which brings balance.
3- Red is a very powerful color, it can be painful and make the kids angry.

## Slide 14: Special design aspects
Visually calming room
Special carpet and seating.
Curtains to block the sunlight
Glowing pipes and LCD projector.
Sound speakers.
Calming and soft patterns.
Calming sounds.

## Slide 15: North elevation:

## Slide 16: South elevation:

## Slide 17: West elevation
East elevation

## Slide 18: Section

## Slide 19: Structural Design

## Slide 20: Structural design
Design Codes
ACI -318-14 for Reinforced Concrete Structural Design
UBC -97 for Seismic Load Calculation Design
Design Data
Concrete B350 with fʹc = 28 MPa for All Structural frame Elements
Concrete B300 with fʹc = 24 MPa for slabs
Allowable Bearing Capacity for the Soil = 250 KN/m²
Design Loads
Super Imposed Load = 5 KN/m²
Live Load = 4 KN/m²

## Slide 21: Structural design
Seismic Design Data
Zone 2A
Z = 0.15
Soil type is SD
CA = 0.22
CV = 0.32
I = 1.00
R = 5.5

## Slide 22: Structural design

## Slide 23: Slab design
One way ribbed slab system is used
Slab thickness=25cm
Block height= 17cm
Slab Reinforcement:
2 ɸ14 bottom steel
2 ɸ12 top steel
3 ɸ8mm/m top mesh

## Slide 24: Column design
Columns sections:
(30x70) 12Ø16
(30x30) 8Ø12

## Slide 25: Beam design

## Slide 26: Footing design
Footing sections:
(1.6x1.6x0.5) 9Ø12
(2.4x2.4x0.5) 13Ø16

## Slide 27: Shear wall design

## Slide 28: Environmental design

## Slide 29
Environmental
Acoustical
Thermal
Heating&Cooling
Orientation
Daylight

## Slide 30
External wall:
total thickness=31cm
U-value = 0.466<0.5
Thermal properties:
Environmental design:
U-value (old) | U-value (new)
0.679 | 0.466

## Slide 31
Thermal properties:
Internal floor:
total thickness=40.5cm
U-value = 0.859<0.9
Environmental design:
U-value (old) | U-value (new)
0.97 | 0.859

## Slide 32
Thermal properties:
Roof slab:
total thickness=31.5cm
U-value = 0.387<0.39
Environmental design:
U-value (old) | U-value (new)
0.44 | 0.387

## Slide 33
Natural daylight analysis
In winter 21/12 at 12:00 pm
In winter 21/12 at 08:00 pm
Environmental design:

## Slide 34
Natural daylight analysis
In summer 21/6 at 08:00 am
In summer 21/6 at 12:00 pm
Environmental design:

## Slide 35
Natural daylight analysis
Environmental design:
Maximum daylight=9

## Slide 36
1- Horizontal overhangs and windows reveal depth
Shading system :
Environmental design:

## Slide 37
2- Fix-screen shading system
Shading system :
Environmental design:

## Slide 38
Shading system :
Environmental design:

## Slide 39
Heating load:
Total design heating capacity load=45.09 KW
Cooling load:
Total cooling design capacity load=87.78 KW
Environmental design:
Heating load (old) | Heating load (new)
48 | 45.09
Cooling load (old) | Cooling load (new)
130 | 87.78

## Slide 40
Environmental design:
( pierce pmv set ) varies between the limit of (-0.5 – 0.5) which reflects the comfort level in the building along the year.

## Slide 41
Environmental design:
Heating load= 2350.47 kwh
Cooling load= 56470.29 kwh

## Slide 42: Acoustical Design RT60 Range Should be <0.60 for the classroom From table and figure, the RT60 0.42<0.60
Environmental design:

## Slide 43: Acoustical Design The background noise from outside was calculated to be 85.8db and the STC for the external wall is 50db , so 85.8-50= 35.8db which is less than the maximum value of (40-45)db so the external wall layers are excellent for noise reduction.
Environmental design:

## Slide 44: Acoustical Design The background noise from above classroom was calculated to be 42db. IIC for the floor is 56db , maximum value of (40-45)db so the internal floor layers are excellent for noise reduction.
Environmental design:

## Slide 45: Electro-mechanical design

## Slide 46
Electro-mechanical
Lighting
HVAC system
Drainage
Water supply
Firefighting

## Slide 47: Electro-mechanical design
Artificial lighting:
1- Classroom:
2x LED luminaires

## Slide 48: Electro-mechanical design

## Slide 49: Electro-mechanical design
Artificial lighting:
2- Office room:
2x LED luminaires

## Slide 50: Electro-mechanical design

## Slide 51: Electro-mechanical design
Artificial lighting:
3- Mainhall:
12x LED luminaires

## Slide 52: Electro-mechanical design

## Slide 53: Electro-mechanical design
The building runs for 7 hours a day (08:00 am- 03:00 pm )
and the working days are 180 day/year , 5days/week
so :
(8.869 KW/hr) x (7hr) x (180 day/year) =11174.94 KW/year
Energy consumption:
2nd floor luminaries

## Slide 54: Electro-mechanical design
Each 4-5 normal sockets are connected to one branch.
Each special socket is connected to its own branch.
Energy consumption:
2nd floor sockets

## Slide 55: Water Supply
Electro-mechanical design

## Slide 56: Water Consumption
Fresh water demand = (3060L / 1000)=3.060m3 = 4m3 for one day.
Assume the water doesn’t run for 3 days in the building so, we will have:
Total tanks volume = 3 * 4m3= 12m3
Each tank 2m3 so 12/2= 6 Tanks on the roof.
Electro-mechanical design

## Slide 57: Water drainage system
Electro-mechanical design

## Slide 58: Electro-mechanical design
HVAC:
VRV (IV) heat recovery system (package unit/ cassete unit)
Total design capacity load=87.78 KW
25 Ton required for air conditioning.
The outdoor unit was selected to be REYQ16T (32T) where the cooling capacity 90 Kw>87.78 Kw, so the selected unit is suitable for our building.

## Slide 59: Electro-mechanical design
For the ground floor units:
1- Small concealed ceiling unit.
2-Fully flat cassette
3-slim concealed ceiling unit .

## Slide 60: Electro-mechanical design
The total flowrate for the building = 10440 m3/hr (from design builder)
So the (AHU) selection was based on the total flowrate.

## Slide 61: Electro-mechanical design

## Slide 62: Electro-mechanical design

## Slide 63: Electro-mechanical Analysis
Firefighting:
Four tanks each 2m3 are placed on the rooftop for firefighting only with booster pumps.

## Slide 64: Electro-mechanical Analysis
Firefighting:
Class A  in corridors, classrooms and offices.
Class C  in the administration area for the computers and other electronics.
Class B  kitchen area and cafeteria.

## Slide 65: Quantity Survey

## Slide 66: Quantity Survey
Stage | Cost
Excavation work & backfilling | 38,652.94 NIS
Structural work | 1,356,236 NIS
Finishing | 310,276.67 NIS
Mechanical work | 327,326.8 NIS
Electrical work | 31,902.5 NIS
Total project cost | 2,039,156.6 NIS
Unit cost | 1,828.84 NIS/m2

## Slide 67: Thank You !