## Slide 1
Remote Health Monitoring System
Presented by:
Abeer Mukhemir
Razan Mukhemir
Supervised by:
Dr. Luai Malhis

## Slide 2
Outline
Overview
Constraints and future work
System Architecture
Components and functionalities
Demo

## Slide 3
Overview

## Slide 4
Idea

+
Transform health monitoring from healthcare centers to homes

## Slide 5
System Architecture

## Slide 7
Hardware Components:
Vital Signs Sensors

## Slide 8
Temperature
Dallas Temperature sensor
- digital
- 1-wire
- accuracy +/- 0.5 C

## Slide 9
Heartbeats
Heart Pulse sensor
- analog

## Slide 10
Breathing
Force Sensing Resister
- analog

## Slide 11
Sweating
Soil Moisture Sensor
- analog

## Slide 12
Hardware Components:
Microcontrollers

## Slide 13
Helper Controller
Arduino Uno
- digital I/O
- analog I/O
- interrupts

## Slide 14
Main Controller
Raspberry Pi 3
- digital I/O
- UART
- Camera port
- I2C
- Wi-Fi

## Slide 15
Hardware Components:
Other Components and modules

## Slide 16
Camera
Raspberry Pi Camera Module

## Slide 17
Display and Keypad
16X2 LCD Display
4X4 keypad
- with I2C driver

## Slide 18
Web App

## Slide 19
Demo

## Slide 20
Constraints
Unavailability of medical sensors
Cost of components

## Slide 21
Future Work
Use medical sensors
Add other important vital signs
- Blood pressure
- Blood glucose levels

## Slide 22
Thank You..!!