## Slide 1: Municipality Building
Prepared By :
Thaer abu haniya
Nidal Nazzal
Supervisor: Mohannnad al-haj Hussain

## Slide 2: Content:
Architectural Aspects and passive analysis
Site analysis
Passive Analysis
Acoustical analysis
Structural Aspects
Electro mechanical system analysis
HVAC system
mechanical system
Electrical system

## Slide 3: Architectural Aspects & Site analysis

## Slide 4: Site Analysis
The site is located in (Bit wazan), in Nablus , about 496 m above sea level and, the Site has a total area of 554 m2.

## Slide 5: Architectural Aspects

## Slide 6: Site Plan

## Slide 7: Ground floor (Pray Hall)

## Slide 8: First Floor

## Slide 9: Internal View

## Slide 10: Internal View

## Slide 11: Internal View

## Slide 12: External View

## Slide 13: External View

## Slide 14: Elevation’s: North wall

## Slide 15: Elevation’s: South wall

## Slide 16: Elevation’s: East wall

## Slide 17: Elevation’s: West wall

## Slide 18: No minaret in the design.
In this project the minaret is not designed as we see in the elevation but on the ground there is a minaret as seen in the picture
This makes us wonder what basis has been established.

## Slide 19: The ablution.
The standard determine that is one ablution unit for everyx25 m2 of the praying area.
But as we can see in Figure that the number of ablution unit is not enough .
The appropriate number of ablution unit in this project must be 180/25 = 8 units.
180 is the area of prayer hall in the mosque.

## Slide 20: The Toilet facilities.
Number of WCs in ground floor is 1, and the required number of WC’s is at least 8 .

## Slide 21: Prayer Hall.
The prayer hall does not applicable with standards , Because the ratio between the length of the room and its width is not equal 1:2.5

## Slide 22: Relationship and zoning diagram for a Mosque

## Slide 23: Passive Analysis

## Slide 24: Passive Analysis
Shading analysis
Thermal analysis
Daylight

## Slide 25
    Envelope construction details for the building
External Wall layers
U-value =2.435 w/m 2 –k

## Slide 26
Internal Wall
U-value =2.653 w/m 2 –k

## Slide 27
Floor layers
U-value =1.042w/m2-k

## Slide 28
Solar analysis
Annual and daily Sun path was obtained from design builder as shown in Figures :

## Slide 29
Shadow Analysis
Winter day:
21/1 at 8:00am
21/1 at 2:00 pm

## Slide 30
Shadow Analysis
Summer Days:
21/6 at 8:00 am
21/6 at 2:00 pm

## Slide 31
Thermal analysis
Comfort graph (Pierce and Fanger PMV) (natural ventilation)

## Slide 32
      Daylight:

## Slide 33
    Acoustical analysis

## Slide 34
Reverberation time (RT60)
Pray hall room

## Slide 35
Recommended values of RT60 in Mosque
The recommended reverberation time (RT60) shall be from 1.2 to 2 seconds.

## Slide 36
Reverberation time (RT60)
Empty occupancy | 
FREQ. | RT60
63Hz: | 0.82
125Hz: | 0.95
250Hz: | 0.85
500Hz: | 0.61
1kHz: | 0.54
2kHz: | 0.48
4kHz: | 0.45
8kHz: | 0.41
16kHz: | 0.37
At 50 % occupancy | 
FREQ. | RT60
63Hz: | 0.98
125Hz: | 1.27
250Hz: | 1.13
500Hz: | 0.93
1kHz: | 0.82
2kHz: | 0.70
4kHz: | 0.70
8kHz: | 0.59
16kHz: | 0.56
At Full occupancy | 
FREQ. | RT60
63Hz: | .89
125Hz: | 1.14
250Hz: | 0.85
500Hz: | 0.74
1kHz: | 0.69
2kHz: | 0.59
4kHz: | 0.64
8kHz: | 0.57
16kHz: | 0.54
Pray hall

## Slide 37
Sound Transmission Loss (STC):
Space Adjacency | Recommended STC
Pray hall | 53
According to Figure So STC value is 56 dB bigger than 53 dB
which is not accepted.

## Slide 38
Noise Criteria
Space Adjacency | Recommended NS
Mosque | 30 - 35
Background Noise

## Slide 39
IIC for ceiling:
Composite Transmission loss Calculation
Since IIC = 40 dB it’s not acceptable .

## Slide 40
Structural Aspects

## Slide 41
Structural systems:
Foundations System:
The structural system used isolated footings under square, rectangular and circular columns, as shown:

## Slide 43
Retaining Walls :
This used to supported the soil lodes

## Slide 44
Columns:
Circular Column
Rectangular Column

## Slide 45
Concrete Beam System :
Drop beams system used in the building

## Slide 46
Concrete Slab System:
One way ribbed slabs system was used
Preliminary Check thickness of slab for deflection:
One end continuous is critical, the minimum thickness = 5.84/18.5= 315mm. So, t=32 cm

## Slide 47
Designing and reinforcing the dome :
The domes of the solutions are used in mosques, theatres or halls to cover the large sea.

## Slide 48
Electro mechanical system
analysis

## Slide 49
    HVAC system :
There is no HVAC system in the mosque !

## Slide 50
    Water drainage system :

## Slide 51
    Water drainage system :
pipe | Actual diameters | Required diameters
Vertical pipe | 4 in | 4 in
Horizontal pipe | 4 in | 4 in
Branch | 2 in | 2 in

## Slide 52
    Water supply system :
pipe | Required Diameters | Actual diameters
Vertical pipe | 2.5 in | 2.5 in
Horizontal pipe | 1.25 in | 1.25 in
Branch pipe | 1 in | 1 in

## Slide 53
Water storage :
The required daily usage is 8-10liter/day per Prayer.
Number of tanks Are used is 8 tanks.
Required number of tanks Are needed is 4 tanks , 3 for cold water and 1 for hot water.

## Slide 54
Electrical system

## Slide 55
Artificial Lighting :

## Slide 56
Ceiling plan for ground floor :

## Slide 57
3D – rendering Internal view:
Ground Floor Pray Hall

## Slide 58
3D – rendering Internal view:
First Floor Pray Hall

## Slide 59
Luminaires used:

## Slide 60
Luminaires used:

## Slide 61
3D rendering view for selected rooms:
Ground Floor Pray Hall

## Slide 62
3D rendering view for selected rooms:
First Floor Pray Hall

## Slide 63
Lux-meter measured values :
Daylight only Ground Floor

## Slide 64
Lux-meter measured values :
Daylight and Artificial Light Ground Floor

## Slide 65
Lux-meter measured values :
Daylight only First Floor

## Slide 66
Lux-meter measured values :
Daylight and Artificial Light First Floor

## Slide 67
Lighting Results:

## Slide 68
Single phase system:
Total power of lighting branch = 10.6 KW/h
Total power of power branch = 12.4 KW/h

## Slide 69
Lighting Consumption:
Total daily power for first floor pray area = 1955 * 7 = 13685 watt/day
Total power for the mosque assume the second floor have the same lighting fixtures and
luminaries = 2* 13685 watt / day =27370 watt / day
The total consumption of power building in month = 1430 kW
Cost of consumption = 1430 * 0.72 = 1030 Nis / month.

## Slide 70
Thank You ..