## Slide 1: Smart wheelchair
Prepared By :
Raya Abu Saleh Nadia Abu Shamat
Supervisor :
Dr. Falah Mohammad
Smart Wheelchair

## Slide 2
Outline
Motivation, objectives.
Components.
Implementation.
Problems.
Future Work.

## Slide 3
Outline
Motivation, objectives.
Components.
Implementation.
Problems.
Future Work.

## Slide 4
High percentage of the disabled people world-wide and in Palestine.
Problems faced by disabled people :
    Can’t move without helping from others.
    Suffer from obstacles.
    So this project aims to facilitate the movement of the disabled people .
Motivation:

## Slide 5
Objectives:
Our proposed system helping the disabled person to:
Avoid any obstacles in his way.
Move the wheelchair in all directions according to voice commands.
Go to specific room in the house by saying specific command.
Send a message to specific number.
Get reply by the DF Player after saying specific command .
Sending some commands wirelessly.

## Slide 6
Outline
Motivation, objectives.
Components.
Implementation.
Problems.
Future Work.

## Slide 7: Components :
Robot car chassis kit with two wheels and DC motors

## Slide 8: Components –DC motors:
It is a device that converts electrical energy (direct current system) into mechanical energy, and we can control it’s direction and speed by using H-Bridge.

## Slide 9: Components

## Slide 10: Components –Arduino mega
The Mega 2560 is a microcontroller board. It has a large number of analog and digital pins. It has 54 digital input/output pins, 16 analog inputs, 4 UARTs (hardware serial ports).

## Slide 11: Components – H-Bridge
H-Bridge's are typically used in controlling
motors speed and direction.

## Slide 12: Components –voice recognition module
This product is a speaker-dependent voice recognition module. It supports up to 80 voice commands in all. Max 7 voice commands could work at the same time.

## Slide 13: Components –GPS
It is used to provide latitude and longitude information that will be sent in the message.

## Slide 14: Components –GSM
Is an open, digital cellular technology used for transmitting mobile voice and data services.
In our project it is used to send a message with the latitude and longitude information to specific number.

## Slide 15: Components –LM393 Comparator /Wheel Encoder Disk:
It is used to get the number of pulses per revolution when the wheel is turning .To help in determining the distance(and it has built in transmitter and receiver).

## Slide 16: Components –DF Player Mini
is a small MP3 module with an simplified output directly to the speaker.
It is used to make the user get reply when he say specific command.

## Slide 17: Components –Ultrasonic sensor
Ultrasonic sensors are basically used to measure the distances between the obstacle object and the sensor.
It is used to make the wheelchair stop when there is obstacle in the front and in the back.

## Slide 18: Wireless Components

## Slide 19: Components –Arduino Nano
It is a small, complete, and friendly board based on the ATmega328.

## Slide 20: Components –RF module
An RF module (radio frequency module) is a small electronic device used to transmit and/or receive radio signals between two devices.

## Slide 21: Components – Encoder -Decoder
Encoder :used to converts the 4-bit parallel data into serial data in order to transmit over RF link using transmitter.
Decoder: it converts the serial data received by the RF Receiver into 4-bit parallel data.

## Slide 22
Implementation – voice recognition module
Defining some words (commands )

## Slide 23
Implementation – flow chart
Start
Say a command
Detected by the voice
recognition module
NO
Yes
By the arduino a new group will be loaded to the voice recognition
The arduino will execute a command according to the voice
End
Say a command
An audio file will be played by the df Player

## Slide 25
Outline
Motivation, objectives.
Feature Highlights.
Implementation.
Problems.
Future Work.
.

## Slide 26: Problems Faced and their Solutions
There was a problem with detection the voice by the voice recognition . it can be affected by any noise.
Solution : there is another voice recognition tool with higher performance but it is much expansive .
because using one battery will not give enough current so it will not stay for long time .
Solution :using two battery in parallel.

## Slide 27
Outline
Motivation, objectives.
Feature Highlights.
Implementation.
Problems.
Future Work.

## Slide 28
Future work
Insert image processing technology to make the chair follow specific person ,like parents.
Add calling capability by using the GSM
By using GPS make the chair go to specific place like market.

## Slide 29
Questions?
Thank you 