## Slide 1
Analysis of Thermal Energy systems at Al-Hijaz Company
Prepared by:
Mohammad Abdelhalim
Monther Qararia
Superviser:
Dr. Abdelrahim Abusafa
Energy Engineering and Environment Department - An-Najah National University

## Slide 2
Agenda Style
01
02
04
04
INTRODUCTION
METHODOLOGY
RESULTS
03
CONCLUSION

## Slide 3
INTRODUCTION

## Slide 4
Electricity is the most important factor that has helped in the development of mankind and on which all sectors depend to continue their work
“
“
The previous diagram shows the electrical consumption depending on the sectors
Chart: 
| Domestic Sector | Industrial Sector | Commercial & Service Sector | Agricultural Sector
Percentage | 60 | 13 | 26 | 1

## Slide 5
AL-HIJAZ CHOCOLATE COMPANY
Prepare for and qualify for ISO 22000 specifications
Founded in 2005
Produces many chocolate and confectionery products
Number of employees is 100-150 employees
Located in the Anabta region
Main market is within Palestine and the UK

## Slide 6
Company Photos

## Slide 7
OBJECTIVES
1
2
3
4
5
Analyze the thermal energy consumption and energy used in Al-Hijaz company.
Feasibility study of the proposed new strategies.
Calculate each system if retrofitting or equipment replacement has been applied
Investigate the opportunities to reduce electrical consumption chillers and Split units air conditioning system.
Explore the opportunities for energy conservation in the thermal system.

## Slide 8
CHILLERS
The chillers are an essential element within the facility, which relies in its working system on passing chocolate through main channels and pipes surrounded by secondary pipes containing a coolant (the liquid used is distilled water).

## Slide 9
SPLIT UNITS
The SPLIT system is a very important part of the infrastructure . It takes a significant share of industrial production and the total daily energy consumption of buildings. In industry, the energy consumption of central air conditioning accounts for more than 40% of the total energy consumption.

## Slide 10
is a behavior that leads to reducing the amount of energy consumed of all kinds, preserving the environment, saving on fuel consumption expenses, and raising the responsibility of individuals and communities towards the environment. it also reduces energy generation expenses by moving towards efficient use of energy and the use of clean energy resources.
“
“
ENERGY REDUCING OR ENERGY SAVING

## Slide 11
BENEFITS OF ENERGY REDUCING
01
02
03
Gradual Depletion of Energy
Improving Business and Industrial
Competitiveness of the Enterprise

## Slide 12
METHODOLOGY

## Slide 13
The measurement was applied to 163 pieces of equipment and the final statistics were as follows
ITEM | VALUE | UNIT
The total capacity of the equipment (kW) | 513 | kW
The total capacity of the Chillers | 78 | kW
The total capacity of the Split unit | 95 | kW
The total of the estimated energy consumed during the estimated operating hours | 1,405,928 | kWh
The total capacity of the equipment (A) | 2,204 | A
The requirement for electrical power/220 (V) | 484 | kVA

## Slide 14
Analysis of consumption within the AlHijaz.company

## Slide 15
REDUCTION OF ENERGY CONSUMPTION IN CHILLERS

## Slide 16
VFD
Variable Frequency Drive

## Slide 17
REDUCTION OF ENERGY CONSUMPTION IN HVAC SYSTEM

## Slide 18
BASIC ELECTRICAL ENGINEERING FOR HVAC ENGINEERS

## Slide 19
CLASSIFICATION OF THE MAIN METHODS OF AIR PURIFICATION
Chemical methods of cleaning polluted air
(catalytic and adsorptive cleaning methods).
Mechanical air cleaning methods
(centrifugal cleaning, water cleaning, wet cleaning).
Physical and chemical methods of air purification
(condensation, filtration, precipitation).

## Slide 20
RESULTS

## Slide 21
The measurement was applied to 163 pieces of equipment and the final statistics were as follows
SYSTEM | INVESTMENT | SAVING | SPP | PV | SIR | ROR
HRU | 8000 | 2750 | 2.9 | 16960 | 3.1 | 34%
VRF | 150000 | 25100 | 6 | 77833 | 1.5 | 16%
VFD | 7000 | 1860 | 3.7 | 7147 | 2 | 25%
FEASIBILITY STUDY

## Slide 22
Action Plan
And ventilation systems within the facility.
which cool the chocolate after it comes out of the mixing and melting machines and put it inside the molds
Chillers
HVAC system

## Slide 23
CONCLUSION

## Slide 24
Thank you

## Slide 25
Analysis of Thermal Energy systems at Al-Hijaz Company
Prepared by:
Mohammad Abdelhalim
Monther Qararia
Superviser:
Dr. Abdelrahim Abusafa
Energy Engineering and Environment Department - An-Najah National University