## Slide 1
SAR Reduction In The Human Head and Investigation of Impact of Radio Frequency Exposure on Children Health
Prepared by:
Eslam M. Abo Dawwas
Manar Najjar
Wala’ Hanani
Submitted in
Partial Fulfillment of BSc Degree in Telecommunication Engineering
Supervisor: Dr.Yousuf Dama
An-Najah National University
2015

## Slide 2
Content:
Phase one: SAR reduction
Phase two: Investigation of Impact of Radio Frequency Exposure on Children Health
Methodology
Results and measurements
Dissection
Conclusion
Recommendation

## Slide 3: Where were we ?
At 900 MHz
At 1800 MHz

## Slide 4
SAR Reduction:
Electromagnetic Band Gap (EBG)
Applied to the mobile phone ground plane
Causing suppression of the surface wave of the ground plane
preventing the undesired electromagnetic wave
3D MUSHROOM
2D Planar

## Slide 5
EBG Geometry
SAR Reduction:
ground plane
substrate
squared patches

## Slide 6
EBG Analysis
SAR Reduction:
surface current at 0.9GHz
surface current at 1.8GHz

## Slide 7
SAR reduction:
Applying EBG to the PIFA Antenna:

## Slide 8
SAR Reduction:
The Return Loss

## Slide 9
SAR Reduction:
The VSWR Response

## Slide 10
SAR Reduction:
The Electric Field Radiation Patterns
Front view at 0.9GHz
Back view at 0.9GHz

## Slide 11
SAR Reduction:
The Electric Field Radiation Patterns
Front view at 1.8GHz
Back view at 1.8GHz

## Slide 12
SAR Reduction:
SAR Analysis
SAR distribution for 900 MHZ over1g

## Slide 13
SAR reduction:
SAR Analysis
SAR distribution for1800MHZ over1g

## Slide 14
SAR Reduction:
SAR Analysis
F(GHz) | SAR(1g. avg) [W/kg] without EBG with EBG | 
0.9 | .947 | .587
1.8 | 1.37 | .47
The SAR over (1g) values using the EBG structures are reduced and are reduced in comparison with the PIFA value 44% in 0.9GHz and 69.2% in 1.8GHz.

## Slide 15
Methodology:
Study sample:
The sample of this study is kids of both genders, distributed in two different kindergartens. The sample ages were between 5-6 years

## Slide 16
Selecting kindergartens in Beit Foureek area.
Measuring the EMR intensity in different places in kindergartens.
Measuring the parameters as following:
Temperature
Blood pressure
Heart pulse rate
All measurements for each student were repeated; three times at morning (8:00 – 8:30) a.m, three times after midday (12:30 – 1) p.m.
Stages of Study
Methodology:

## Slide 17
Experimental Apparatus :
Narda Broadband Field Meter NBM-550

## Slide 18
Electronic THM thermometer 392S
Experimental Apparatus :

## Slide 19
Multi –Function Automatic blood pressure with children's cuff UA-851V/VL:
Experimental Apparatus :

## Slide 20
Results and measurements:
Power Density
Position 4 |  | Position3 |  | Position 2 |  | Position 1 |  | Position Freq. MHz
Max.hold | STD | Max.hold | STD | Max.hold | STD | Max.hold | STD | 
5.072 | 0.0758 | 4.962 | 0.0741 | 9.126 | 0.1364 | 7.365 | 0.110 | 3
3.515 | 0.1571 | 2.295 | 0.1104 | 10.520 | 0.5058 | 5.325 | 0.2561 | 12
6.168 | 0.2460 | 31.2 | 1.244 | 3.391 | 0.1352 | 3.161 | 0.1261 | 500
3.515 | 0.0779 | 3.232 | 0.0716 | 3.644 | 0.0807 | 5.325 | 0.118 | 900
5.379 | 0.0596 | 1.679 | 0.0186 | 5.443 | 0.0603 | 10.340 | 0.0927 | 1800
Kindergarten A

## Slide 21
Results and measurements:
Power Density
Position 4 |  | Position3 |  | Position 2 |  | Position 1 |  | Position Freq. MHz
Max.hold | STD | Max.hold | STD | Max.hold | STD | Max.hold | STD | 
15.770 | 0.2356 | 23.16 | 0.3461 | 6.209 | 0.0928 | 6.391 | 0.0955 | 3
3.932 | 0.1891 | 10.58 | 0.5088 | 9.304 | 0.4474 | 5.821 | 0.2799 | 12
5.337 | 0.2128 | 3.363 | 0.1341 | 8.327 | 0.3321 | 6.703 | 0.2673 | 500
7.053 | 0.1563 | 18.14 | 0.4018 | 5.287 | 0.1171 | 12.76 | 0.2826 | 900
4.657 | 0.0516 | 5.759 | 0.0638 | 3.884 | 0.0430 | 18.51 | 0.2051 | 1800
Kindergarten B

## Slide 22
Measurements of Physical Parameters
Child’s Temperature
Kinder garden A Average power density |  |  |  |  | 
Variable | Normal Range | Min. | Max | Mean | S.D
T (˚c) | 35.5˚c to 37.5˚c | 35.30 | 37.4 | 36.51 | 0.41
T ̀ (˚c) |  | 35.43 | 37.7 | 36.72 | 0.40
The normal values , Min , Max , mean ,
S.D values of
the oral temperature
in A

## Slide 23
Kinder garden B Average power density 45.248 |  |  |  |  | 
Variable | Normal Range | Min. | Max | Mean | S.D
T (˚c) | 35.5˚c to 37.5˚c | 35.2 | 37.5 | 36.33 | 0.57
T(˚c) ̀ |  | 36.33 | 37.77 | 36.73 | 0.50
The normal values , Min , Max , mean ,
S.D values of
the oral temperature
in B
Measurements of Physical Parameters
Child’s Temperature

## Slide 24
Systolic Blood Pressure (SBP)
Kinder garden A Average power density24.25 |  |  |  |  | 
Variable | Normal Range (mm Hg) | Min. | Max | Mean | S.D
SBP | 90-125 | 90.3 | 110.33 | 99.8 | 5.31
SBP ̀ |  | 92.00 | 112.33 | 102.8 | 5.22
The normal values , Min , Max , mean ,S.D values of SBP in A
Measurements of Physical Parameters

## Slide 25
The normal values , Min , Max , mean ,S.D values of the SBPe in B
Kinder garden B Average power density 45.248 |  |  |  |  | 
Variable | Normal Range (mm Hg) | Min. | Max | Mean | S.D
SBP | 90-125 | 88.10 | 117.00 | 98.99 | 8.73
SBP ̀ |  | 90.00 | 128.33 | 105.4828 | 9.48
Systolic Blood Pressure (SBP)
Measurements of Physical Parameters

## Slide 26
Diastolic Blood Pressure (DBP)
The normal values , Min , Max , mean ,S.D values of DBP in A
Kinder garden A Average power density |  |  |  |  | 
Variable | Normal Range (mm Hg) | Min. | Max | Mean | S.D
DBP | 50-84 | 50.66 | 80.33 | 66.1 | 6.9
DBP ̀ |  | 52.66 | 83.33 | 67.0 | 7.1
Measurements of Physical Parameters

## Slide 27
The normal values , Min , Max , mean ,S.D values of DBP in B
Kinder garden B Average power density 45.248 |  |  |  |  | 
Variable | Normal Range (mm Hg) | Min. | Max | Mean | S.D
DBP | 50-84 | 49.00 | 82.33 | 66.86 | 6.34
DBP ̀ |  | 52.00 | 89.33 | 72.34 | 6.96
Measurements of Physical Parameters
Diastolic Blood Pressure (DBP)

## Slide 28
Heart Pulse Rate (HPR)
The normal values , Min , Max , mean ,S.D values of HPR in A
Kinder garden A Average power density |  |  |  |  | 
Variable | Normal Beat/min | Min. | Max | Mean | S.D
HPR | 75-115 | 72 | 112 | 90.0 | 7
HPR ̀ |  | 73.3 | 117 | 93.5 | 6.4
Measurements of Physical Parameters

## Slide 29
Heart Pulse Rate (HPR)
The normal values , Min , Max , mean ,S.D values of HPR in B
Kinder garden B Average power density 45.248 |  |  |  |  | 
Variable | Normal Beat/min | Min. | Max | Mean | S.D
HR | 75-115 | 72.33 | 114.00 | 90.33 | 10.66
HR ̀ |  | 74.33 | 121.33 | 94.00 | 11.00
Measurements of Physical Parameters

## Slide 30
Health Parameter | Kinder garden A | Kinder garden B
∆T ˚ (C) | 0.21 | 0.40
∆SPB mm Hg | 3.00 | 15.49
∆DBP mm Hg | 0.90 | 5.48
∆HPR | 3.50 | 3.76
Measurements of Physical Parameters
The net change of oral temperature , systolic blood pressure ,diastolic blood pressure and heart pulse rate in kinder garden A and B

## Slide 31
Discussion
Power Flux Density
Power flux density . | Permissible limits (w/) |  | Measured values (w/ ) | 
 |  |  | Kinder garden A | Kinder garden B
 | 3 MHz | - | 6.631 * | 12.864 *
 | 12 MHz | - | 5.413 * | 7.423 *
 | 500 MHz | 2.5 | 3.947 * | 5.925 *
 | 900 MHz | 4.5 | 3.916 * | 10.81 *
 | 1800 MHz | 9 | 5.687 * | 8.201 *

## Slide 32
The Effect of EMR on Body temperature
Discussion
kinder garden A
kinder garden B
0.54%
1.1 %
The Effect of EMR on Heart Pulse Rate
kinder garden A
kinder garden B
3.80 %
4.1%

## Slide 33
The Effect of EMR on Arterial Blood Pressure
SBP
kinder garden A
kinder garden B
DBP
kinder garden A
kinder garden B
3.00%
1.3%
15.6%
8.1%
Discussion

## Slide 34
The power flux density readings were much less than the international standard(ICNIPR 1998)
All the vital routine signs of children increased in both kinder garden after four hours because of their activities and having the lunch , but the increasing in the kinder garden (B) which has the larger power flux density value ,
Indicate a correlation between the power flux density and SBP ,DBP, HPR and body temperature values
The increment of the measured values may not because of the EMR only .
The increment of this study is remaining in the normal range but when they reach adulthood, today’s children will have a much higher cumulative exposure to RF than today’s adults .
Conclusion

## Slide 35
Recommendations
Spread the risk resulting from radiation between the citizens .
Building the Kindergartens in locations far away from antenna at least 50m
Avoid materials in building which may causing reflects of EMR and adding some materials to increase the absorption of radiation.
Conduct regular check for power flux density and routine vital signs

## Slide 36
Thank you for your attention