## Slide 1: بسم الله الرحمن الرحيم
An-Najah National University Institute of Childhood Redesign
Prepared By: Supervisor : Eng. Mo’ayad Salhab
Yazan Shehab
Hadi Majjad
Ahmad Gabaren

## Slide 2: Outline:
1. Introduction.
2. Architectural Design.
3. Environmental Design.
4. Structural design.
5. Electrical design.
6. Mechanical design .
7. Quantity Survey.

## Slide 3: Site Location

## Slide 4
Site plan:

## Slide 5: Architectural Design.
Basement Floor :
Total floor area : 335 ms
The floor contains:
2 parking areas and
1 loading area, electrical room
Mechanical room and the water
reservoir.
Before

## Slide 6: Architectural Design.
Basement Floor :
Total floor area : 490 ms
The floor contains:
5 parking areas and
1 loading area, electrical room
Mechanical room and the water
reservoir.
After

## Slide 7: Architectural Design.
Ground Floor:
Total floor area : 335 ms
The floor contains:
4 clinics,
1 Meeting room, Multi-sensory
room, reception and
A waiting area.
Before

## Slide 8: Architectural Design.
Ground Floor:
Total floor area : 490 ms
The floor contains:
Principle’s office and secretary,
1 Meeting room, Multi-purpose
room, and a physical activity area.
After

## Slide 9: Architectural Design.
First Floor :
Total floor area : 335 ms
The floor contains:
4 classes,
1 Meeting room, secretary
room, and the principle's office
Before

## Slide 10: Architectural Design.
First Floor :
Total floor area : 490 ms
The floor contains:
3 classes,
panic room, staff room, physical activity
area and a multi purpose room.
After

## Slide 11: Architectural Design.
Second Floor :
Total floor area : 335 ms
The floor contains:
4 classes and 1 resources room.
Before

## Slide 12: Architectural Design.
Second Floor :
Total floor area : 490 ms
The floor contains:
4 classes,
staff room, physical activity
area and a multi purpose room.
After

## Slide 13: Architectural Design.
Third Floor:
Total floor area : 335 ms
The floor contains:
3 administration offices,
1 meeting room, institute
manager office and a research room.
Before

## Slide 14: Architectural Design.
Third Floor:
Total floor area : 490 ms
The floor contains:
4 clinics,
1 Meeting room, multi-sensory
room, reception, waiting area,
secretary room and the clinic’s
manager office.
After

## Slide 15: Architectural Design.
Fourth Floor:
Total floor area : 335 ms
The floor contains:
3 administration offices,
1 meeting room, institute
manager office and a secretary room.
After

## Slide 16: Architectural Design.
Elevations :
Eastern Elevation.

## Slide 17: Architectural Design.
Western Elevation.

## Slide 18: Architectural Design.
Northern Elevation.

## Slide 19: Architectural Design.
Southern Elevation.

## Slide 20: Architectural Design.
Sections :
Section A-A

## Slide 21: Architectural Design.
Sections :
Section B-B

## Slide 22: Architectural Design.
Recommended (m^2) | New design(m^2) | Old design(m^2) | space
32 | 36.3 | 26 | Class Room
40 | 40 | 35.4 | Staffroom
16 | 18.4 | 14.9 | Clinic Room
30 | 30.2 | 28.4 | Meeting Room
25 | 26.5 | 35 | Administration Area
New Spaces
Areas:
Note | New spaces
The new design basement contains 5 car spaces | Multi-purpose Room
 | Small Auditorium
 | Physical Activity Areas
 | Panic Room
Notes | New Design | Old design | Space
Suitable | Northern East | Southern East | Class Room
Suitable | Northern East | Northern East | Clinics
Direction

## Slide 23: Environmental Design:
*Thermal Design
*Acoustical Design
*Day Light

## Slide 24
* U-Values for the old design:
External Wall : Ceiling :
0.17 w/m^2.k = U-Value =1.50 w/m^2.k U-Value
Thermal Design.

## Slide 25
U-Values for the new design:
External Wall : Ceiling :
0.38 w/m^2.k = U-Value =0.54 w/m^2.k U-Value
Thermal Design.

## Slide 26
* U-Values for the old design:
Widows:
U-Value =2.66 w/m^2.k
* U-Values for the New design:
Widows:
U-Value =2.66 w/m^2.k
Thermal Design.

## Slide 27
Comfort simulation for the old design:
Thermal Design.

## Slide 28
Comfort simulation for the new design:
Thermal Design.

## Slide 29
New Design | Old Design | 
141.9 | 152.39 | Energy Per Total Building Area (KW.h/m^2/y)
729 | 5690 | Time not comfortable in the building per year (h)
160 | 180 | Conditioning system capacity (KW)
159.19 | 198.8 | Design Capacity (KW)
141.9 | 152.39 | Total Electricity Intensity (KW.h/m^2)
Thermal Design.

## Slide 30
Shading:
Sun path and shadow on 21, Jan at 12:00 Pm.
Thermal Design.

## Slide 31
Shading:
Sun path and shadow on 21, Jul at 12:00 Pm.
Thermal Design.

## Slide 32
Reverberation Time (RT60):
Ecotect Software used for calculation of RT60. Five zones were taken into consideration
Acoustical Design.

## Slide 33
Classroom:
RT60 (0.6-0.8).
Acoustical Design.

## Slide 34
Clinic room:
RT60 (0.6-0.8).
Acoustical Design.

## Slide 35
Staff room:
RT60 (0.6-0.8).
Acoustical Design.

## Slide 36
Meeting room:
RT60 (0.9-1.1).
Acoustical Design.

## Slide 37
Multi-purpose room:
RT60 (1.6-1.8).
Acoustical Design.

## Slide 38
Sound Transmission Class (STC):
Internal Wall:
Acoustical Design.
The calculated value for the internal wall was 47 dB, larger than 38 dB this mean it is good.

## Slide 39
Impact Insulation Class (IIC):
Roof:
Acoustical Design.
The calculated value for the Roof was 54 dB, larger than 40 dB this mean it is good.

## Slide 40
Sound Transmission Class (STC):
External Wall For Class Room:
Acoustical Design.
The calculated value for the external wall was 40 dB, equals 40 dB this mean it is good.

## Slide 41
Existing Value | Normal Value | Adjacent Area | Spaces
40 | 40 | Class Room | Class Room
45 | 45 | Clinic Room | Clinic Room
40 | 40 | Corridor , Lobby | Meeting Room
42 | 38 | Corridor , Lobby | Staff Room
40 | 40 | Corridor , Lobby | Multi-purpose Room
Acoustical Design.

## Slide 42: Day Light
Day light factor for the old design:

## Slide 43: Day Light
Day light factor for the new design:

## Slide 44: Structural Design
Old system
One way voided slab with 350mm thickness & two way solid slab with 200 mm thickness.
New system
One way ribbed slab with 350mm thickness.

## Slide 45: Structural Design
Codes and Standards:
ACI 318-14 for reinforced concrete design.
UBC-97 for seismic design and load combinations.
Materials :
Property | Value
B300 Concrete Compressive Strength | 24 MPa
B300 Modulus of Elasticity, | 23025 MPa
B350 Concrete Compressive Strength | 28 MPa
B350 Modulus of Elasticity, | 24870 MPa
ASTM A955 Grade 60 | 420 MPa
Property | Value
 | 24 MPa
 | 23025 MPa
 | 28 MPa
 | 24870 MPa
ASTM A955 Grade 60 | 420 MPa

## Slide 46: Structural Design
Loads :
Dead load.
Super imposed dead load =4 kN/m2.
Live load = 4 kN/m2.
For external walls load = 18 kN /m.

## Slide 47: Structural Design
Lateral loads:
Nablus City.
Seismic zone is 2B (z=0.2)
Soil profile is SB
Acceleration seismic coefficients, Ca=0.2
Velocity seismic coefficients, Cv= 0.2
Importance factor, I=1.25
Force reduction factor, R=5.5

## Slide 48: Structural Design
Checks:
Compatibility check.

## Slide 49: Structural Design
Checks:
2. Equilibrium check.
 | Hand | ETABS | Error% | Ok?
Live load | 3200 | 3144 | 1.7% | ok
SID | 4884 | 4857 | 0.5% | ok
DL | 8466.8 | 8402 | 0.7% | ok

## Slide 50: Structural Design
Checks:
3. Internal forces check.
All columns, beams and slab that checked are Ok.
Base shear check.
V manual = 1500
Vx =1511kN > 1500 kN  Ok.
Vy= 1506 kN > 1500 kN  Ok.

## Slide 51: Structural Design
Checks:
5. Model masse participation ratio check.

## Slide 52: Structural Design
Checks:
6. Time period check.
period from ETABS = 0.63 sec. , period from hand calc.= 0.45sec
T from ETABS <= 1.40 period from hand calc.  Ok.

## Slide 53: Structural Design
Checks:
7. Deflection Check.
Gravity Check: The allowable deflection value in largest span 4.3/ 240 = 18 mm
The maximum deflection value from ETABs = 4 mm  Ok.
Drift Check: from ETABS ∆S = 5.5 mm
∆M = 0.7*R*∆S = 0.7*5.5*5.5 = 25 mm
Code required that ∆M value must be lower than this value ∆M= 0.025 * h story = 0.025 * 3.5 = 87.5mm
25 mm < 87.5 mm  Ok.

## Slide 54: Structural Design
Basement floor beams distributions :

## Slide 55: Structural Design
Typical floor beams distributions :

## Slide 56: Structural Design
New design slab section
Old design slab section

## Slide 57: Structural Design
Beams Reinforcement table:

## Slide 58: Structural Design
Beams Reinforcement:

## Slide 59: Structural Design
Columns Reinforcement table:

## Slide 60: Structural Design
Columns Reinforcement:

## Slide 61: Structural Design
Footing Layout:

## Slide 62: Structural Design
Footing Sections:

## Slide 63: Structural Design
Footing Sections:

## Slide 64: Structural Design
Retaining wall Sections:

## Slide 65: Structural Design
Shear wall Section:

## Slide 66: Structural Design
Water tank reinforcement:

## Slide 67: Structural Design
Water tank reinforcement section D-D:

## Slide 68: Structural Design
Water tank reinforcement section B-B:

## Slide 69: Structural Design
Water tank reinforcement section C-C:

## Slide 70: Structural Design
Stairs reinforcement:

## Slide 71: Structural Design
Old Block Check:
Old Block Compatibility Check
Old Block Columns Check

## Slide 72: Structural Design
Old Block Check:
Old Block Period Check
Old Block Columns Check

## Slide 73: Structural Design
Old Block footing Check:
Moment capacity for the footing = 1655 KN.m/m
Pu on the footing = 5620 KN
Moment acting on the footing = 670 KN.m/m
670 > 1655  OK
ØVc for the footing = 7605 kN.
Vu.p acting on the footing = 3447 kN.
the footings will be able to carry the added floor above the building.

## Slide 74: Structural Design
Structural Break Calculations:
From ETABS ∆S1 = 5 mm
∆M1 = 0.7*R*∆S1 = 0.7*5.5*5 = 23 mm
∆S2 = 5.5 mm
∆M2 = 0.7*R*∆S2 = 0.7*6.5*5.5 = 25 mm
∆MT = ((∆M1)^2 + (∆M1)^2)^1/2
= ((23)^2 + (25)^2)^1/2 = 34 mm  use ∆MT = 50 mm = 5 cm

## Slide 75
Loud Speakers System.
Lighting Arrangement.
Sockets Arrangement.
Electrical Design.

## Slide 76
Loud Speakers:
Bose Free Space DS 40F In-Ceiling Loudspeaker was used.
Electrical Systems
Distribution for the speakers in the Ground Floor
Distribution for the speakers in the First Floor

## Slide 77: Lighting design
A simulation using Dialux evo software was made to achieve a comfortable lighting design.

## Slide 78: Lighting Design

## Slide 79: Lighting Design

## Slide 80: Lighting Design

## Slide 81: Lighting Design

## Slide 82: Lighting Design

## Slide 83: Lighting Design

## Slide 84: Lighting Design

## Slide 85
Lighting Arrangement:
Basement Floor
Ground Floor

## Slide 86
Lighting Arrangement:
All units were used in the building are LED units.
Lighting arrangement plan’s legend
Unit Number on plans | Unit description
1 | Philips 37.5 watt unit
2 | Dizzano 36 watt unit
3 | Philips 21.5 watt unit
4 | Philips 12 watt unit

## Slide 87
Sockets and Switches Arrangement:
Ground Floor sockets and switches arrangement

## Slide 88
Sockets and Switches Arrangement:
First Floor
Second Floor

## Slide 89
Sockets and Switches Arrangement:
Electrical System.
Third Floor
Roof

## Slide 90: Elevators
The elevator used In the old design is suitable so it remained the same.
3500/400 | 3500/350 | 3000/400 | 3000/350 | 2500/400 | 2500/350 | 
19 | 19 | 16 | 16 | 13 | 13 | P
94 | 97 | 88 | 91 | 75 | 78 | RT
60 | 58.7 | 54.5 | 52.7 | 52 | 50 | hc
0.2 | 0.2 | 0.22 | 0.23 | 0.23 | 0.24 | N
1 | 1 | 1 | 1 | 1 | 1 | N'

## Slide 91
Water Supply distribution
Diameter for hot water | Diameter for cold water | Pipe
2 inch | 2 inch | Vertical
1 inch | 1.5 inch | Horizontal
3/4 inch | 3/4 inch | Branch
Water supply system for fourth floor

## Slide 92
Water Supply distribution
Diameter for hot water | Diameter for cold water | Pipe
2 inch | 2 inch | Vertical
1 inch | 1.5 inch | Horizontal
1/2 inch | 1/2 inch | Branch
Water supply system for 3rd floor

## Slide 93
Water Supply distribution
Diameter for hot water | Diameter for cold water | Pipe
2 inch | 2 inch | Vertical
1 inch | 1.5 inch | Horizontal
1/2 inch | 1/2 inch | Branch
Water supply system for ground,1st and 2nd floor

## Slide 94
Drainage system
Diameter | DFu | Fixture
4" | 4 | W.C
2" | 1 | Lavatory
2" | 2 | Kitchen sink
4" | 111 | Stack
Drainage system for ground floor

## Slide 95
Drainage system
Drainage system for 1st, 2nd and 3rd floors
Drainage system for 4th floor

## Slide 96
Drainage system
Drainage system for 4th floor

## Slide 97
Drainage system
Drainage system for one stack

## Slide 98
Hvac System
VRF system was used for all building rooms.
Main component of VRF system is:
1- Outdoor unit.
2- BC controllers.
3- Pipes.
4- Cassette Unit.
Outdoor Unit
BC Controller

## Slide 99
Hvac System
Hvac design:
Cooling load for building = 159.19 KW
Chose System capacity = 160 KW = 2 units * 80 KW
All units was selected from Mitsubishi Company.
Indoor Unit

## Slide 100
Hvac System
Indoor units in the ground floor

## Slide 101
Safety Design
1-Hose Station:
2-Sprinklers system:
3-Smoke detectors and fire alarming systems:
4-Emergency Exit Signs and escape roots:

## Slide 102
Distribution of fire suppression system in ground floor:
Smoke detectors
Hose Station
Sprinklers

## Slide 103: Means of Egress in ground floor
Emergency Exit Signs

## Slide 104: Reflected ceiling for ground floor

## Slide 105: Reflected ceiling for ground floor

## Slide 106: Cost Estimation
Work type | Cost (Nis)
Structural | 2,009,005
Finishing | 1,991,885
Mechanical | 930,260
Electrical | 144,840
Total Cost | 5,075,990
Unit Cost | 1,803.32

## Slide 107
Thanks for Listening