## Slide 1: Design of Asalaus Building
An-Najah National University
Faculty of Engineering
Civil Engineering Department
Prepared by:
1. Maher Barii.
2. Mustafa Rabay’a.
3. Motasem Allan
4.Yousef Ibraheem
Supervised by: Dr. Monther Dyab

## Slide 2: Outline:
CH.1:Introduction.
CH.2:Preliminary Design.
CH.3:Static Design.

## Slide 3: Chapter 1 : Introduction

## Slide 4: Introduction:
  Asalaus building is located in Muta street in Nablus, near Al-RAWDA college, it consists of one basement floor, one ground floor, and 6 repeated floors with an area 178 m2 for every apartment.
  The basement story is used as parking, the second story is used as chamber and the above 6 stories used as residential apartments (two apartments per floor) .
  soil bearing capacity = 300kN/m2

## Slide 5
Previous Columns Centers Plan :

## Slide 6
Columns Centers Plan in
Graduation project 1

## Slide 7
Columns Centers Plan in
Graduation project 2

## Slide 8: Parking distribution:

## Slide 9: Parking distribution:

## Slide 10
3D model from graduation project 1

## Slide 11
3D model graduation project 2

## Slide 12: Structural Systems :
One way solid slab in y-direction:

## Slide 13: Materials:
Concrete :
f’c= 280 kg/cm²( 28 MPa.)
Concrete unit weight = 25 (kN/m3).
Reinforcing Steel: The yield strength of steel is equal to 4200 Kg/cm2 (420 MPa).
Others :
Material | Unit weight (kN/m3)
Reinforced concrete | 25
Plain concrete | 23
Sand | 18
Aggregate | 17
Blocks | 12
Masonry stone | 27
Tile | 27

## Slide 14: Design loads :
Dead loads in addition to slab own weight
Superimposed dead load = 3.5 kN/m2
Live load = 3 kN/m2 (for residential stories).

## Slide 15: Design codes and load combinations:
The following are the design codes used :
ACI 318-08 : American Concrete Institute provisions for reinforced
concrete structural design.
IBC-2009: International Building Code.

## Slide 16: :Load Combination
Wu=1.4 D
Wu=1.2 D +1.6 L
Wu=1.2D.L +1.0L.L ±1.0E
Wu=0.9 D ±1.0 E

## Slide 17: Chapter 2 : Preliminary Design

## Slide 18: Preliminary design
story height = 3.25m.
One way solid slab:
- depth = 22cm (based on deflection criteria) .
- Slab Own weight:
γconcrete= 24.525 kN/m3
Own weight = (0.22*1*1) X 24.525=5.395kn/m2.
Own weight=5.4kN/m2
Ultimate gravity load =15.48 kN/m2.

## Slide 19: Preliminary Design
beam dimension:
All beams : 35 cm depth x 60 cm width.
Tie beams :60 cm depth x30cm width.
column dimension:
All columns are (60x60)cm.

## Slide 20: Preliminary design and checks
Footing :
(Service load / bearing capacity) ≤ 60% area of the building .
we choose single footings.

## Slide 21: Chapter 3 :
Design Process

## Slide 22
Verification Of SAP model:
We perform the verification for SAP models( one and eight stories and it was OK) the following is verification for eight stories :
1. Compatibility satisfied :

## Slide 23
-2.Deflection check:
Allowable deflection=L/240=5350/240=22.3mm>14.6mm >> ok

## Slide 24
-3.Equilibrium Satisfied :

## Slide 25
4.Stress -Strain relationship satisfied
From live load:
Mu=wl2/8=3*5.35^2/8=10.73kn.m.
(5.66+4.88)/2+4.34=9.61kn.m.
%different =10.73-9.61/10.61=10% ok.

## Slide 26
Zone 2 Z= 0.2 (the building is in Nablus region) Framing type: sway intermediate.

## Slide 27: Site Classification:

## Slide 28: Site coefficient
Ss: The mapped spectral accelerations for short periods
S1: The mapped spectral accelerations for 1-second periods
Ss=2.5*Z=2.5*0.2=0.5
S1=1.25*0.2=0.25
Fa :Site coefficient for Ss Fa=1
Fv: Site coefficient S1 Fv=1

## Slide 29: Site coefficient

## Slide 30: Importance classes and importance factors
I = 1 (Non-essential building).

## Slide 31
● Response acceleration calculation :
SMS=Fa*SS=1*0.5=0.5
SM1=Fv*S1=1*0.25=0.25
Response Modification Factor:
R = 5

## Slide 32
    Period: for eight storeys
Manually
The value of T shall be determined from one of the following methods:
Method A:
Ta=Cthnx hn=3.25*8=26
Ta=.047*(26).9
Ta=0.9 second
Ct =0.047 for moment resisting frame systems of reinforced concrete

## Slide 33: Period calculation
Method B:
Rayleigh’s formula is used to find the value of the period:
Where:
M = Mass of each storey.
F= Force at each storey.
∆= Horizontal displacement for each storey.

## Slide 34: Period calculation
90.32
T x= 2 = 1.807sec.
47.85
T y= 2 =1.53 sec.
Sap period

## Slide 35
SD1=SM1=0.25 so Cu=1.45
Ta=0.9
Tcomputed in x=1.807> Ta* Cu=0.9*1.45=1.305 sec
Tcomputed in y=1.53> Ta* Cu=0.9*1.45=1.305 sec
So we use Ta* Cu=1.305
0.01< Cs = 0.044SDSI ≤ SD1I/TR ≤ SDSI/R
In x and ydirection Cs:
0.01< Cs = 0.044*0.5*1≤ 0.25*1/1.305*5≤ 0.5*1/5
0.022≤0.0383≤0.1 so Cs= 0.0383
Base Shear, Vx=Vy = CsW=0.0383*42790.54kn=1639.5 kn

## Slide 36
to ensure that work true we define earthquqke IBC in x direction and read base reaction from sap

## Slide 37
Response spectrum in X-direction.

## Slide 38
New Scale factor in X-direction (U’1) = X old scale factor
= X 1.962= 4.6992
Modified scale factor in X-direction.

## Slide 39: Vertical distribution of seismic loads
The seismic force at any level is a portion of
the total base shear

## Slide 40: Chapter Four:
Design Result

## Slide 41
Slab design
= (1- )
= (1-) = 0.00334
min=0.00333
As = 0.00334 X190X1000 =634.6mm2
Use 7ϕ12 as top reinforcement and 6ϕ12 as bottom reinforcement
As=0.002*220*1000*0.5=220 mm2
Use 5ϕ8 as top and bottom shrinkage reinforcement
Moment diagram in slab

## Slide 42
Slab design
Shear Check:
shear diagram in slab
bw= 1 m
d=0.19m
h=0.0.22m
Vc =191KN
Vu=3*50=150kN< Vc
>>>>OK

## Slide 43
Design Of Beams :
Beam design (take B5 as a sample):
= (1- )
= (1-)
= 0.007297
min=0.00333
As = 0.007297 X320X600
=1401mm2.
>>>> Use 7ϕ14

## Slide 44
Design Of Beams:
Vu=130kN
Vu design=3*130=390kN
Vn=
Vc =
Vs =Vn-Vc=520-169.33=350 kn
()min=0.5mm2/mm
= ==2.6mm2/mm. >0.5mm2/m
S=2*Av/( )=2*113/2.6=86.7cm
==8cm
s2=d/2=320/2=160mm
In order to satisfy ductility requirement we put stirrups at 1 ϕ12/8 cm along 2*h=2*0.35=0.75m of both beam end
And the middle of beam we use 1 ϕ12/15 cm

## Slide 45
Design Of Beams:
Reinforcement for beams :

## Slide 46
Design Of Beams:
Reinforcement for beams :

## Slide 47
Manual design(C4)
Pu=4035kN
Pser=2354 kN
Assume
Check column capacity
Pn=0.8*0.65*{(0.85*28*0.99*600*600)+420*0.01*600*600}=5197 kN
And if we consider the eccentricity of load
>>emin=0.015+0.03h=0.015+0.03*600=33mm
Mu=Pu*e=4035*0.033=133.15kN.m
From sap maximum moment Mu=308kn.m
As=0.01*600*600=3600mm2 >> use 2414
Design of columns:
column interaction diagram

## Slide 48: Column shear design
maximum shear in column
()min=0.5mm2/mm
= ==0.768mm2/mm. >0.5mm2/m
S=2*Av/( )=2*113/0.768=29 cm
Design of columns:

## Slide 49: Design of columns:
Max spacing (According to intermediate frame requirements):
In order to satisfy ductility requirement we put stirrups 112 at 10 cm along 1m of both column end
And the rest 20 cm

## Slide 50: Design of columns:
Longitudinal section in column

## Slide 51: Design of columns:

## Slide 52: Footing design
Single Footing :
Bearing capacity of the soil=300 kN/m2.
thickness of single footing:
thickness of mat will be determined based on punching shear and wide beam shear.

## Slide 53
Pu=4035 kN
Pser=2354kN
Af==7.840m2
B=L==2.8m
qu=4035/7.840=514.66
qu=515kn/m2
Wide beam shear check
bw=2.8m
d=0.6m
h=0.65m
Vc =
1111.2 KN
Vu=515*((2.8-0.6)/2-0.6)*2.8=721kN
>>>>OK
Footing Sample design (F4 as a sample):
Footing design

## Slide 54
punching shear check
b0=4*(0.6+d)=4*( 0.6+0.6)=4.8m
Vc =3809.9KN
Vu=4035-(0.6+d)*(0.6+d)*515=4035-(0.6+0.6)*(0.6+0.6)*515=3293.4
>>>>OK
Flexural design
Mu=WL2/2= 515*((2.8-0.6)/2)2/2=311.575kN.m/m
= (1- )= (1-) = 0.00234 < min=0.00333
>>>> use min
As = 0.0033 X1000X600 =1980mm2. >>>>>Use 10ϕ16/m
Top steel reinforcement
Ashr.=0.0018*650*1000=1170mm2
0.5*1170=585mm2 >>>> Use 4ϕ14
Footing design

## Slide 55
Footing Design:
Col. # | Service load of column(kN) | Area of footing(m2) | Dimension chosen for footing [(B=L)/m] | Footing thickness (mm) | Steel ratio |  | Area of steel (mm2) | Botom Reinforcement #Φ16/m | Top steel Reinforcement #Φ14/m
1 | 1410 | 4.84 | 2.2 | 400 |  | 0.0033 | 1155 | 6 | 3
2 | 1868 | 6.25 | 2.5 | 500 |  | 0.0033 | 1485 | 8 | 3
3 | 1960 | 6.76 | 2.6 | 550 |  | 0.0033 | 1650 | 9 | 4
4 | 2354 | 7.84 | 2.8 | 650 |  | 0.0033 | 1980 | 10 | 4
5 | 2144 | 7.29 | 2.7 | 600 |  | 0.0033 | 1815 | 10 | 4
6 | 1721 | 5.76 | 2.4 | 500 |  | 0.0033 | 1485 | 8 | 3

## Slide 56
Shear wall Design:

## Slide 57: Thanks for your attention