## Slide 1: Assessment of Water Consumption for Different Sectors In Salfit Governorate
Prepared BY:
Dana I. Alzeer-11210808
Thana'a R. Bouzia-11214502
Under supervision of: Dr. Mohammad N. Almasri

## Slide 2: :Out line
Background.
Objectives.
Description Of The Study Area.
Methodology.
Patterns Of Water Consumption.
Results & conclusion.

## Slide 3: Background:
Water is vital for people existence, since life itself is sustained by water through the fact that without water there is no development or growth. therefore the needs for water increase closely with the development of the different aspects. And for the importance of knowing how water is consumed we have done this project.

## Slide 4
Water is one of the biggest problems that Palestinian face. This is not for scarcity of water sources, but because of controls of Israeli occupation on the greater part of these sources.
we have selected the city of Salfit and two villages which called (Bidia, Kifil Hares) to study the different consumption patterns in the Governorate.

## Slide 5: :Objectives
Assessment of the current situation of water in the Governorate according to the consumption.
Determine if we have gap between consumption and supply, and if we have a gap how we can solve this problem.
Compare the current water consumption for different sectors in the governorate with standard one and with consumption for the same sectors in other governorates.

## Slide 6
Compare the current water consumption for different sectors in the governorate with consumption for Israeli citizens and Israeli settlers.

## Slide 7: Description Of The Study Area:

## Slide 8: study area map

## Slide 9: Land Use
Salfit Governorate area is 204 km²or about 3.6% of the total West Bank area.
Cultivated Area : total land area planted with olive trees in the Salfit region is about 73,000 acres.
Palestinian Built-up Areas : there are 19 Palestine built-up areas in the Governorate.
Israeli Settlements : there are 24 Israeli settlements on the Salfit Governorate.

## Slide 10: Segregation Wall
Salfit is the largest affected of the Segregation Wall after Jerusalem, where It held on approximately 27 km of the territory of the Governorate, which includes the fertile agricultural land, as well as many archeological sites and water springs.

## Slide 12: Water Resources
The main source of water in Salfit is the Israeli company Mekorot, which pumps water from a well called Alzawiah well.
The number of springs in Salfit 99 spring. Two of these springs are used only, which called Almatwee spring and Sekka spring. Other springs are contaminated by the remnants of settlements, as was control of a large number of them behind the segregation wall by the occupation.

## Slide 13: Al - Matwee, which is contaminated with Israeli sewage

## Slide 14: Methodology

## Slide 15: Problem Identification

## Slide 16: Data Collection

## Slide 17: Data Classification
Sectors
Domestic
Medical
Industrial
Commercial
Services
Others

## Slide 18: Data Analysis

## Slide 19: Domestic Consumption

## Slide 20: Medical Sector
pharmacy
Laboratory
Clinics
Cluster
Hospital

## Slide 21: Industrial Sector
Concrete
Tile
Stone
Carpentary
Olive Press
Marble

## Slide 22
Commercial Sector

## Slide 23: Service Sector

## Slide 24: Other Classification
Others
Ministries Offices
Military Facilities
Kindergartens
Park
Wedding hall

## Slide 25: Comparison of consumption values in Palestine with consumption values in the United States and with provisions of WHO.

## Slide 26: Comparison of Palestinian consumption with Israeli consumption.

## Slide 27: Results and Discussion
After analyzing the water consumption data for various sectors. We got a huge number of graphic curve.
We summarized some of this
results as the following figures.

## Slide 31
Schools
Boys
Secondary
Basic
Girls
Basic
Secondary

## Slide 32
School Of Girl
Salfit
3L/capita/day
Kifil Hares
3L/capita/day
Bedia
6.6L/capita/day

## Slide 33
Salfit 11L/capita/day
Kifil Hares
4.35L/ capita/day
Bedia
4.L/capita/day
Boy School

## Slide 34
Salfit
70L/C/day
Kifil Hares
74L/c/day
Bedia
46L/c/day
Domestic

## Slide 35
Butcher Shop
Salfit
.3 m^3/day
KifilHares
.4 m^3/day
Bedia
.6 m^3/day
Commercial

## Slide 36
Medical
75 L/capita/day
288.5L/Bed/day

## Slide 37
Industrial
24.8m^3/day
1.9m^3/day

## Slide 38: Water Consumption Sectors In Salfeet 2016
Percentage | Consumption Sectors
78.70% | Domestic
2.53% | Military
3.41% | Services
4.15% | Industrial
2.40% | Agricultural
1.44% | Commercial
0.11% | Tanks
7.62% | Village Gathering
15% | Losses

## Slide 39: Comparison of consumption values in Palestine with consumption values in the United States and with provisions of WHO.
 | Hospital( /day) | School( /day) | Student (L/day) | Home (/day) | Person (L/day )
Salfeet | 15 | 1.7 | 13.4 | 0.56 | 91
Bedia | _ | 3.4 | 7.1 | 0.6 | 83.5
Kifil Hares | _ | 0.95 | 3.3 | 0.44 | 87.5
USA | 184_824 | 98.1 | 69 | 2 | 325_440
WHO | _ | _ | _ | _ | 100
 |  |  | Student (L/day) |  | Person (L/day )
Salfeet | 15 | 1.7 | 13.4 | 0.56 | 91
Bedia | _ | 3.4 | 7.1 | 0.6 | 83.5
Kifil Hares | _ | 0.95 | 3.3 | 0.44 | 87.5
USA | 184_824 | 98.1 | 69 | 2 | 325_440
WHO | _ | _ | _ | _ | 100

## Slide 40: Israeli citizen consumes 4 times what the Palestinian citizen consumes. Israeli settler consumes 7to9 times more than what the Palestinian citizen consumes.

## Slide 41: Conclusion