## Slide 1: LOAD MODELING IN PV HOME SYSTEM FOR ECONOMICAL EVALUATION
Prepared By : Leena Samara Haneen Hajeer
SUPERVISOR DR. MOIEN OMAR

## Slide 2
*Revision Of Project1
*Software Program
*Economical Analysis
Content

## Slide 3
About Our Graduation Project

## Slide 4
GRID-TIED SYSTEM WITH NO BATTERY FOR STORING CHARGES

## Slide 5
The Policy Of R.E In Palestine

## Slide 7
400 ميجا واط في المحافظات الجنوبية
900 ميغا واط في المحافظات الشمالية
46% الزيادة المتوقعة في الاستهلاك عام 2020(تقريبا 1900ميجا واط)

## Slide 8
140 ميغا واط قدرة الانتاج المحلية في المحافظات الجنوبية , فقط 70 ميغاواط منها تعمل حاليا

## Slide 9
Case Study :Nofal Moll

## Slide 11
We use Two Software in our project:
SketchUp
PVSYST

## Slide 12
SketchUp

## Slide 17
SketchUp Process
Tilt Angle
JinckoSolar
15˚
300-320 Watt

## Slide 18
Shading Space
1.5m

## Slide 19
PVSYST6.5

## Slide 22
PVSYS Process
No.Inverter
No.PV.Module
2
138 modules

## Slide 23: First Inverter :TRIO-27.6-TL-OUTD-400
ABB
OPERATING VOLTAGE (200-950V)
TOTAL POWER = 30 KWAC

## Slide 24: Second Inverter : TRIO-20.0-tl-outd-40
ABB
OPERATING VOLTAGE (200-950V)
TOTAL POWER = 22 KWAC

## Slide 25
Case Study :Nofal Moll

## Slide 26
Life Cycle Cost Analysis(LCCA)
Simple Bay Back Period(SBP)
Benefit\Cost Ratio(BCR)
Saving Investment Ratio(SIR)
Return On Investment(ROI)
Net Present Value(NPV)
Internal Rate Of Return(IRR)

## Slide 27
Economical Study
Consumption: 106250 kwh/year
area ⇒ 45 kwp
E(PV) =45*1700 =76500 KWh/year
coverage = 76500/ 106250
= 72%
1kwh ⇒ 0.64 NIS
Bill = 3744 NIS/month
Saving/year = 44928

## Slide 28
S.B.P = 4.86 Year
N.P.V = 162455.447
Economical study

## Slide 29
Conclusion

## Slide 30
Thank You