## Slide 1
Design of a Wastewater Collection Network for Part of Anabta Town
Prepared by:
Sumaia Radi Iswed
Supervisor
Dr. Mohammad N. Almasri
May. 2016

## Slide 2: Outline:
SewerCAD
Objectives
Introduction
Results
Methodology
Conclusions
Recommendations

## Slide 5: Objectives:
The main objectives of this project are:
To design a wastewater collection network for part of Anabta using SewarCAD
To estimate the potential cost of this network

## Slide 6
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 7: Study Area
Climate
Location
Study Area
A
D
B
C
Population
The reasons for choosing Anabta

## Slide 8
Close to Nablus where I live
Available Data
Unserved
Interesting case

## Slide 9: Study Area
Climate
Location
Study Area
A
D
B
C
Population
The reasons for choosing Anabta

## Slide 11: Study Area
Climate
Location
Study Area
A
D
B
C
Population
The reasons for choosing Anabta

## Slide 12
Population:
The current population in the study area is approximately 1000 person.
It will be nearly 5000 persons for long term full saturated.
# of persons/parcel =
(# of ) х (# of ) х
(# of ) х (# of )
Assumptions:
# of floors/building = 2
# of department/floor = 1
# of person/department = 5

## Slide 13: Study Area
Climate
Location
Study Area
A
D
B
C
Population
The reasons for choosing Anabta

## Slide 14
http://www.worldweatheronline.com/Anabta-weather-averages/PS.aspx
Climate:

## Slide 15
Climate:
http://www.worldweatheronline.com/Anabta-weather-averages/PS.aspx

## Slide 16
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 17: Collect the data related to the study area:
Number of houses, population, and daily consumption of water.
Contour map
AutoCAD maps

## Slide 18
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 19: Determine Wastewater loads:
Wastewater load/parcel (L/day) =
# of buildings/parcel (built + non built) х
# of floors/building х
# of families/floor х family size х
consumption х
percent of water that will transform to wastewater х
Max. hourly factor
Design load/parcel (L/day) =
wastewater load + (0.05 х wastewater load)
Sewer Network

## Slide 20
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 21: Design and analysis of wastewater Collection Network on SewarCAD
Sewer Network

## Slide 22: Input information to SewarCAD
Sewer Network
Constraints information

## Slide 23
Sewer Network

## Slide 24: Manholes information:
Sewer Network

## Slide 25: Conduits information:
Sewer Network

## Slide 26: Input information to SewarCAD
Select steady state calculation type and then press run.
Sewer Network

## Slide 27
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 28: Network Elements to calculate the cost:

## Slide 30: Assumptions to calculate cost of excavation:
Diameter(in) | Intervals(m) | Unit Price ($)
8" | 1 up to 2 | 35
 | 2 up to 3 | 50
 | 3 up to 4 | 70
10" | 2 up to 3 | 50
 | 3 up to 4 | 72
12" | 1 up to 2 | 45
 | 2 up to 3 | 60
 | 3 up to 4 | 80
Cost / Excavation Depth for Different Diameters

## Slide 31
Assumptions to calculate cost of pipes:
Diameter | Unit price ($)
8" | 13
10" | 20
12" | 30
Warning tap | 1
The Pipes Cost

## Slide 32
Assumptions to calculate cost of manholes:
Intervals | Unit Rate ($)
1 up to 2 | 600
2 up to 3 | 800
3 up to 4 | 950
4 up to 5 | 1000
5 up to 6 | 1500
Drop manholes | 1000
Manholes Cost

## Slide 33
Assumptions to calculate cost of asphalt & basecourse:
Unit Price ($) per 1 m2 | 18

## Slide 34: Cost of Network Elements ($)
Chart: 
| Excavation | Conduits | Manholes | Asphalt & Basecourse
Sales | 339215 | 122870 | 222450 | 93972

## Slide 35
Methodology:
Determine problem
4
3
5
6
7
1
2
Selection of study area
Collect the data related to the study area
Determine wastewater loads
Design & analysis a wastewater collection network
Calculate the cost of a network
Get the results

## Slide 36: Results:
Diameters
Cover
Velocity
Slope
Profile
Sewer Network

## Slide 41: Conclusions:
# of Manholes | 246
# of Conduits | 246
# of Outlet | 1
Diameters | (8,10,12) inch
Cover | (0.7 - 3.61) m
Velocity | (0.16 - 2.36) m/s
Slope | (1 - 15)%
Total length of the Network | 8 Km
Total cost of the network for 1 km | $100,000

## Slide 42: Recommendations:
Complete network design for the rest of Anabta
Design a wastewater treatment plant in the plain between Anabta and Noor Shams to treat the wastewater from Anabta.

## Slide 43
Thank You! 

## Slide 44
Thank You! 
Working hard
Design & Analysis
Finished